## Sheet1
SCHEDULE OF QUANTITIES
Tender No. HLL/CHO/HCS/PROJ/2016-17/04 Dated 01-08-16
Name of work: Supply, Installation, Testing, Commissioning & Maintenance of EPABX system and Telephones for M/s.HLL Lifecare Ltd., at HINDLABS Diagnostic Centre and Polyclinic, Thiruvanthapuram, Kerala
Site Location : HINDLABS, TRIDA Sopanam, Complex, Opp. Medical College, Thiruvanathapuram
Item. No. | Item Description | Unit | Qty. | Unit Rate | Amount
|  |  |  | (Rs.) | (Rs.)
Part - A - SITC (Supply, Installation, Testing & Commissioning )
|  | Job. | 1
1 | SITC of EPBAX System capable of supporting 4/8/48 extensions, 04 nos. Trunk Lines/ 8 Nos. Digital Lines/48 analoge lines and future expandable. 01 no. PRI Line along with with Master Telephone ( Operator) with features not limited to the following :
Voice Messaging , Auto call attendant facility, Auto Welcome music / instruction facility, Call waiting module, Call Auto masking module, Support Microsoft OS, Mobile Phone Integration, (Mobile Extension), Room Monitoring, Call Conference, Caller identification on all Extensions, Call Return, Long Conservation cut off, Lightning Protection, Disconnection module, Alarm module, Separate billing module for each extension. ( MAke : Syntel Neos or equivalent)
2 | Push Button Telephones with caller ID facility ( Make : Beetel M51 or equivalent ) | no. | 5
3 | Push Button Telephones without caller ID facility ( Make : Beetel B11 or Equivalent) | no. | 15
4 | Supplying and drawing 2 pair 0.5 sq mm FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required. | m | 800
5 | Supplying and fixing medium class PVC conduit of 20mm size along with all accessaries in surface of the wall. | m | 100
6 | Supplying and fixing modular type Telephone socket outlet including box, front plate, complete with connections. | no. | 20
Total for SITC (A)
(Rupees ……………………………………………………………….)
Part-B | Comprehensive Maintenance Charges after 1 year Defects Liability Period
| 1st year | Job
| 2nd Year | Job
| 3rd Year | Job
Total for AMC (B)
(Rupees ……………………………………………………………….)
Grand Total ( A+B)
Grand Total in words: Rupees ………………………………………………………………………...