**AMENDMENT I**

Sub : Construction of Regional office building of HLL Lifecare Ltd at Pallikaranai, Chennai

Tender no. HLL/ID /15/23 dtd 18.08.2015

|  |  |  |
| --- | --- | --- |
| **Item no.** | **Item description as per the tender document** | **Amended description** |
| Item no. 39 in Electrical works | HT BREAKER  Supply, receiving, storing, erection, testing & commissioning of outdoor HT panel comprising of 11 KV electrically operated, draw out Type vacuum circuit breaker with  1- Manually charged spring closing mechanism.  1-Set of mechanical close/trip knobs  1 set - mechanical on/off indicator  1-mechanical spring charged/ free indicator.  2- O/C & 1 E/F micro processer based self powered relay with suitable ring type CT  1 set. of N/O & N/C contactors shall be provided for BMS monitoring of the breaker status (on, off, trip).  Provision for mounting 1 no.I/ D type terminating kit suitable for 3 corex185 Sq mm, XLPE 11kv cable. | HT BREAKER  Supply, receiving, storing, erection, testing & commissioning of outdoor HT panel comprising of 11 KV electrically operated, draw out Type vacuum circuit breaker with  1 No - **11KV 630 A VCB** Manually charged spring closing mechanism.  1-Set of mechanical close/trip knobs  1 set - mechanical on/off indicator  1-mechanical spring charged/ free indicator.  2- O/C & 1 E/F micro processer based self powered relay with suitable ring type CT  1 set. of N/O & N/C contactors shall be provided for BMS monitoring of the breaker status (on, off, trip).  Provision for mounting 1 no.I/ D type terminating kit suitable for 3 corex185 Sq mm, XLPE 11kv cable. |

Deputy Vice President (Technical)