| Sl No | Original as per tender | Amended Specification |
| --- | --- | --- |
| 1 | Torch- Local Purchase | LED type torch. Should be supplied with rechargeable batteries and charger. Should be suitable for clinical application. |
| 2 | Vacuum Cleaner- Local Purchase | Should have minimum 1200 Watts of Powerful Suction. Blower efficiency 30-35lt/sec. Should be suitable for wet and dry application. Power supply: 230V,50 Hz. |
| 3 | Oxygen Cylinder With Gauge- Local Purchase | Should be type B oxygen cylinder with regulator and gauge. Should be with oxygen flow meter with humidifier bottle attached to the regulator. Should be supplied with portable oxygen trolley made up of MS. |
| 4 | Cidex Tray- Local Purchase | Should be made up of polypropylene. Heat resistant up to 134 degree Celsius. Approximate Dimension : 750 mm X 220 mm X 130mm ( 14 litres). Should be supplied with lid. |
| 5 | Emergency Lamp- Local Purchase | Should be rechargeable emergency light. Brightness should be 1000 lumens or more. Should provide minimum 4 hours back up. Should be LED based or CFL based. Should be supplied with all accessories. |