Date: 07/10/2015

Amendment No: 1

Ref: Tender Enquiry No: HLL/BME/Calibration-07/15-16       Dated 18.09.2015

Pre-Bid meeting against the referred tender was held on 29/09/2015 at  HLL Lifecare Ltd., Thycaud, Trivandrum- 695 014

The following amendments are issued with respect to the above Tender Enquiry Document.

I )Technical Specification

Item No 1

Endoscope Test Bench

Point 3

Existing Specification: Lengths: 95-630mm

Amended as: Lengths: 95-550mm

Point 5

Existing Specification: All weather shock proof carrying case

Amended as: deleted

Point 6

Existing Specification: Comprehensive usage training for HLL staff  .

Amended as: Comprehensive usage training for HLL staff by Manufacturer representative.

Item No 2

Ultrasound Image Analyzer

Point to be added

Ultrasound Image Analyzer  can be quoted as single unit or unit with multiple components to meet the specification.

All other contents, terms & conditions of the tender enquiry remain unchanged.