HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-695017

Email: materialsaft@lifecarehll.com

Website: www.lifecarehll.com

PH:  +91 471 2445930, 2442641

FAX: +91 471 2445935

TENDER NO- HLL/AFT/PUR/O&M OF B&WP/2018-19

dtd 29/06/2018

FOR

OPERATION & MAINTENANCE CONTRACT FOR

BOILER & WATER PLANT AT AKKULAM FACTORY.

HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-695017

TENDER NOTICE

HLL/AFT/PUR/O&M OF B&WP/2018-19                     	 		29/06/2018

Dear Sir,

Sub: Operation & Maintenance Contract for Boiler & Water Plant reg:-

Sealed and superscribed tenders under Two Bid system are invited in the prescribed form, from the Authorized Agent (s) / Competent venders for Operation & Maintenance Contract for Boiler & Water Plant at Akkulam Factory, Thiruvananthapuram for be for a period of TWO YEARS and extendable for ONE more year on mutual agreed terms.

The detailed tender notice & documents can be downloaded from our website www.lifecarehll.com. Amendments if any to this tender notice will be published only in our website.

The completed tenders must reach to the JGM (Materials), HLL Lifecare Limited, Sreekariyam - P.O, Trivandrum, Pin- 695017, Kerala, on or before 2 pm on 16/07/2018 and it shall be opened at 3.00 pm on the same day.

Tender No & date of opening shall be mentioned at the top of the cover.

JGM (Materials)

Ph No: +91 471 2445930

Fax No: +91 471 2445935

Email: materialsaft@lifecarehll.com

HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-695017

HLL/AFT/PUR/O&M OF B&WP/2018-19                     	 		29/06/2018

###### CONTENTS OF BIDDING DOCUMENTS

| Sl No | Schedule | Description | Page No |
| --- | --- | --- | --- |
| 1. |  | TECHNICAL BID | 3 |
| 2. | Schedule – A | GENERAL TERMS & CONDITIONS | 4 – 11 |
| 3. | Schedule – B | WORK REQUIREMENT | 12 - 17 |
| 4. | Schedule – C | MINIMUM ELIGIBILITY CRITERIA | 18 |
| 5. | Schedule – D | GENERAL INFORMATION OF THE TENDERER | 19 - 20 |
| 5. | Schedule –E | DECLARATION | 21 |
| 6. |  | PRICE BID |  |
| 7. | Schedule – F | PRICE BID FORM | 23 |
| 8. |  | PRICE BID | 24 |

HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-695017

Email: materialsaft@lifecarehll.com

Website: www.lifecarehll.com

PH:  +91 471 2445930, 2442641

FAX: +91 471 2445935

TECHNICAL BID

TENDER NO- HLL/AFT/PUR/O&M OF B&WP/2018-19

dtd 29/06/2018

FOR

OPERATION & MAINTENANCE CONTRACT FOR

BOILER & WATER PLANT AT AKKULAM FACTORY.

Schedule - A

HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-695017

HLL/AFT/PUR/O&M OF B&WP/2018-19                     	 			29/06/2018

###### GENERAL TERMS & CONDITIONS

Sealed and superscribed tenders are invited in prescribed format, under Two Bid System (Technical Bid and Price bid) for the Operation & Maintenance Contract for Boiler & Water Plant at Akkulam Factory, Thiruvananthapuram for a period of TWO YEARS and extendable for ONE more year on mutual agreed terms.

- Details of the tender is given below.

| Tender No: | Date of opening |
| --- | --- |
| HLL/AFT/PUR/O&M OF B&WP/2018-19 | 16/07/2018 at 3.00 PM |

- A complete set of bid documents can be had from the office of the JGM (Materials), HLL LIFECARE Ltd, Akkulam, Thiruvananthapuram-695 017 during office hours on any working day on submission written application.

The Tender Documents can also be down loaded from our Website www.lifecarehll.com.

Re-word- processed formats or tenderers own formats will disqualify the tender.  Tender forms shall be filled in ink or typed.  No tender filled in pencil shall be considered.  The tenderer shall sign and seal the form at each page and at the end, in token of acceptance of all the terms and conditions of the tender.

- Tenders in prescribed form should be submitted in sealed cover and super scribed “Operation & Maintenance Contract for Boiler & Water Plant” and sent to JGM (Materials), HLL Lifecare Ltd, Akkulam Plant, Sreekariyam P.O., Thiruvananthapuram, Kerala, India so as to reach here on or before 14.00 hrs on 16/07/2018. The undersigned will not be responsible for any tender handed over to any official of this office in person. Tenders will be opened at 15.00 hrs on 16/07/2018 in the presence of the tenderers or their authorized agents who may choose to be present.

- Sealing and Marking of bids.

The bidders shall seal Technical bid     and Price bid in separate inner envelopes, duly  marking  the  envelopes  as COVER A -“TECHNICAL  BID”  and COVER B-‘PRICE BID. The Bidders shall then place both the inner envelopes in an outer envelope. The name of the product for which the bid is made must be written on both the inner envelops and the outer envelop.

- The inner and outer envelopes shall be addressed to the Purchaser at  the following address:

Joint General Manager (Materials),

HLL Lifecare Ltd, Akkulam Factory, Sreekariyam.PO,

Thiruvananthapuram –17

- Earnest Money Deposit: Each tender should contain an Earnest Money Deposit of Rs. 10,000/- (Rupees Ten thousand only). This amount can be remitted by Demand Draft drawn in favour of the HLL Lifecare Ltd, obtained from any scheduled bank and payable at Trivandrum. The Demand Draft towards EMD should be attached along with the tender. Tenders without proper EMD will be rejected outright.

- Release of EMD: The EMD of unsuccessful tenderers will be refunded soon after finalization of tender, or after two months from the date of opening of tender which ever is earlier.  The EMD will not bear any interest.

- Forfeiture of EMD: The EMD will be forfeited to the HLL in case, after submitting the tender, the tenderer withdraws his offer or fails to execute the agreement when called for to do so.

- Security Deposit: The successful tenderer will have to remit an amount of Rs. 20000 (Rupees Twenty Thousand only) as Security Deposit.  This amount can be remitted by Demand Draft drawn in favour of HLL Lifecare Limited payable at Trivandrum.  The EMD of the successful tenderer will be adjusted against the Security Deposit.

- RECOVERY OF LOSS / DAMAGE TO COMPANY: - This Security Deposit shall be forfeited in case the tenderer withdraws from the contract once it is awarded or fails in completing the work in time as required by the Company or in case any loss or damage is caused to the Company by the contractor or by his/her/its employees or on breach of any of the conditions of the contract. Loss or damage caused to the Company at the instance of the contract shall be recovered from the Security Deposit in proportionate to the loss or damage sustained by the Company and the decision on the amount of compensation for the loss or damage shall be at the discretion of the company. The Company shall also have the right to recover such loss or damage from the movable or immovable properties of the contractor and his heirs and legal representatives if the loss or damage caused is in excess of Security Deposit.

- Agreement: The successful tenderer will have to execute an agreement after remitting the Security Deposit in Stamp Paper for Rs.100/. at his expenses within 7 days of issue of the letter Indent / Purchase order.

- The HLL will have the full right to reject any or all the tenders without assigning any reason whatsoever and is not bound to accept the lowest tender. The HLL also reserves the right to award the contract with more than one contractor.

- If the last date fixed for receipt of tender for opening, ie, 16/07/2018 is declared a closed holiday, the tenders will be received on the next working day up to 14.00 Hrs and opened at 15.00 Hrs on the same day.

- HLL shall not be responsible if the bids are delivered elsewhere.

- The contractor should take license under the Contract Labour (R&A) Act 1970 and other statutory licenses whenever applicable and should produce proof whenever required. The tenderer should take insurance for his workers against any eventually of accidents etc. HLL Lifecare Limited will not be liable for any accident sustained to contractors workmen while on or out of the work during the contract period. The tenderer has to cover personal accident insurance policy in respect of the employees engaged by him under Employees Compensation Act.

- The personnel employed by the tenderer should have good physique and should be free from contagious/communicable diseases and should have normal vision. Medical certificate in this regard should be furnished before the engagement of labours. They should not have been involved in any police/criminal cases.

- Opening of Bids by Purchaser

- The  Purchaser  will  open  all the technical bids,  in  the  presence  of  bidder's  representatives who choose to attend, at 15.00 Hrs on 16.07.2018 at the  following location:

HLL Lifecare Limited,

Akkulam Factory,

Sreekariyam PO, Thiruvananthapuram -695 017.

- The bidder’s representatives who are present shall sign a register evidencing their attendance. In the event of the specified date of bid opening being declared a holiday for the Purchaser, the bids shall be opened at the appointed time and location on the next working day.

- The bidder’s names, modifications, bid withdrawals and the presence or   absence of the requisite documents and such other details as the  Purchaser, at its discretion, may consider appropriate will be announced  at the opening. No bid shall be rejected at bid opening, except for late  bids, which shall be returned unopened to the bidder pursuant to ITB   Clause 16.

- The Purchaser will prepare minutes of the bid opening.

- The “Price Bid” (Cover B) will be opened after evaluation of “Technical  bids” (Cover A) and the date and time of opening of price bid will be intimated to bidders whose bids are responsive and selected by the Purchaser.

- The purchaser will scrutinize the technical bid for compliance to the specifications and documentation requirement as per the bid document.  The  bidders  will  be  short-listed  on  the  basis  of responsiveness of technical bid. The price bid of the bidders who are disqualified at the  technical scrutiny will be returned un-opened. The short listed bidders will be informed about the time, date and venue of the price bid opening. The successful bidder shall be identified on the basis of lowest evaluated substantially responsive bid.

- During evaluation of bids, the Purchaser may, at its discretion, ask the bidder for a clarification of its bid.   The request for clarification and the response shall be in writing and no change in prices or substance of the bid shall be sought, offered or permitted.

18.    PRELIMINARY EXAMINATION

- The Purchaser will examine the bids to determine whether they are complete, whether any computational errors have been made, whether the documents have been properly signed, and whether the bids are generally in order.

- Arithmetical errors will be rectified on the following basis.   If there is a discrepancy between the unit price and the total price that is obtained by multiplying the unit price and quantity, the unit price shall prevail and the total price shall be corrected. If there is a discrepancy between words and figures, the amount in words will prevail.   If the bidder does not accept the correction of the errors, its bid will be rejected.

- The Purchaser may waive any minor informality or non-conformity or irregularity in a bid, which does not constitute a material deviation, provided such a waiver does not prejudice or affect the relative ranking of   any bidder.

- Prior to the detailed evaluation pursuant to Clause ITB 19, the purchaser will determine the substantial responsiveness of each bid to the bidding documents. For purposes of these clauses a substantially responsive bid is one which conforms to all the terms and conditions of the bidding documents without material deviations. Deviations from or objections or reservations to critical provisions such as those concerning Warranty, Force Majeure, Applicable law  and Taxes and Duties   will be deemed to be material deviation

- If a bid is not substantially responsive, it will be rejected by the Purchaser and  may  not  subsequently  be  made  responsive  by  the  bidder  by correction of the non-conformity.

19. EVALUATION AND COMPARISON OF BIDS

The Price shall be quoted as per format given by HLL.

The rate shall include the Minimum Wage to be paid to the employees including   Employee   contribution of PF & ESI. The tenderer shall pay to his employees wages not below minimum rates of wages applicable. Charges shall include Contractor contribution of PF, ESI, Accident insurance coverage charges, Goods Service Tax, Supervision /Service Charge, Income Tax as applicable etc. The tenderer shall pay to his workmen statutory payments as per EPF, ESI, statutory applicable Bonus, etc. and any other payments as per Acts or Rules applicable, at the rates prevalent from time to time. For this, the tenderer shall study well all the statutory payments involved.

- Age of the persons engaged by the tenderer shall be between 18 and 60 years.

- Bid Validity

- The validity of the bid shall be for a period of Two years and extendable for One more year upon mutual agreed terms.

- The rates quoted shall be valid during the period and till the completion of the contract. No enhancement in rate shall be claimed or payable during the period of the contract. However if there is any variation in the applicable minimum wages and the same is requested by the contractor, it can be considered by the company. The Contractor cannot claim enhancement as a matter of rights.

- Those bidders who download the tender documents from our website should furnish the Name and address of the vendor, name of contact person, telephone & Fax numbers and Email details immediately by fax/Email.

- Any changes pertains to this tender shall be communicated only through our website www.lifecarehll.com

- (i): Termination of Contracts: In case, after issue of a firm work order, the successful tenderer fails to execute the work as per the specified quality as given in the Work Order, given by HLL will be within HLL’s full rights to terminate the contract by giving a notice of 21 days to the address given in the tender submitted or to any other address which may be recorded in the office at the request of the tenderer. The period of 21 days will be counted from the date of issue of the notice.

(ii). HLL, Trivandrum reserves the right to terminate the contract without assigning  any reason by giving a notice of 21 days to the successful tenderer to the address given in the tender submitted, or to any other address which may be recorded in the office at the request of the tenderer. The period of 21 days will be counted from the date of dispatch of the notice. In such cases, the Security Deposit of the successful tenderer will be refunded soon on getting demand from the tenderer. The HLL will not be liable for payment of any compensation for any loss that the contractor may be put to or alleged to have been put to on account of such termination.

- In case of notice sent to the address recorded in the office as per clause 17(i) & (ii) is returned undelivered with the remark addressee not found or addressee refused to accept, the notice shall be deemed to have been served and the termination will automatically take effect from the 22nd day of dispatch of the notice.

- HLL will have the full right to reject any or all the tenders without assigning any reason whatsoever. The HLL also reserves the right to award the contract with more than one contractor.

We have read and understood the above conditions and agree to abide by the same.

PLACE:                         		NAME AND SIGNATURE OF THE APPLICANT

DATE:                                                                  (WITH OFFICE SEAL)

Schedule - B

HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-695017

HLL/AFT/PUR/O&M OF B&WP/2018-19                     	 			29/06/2018

WORK REQUIREMENTS

Scope of the contract includes the Operation & Maintenance of the equipments mentioned in the Annexure-1 as per the Specific Operation Procedure (SOP) of Akkulam Factory.

## ANNEXURE-1

| DETAILS OF EQUIPMENTS |
| --- |
| Sl No: | ITEMS | CAPACITY | QTY IN NO: |
| 1. | Boiler | 2Ton | 2 |
| 2. | ETP | 35KL/DAY | 1 |
| 3. | Rain Water Harvest | 130KL | 1 |
| 4. | DM Water Plant | 2.5KL/hr | 1 |
| 5. | Pure Steam Generator | 1000Kg/hr | 1 |
| 6. | Multieffect Distillation Unit | 300Kg/hr | 1 |
| 7. | WFI Circulation System | 3000L | 1 |
| 8. | Scrubber Unit |  | 2 |
| 9. | Nitrogen and ETO Distribution |  | 2 |
| 10. | Process Cooling Tower |  | 2 |

## ANNEXURE-II

### OPERATION & MAINTENANCE OF BOILER

- To operate any/all Boiler and accessories as per the requirement of steam for the production and allied activities.

- To attend any break down or defects in (Mechanical/Electrical) of Boiler plant as and when called for.

- To carry out repair and resetting of all equipment in the plant as and when required, for efficient functioning of the plant.

- Maintain and ensure necessary spares of the plant for the uninterrupted operation and intimate the officer in charge of HLL for replenishment, if needed.

- To carry out monthly preventive maintenance as specified below.

  - Carbon removal from Chimney Hood

  - Burner & Nozzles Cleaning/Replacement

  - Checking of all equipment and controls in the plant & rectification or defects if noticed any.

  - Checking of proper functioning of valves in Boiler.

- Monthly Ash Removal from Chimney Hood

- Quarterly preventive maintenance as listed below.

  - Cleaning of Fire Tubes (88 nos in each Boiler)

  - Carbon removal from Chimney Hood

  - Burner & Nozzles Cleaning/Replacement

  - Checking of equipments like gauge glass, safety valves, Blow down valves, Mobery control valve, pressure gauge for oil pump and water pump, pressure switches, water pumps etc.

  - Checking of main control panel, Cleaning of pipe lines and fire tubes.

  - Checking of fire tubes.

  - Check Oil filtration system. Clean if found necessary.

  - Checking and tightening of electrical, mechanical connection and contacts.

  - Inspection of foundation bolts.

  - Checking of fuel pump & feed water pump.

  - Any other work related with Boiler plant, which arise from time to time.

- Annual Maintenance as listed below.

- Cleaning of waterside.

- Cleaning of Fire Tube (88 Nos in each Boiler)

- Carbon removal from Chimney Hood

- Burner & Nozzles Cleaning/Replacement

- Reconditioning of water pumps and changing of Bearings and gland packing if required.

- Reconditioning of boiler accessories such as water pump and fuel pump, Water Level Controls (Mobery Unit), Gauges, Gauge Glass, Safety Valves, Blow down Valves, etc.

- Maintenance of pipes, tubes, chimney etc.

- Fabrication of supports/frames if necessary.

- Any other works related with Boiler plant, which arise from time to time.

- Hydraulic test for shell side in coordination with Inspector, Department of Factories & Boilers.

Remarks:- Annual Maintenance of each Boiler shall be done before the due date of license issued by Department of Factories & Boiler.

### OPERATION & MAINTENANCE OF DM WATER PLANT

- To operate De-Mineralized Water Plant and accessories as per the requirement of production and allied activities.

- To attend any break down or defects in (Mechanical/Electrical) De-Mineralized Water Plant and accessories as and when called for.

- To carry out repair and resetting of all equipment in the plant as and when required, for efficient functioning of the plant.

- Maintain and ensure necessary spares of the plant for the uninterrupted operation and intimate the officer in charge of HLL for replenishment, if needed.

### OPERATION & MAINTENANCE OF PURE STEAM GENERATOR

- To operate Pure Steam Generator and accessories as per the requirement of production and allied activities.

- To attend any break down or defects in (Mechanical/Electrical) of Steam Generator and accessories as and when called for.

- To carry out repair and resetting of all equipment in the plant as and when required, for efficient functioning of the plant.

- Maintain and ensure necessary spares of the plant for the uninterrupted operation and intimate the officer in charge of HLL for replenishment, if needed.

### OPERATION & MAINTENANCE OF MULTI COLUMN DISTILLATION UNIT & WFI SYSTEM

- To operate Multi Column Distillation Unit, WFI System and accessories as per the requirement of production and allied activities.

- To attend any break down or defects in (Mechanical/Electrical) of Multi Column Distillation Unit, WFI System and accessories as and when called for.

- To carry out repair and resetting of all equipment in the plant as and when required, for efficient functioning of the plant.

- Maintain and ensure necessary spares of the plant for the uninterrupted operation and intimate the officer in charge of HLL for replenishment, if needed.

### OPERATION & MAINTENANCE OF EFFLUENT TREATMENT PLANT (ETP)

- To operate Effluent Treatment Plant (ETP) and accessories as per SOP.

- To attend any break down or defects in (Mechanical/Electrical) of Effluent Treatment Plant (ETP) and accessories as and when called for.

- To carry out repair and resetting of all equipment in the plant as and when required, for efficient functioning of the plant.

- Up-keep Effluent Treatment Plant, accessories and premises and keep neat and tidy.

- Maintain and ensure necessary spares of the plant for the uninterrupted operation and intimate the officer in charge of HLL for replenishment, if needed.

### OPERATION & MAINTENANCE OF RAIN WATER HARVESTING SYSTEM

- To operate Rain Water Harvesting System, Water Filtration Unit, Pumps and accessories as per SOP.

- To attend any break down or defects in (Mechanical/Electrical) of Rain Water Harvesting System, Water Filtration Unit, Pumps and accessories as and when called for.

- To carry out repair and resetting of all equipment in the plant as and when required, for efficient functioning of the plant.

- Up-keep Rain Water Harvesting System, Water Filtration Unit, Pumps and accessories and premises and keep neat and tidy.

- Maintain and ensure necessary spares of the plant for the uninterrupted operation and intimate the officer in charge of HLL for replenishment, if needed.

### OPERATION & MAINTENANCE OF PROCESS COOLING TOWERS

- To operate Cooling Towers of Process & Autoclave and accessories as per SOP.

- To attend any break down or defects in (Mechanical/Electrical) of Cooling Towers of Process & Autoclave and accessories as and when called for.

- To carry out the preventive maintenance and cleaning as per SOP.

- To carry out repair and resetting of all equipment as and when required, for efficient functioning of the plant.

- Up-keep Cooling Towers of Process & Autoclave, Pumps and accessories and premises and keep neat and tidy.

- Maintain and ensure necessary spares of the plant for the uninterrupted operation and intimate the officer in charge of HLL for replenishment, if needed.

### LOADING & CHARGING OF CYLINDERS

    - Loading & Charging of Nitrogen Cylinder for ETO Sterilization in Sterilizer New & Old

    - Loading & Charging of Ethylene Oxide (ETO) Cylinder for ETO Sterilization in Sterilizer New & Old.

ANNEXURE – III

MANPOWER REQUIREMENT PER DAY

| Sl No | Position | Shift | Strength |
| --- | --- | --- | --- |
| 1 | Operators | First Shift | 3 |
| 2 | Operators | Second Shift | 3 |
| 3 | Operators | Third Shift | 3 |
|  | TOTAL |  | 9 |

ANNEXURE – IV

# SPECIAL CONDITIONS: -

- Every month or as and when required one record should be submitted to the Controlling Officer of Engineering Department regarding the performance and maintenance activities carried out in the preceding month and activities planned in the succeeding month.

- Three experienced skilled operator’s shall be posted in each shift for the operation and maintenance of the equipments mentioned in the ANNEXURE-1 without any interruption to the plant.

- Contract includes all kinds of maintenance and breakdown work related with Mechanical, Electrical, Instrumentation to the equipments mentioned in the ANNEXURE-1. Breakdown work shall be attended in minimum possible time.

- Employees deputed for the operation and maintenance of Boilers should have ITI with B Class License for the operation boilers issued by Department of Factories & Boilers, Kerala State and should have at least 2 years experience in operation and maintenance of Boiler plants having capacity of 2 TPH.

- Employees deputed for the operation and maintenance of the equipments other than Boilers should have ITI qualification.

- For any instance of negligence from the side of personnel deployed by the contractor resulting in production loss, the amount incurred due to the same will be deducted from the monthly running bill. HLL will work out the loss amount in such cases.

- In case of installation of any additional equipments related with the equipments mentioned in ANNEXURE-1 during the contract period, the contractor has to operate the same and do the necessary maintenance without any additional charge.

- All the tools required for the work has to be arranged by the contractor.  A set of necessary tools should be kept in the plant for daily use.

- All spares and consumables required for Operation & Maintenance of equipments mentioned in ANNEXURE-1 during the contract period will be supplied by HLL at free of cost.  If any spares are not available with HLL the same shall be arranged by the contractor.  The amount of such spares shall be made by HLL up on the submission and certification of officer in charge of HLL on actual basis.

- Contractor shall adapt and ensure the HLL requirements of Safety, Health & Environment (SHE) with a basic objective to protect People, Plant, and equipment and minimize the impact on the environment.

- Contractor shall comply with the local SHE legislations applicable.

- Contractor should follow the daily work permit system applicable to HLL including the closure. For operational and safety reasons, the work permit can be withdrawn without prior notice.

- Contractor must ensure that the employees deputed for the operation & maintenance must have a working knowledge of safety procedures in the relevant area of work. If any deviation is needed has to be get approved from the concerned authorities of HLL.

- In case of emergency, applicable system of emergency response at the work location applies and the contract shall be aware of such system.

- Contractor shall provide necessary PPEs to the employees required in the relevant area of work.

- Contractor shall adapt good standards of housekeeping such as 5S System.

- Contractor shall manage Environmental issues, including waste disposal which occur during the operations/maintenance activities in line with the HLL’s Procedure by laisoning with the concerned officials and according to the best environmental practices.

- Safety guidelines to be followed shall displayed at the working area.

- For SHE Policy refer www.lifecarehll.com

Schedule - C

HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-695017

HLL/AFT/PUR/O&M OF B&WP/2018-19                     	 			29/06/2018

MINIMUM ELIGIBILITY CRITERIA

- The Technical Bid should accompany a DD drawn in favour of M/s HLL LIFECARE LIMITED, and payable at Thiruvananthapuram for Rs. 10,000/-towards Earnest Money Deposit, failing which the Tender will be summarily rejected.

- A Declaration (as given in SCHEDULE-E) from the tenderer that the offer being submitted is as per the requirements given in this Bid is to be attached along with the document.

- Contractor should have ITI with B Class License for the operation of boilers issued by Department of Factories & Boilers, Kerala State and minimum 5 years experience in the operation and maintenance of Boiler plants having capacity of minimum 2 TPH and Operation & Maintenance of DM Water plant, Pure Steam Generator, Multi Colum Distillation unit & WFI system, ETP and Nitrogen & ETO Distribution system.

- Employees deputed for the operation and maintenance of Boilers should have ITI with B Class License for the operation of boilers issued by Department of Factories & Boilers, Kerala State and should have at least 2 years of experience in operation and maintenance of Boiler plants having capacity of minimum 2 TPH. Employees deputed for the operation and maintenance of the equipments other than Boilers should have ITI qualification.

Schedule - D

HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-695017

HLL/AFT/PUR/O&M OF B&WP/2018-19                     	 			29/06/2018

GENERAL INFORMATION OF THE TENDERER

| I.1 | Name & Address of the Tenderer |  |
| --- | --- | --- |
| I.2 | Land Phone |  |
| I.3 | Mobile Phone |  |
| I.4 | Fax No |  |
| I.5 | E-mail address |  |
| I.6 | Name of contact person (in case of organization) |  |
| I.7 | Goods Service Tax (GST) No |  |
| II.1 | Whether individual /proprietary/Partnership firm /Limited Co./Society |  |
| II.2 | If society, Whether Regd. Charitable Society/ Co-operative Society/Labour Supply Society |  |
| II.3 | The Act under which Regd |  |
| II.4 | Registration No. & Date |  |
| II.5 | Details of governing body (Please attach attested copies as proof for the above) |  |
| II.6 | Details of Financial stability |  |
| i | Name and address of your Bank |  |
| ii | Bank Account : Type |  |
| iii | Account No |  |
| iv | What is your financial stability (Rs.) (Please enclose copy of audited Annual Report for the last two years in case of Societies / firms / Company) |  |
| 3 | In the case of individuals, Details of Financial stability |  |
| a | Name and address of your Bank |  |
| b | Bank Account : Type |  |
| c | Account No |  |
| 4 | Statutory Requirements |  |
| a | Are you registered with EPF, ESI? | YES / NO |
| b | If YES the code Nos of EPF & ESI |  |
| c | If ‘NO’, can you take it within one month | YES / NO |
| d | Number & date of license obtained under the provisions of the Contract Labour (R&A) Act 1970 if any. Please attach an attested Photocopy of the license. |  |
| e | If there is no license, do you agree to take license within two weeks of awarding the work, if the work is awarded to you | YES / NO |
| 5 | Do you have experience in carrying out works mentioned in Tender Notice or similar works on contract basis. | YES / NO |
| a | If ‘YES’ give details of nature of contract work and experience and no. of workers engaged. Also attach the copy of Certificate in proof). |  |
| 6 | Are you ready to undertake and carry out the work in the Tender by engaging adequate manpower without fail as per the terms and conditions given in the Tender Notification. | YES / NO |
| 7 | If the contract is awarded to you, can you ensure that the worker engaged by you are free from contagious diseases | YES / NO |
| 8 | If the contract is awarded to you, can you ensure that medical check-up will be arranged for the workers once in a year | YES / NO |
| 10 | If the contract is awarded to you, can you ensure that prohibit smoking, chewing, eating and drinking in the work area | YES / NO |
| 11 | Do you agree to follow the provisions of all relevant laws in respect of labour, payment of wages, ESI, EPF, Bonus and GMP etc. | YES / NO |
| 12 | Have you read, understood and agree to abide by the terms and conditions of the agreement to be signed by the Tenderer and the Company, once the work is awarded | YES / NO |

DECLARATION

## I / WE confirm having read and understood the work requirements, terms & conditions and all relevant information regarding the tender Notification No - HLL/AFT/AC RUNNING/2018-19 dated 29-06-2018 and agree to abide by all without any deviation from what are stated above and contained therein in the Tender Notification.

Place:							              SIGNATURE

Date:							            Name & Address

Seal (in case of society / Organization/Firm)

Schedule - E

HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-695017

HLL/AFT/PUR/O&M OF B&WP/2018-19                     	 			29/06/2018

DECLARATION

I / We am/are fully aware of the statutory obligations to be complied with respect to this offer and on awarding the work to me/us, I/We will be responsible for all the statutory/legal aspects like Labour, cGMP etc. I/We have also fully understood the nature of work and costs involved. The rates quoted by me/us in this bid is all inclusive and in case work is awarded, during the period of contract I/We will not claim any upward revision in the rate.

SIGNATURE:

(Seal of the Tenderer) 		     	   NAME & ADDRESS OF TENDERER

HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-695017

Email: materialsaft@lifecarehll.com

Website: www.lifecarehll.com

PH:  +91 471 2445930, 2442641

FAX: +91 471 2445935

PRICE BID

TENDER NO- HLL/AFT/PUR/O&M OF B&WP/2018-19

dtd 29/06/2018

FOR

OPERATION & MAINTENANCE CONTRACT FOR

BOILER & WATER PLANT AT AKKULAM FACTORY.

Schedule - F

HLL LIFECARE LIMITED

(A Government of India Enterprise)

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-695017

HLL/AFT/PUR/O&M OF B&WP/2018-19                     	 			29/06/2018

PRICE BID SCHEDULE

- Name & Address of the Tenderer :	 ……… ………………………………….

……… ………………………………….

……… ………………………………….

……… ………………………………….

- The Tenderer shall quote his/her/its competitive rate for engaging labours for carrying out the work mentioned in the tender. The tenderer should essentially understand the Tender conditions and other requirements specified in the Technical Bid.

- The rate shall include Minimum Wage - including employee contribution of PF & ESI, Other Charges Including Employer’s PF & ESI contributions, accident insurance coverage charges, Bonus, Supervision /Service charges, Goods Service Tax (GST), Income Tax & Other Charges, if applicable and any other payments as per EPF, ESI, Bonus Acts etc or Rules applicable, at the rates prevalent. Wage calculation sheets shall also be attached with Price Bid.

- The tenderer shall submit Electronic Challan cum Return (ECR) for the previous wage month along with a copy of Challan which bears the bank acknowledgement, while submission of monthly bills. The ECR shall contain the details of labourers / workmen employed at HLL Lifecare Limited, Akkulam duly highlighted with marker pen".

- Tenderer shall submit the bill on monthly basis and the bill shall be prepared based on actual deployment (Attendance) of personnel.

- Separate Bill shall be submitted for Ash Removal (Monthly), Quarterly and Annual Maintenance.

- Monthly Bill shall be submitted before 5th of every month to the officer in charge along with the attendance statement.

HLL/AFT/PUR/O&M OF B&WP/2018-19                     	 			29/06/2018

### PRICE BID FORM

| Rate for daily running contract |
| --- |
| Sl No | Service | Qty | Unit Rate (Rs) | Amount per day (3 person * 3 Shift) (Rs) |
| A | Manpower Cost for O & M | 9 person (3 person * 3 Shift) |  | Rs: (Amount per day) |
| B | Manpower Cost for O & M / Month (31 Days) | Rs: (Rate per month) |
| C | Manpower Cost for O & M / Year (12 Months) | Rs: (Amount per Year) |
| Rate for monthly / Quarterly Annual maintanance |
| D | Ash removal from Chimney Hood (Monthly Basis) | 12 Times |  | Rs: (Amount per Year) |
| E | Quarterly Maintenance Cost [2 nos of Boiler ,Boiler No- 1&2] | 6 Times |  | Rs: (Amount per Year) |
| F | Annual Maintenance Cost [2 nos of Boiler ,Boiler No- 1&2] | 2 Times |  | Rs: (Amount per Year) |
| G | Total cost per Year (C+D+E+F) |  |
| H | Service Charge of the Contractor (……………. %) |  |
| I | Total Amount (G+H) |  |
| J | GST @ 18 % |  |
| K | Grand Total / Annum (I+J) |  |

(SEAL OF THE TENDERER)			SIGNATURE OF THE TENDERER

DATE 					                       NAME & ADDRESS