## TENDER FOR SUPPLY OF EQUIPMENT TO SKILL LAB AT REGIONAL HEALTH & FAMILY WELFARE TRAINING CENTRE, CHEBB, KANGRA, HIMACHAL PRADESH ON TURNKEY BASIS

### IFB NO: HLL/AFT-CMO/HP-SL/EQP/2018-19/02 Dt. 13.03.2019

HLL LIFECARE LIMITED

(AGOVT.OFINDIAENTERPRISE)

AKKULAM  FACTORY, SREEKARIAM  P.O.

THIRUVANANTHAPURAM – 17

Phone +91 471 244 5930, Fax      +91 471 244 5935

Email: hcdcmo@lifecarehll.com

Web: www.lifecarehll.com

SECTION I

IFB NO: HLL/AFT-CMO/HP-SL/EQP/2018-19/02, DT. 13.03.2019

## TENDER NOTICE

INVITATION TO BID (ITB)

## HLL Lifecare Limited hereby invites sealed bids under Two Bid system consisting of Technical Bid (Cover-A) and Price Bid (Cover-B) from eligible bidders for the supply of  Equipments to Skill Lab at Regional Health & Family Welfare Training Centre, Chebb, Kangra at Himachal Pradesh on turnkey basis.

| SI.No. | Equipment | Qty |
| --- | --- | --- |
| 1 | Radiant Warmer | 1 |
| 2 | Steel Stool for birth companion | 1 |
| 3 | Labour table with mattress | 1 |
| 4 | Laryngoscope with blade | 1 |
| 5 | Ambu Bag with mask Adult | 2 |
| 6 | Stethoscope with double ear piece | 4 |
| 7 | Newborn Resuscitation bag and (Mask 0,1) | 4 |
| 8 | Fetal Doppler | 2 |
| 9 | Suction Machine /foot operated | 2 |
| 10 | Adult Weighing Scale | 4 |
| 11 | Suction apparatus (Electrical operated) | 1 |
| 12 | Oxygen concentrator with all accessories | 1 |
| 13 | Autoclave machine | 1 |
| 14 | Nebulizer | 1 |
| 15 | Wall clock with seconds hand | 2 |
| 16 | Thermometer / Wall Mounted | 1 |
| 17 | Clock with seconds hand | 4 |
| 18 | Hub Cutter | 5 |
| 19 | Focus lamp | 1 |
| 20 | Refrigerator | 1 |
| 21 | Baby weighing scale | 2 |
| 22 | Crash trolly (Crash Cart) | 1 |
| 23 | Kelly’s Pad with inflating bulb | 2 |
| 24 | Height recording equipment | 4 |
| 25 | Sims Speculum | 4 |
| 26 | Autoclave drum (Small) | 3 |
| 27 | BP Digital Apparatus | 4 |
| 28 | Dictaphone | 2 |
| 29 | Sahli’s Haemoglobinometer Kit | 2 |
| 30 | Oxygen cylinder with key (and accessories) (B-Type) | 2 |
| 31 | Neonatal stethoscope | 4 |

A.INTRODUCTION

1. Eligible Bidders

1.1	Primary manufacturers / dealers are eligible to participate in the tender.

1.2 	Bidders should not be associated with the purchaser for the preparation of the design, specifications, and other documents used for the procurement of the goods under this Invitation of Bids.

1.3 	The bidder should have a minimum 3 years’ experience in the field of manufacture and/or supply of Medical Equipments.

1.4 	Bidder should have good financial background proven by balance sheet of three immediate previous financial years showing profit.

| Sl. No. | Minimum Eligibility criteria | Narrations Other than Tender No. |
| --- | --- | --- |
| 1 | Experience | Should have a minimum of 3 years’ experience in dealing and supplying Medical Equipments. |
| 2 | Entirety | The tenderer shall quote for all items tendered, if any of the item not quoted then their bid will be treated as non responsive. |
| 3 | Licenses/Registrations for undertaking, supply and installation contracts | Primary manufactures who participate in the tender must produce their valid manufacturing license. - Tenderers, other than manufacturers, who participate in this tender must produce the followings: - An authorization letter from Manufacturer’s / authorized distributors to participate in this tender for the items tendered. - Manufacturer’s manufacturing license / Distributor appointment letter to do the business in Himachal Pradesh State. - Item wise Technical compliance sheet to match the technical specification prescribed in this tender at SECTION IV |
| 4 | Quality Certifications | Should have necessary valid Quality/System Certifications like ISO, CE, FDA etc) as applicable – to match technical specifications/ requirements item wise as in the tender. |
| 5 | Good financial capability necessary to perform the Contract | - Annual Turnover Statement preceding last 3 years (Certified by the Chartered accountant). The turnover should be atleast Rs. 25 Lakhs in all the last 3 financial years. |

2. (a) LAST DATE AND TIME FOR RECEIPT OF BIDS IS 03.04.2019 AT 14.00 HRS

(b) TIME AND DATE OF OPENING OF BIDS IS 03.04.2019 AT 15.00 HRS

B. THE BIDDING DOCUMENTS

3. Contents of Bidding Documents

3.1 	The goods required, bidding procedures and contract terms are prescribed in the Bidding documents.

3.2 	The Bidder is expected to examine all instructions, forms, terms and specifications in the Bidding Documents. Failure to furnish all information required by the Bidding Documents or submission of a bid not substantially responsive to the Bidding Documents in every respect will be at the Bidder’s risk and may result in rejection of its bid.

4. Clarification of Bidding Documents

4.1  	A prospective Bidder requiring any clarification of the Bidding Documents may notify the Purchaser in writing at the Purchaser’s mailing address indicated in the Invitation for Bids. The Purchaser will respond in writing to any request for clarification of the Bidding Documents which it receives not later than 5 days prior to the deadline for submission of bids prescribed by the Purchaser. Written copies of the Purchaser’s response (including an explanation of the query but without identifying the source of enquiry) will be sent to all prospective Bidders who have received the bidding documents.

5. Amendment of Bidding Documents

5.1  	At any time prior to the deadline for submission of bids, the Purchaser may, for any reason, whether at its own initiative or in response to a clarification requested by a prospective bidder, modify the Bidding Documents by an amendment.

C. PREPARATION OF BIDS

6. Language of Bid

6.1 	The Bid prepared by the bidder and all correspondence and documents relating to the bid exchanged by the Bidder and the Purchaser, shall be written in the English language. Supporting documents and printed literature furnished by the Bidder may be written in another language provided they are accompanied by an accurate translation of the relevant passages in the English language in which case, for purposes of interpretation of the Bid, the English translation shall govern

7. Documents Comprising the Bid

Following documents and forms are to be comprised

- Tender Fee : DD for Rs. 525.00 (inclusive of tax) drawn in favour of HLL Lifecare Limited payable at Thiruvananthapuram is to be attached towards tender fee.

- EMD / Bid Security for Rs. 8,000/- in form of DD, drawn in favor of HLL Lifecare Limited, payable a Thiruvananthapuram. The EMD / Bid Security shall be refunded to the non-responsive bidders within 60 days from the date of opening of Bid. The Tender received without EMD will be rejected.

- SSI/MSME units interested in availing exemption from payment of Tender Fee & EMD should submit a valid copy of their registration certificate issued by the concerned DIC or NSIC. SSI/MSME units are not exempted from the Security Deposit, if the tender is awarded.

- The technical specifications enclosed along with the bid document shall be confirmed by signature of the bidder/authorized signatory of the bidding firm, in all pages and authorized by official seal. The information shall be filled, wherever necessary as per the instructions given.

- Duly attested copies of factory license/Industrial/licenses, sales tax registration, and documents to prove the legal status, place of registration and principal place of business of the undertaking

- Duly attested copies of quality certificates for the products, quality system certifications as specified in technical specification. Item wise Product catalogue/Detailed printed literature to prove the technical specification along with COMPLIANCE SHEET (SECTION IV) confirming to technical specification should be attached with offer.

- Performa for equipment and tenderer details, duly filled as per section II

- Performance statement in the proforma under section III

- Documentary evidence established in accordance with ITB Clause 1 that the Bidder is eligible to bid and is qualified to perform the contract if its bid is accepted;

j)  	Documentary evidence that the goods and ancillary services to be supplied by the Bidder shall conform to the Bidding Documents.

k)     Duly filled Check list as per section XI

l)      Duly filled Bid Form and price schedule in separate sealed envelop

8. Bid Prices

8.1    The Bidder shall indicate in the Price Schedule, the Unit Prices and Total Prices of the equipments it proposes to supply under the Contract.

8.2    Prices indicated on the Price Schedule shall be entered separately in the following manner:

(i)   The price of the goods, quoted ex-factory/ex-show-room/ex-warehouse, or off-the-shelf, or delivered, as applicable, including all duties and sales tax and other taxes already paid or payable:

(a)   On components and raw material used in the manufacture or assembly of the goods quoted ex-factory; or

(b)  On the previously imported goods of foreign origin quoted ex-showroom, ex-warehouse or off-the-shelf.

- charges for inland transportation, insurance and other local costs incidental to delivery of the goods to the final destination;

8.3     The Bidders separation of the price components in accordance with ITB Clause 8.2 above will be solely for the purpose of facilitating the comparison of bids by the Purchaser and will not in any way limit the Purchaser’s right to contract on any of the terms offered.

8.4     	Fixed price: Price escalation not entertained during the pendency of contract..

8.5      The Price schedule shall be kept in separate sealed envelopes.

8.6   The bidder should quote for all the items indicated in the Price Schedule               SECTION VIII. In case the tenderer is not quoting for all the items, then their bid will be treated as non responsive.

9. Bid Currencies

9.1    Prices shall be quoted in Indian Rupees.

10. Period of Validity of Bids

10.1   Price Bid shall be valid for 180 days from the date of opening of Price Bid

10.2 	In exceptional circumstances, the Purchaser may solicit the bidders consent to an extension of the period of validity. The request and the responses thereto shall be made in writing.

11. Format and Signing of Bid

11.1 	The bid shall be typed or written in indelible ink and shall be signed by the Bidder or a person(s) duly authorized to bind the Bidder to the Contract. The letter of authorization shall be indicated by written power-of-attorney accompanying the bid. All pages of the bid, except for unamended printed literature, shall be initialed by the person(s) signing the bid.

11.2    Any interlineations, erasures or overwriting shall be valid only if they are initialed by the person or persons signing the bid.

D. SUBMISSION OF BIDS

- 12. Sealing and Marking of bids

Separate bids shall be submitted for price bid and technical bids.

12.1   The bidders shall seal Technical bid   and Price bid in separate covers duly marking on the envelopes as “TECHNICAL BID” - cover “A” and “PRICE BID” - cover “B”. The Bidders shall then place both the envelopes (cover “A” & cover “B”) in an outer envelope. The name of the product for which the bid is made must be marked on both the inner envelops and the outer envelope.

12.2   The inner and outer envelopes shall be addressed to the Purchaser at the following address:

The Joint General Manager (Materials)

HLL Lifecare Limited, Akkulam Factory, Sreekaryam  P.O. ,

Thiruvananthapuram -17   Phone 0471 2445930 / 2445935

Email :hcdcmo@lifecarehll.com

- The outer & inner envelope shall bear the tender number super scribed with ” SUPPLY OF EQUIPMENTS TO SKILL LAB AT RHFWTC, CHEBB, HIMACHAL PRADESH- HDU PROJECT” and also “DO NOT OPEN BEFORE 15.00Hrs. ON 03.04.2019”.

- The inner envelope shall also indicate the name and address of the bidder to enable the bid to be returned unopened in case it is declared “late/disqualified”.

- If the inner and outer envelopes are not sealed and marked as required, the Purchaser will assume no responsibility for the bid’s misplacement or premature opening.

- Bids must be received by the Purchaser at the address specified not later than the date and time specified in the Invitation For Bid.  In the event of the specified date for the submission of bids, being declared a holiday for the Purchaser, the bids will be received up to the appointed time on the next working day.

- The Purchaser may, at its discretion, extend this deadline for the submission of bids by amending the bidding documents in which case all rights and obligations of the Purchaser and bidders previously subject to the deadline will thereafter be subject to the deadline as extended.

13. LATE BIDS

13.1   Any bid received by the Purchaser after the deadline for submission of bids prescribed by the Purchaser, will be rejected and returned unopened to the bidder.

14.  MODIFICATION AND WITHDRAWAL OF BIDS

14.1 	The bidder may modify or withdraw its bid after the bid submission, provided that written notice of the modification or withdrawal is received by the Purchaser prior to the deadline prescribed for submission of bids.

14.2   The bidder’s modification or withdrawal notice shall be prepared, sealed, marked and dispatched in accordance with the provisions of ITB Clause 12.  A withdrawal notice may also be sent by e-mail, but followed by a signed confirmation copy, post-marked not later than the deadline for submission of bids.

14.3   No bid may be modified subsequent to the deadline for submission of bids.

14.4 	No bid may be withdrawn in the interval between the deadline for submission of bids and the expiration of the period of bid validity specified by the bidder in the Bid Document.

E. BID OPENING AND EVALUATION

15. Opening of Bids by Purchaser

15.1  The Purchaser will open all technical bids (Cover A), in the presence of bidder's representatives who choose to attend, at 15.00Hrs on 10.01.2018  at the following location:

HLL Lifecare Limited,

Akkulam Factory,

Sreekaryam  P.O. ,

Thiruvananthapuram -17

Phone 0471 2445930 / 2445935 Email : hcdcmo@lifecarehll.com

15.2 	In the event of the specified date of bid opening being declared a holiday for the Purchaser, the bids shall be opened at the appointed time and location on the next working day.

15.3  The “Price Bid” (Cover B) will be opened after evaluation of “Technical bids”                 The date and time of price bid opening will be intimated to bidders whose bids are qualified.

15.5 	The purchaser will scrutinize the technical bid for compliance to the specifications and documentation requirement as per the bid document. Purchaser may depute its competent officers to the premises of the bidder qualified on the basis of technical scrutiny, for on-site evaluation of the claims made in the technical bid, if deemed appropriate on purchaser’s sole discretion. The price bid of the bidders who are disqualified at the technical scrutiny and on-site evaluation will be returned un-opened.

16.  CLARIFICATION OF BIDS

16.1   During evaluation of bids, the Purchaser may, at its discretion, ask the bidder for a clarification of its bid.  The request for clarification and the response shall be in writing and no change in prices or substance of the bid shall be sought, offered or permitted.

17. PURCHASER’S RIGHT TO ACCEPT ANY BID AND TO REJECT ANY OR ALL BIDS

17.1	The Purchaser reserves the right to accept or reject any or all bid(s), and to annul the bidding process at any time prior to award of Contract.

18. PRELIMINARY EXAMINATION

18.1 The Purchaser will examine the bids to determine whether they are complete.

18.2  Arithmetical errors in the price bid will be rectified on the following basis.  If there is a discrepancy between the unit price and the total price that is obtained by multiplying the unit price and quantity, the unit price shall prevail and the total price shall be corrected. If there is a discrepancy between words and figures, the amount in words will prevail.  If the bidder does not accept the correction of the errors, its bid will be rejected.

18.3 	A bid which is not substantially responsive will be rejected by the Purchaser and may not subsequently be made responsive by correction of the non-conformity by the bidder.

19. EVALUATION AND COMPARISON OF BIDS

19.1   The purchaser’s evaluation of a bid will take into account the bid price including all costs as well as duties and taxes paid or payable and price of incidental services, if any, and  to the extent of  technical specifications, including following aspects;

- cost of transportation, insurance and other costs incidental to the delivery and installation of goods at the designated delivery destination and  handing over the same to the Purchaser, in Himachal Pradesh State.

20. CONTACTING THE PURCHASER

20.1    If the bidder wishes to bring additional information to the notice of the purchaser, during the process of tenderers, it should do so in writing.

21. INSPECTION AND TESTS

21.1    The Purchaser or its representative shall have the right to inspect and/or to test the Goods to confirm their conformity to the Contract at no extra cost of the Purchaser. The Purchaser shall notify the Supplier in writing of such inspection/test in detail.

21.2	The inspections and test may be conducted on the premises of the Supplier or its subcontractor(s), at point of delivery and/or at the Goods final destination. The Supplier or its subcontractor(s) shall provide all reasonable facilities and assistance for such tests/inspections, at no charge to the Purchaser.

21.3	In case any Goods fail to conform to the specifications in test/inspection, the Supplier shall either replace such Goods or make all alternations necessary to meet specification requirements free of cost to the Purchaser.

F. AWARD OF CONTRACT

22. AWARD CRITERIA

22.1 	The contract will be awarded to the successful bidder whose bid has been determined to be substantially responsive and as the lowest price offered by the bidder.

23. PERFORMANCE SECURITY

23.1.  On award of contract, within thirty (30) days from date of the issue of LOI/PO, the supplier shall furnish Performance Security for an amount equal to 10 % of the total value of the contract, valid up to 60 days after the date of completion of 1 year warranty period, i.e.  initially valid for a total period of minimum 14 months.

23.2	The Performance security shall be denominated in Indian Rupees, and it shall be  in either by  Account Payee Demand Draft drawn from any Scheduled bank in India or Bank Guarantee issued by a Scheduled bank in India, in the prescribed form in favour of  Purchaser

23.3	In case of the successful tenderer fail to furnish the required Performance Security within the time schedule mentioned in clause 23.1 above, the EMD will be forfeited and the award will be cancelled.

24. PURCHASER’S RIGHT TO VARY QUANTITIES AT TIME OF AWARD

24.1    The Purchaser reserves the right to increase or decrease the quantity of goods and services originally specified in the bid document without any change in unit price or other terms and conditions within the bid validity period.

24.2   The quantities mentioned herein are present requirement and in case more or less quantity is required, the suppliers should be prepared to effect supply at short notice on the same terms and conditions.

- PACKING, FORWARDING AND DELIVERY

  - The packing, forwarding and delivery of items in the tender shall entirely be at the scope and responsibility and cost of the tenderer.

- DELIVERY AND DOCUMENTS

  - Details of Quantity and Destination of the items to be delivered are given in SECTION V to this tender. Delivery, in line with LOI/PO, shall be made along with necessary documents like warranty certificate, equipment manual, test certificate and also other documents, as applicable.

27. DELAYS IN DELIVERY OF GOODS

27.1    The Goods shall be delivered by the Supplier within 30 days from the date of placing the Letter of Indent/Purchase Order.

27.2 	   A delay in delivery of items/obligations shall render to the imposition of penalty on the supplier in line with this tender or LOI/PO to be released, unless an extension of time is got approved from the purchaser.

27.3    In case of the Supplier fails to deliver any or all of the Goods/Services within the time period(s) specified in the Letter of Indent /Purchase Order, the purchaser shall, without prejudice to its other remedies under the Contract, deduct from the Contract Price, the penalty, a sum equivalent to the percentage specified in the purchase order/tender.

28. WARRANTY

28.1 	This warranty shall remain valid for One year from the date of delivery, installation and handing over the items to the Purchaser at the respective destinations.

28.2   Any major repair during the warranty period shall be rectified by the Supplier within 3 days of  intimation. Failing which the Purchaser has the right to levy penalty on the Supplier per day or  part thereof,  until the equipments are repaired and commissioned to the satisfaction of the Purchaser.

29. COMPREHENSIVE ANNUAL  MAINTENANCE CONTRACT (CAMC)

  - The CAMC shall be quoted by the bidder as prescribed in the Section X. The CAMC period shall be for 5 years after completion of 1 year Warranty Period. The applicable taxes shall be indicated separately. The CAMC rates without indication of taxes will be considered as all inclusive.

  - On placing CAMC order, the supplier shall furnish a performance security for  5% of the CAMC value per annum  in the form of  Demand Draft or Bank Guarantee in the prescribed form, from any Scheduled bank in India, within 7 days on receipt of CAMC order.  The performance security shall be renewed every year till the completion of CAMC period.

  - 2 preventive maintenance shall be carried out by the contractor in a year, i.e each  in every 6 months. The minimum gap between any two preventive maintenance shall be 150 to 180 days.

  - The firm shall also attend any  number of breakdown calls as and when required in the CAMC period, not later than 8 hours of call and all major repairs shall be rectified within 3 days from the date of intimation.

  - The periodical preventive maintenance and breakdown calls including replacement of defective spares shall be attended by the tenderer at free of cost to maintain the 95% uptime guarantee.

  - In the event of the downtime exceeding the prescribed maximum period, the warranty period will be accordingly extended and the effective date of commencement CAMC will be shifted accordingly.

  - The bidder should ensure availability of spares for the period of at least 6  years from the date of installation of equipment.

30      PAYMENT TERMS

## 50% of supply value shall be released against supply and certificate for receipt of the item in good condition from the Hospital/HLL.

## b)  40% payment shall be released against certificate of installation and commissioning certified by the Hospital Authorities/HLL Site Incharge.

c)   Final 10% shall be released against submission of certificate issued by Hospital/HLL certifying that the facility has been installed, commissioned and handed over and submission on Performance Security and other documents stated in this tender.

30.2   Payment for CAMC:

The payment of CAMC will be made on six monthly basis after satisfactory completion of said period, duly certified by the respective Hospital authorities.

31. PATENT RIGHTS

31.1	The Supplier shall indemnify the Purchaser against all third-party claims of infringement of patent, trademark or industrial design rights arising from use of the Goods or any part thereof.

32.  INCIDENTAL SERVICES

32.1 	The supplier may be required to provide any or all of the following services, including additional services, if any, as specified.

(a) 	Supervision of the on-site assembly and/or start-up of the supplied goods.

(b) 	Furnishing of tools and detailed manual of operations and maintenance.

(c) 	Training of the Purchaser’s Personnel, at the Supplier’s plant and/or on-site, in assembly, start-up, operation, maintenance and/or repair of the supplied Goods.

33. CONTRACT AMENDMENTS

33.1 	No variation in or modification of the terms of the Contract shall be made except by written amendment signed by the parties.

34. ASSIGNMENT

34.1 	The Supplier shall not assign, in whole or in part, its obligations to perform under the contract, except with the Purchaser’s prior written consent.

35. LIQUIDATED DAMAGES

35.1	If  the Supplier fails to deliver the Goods or to perform the Services within the period(s) specified in the Contract, the Purchaser shall, deduct liquidated damages from the Contract Price,  a sum equivalent to the percentage of  price of the delayed Goods or unperformed Services for each week or part thereof of delay until actual delivery or performance, up to a maximum deduction of the percentage as specified below.

35.2    Liquidated  Damage  : Penalty shall be  at the rate of  0.5%  per week  subject    to a maximum of 7.5% of the total contract value for the delay beyond the agreed period.  Once the maximum is reached, the Purchaser may consider termination of the Contract at cost of supplier.

36. TERMINATION BY DEFAULT

36.1	In case  the Supplier fails to deliver any or all of the goods within the period  specified in the LOI/PO or extension thereof  or the Supplier fails to perform any other obligation(s) under the contract, the Purchaser may, without prejudice to any other remedy for breach of contract, by written notice of default sent to the supplier, terminate the Contract in whole or part;

.

36.2	In the event the such termination,  in whole or in part,  the Purchaser may procure the Goods or Services similar to those undelivered, and the Supplier shall be liable to the Purchaser for any excess costs for such similar Goods/Services.

37    FORCE MAJEURE

37.1    For purposes of this Clause “Force Majeure” means an event beyond the control of the Supplier and not involving the Supplier’s fault or negligence and not foreseeable. Such events may include, but are not limited to, acts of the Purchaser either in its sovereign or contractual capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions and freight embargoes.

37.2	If a Force Majeure situation arises, the Supplier shall promptly notify the Purchaser in writing of such conditions and the cause thereof. Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by the force majeure event.

38. RESOLUTION OF DISPUTES

38.1 	The Purchaser and the supplier shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute arising between them under or in connection with the Contract.

38.2    In case the Purchaser and the Supplier have been unable to resolve amicably a Contract dispute with in 30 days, the dispute may be referred for resolution to the formal mechanisms. These mechanisms may include, but or not limited to, conciliation mediated by a third Party, adjudication in an agreed national forum, and national arbitration.

38.3    The jurisdiction of any disputes, suits and proceeding arising out of this tender shall be only in the court of Thiruvananthapuram.

General Manager (Materials)

SECTION II

PROFORMA FOR DETAILS OF EQUIPMENT AND TENDERER

IFB NO: HLL/AFT-CMO/HP-SL/EQP/2018-19/02, DT. 13.03.2019

DATE OF OPENING :   ……..

NAME OF THE BIDDER : ……………………………………..

- Name & Full address of the BIDDER:  ……………………………………………………

……………………………………………………………………………..

………………………………………….

| 1 | PAN No |  |  |
| --- | --- | --- | --- |
| 2 | ECC Code : |  |  |
| 3 | IEC if applicable : |  |  |
| 4 | CST No |  |  |
| 5 | TIN No |  |  |
| 6 | Any other details |  |  |
| 7 | Phone No. | Office No |  |
|  |  | Mobile No. |  |
| 8 | Email Id : |  |  |

- Location of the manufacturing factory/show room :

- Whether Goods are tested to any standard specification: YES / NO

If “YES”, copies of specifications & original test certificates should be submitted.

PLACE:                                               NAME AND SIGNATURE OF THE TENDERER

DATE:                                                                                           (WITH OFFICE SEAL)

SECTION III

PROFORMA FOR PERFORMANCE STATEMENT

(for a period of last 3 years)

IFB NO: HLL/AFT-CMO/HP-SL/EQP/2018-19/02, DT. 13.03.2019

| Order Received from (Name & Address of Purchaser) | Description Of ordered item | Quantity | Whether attached performance certificate received from the purchaser along with the tender |
| --- | --- | --- | --- |

PLACE:                                NAME AND SIGNATURE OF THE TENDERER

DATE:                                                          (WITH OFFICE SEAL)

## SECTION IV

TECHNICAL SPECIFICATION.

- Radiant Warmer with clamp to hold oxygen cylinder

- The radiant warmer with clamp to hold the oxygen cylinder

- Heater Element Quartz Encapsulated 600 watts heater with parabolic Reflector

- Heater Output 0 to 100%. 20% increment

- Probe Thermistor based interchangeable probe

- Range 25º C to 40º C

- Accuracy + 0.2º C

- Resolution0.1º C

- Power 180V to 250V at 50Hz 700W

- Temperature Display Bright 1” numerical LED display for Infant Temperature

- Bright 0.5” numerical LED display for Set Temperature

- Safety Automatic cutoff of heater at 40º C Key Lock facility

- Heater Module Swivel + 90º

- Mattress Size 800 X 500mm (2” THICK)

- Alarms high Temperature, Low Temperature, Temperature probe failure, System failure, Heater failure

- Coating Epoxy/Powder coated body for scratch and rust Prevention

- Should be provided with an instrument tray

- Should have a provision for X-Ray cartridge placement below the mattress of the infant to take X-Ray without disturbing the infant

- The heater unit should swivel away to accommodate the X ray unit above the bed of the infant.

- Should be provided with an IV pole and should have sufficient strength and diameter to carry 2 infusion pumps

- Should have one tray and a utility drawer

- Should have halogen based examination lamp and should have a provision on either side as an accessory.

- Device is produced by ISO certified manufacturer

- Device is safety certified according CE certified or equivalent.

- Stool for birth companion

- It should be U shaped for and useful for birth companion of pregnant women.

- Made of SS frame and with foam Rexene with wash proof on top for comfort for birth companion for a pregnant woman.

- Load bearing upto 150 Kgs.

- Labor table with mattress

- Should be full Stainless steel (SS)

- Strong tabular squire/round frame mounted on PVC stumps

- Stainless steel top in three sections

- Tendleburg position adjustable by pneumatic gas spring system

- Back rest section adjustable on ratchet

- Leg end section can slide under the main section

- A pair of knee crutches with height adjustable

- SS, IV stand socket

- SS basin and basin holder

- Supplied with suitable cushion top

- Table legs with rubber padding

- Approx. Dimension: 72’’L x 22’’W x 30’’H

- Loading bearing 250kgs with adjustable Leg end section can slide under the main section

- It should be robustness in quality.

- Foam Approx. Dimension: 72’’L x 22’’W x 30’’H

- It should be 3 sections with filled mattress - pad and cover matters pad in 3 sections.

- It should be robustness in quality.

- Should meet the National standards laid down such as ISO Certified manufacturer.

- Laryngoscope with blade

- Laryngoscope set with neonate blades

- Constituted of large hollow, cylindrical, slightly ribbed handle and a set of depressors in SS

- Handle is made of either chromium-plated or stainless steel and can be opened at an extremity to insert two alkaline batteries (LR14, size C, 1.5 Volts). The other end has a stud contact which fits the various sizes and types of depressors.

- 2 x curved depressors, Macintosh type No. 1, approx 68 mm lengths with halogen bulb

- 2 x straight depressors, Miller type No. 0, approx 53 mm length with halogen bulb

- Presented in suitable protective plastic box

- Device is produced by ISO 9001 certified manufacturer

- Device is safety certified according CE 93/42, FDA 510k or equivalent.

- AMBU Bag with mask Adult

    - Resuscitator for manual ventilation of neonates

    - Ventilation can be done with ambient air or with oxygen

    - Resuscitator can be totally disassembled, is easy to clean, disinfect and sterilize

    - All parts can be autoclaved at 120°C (except O2 reserve bag)

    - Manufactured from durable high-strength synthetic not requiring special maintenance or storage

    - Resuscitator is supplied as a complete set in a box

    - Compressible self-refilling ventilation bag, capacity, approx. 500 ml

    - With non-re breathing patient valve with pressure limitation

    - Intake valve with nipple for O2 tubing

    - O2 reserve bag complete, capacity approx.: 2000 ml

    - 2 Nos of cushioned neonate size masks, translucent of each (Size “0”, approx: 50 mm)

    - Device is produced by ISO 9001 certified manufacturer.

- Stethoscope with double ear piece for adult

- Double cup stethoscope for adult

- Chest piece in stainless steel with non-chill plastic rim

- Diaphragm approx: 20 mm

- Sensitivity approx 3.0 dB from 50 to 500 Hz (cardio)

- Sensitivity approx 8.0 dB from 600 Hz to 1500 Hz (pneumo)

- Y tube: treated rubber with large diameter

- Arms: stainless steel or chrome brass, with treated spring for lasting elasticity and comfort

- Removable plastic ear-pieces

- Device is produced by ISO Certified manufacturer.

- Newborn Resuscitation bag and (mask 0,1)

- Resuscitator for manual ventilation of neonates

- Ventilation can be done with ambient air or with oxygen

- Resuscitator can be totally disassembled, is easy to clean, disinfect and sterilize

- All parts can be autoclaved at 121°C (except O2 reserve bag)

- Manufactured from durable high-strength synthetic not requiring special maintenance or storage

- Resuscitator is supplied as a complete set in a box

- Compressible self-refilling ventilation bag capacity

- With non-re breathing patient valve with pressure limitation

- Intake valve with nipple for O2 tubing

- One cushioned neonate masks, translucent (Size 0 &1)

- Device is safety certified according CE equivalent.

- Fetal Doppler

- Pocket Fetal Doppler is a hand-held obstetrical unit, which can be used in hospital, clinic and home for daily self-check by pregnant woman.

- The user interface includes power button, mode button, volume control, single speaker, headphone jack and LCD display for heart rate, battery and working mode, probe type.

- Li, Battery LED indicator

- Inspection of the battery Ц Built-in speaker Li, Output for headphones Li, 2 MHz/3 MHz probe can be connected Ц Probe inspection

- Li, Two pieces of standard 1.5V alkaline battery available which can work no less than 10 hours.

- Suction Machine /foot operated

- High performance suction pump for pharyngeal and tracheal suction

- Double acting piston pump provides a combination of large airflow and high vacuum

- See-saw movement of pedal generates suction every time one side of the pedal is depressed

- Pump chassis complete with valve diaphragms, manifold pipe, bottom cover, cylinder with draw

- link and valve diaphragm, piston O-ring, pedal with retaining springs, aspirating tube with angle

- All parts can be autoclaved at 121°C

- Vacuum, max: 400 mmHg

- Free airflow at two pumping strokes per second, approx: 30 to 40 L/min

- All parts made of high-strength, long-life materials, not requiring specific maintenance or storage

- Transparent polycarbonate collection container capacity, approx: 1 L

- Manifold pipe: polypropylene

- Gasket, O-rings and valve diaphragm: silicone rubber

- Foot pedal: Aluminum

- Device is produced by ISO 9001 certified manufacturer.

- Adult Weighing Scale

- Should have high precision mechanism

- Should have fine zero adjustment

- Contemporary round or Squire in design

- Should be robust construction & portable, anti rust coated parts

- Wide window for clear & better visibility of weight reading

- Should provide accurate reading

- Weighing Capacity should be 0.5 kg to 150 kg.

- Device is produced by ISO 9001 certified manufacturer.

- Suction apparatus (Electrical operated)

- Portable suction pump with 1or 2 liter plastic jar

- Dismantable for easy cleaning, jar autoclavable.

- Shock resistance protects from dropping

- Light, easy to carry and keep clean

- Jar with plastic cover, gasket and overflow valve

- With suction regulator, vacuum gauge

- Suction power: 15 L/min

- Vacuum, max: 600 mmHg

- Power requirement: 220 V/50 Hz

- Power consumption: 100 W

- Device is produced by ISO 9001 certified manufacturer.

- Oxygen concentrator with all accessories

- The portable O2 concentrator with Nebulizer having strong and durable construction with ABS plastic body required with following specification.

- Flow range: 0 to 5ltrs/min.

- Maximum pressure: Atleast 7 PSI.

- Noise level: <50 db.

- Filters: Necessary bacterial Filters 2 sets to be supplied.

- Nebulizer flow ranger: > 0.2 Ltrs / minute.

- Masks: Necessary mask suitable to Adult & Pediatric with medicine chamber should be provided –2 sets.

- Power supply: 230 + 10 % 5A.

- Machine should have 4 castors for easy mobility with 2 breaks.

- It should be robustness in quality.

- Device is produced by ISO certified manufacturer.

- Autoclave machine

- Portable vertical sterilizer Autoclave seamless is made out of thick High Quality Stainless Steel (Grade 304)

- Deep Drawn to Cylindrical shape, having no joints and welding.

- Seamless (Jointless Construction allows no bacteria residue and free from dirt accumulation.

- The steam pressure inside the Autoclave can develop from 1.10 kgf/sq.cm (15 psi)  to 1.25 kgf/sq.cm (18 psi)

- Precisely tested pressure regulator and precision pressure gauge

- Gasket Release System (GRS) and safety valve that automatically defuses pressure to safe level.

- Capacity, 25 to 30 Liters.

- Electrically operated

- Dial pressure gauge graduated in kg/cm3, PSI and degrees Fahrenheit

- Working 1.2 Kg/ cm2 (Gauge Pressure) 121°C

- Cover fitted with excess pressure release valve and pressure gauge

- Device is produced by ISO certified manufacturer

- Device is safety certified according CE or equivalent.

- Supplied with:

- Supplied with power card

- User manual with trouble shooting guidance, in English

- Assembly and installation at end-user site.

- Nebulizer

- Piston type compressor (2.5 bar pressure)

- Powerful and silent unit

- Compressor flow: 11.1/min

- Nebulizer flow : 6.01/min

- Max. Pressure : 2.5 bar – 16 psi

- Accessories: mouth piece, nose piece, adult mask.

- Paediatric mask, ‘t’ piece, spare air filter ( 5 nos)

- The equipment should be suitable for operation in temperatures from 100°C to 450°C with a relative humidity of 100%

- Equipment sensitive to fluctuations should be provided with stabilizers.

- Controls (Eg. switches, knobs) should be visible and clearly identified.

- Device is produced by ISO Certified manufacturer.

- Device is safety certified according CE or equivalent.

- Wall clock with seconds hand

- Should be reputed brand and make

- Supplied with second hand

- With one battery

- Round or squire in shape.

- Room Temperature Thermometer / Wall Mounted

- It should have provision for hang suitable for monitoring temperatures in room

- Temperature scale: Degree Celsius or Fahrenheit selectable

- Should have show display of temperature in mercury level upper & lower

- Temperature Range: 10 °C to 70 °C

- Resolution: 1ºC, Accuracy: ± 1ºC

- Manufacturer should be ISO certified.

- Clock with seconds hand

- Should be reputed brand and make

- Supplied with second hand

- With one battery

- Round or squire in shape

- HUB CUTTER

- Should be smooth and super finished round in shape

- Material used: The cutting blade of the cutter will be made of stainless steel. The thickness of the blade will not be less than 0.5 mm with one side sharpen to cut minimum of 10,000 cuts

- Shape: The shape of the container will be such that the lid is tightened with the body with a twist and cannot be opened by pulling the lid and the body in the opposite direction. The container containing the cut hub along with needle of various size will be ¾ full when filled with 200 cut hub with needles.

- Capacity Range: Able to destroy from hub of AD syringe with needles from 18-28 gauge diameter and from 10-25 mm length and fitted with all types of needle fittings, eg, fixed luer lock, luer ship of snap-on.

- Resistance to piecing: Container shall accept 200 cut needles along with the hub when it is ¾th full (filling line). Needles shall not penetrate container walls when filled up to the filling line. The average of forces needed to penetrate samples shall be not less than 15 N.

- Temper-proofing: When contaminated needles are being dropped into the containers, it shall remain sufficiently sealed so as to prevent a hand from entering. Needle should not protrude from the container when the box contains 200 needles with hub.

- Capacity of Container: Should have sufficient capacity to hold 200, 18-28-gauge, 10-25 mm long needles with hub.

- Colour: The container shall be translucent white in color and will allow visual inspection from    outer surface to determine when the container is full.

- Technique: The device shall be designed to facilitate the location and entry of the needles so that the AD syringe is cut from hub by having:

- A non-critical angle of the needle relative to the entry point.

- An entry target area which is recessed, concave and diameter is such that it allows all type of AD syringe available in the market to cut from hub.

- Handling: Able to be carried in one hand and portable.

- Focus lamp

- It should be Flexible gooseneck arm

- Integrated Transformer

- Stand with anti-static swivel castors.

- User manual with trouble shooting guidance, in English

- Installation and Training at end-user site.

- Device is produced by ISO certified manufacturer.

- Refrigerator

- Should be reputed make double door refrigerator

- Capacity should be minimum 210 liters

- Should have a freezer compartment

- Should have automatic defrosting facility

- Should have five star electrical energy rating

- System accessories, Spares & Consumable

- System as specified

- Power Supply, power input to be 220-240 VAC, 50 Hz

- Supplied with stand and Stabilizer

- User manual with trouble shooting guidance, in English

- Baby weighing scale

- Electronic scale for weighing new born babies

- Measuring range 0 to approx 10 kg

- Minimum graduation: 10gram

- with tare function

- On switch and auto-off

- Auto-calibration with each switch-on

- Large LED display readable in low light working situations, display cover durable plastic

- Display in kg and lbs, easy switch between kg and lbs

- Reading time max 5 seconds

- Zero weighing adjustment

- Freeze reading feature

- Smooth surface/finishing allows for easy cleaning/disinfection.

- All vital parts made of rust proof materials

- Horizontal leveling with height adjustable feet

- Splash proof and shock resistant light-weight body

- Power requirements: 115-240 V/50 Hz

- Device is produced by ISO 9001 certified manufacturer

- Crash trolley  (Crash Cart)

- Overall size should be more than 940mm L x 500mm W x 1500 mm H.

- The crash cart should be made of SS grade tabular frame and SS sheet grade.

- Should have SS Shelves, six colour removable bins & two polystyrene lockable storage units with three drawers each.

- Facility to carry any Monitors or Defibrillators, etc. On open areas at top and bottom shelves

- Should have stainless rods fixed

- Two accessory mounting brackets to mount accessories anywhere without the need of pre-threaded holes.

- Crash cart should be mounted on 12.5cms dia non-rusting swiveling castor wheels, two having locking arrangement.

- Should have push handles

- It should be robustness in quality.

- Device is produced by ISO certified manufacturer.

- Kelly’s Pad with inflating bulb

- This pad used at time of delivery it come under the consumable product.

- It should be made of best quality latex rubber and easy washable type.

- Height recording equipment

- Height measuring tape will have the provision for fix to the wall

- After fix they have to pull down and observe the reading

- Pull down the meter onto head and get the measurement.

- Autoclave drum (small)

- It should round in shape with smooth corners

- Smooth surface and super finished

- Cylindrical container with attached lid and lateral eclipses

- They should have Side-Bottom Holes & Upper-Lower Holes Dressing Drum.

- Made of Stainless steel; used for sterilizing and storing various type of dressings; instruments and surgical requisites in Hospitals and Clinics

- Dressing Drum, domed top and bottom with sliding removable band and drop down-hasps (stainless steel).

- Device is produced by ISO certified manufacturer.

- BP digital Apparatus

- Sphygmomanometer suitable for measuring the blood pressure

- Composed of cloth cuff with inflatable bag quick-connected via tube to main unit

- Cloth is washable, strong and reinforced at both ends

- Tube length approx 75 cm

- Strip of Velcro fastening length can be adjusted to fit around upper arm

- Measuring range: up to 300 mmHg

- Minimum graduation: 1 mmHg

- Accuracy: +/- 5%

- Device is produced by ISO Certified manufacturer.

- Device is safety certified according CE or equivalent.

- Dictaphone

- Dictaphone useful for simulation of heart sound of fetus.

- It should be robustness in quality.

- Device is produced by ISO certified manufacturer.

- Sahli’s Haemoglobinometer Kit

- Instrument that is used to determine the quantity of hemoglobin

- Should show the BH level

- Two calibrations to determine hemoglobin in gram percent.

- Device is produced by ISO Certified manufacturer.

- Oxygen cylinder with key (and accessories) (B-Type)

- Oxygen cylinder should be preferably useful in hospital

- It should be B-type cylinder with opener tools

- It should have statutory approval for used in medical oxygen

- Should have should ISI mark approval.

- Device is produced by ISO certified manufacturer.

- Neonatal stethoscope

- Double cup stethoscope for neonatal

- Chest piece in stainless steel with non-chill plastic rim

- Diaphragm approx: 20 mm

- Sensitivity approx 3.0 dB from 50 to 500 Hz (cardio)

- Sensitivity approx 8.0 dB from 600 Hz to 1500 Hz (pneumo)

- Y tube: treated rubber with large diameter

- Arms: stainless steel or chrome brass, with treated spring for lasting elasticity and comfort

- Removable plastic ear-pieces.

- Device is produced by ISO Certified manufacturer

SECTION V

Delivery Destinations

The Principal

Skills Lab

Regional Health & Family Welfare Training Centre,

Chebb, Kangra District

Himachal Pradesh

SECTION VI

## HLL LIFECARE LIMITED

Akkulam Factory

THIRUVANANTHAPURAM-695017

IFB NO: HLL/AFT-CMO/HP-SL/EQP/2018-19/02, DT. 13.03.2019

INDEMINITY CLAUSE

If the supplier fails to execute the order within the time prescribed for the delivery of goods ordered or violates or infringes the existing rates as agreed to as mentioned in the supply order, the supplier shall and will indemnify the company against all loses or damages whatsoever to be incurred or sustained including the legal cost or expenses incurred by the company by reason of non-delivery of goods at agreed quantity and rate within the time specified in the supply order.  The company will initiate legal action if the supplier fails to execute the supply order as per the schedule in the supply order for the actual loss suffered. No quantity tolerance will be permitted in this regard unless otherwise prior approval is taken by the company before dispatching any excess quantity supplied which shall be returned back on freight to pay basis at the risk of the supplier.   Responsiveness of the Bid shall be at the discretion of HLL.

The supplier shall have no right to change the quantity stipulated in the supply order.

Bid pronounced Non Responsive by HLL shall be summarily rejected.

The decision of HLL will be final and no correspondence on this shall be entertained.

We have read and understood the above conditions and agree to abide   by the same.

PLACE:                                                NAME AND SIGNATURE OF THE TENDERER

DATE:                                                                                              (WITH OFFICE SEAL)

## SECTION VII

## HLL LIFECARE LIMITED

Akkulam Factory

THIRUVANANTHAPURAM-695017

IFB NO: HLL/AFT-CMO/HP-SL/EQP/2018-19/02, DT. 13.03.2019

#### DECLARATION

I/WE, The Bidder undertake, we shall execute, within the purview of the contract, all the activities includes; transportation, loading, unloading and other technical work for the installation of the equipment/items at the designated site as per the contract/purchase order, at Himachal Pradesh State.

We confirm having read and understood all the specifications, instructions, forms, terms and conditions and other requirements of the above tender (both expressed and implied) in full and that we agree to abide by all without any deviation.

SEAL OF THE TENDERER

SIGNATURE

NAME AND ADDRESS OF TENDERER

RICE SCHEDULE (SECTION VIII)

IFB NO: HLL/AFT-CMO/HP-SL/EQP/2018-19/02, DT. 13.03.2019

| S. No. | Item Description | Qty | Brand/ Model | Ex-factory/show room price (Basic Unit Price) | GST |  | Freight & Insurance |  | Unit Price inclusive of all levies & charges (ColumnNo. E+f+g) in Rs | Total Price (c x h) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | % | Amt. | FOR HLL sites at HP state |  |  |  |
|  |  |  |  |  |  |  | % | Amt. |  |  |
| a | b | c | d | e |  | f |  | g | h | i |
| 1 | Radiant Warmer | 1 |  |  |  |  |  |  |  |  |
| 2 | Steel Stool for birth companion | 1 |  |  |  |  |  |  |  |  |
| 3 | Labour table with mattress | 1 |  |  |  |  |  |  |  |  |
| 4 | Laryngoscope with blade | 1 |  |  |  |  |  |  |  |  |
| 5 | Ambu Bag with mask Adult | 2 |  |  |  |  |  |  |  |  |
| 6 | Stethoscope with double ear piece | 4 |  |  |  |  |  |  |  |  |
| 7 | Newborn Resuscitation bag and (Mask 0,1) | 4 |  |  |  |  |  |  |  |  |
| 8 | Fetal Doppler | 2 |  |  |  |  |  |  |  |  |
| 9 | Suction Machine /foot operated | 2 |  |  |  |  |  |  |  |  |
| 10 | Adult Weighing Scale | 4 |  |  |  |  |  |  |  |  |
| 11 | Suction apparatus (Electrical operated) | 1 |  |  |  |  |  |  |  |  |
| 12 | Oxygen concentrator with all accessories | 1 |  |  |  |  |  |  |  |  |
| 13 | Autoclave machine | 1 |  |  |  |  |  |  |  |  |
| 14 | Nebulizer | 1 |  |  |  |  |  |  |  |  |
| 15 | Wall clock with seconds hand | 2 |  |  |  |  |  |  |  |  |
| 16 | Thermometer / Wall Mounted | 1 |  |  |  |  |  |  |  |  |
| 17 | Clock with seconds hand | 4 |  |  |  |  |  |  |  |  |
| 18 | Hub Cutter | 5 |  |  |  |  |  |  |  |  |
| 19 | Focus lamp | 1 |  |  |  |  |  |  |  |  |
| 20 | Refrigerator | 1 |  |  |  |  |  |  |  |  |
| 21 | Baby weighing scale | 2 |  |  |  |  |  |  |  |  |
| 22 | Crash trolly (Crash Cart) | 1 |  |  |  |  |  |  |  |  |
| 23 | Kelly’s Pad with inflating bulb | 2 |  |  |  |  |  |  |  |  |
| 24 | Height recording equipment | 4 |  |  |  |  |  |  |  |  |
| 25 | Sims Speculum | 4 |  |  |  |  |  |  |  |  |
| 26 | Autoclave drum (Small) | 3 |  |  |  |  |  |  |  |  |
| 27 | BP Digital Apparatus | 4 |  |  |  |  |  |  |  |  |
| 28 | Dictaphone | 2 |  |  |  |  |  |  |  |  |
| 29 | Sahli’s Haemoglobinometer Kit | 2 |  |  |  |  |  |  |  |  |
| 30 | Oxygen cylinder with key (and accessories) (B-Type) | 2 |  |  |  |  |  |  |  |  |
| 31 | Neonatal stethoscope | 4 |  |  |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |  |  |  |

Total amount in words: ____________________________________

Delivery schedule : strictly within 30 days from the date of release of LOI/PO

NOTE: 1) The columns may be filled as is applicable in each case.

2) Product catalogue along WITH COMPLIANCE SHEET confirming to technical specification should be attached with offer.

3) List of optional accessories/ spares with rate, to be attached to price bid as separate sheet

4) The bidder has to quote for all the items indicated above, failing which, the bid will be treated as non-responsive

Seal and Signature of the bidder

CAMC Price Schedule (SECTION IX)

IFB NO: HLL/AFT-CMO/HP-HDU/EQP/2017-18/02, Dt. 30.12.2017

| S. No. | Item Description | Qty | 1st year |  | 2nd year |  | 3rd year |  | 4th year |  | 5th year |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Rate/unit In Rs. | Total rate in Rs. | Rate/unit In Rs. | Total rate in Rs. | Rate/unit In Rs. | Total rate in Rs. | Rate/unit In Rs. | Total rate in Rs. | Rate/unit In Rs. | Total rate in Rs. |
| 1 | Radiant Warmer | 1 |  |  |  |  |  |  |  |  |  |  |
| 2 | Labour Table | 1 |  |  |  |  |  |  |  |  |  |  |
| 3 | Suction Machine (Foot Operated) | 2 |  |  |  |  |  |  |  |  |  |  |
| 4 | Suction Machine (Electrical) | 1 |  |  |  |  |  |  |  |  |  |  |
| 5 | Oxygen Concentrator | 1 |  |  |  |  |  |  |  |  |  |  |

GST:.___________

Scope of Contract: Number of Visits during the CMC period: (a) Preventive maintenance visit: 2/year.  (b) Break down maintenance  visit: any number as required. “CAMC” Comprehensive maintenance Contract includes; labors, spare and preventive & break down maintenance.

Note: The applicable taxes should be indicated separately with percentage and amount.

The bids received without indication of service tax will be treated   as inclusive.

The above rates are applicable for 5 years,  after successful completion of 1 year warranty period from date of installation,.

Seal and Signature of the bidder

SECTION X

CHECK LIST

| Sl. No. | Documents | Page No. | Remarks |
| --- | --- | --- | --- |
| 1 | Tender Fee in the form of DD drawn in favor of HLL Lifecare Limited, Payable at Thiruvananthapuram |  |  |
| 2 | EMD in the form of DD drawn in favor of HLL Lifecare Limited, Payable at Thiruvananthapuram / Bank Guarantee |  |  |
| 3 | Duly attested copy of factory license/ Industrial license |  |  |
| 4 | Duly attested copy of sales tax registration certificate |  |  |
| 5 | Duly attested copy of document to prove the legal status, place of registration and principal place of business of the undertaking |  |  |
| 6 | Duly attested copies of quality certificates for the products and quality system certifications |  |  |
| 7 | Copy of Balance sheet for the last 3 financial years, duly certified by a chartered accountant |  |  |
| 8 | Copy of Profit & Loss Account for last 3 financial years certified by chartered accountant |  |  |
| 9 | Duly filled proforma showing details of Equipment and Quality Control employed by the manufacturer as per section II |  |  |
| 9 | Proforma for Performance Statement (for a period of last years) as per Section III |  |  |
| 10 | Client's Certificate as per Section III |  |  |
| 11 | Product brochure literature, write up etc. |  |  |
| 12 | Item-by-item compliance statement on the Purchaser’s Technical Specifications with statement of deviations and exceptions, if any, to the provisions of the Technical Specifications as per SECTION IV |  |  |
| 13 | The letter of authorization indicated by written power-of-attorney |  |  |
| 14 | Spare parts and after sales service facilities in India |  |  |
| 15 | Documentary evidence of constitution of firm such as Memorandum of Articles, Partnership Deed, etc., with details of Name, Address, Tel. No., Fax No., E-mail Address of firm and the Managing Director / Partner / Proprietor |  |  |
| 16 | Annual turnover statement for last 3 years certified by the Auditor |  |  |
| 17 | Indemnity clause as per SECTION VI |  |  |
| 18 | Declaration as per SECTION VII |  |  |