|  | Tendered Specification | Amendments |
| --- | --- | --- |
| 1 | “Fully automatic oxygen control panel –Imported “mentioned in Para 1.2 of technical specification. | Fully automatic oxygen control panel –Imported wih CE certification. |
| 2 | “Duplex Anesthetic Gas Scavenging System (AGSS) of 500 l/min -Imported “mentioned in Para 4 of technical specification. | Duplex Anesthetic Gas Scavenging System (AGSS) of 500 l/min –Imported with CE certification |
| 3 | “Operating theatres shall be equipped with single arm moveable pendants suspended from the ceiling “mentioned in Para 14 of technical specification. | Operating theatres shall be equipped with rigid pendants suspended from the ceiling |
| 4 | “Oxygen Flow meter with Humidifier Bottle and probe key- Supply installation, testing and commissioning of anodized aluminum oxygen flow meter with humidifier bottle 0-10Litres. –Indigenous” mentioned in Para 11 of detailed BOQ | Oxygen Flow meter with Humidifier Bottle and probe key- Supply installation, testing and commissioning of oxygen flow meter with humidifier bottle 0-10Litres. –Indigenous |
| 5 | “Semi-Automatic Nitrogen Control System : Supply, Installation testing and commissioning of Fully Automatic Nitrogen Control System-Indigenous” mentioned in Para 13 of detailed BOQ | “Semi-Automatic Nitrous oxide Control System : Supply, Installation testing and commissioning of semi Automatic Nitrous oxide Control System-Indigenous” |

Minutes of the prebid meeting for the Supply Installation, Testing and Commissioning of Medical gas pipe line system at the first floor of TH Karunagapally.

The quoted rate should be inclusive of all applicable taxes including the work contract tax.

There should be two years warranty for the entire MGPS system excluding oxygen flowmeter and ward vacuum unit.