**Minutes of Pre bid meeting on 07.04.2014 at 11.30 am for the Supply Installation Testing and Commissioning of Elevator for the MCH Block at CHC Fort, Thiruvananthapuram.**

**Participants**

**HLL**

1. Shri. A Ranjith Kmuar DVP(Tech)
2. Shri. Mahadeb Mandal SM(F)
3. Shri. Ramesh Raju. DM(Mechanical)

The pre bid meeting was fixed on 05.04.2014 and none of the parties attended the meeting. ButM/s ThyssenKrupp Elevator (India) Pvt Ltd had sent some queries and the Bid evaluation committee members decided to have a discussion on the same on 07.04.2014.

M/s ThyssenKrupp Elevator (India) Pvt Ltd asked whether lift well and car dimensions can be provided as per Bureau of Indian Standards

HLL clarified that the car size & lift well matching with IS specifications is acceptable since the lift well is not constructed .

These decisions are the answers to pre bid meeting queries and will form part of tender document and the vendors are requested to go through the same without fail.