## Tender 1
TENDER - 1 (NEONATE CRITICAL EQUIPMENTS)
Sl.No. |  | Qty
|  |  | Kulu District |  |  | Mandi District
|  |  | DH, Kullu |  | CH Manali | PHC, Nangwain | CHC, Rohanda |  | CHC, Kottli | CH, Karsog
|  |  | NBCC - OT |  | NBCC - OT | NBCC | NBCC |  | NBCC | NBCC - OT | NBSU
1 | Open care system: radiant warmer, fixed height, with trolley, drawers, stand infusion double hook two poles attached. | 85 | 1 |  | 1 | 1 | 1 |  | 1 | 1 | 4
Sl.No. |  | Qty
|  |  | Shimla District |  |  | Bilaspur District |  | Hamirpur District
|  |  | CHC, Kumarsein | KNH, Shimla | IGMC, Shimla | CHC, Harlog |  | CHC, Bhoranj | CHC, Barsar
|  |  | NBSU | SNCU | SNCU | NBCC |  | NBSU | NBSU
1 | Open care system: radiant warmer, fixed height, with trolley, drawers, stand infusion double hook two poles attached. | 85 | 4 | 5 | 8 | 1 |  | 4 | 4
2 | Phototherapy unit, Double Surface, tachable ,LED Type | 12 |  | 2 | 3
Sl.No. |  | Qty
|  |  | Una District | [9 empty] | Solan District
|  |  |  | RH, Una |  |  | CH, Haroli | CHC, Gagrat | CHC, Daulatpur |  | CHC, Chintpurni | CHC, DMB |  | ESIC, Baddi
|  |  |  | NBCC | NBCC - OT | SNCU | NBCC | NBCC | NBCC | NBSU | NBCC | NBCC |  | NBCC | NBCC - OT
1 | Open care system: radiant warmer, fixed height, with trolley, drawers, stand infusion double hook two poles attached. | 85 |  |  | 1 |  |  |  |  | 4 |  |  |  |  | 1
2 | Phototherapy unit, Double Surface, tachable ,LED Type | 12 |  |  |  | 4
Qty
Kangra District
|  |  | PHC, Haripur | CHC, Indora | CHC, Rehan | CHC, Jawali | ZH, Dharmasala |  |  | CHC, Chandihar |  | CHC, Jaisingpur
|  |  | NBCC | NBCC | NBCC | NBCC | NBCC | NBCC - OT | SNCU | NBCC | NBSU | NBCC | NBSU
1 | Open care system: radiant warmer, fixed height, with trolley, drawers, stand infusion double hook two poles attached. | 85 | [5 empty] | 1 |  |  | 4 |  | 4
2 | Phototherapy unit, Double Surface, tachable ,LED Type | 12 | [6 empty] | 2
Qty
Kangra District
|  |  | CHC, Nagrota Bhagawan | CH, Kangra |  |  | CHC, Shahpur |  | CHC, Gangath |  | CH, Nurpur |  |  | CH, Baijnath
|  |  | NBCC | NBCC | NBCC - OT | NBSU | NBCC | NBSU | NBCC | NBSU | NBCC | NBCC - OT | SNCU | NBCC | NBSU
1 | Open care system: radiant warmer, fixed height, with trolley, drawers, stand infusion double hook two poles attached. | 85 | 1 |  | 1 | 4 | 1 | 4 |  | 4 | 1 | 1 |  | 1 | 4
2 | Phototherapy unit, Double Surface, tachable ,LED Type | 12 | [10 empty] | 1
Qty
Kangra District
|  |  | CH, Thurnal |  | CHC, Nagrota Surain | CH, Dehra |  |  | CHC, Jwalamukhi |  | DR.R.P.G.M.C, Tanda
|  |  | NBCC | NBSU | NBCC | NBCC | NBCC - OT | NBSU | NBCC | NBSU | SNCU
1 | Open care system: radiant warmer, fixed height, with trolley, drawers, stand infusion double hook two poles attached. | 85 |  | 4 |  | 1 | 1 | 2 |  | 4

## Tender 2
TENDER - 2 (NEW BORN UNIT EQUIPMENTS)
Sl.No. | Tender wise ( LOT No) Kulu District | Qty
Kulu District
|  |  | CH, Banjar | DH, Kullu |  | CHC, Manali |  | CHC, Jari | CHC, Nirmand | CHC, Sainj
|  |  | NBCC | NBCC - OT | SNCU | NBCC | NBCC - OT | NBCC | NBCC | NBCC
1 | Resuscitator, hand-operated, neonate, 250 ml | 12
2 | Resuscitator, hand-operated, neonate, 500ml | 63 | 1 | 1 | 1 |  | 1 |  |  | 1
3 | Oxygen hood S and M set of 3 each, including connecting tubes | 17
4 | Moniter, Vital sign, NIBP, HR, SpO2, ECG, RR and Temp. | 11
5 | Pulse oximeter, bedside, neonatal | 8
6 | Syringe pump, 10,20,50 ml, single phase | 23 |  |  | 1
7 | ECG unit, 3 channal, portable/SET | 6
8 | Oxygen concentrator | 1
9 | Pump, suction, Foot operated | 40 | 1 | 1 |  | 1 | 1 | 1 |  | 1
10 | Brest Pump | 6
11 | Laryngoscope set, neonate | 90 |  |  | 6
12 | Centrifuge, hematocrit, bench top, up to 4000 RPM, including rotor | 5
13 | Pump, suction, portable, 220V, w/access. | 46 |  |  | 1 | 1 | 1 |  | 1
14 | Stadio Meter | 29 |  |  | 2
15 | ABG Analysis Machine | 1
16 | Portable Ultra sound | 1
17 | Portable X - Ray machine | 1
18 | Flux meter | 1
19 | Nebulization Machine | 39 |  |  | 2
20 | CPAP | 5
21 | Fumigation Machine | 3
Sl.No. | Tender wise ( LOT No) Mandi District | Qty
Mandi District
|  |  | PHC, Nangwain | CHC, Rohanda | CHC,Dehar | CHC, Kottli | CH, Karsog |  |  | CH, Jogindernagar | CH, Sarkagat | CH, Sundernagar | ZH, Mandi
|  |  | NBCC | NBCC | NBCC | NBCC | NBCC | NBCC - OT | NBSU | SNCU | SNCU | SNCU | SNCU
1 | Resuscitator, hand-operated, neonate, 250 ml | 12
2 | Resuscitator, hand-operated, neonate, 500ml | 63 | 1 | 1 | 1 |  |  | 1 | 2
3 | Oxygen hood S and M set of 3 each, including connecting tubes | 17
4 | Moniter, Vital sign, NIBP, HR, SpO2, ECG, RR and Temp. | 11
5 | Pulse oximeter, bedside, neonatal | 8
6 | Syringe pump, 10,20,50 ml, single phase | 23
7 | ECG unit, 3 channal, portable/SET | 6
8 | Oxygen concentrator | 1
9 | Pump, suction, Foot operated | 40 | 1 | 1 | 1 |  | 1 | 1
10 | Brest Pump | 6
11 | Laryngoscope set, neonate | 90 | [6 empty] | 2 | 2 | 2 | 2 | 2
12 | Centrifuge, hematocrit, bench top, up to 4000 RPM, including rotor | 5
13 | Pump, suction, portable, 220V, w/access. | 46 |  | 1 |  |  |  | 1 | 1
14 | Stadio Meter | 29 | [7 empty] | 1 | 1 | 1 | 2
15 | ABG Analysis Machine | 1
16 | Portable Ultra sound | 1
17 | Portable X - Ray machine | 1
18 | Flux meter | 1
19 | Nebulization Machine | 39 | [7 empty] | 2 | 2 | 2 | 2
20 | CPAP | 5
21 | Fumigation Machine | 3
Sl.No. | Tender wise ( LOT No) Shimla District | Qty
Shimla District
|  |  | CH, Sunni | CHC, Nankhari | CHC, Kumarsein |  | KNH, Shimla | IGMC, Shimla | DDU, Shimla | MGMSC, Khaneri
|  |  | NBCC | NBCC | NBCC | NBSU | SNCU | SNCU | SNCU | SNCU
1 | Resuscitator, hand-operated, neonate, 250 ml | 12 |  |  |  |  | 2 | 5
2 | Resuscitator, hand-operated, neonate, 500ml | 63 |  | 1 | 1 | 2 | 2 | 3
3 | Oxygen hood S and M set of 3 each, including connecting tubes | 17 |  |  |  |  | 5 | 10
4 | Moniter, Vital sign, NIBP, HR, SpO2, ECG, RR and Temp. | 11 |  |  |  |  | 3 | 3
5 | Pulse oximeter, bedside, neonatal | 8 |  |  |  |  | 3 | 3
6 | Syringe pump, 10,20,50 ml, single phase | 23 |  |  |  |  | 5 | 8
7 | ECG unit, 3 channal, portable/SET | 6 |  |  |  |  | 2 | 2
8 | Oxygen concentrator | 1
9 | Pump, suction, Foot operated | 40 | 1 |  | 1 |  | 1
10 | Brest Pump | 6 |  |  |  |  | 2 | 2
11 | Laryngoscope set, neonate | 90 |  |  |  | 2 | 4 | 7 | 2 | 2
12 | Centrifuge, hematocrit, bench top, up to 4000 RPM, including rotor | 5 |  |  |  |  | 2 | 1
13 | Pump, suction, portable, 220V, w/access. | 46 |  |  | 1 | 1 | 2 | 4
14 | Stadio Meter | 29 | [5 empty] | 2 | 1 | 1
15 | ABG Analysis Machine | 1 | [5 empty] | 1
16 | Portable Ultra sound | 1 |  |  |  |  | 1
17 | Portable X - Ray machine | 1 | [5 empty] | 1
18 | Flux meter | 1 | [5 empty] | 1
19 | Nebulization Machine | 39 | [5 empty] | 2 | 2 | 2
20 | CPAP | 5 |  |  |  |  | 2 | 1
21 | Fumigation Machine | 3 |  |  |  |  | 1 | 1
Sl.No. | Tender wise ( LOT No) Bilaspur District | Qty
|  |  | Bilaspur District |  | Sirmour District
|  |  | CHC, Harlog | RH, Bilaspur | CH, Ponda | RH, Nahan
|  |  | NBCC | SNCU | SNCU | SNCU
1 | Resuscitator, hand-operated, neonate, 250 ml | 12
2 | Resuscitator, hand-operated, neonate, 500ml | 63
3 | Oxygen hood S and M set of 3 each, including connecting tubes | 17
4 | Moniter, Vital sign, NIBP, HR, SpO2, ECG, RR and Temp. | 11
5 | Pulse oximeter, bedside, neonatal | 8
6 | Syringe pump, 10,20,50 ml, single phase | 23
7 | ECG unit, 3 channal, portable/SET | 6
8 | Oxygen concentrator | 1
9 | Pump, suction, Foot operated | 40 | 1
10 | Brest Pump | 6
11 | Laryngoscope set, neonate | 90 |  | 2 | 2 | 2
12 | Centrifuge, hematocrit, bench top, up to 4000 RPM, including rotor | 5
13 | Pump, suction, portable, 220V, w/access. | 46 | 1
14 | Stadio Meter | 29 |  | 2 | 1 | 2
15 | ABG Analysis Machine | 1
16 | Portable Ultra sound | 1
17 | Portable X - Ray machine | 1
18 | Flux meter | 1
19 | Nebulization Machine | 39 |  | 2 | 2 | 2
20 | CPAP | 5
21 | Fumigation Machine | 3
Sl.No. | Tender wise ( LOT No) Hamirpur District | Qty
Hamirpur District
|  |  | PHC, Bhota | CHC, Bhoranj | CHC, Galhora | CHC, Barsar | RH, Hamirpur
|  |  | NBCC | NBSU | NBCC | NBSU | SNCU
1 | Resuscitator, hand-operated, neonate, 250 ml | 12
2 | Resuscitator, hand-operated, neonate, 500ml | 63 |  | 2 |  | 2
3 | Oxygen hood S and M set of 3 each, including connecting tubes | 17
4 | Moniter, Vital sign, NIBP, HR, SpO2, ECG, RR and Temp. | 11
5 | Pulse oximeter, bedside, neonatal | 8
6 | Syringe pump, 10,20,50 ml, single phase | 23
7 | ECG unit, 3 channal, portable/SET | 6
8 | Oxygen concentrator | 1
9 | Pump, suction, Foot operated | 40 | 1 |  | 1
10 | Brest Pump | 6
11 | Laryngoscope set, neonate | 90 |  | 2 |  | 2 | 2
12 | Centrifuge, hematocrit, bench top, up to 4000 RPM, including rotor | 5
13 | Pump, suction, portable, 220V, w/access. | 46 |  | 1 |  | 1
14 | Stadio Meter | 29 |  |  |  |  | 2
15 | ABG Analysis Machine | 1
16 | Portable Ultra sound | 1
17 | Portable X - Ray machine | 1
18 | Flux meter | 1
19 | Nebulization Machine | 39 |  |  |  |  | 2
20 | CPAP | 5
21 | Fumigation Machine | 3
Sl.No. | Tender wise ( LOT No) Una District | Qty
Una District
|  |  | CHC, Bongara | RH, Una |  |  | CH, Haroli | CHC, Gagrat | CHC, Daulatpur |  | CHC, Chintpurni | CHC, DMB
|  |  | NBCC | NBCC | NBCC-OT | SNCU | NBCC | NBCC | NBCC | NBSU | NBCC | NBCC
1 | Resuscitator, hand-operated, neonate, 250 ml | 12
2 | Resuscitator, hand-operated, neonate, 500ml | 63 |  |  | 1 |  | 1 |  |  | 2
3 | Oxygen hood S and M set of 3 each, including connecting tubes | 17
4 | Moniter, Vital sign, NIBP, HR, SpO2, ECG, RR and Temp. | 11 |  |  |  | 1
5 | Pulse oximeter, bedside, neonatal | 8
6 | Syringe pump, 10,20,50 ml, single phase | 23 |  |  |  | 1
7 | ECG unit, 3 channal, portable/SET | 6
8 | Oxygen concentrator | 1
9 | Pump, suction, Foot operated | 40 | 1 |  | 1 |  | 1 |  | 1 |  | 1 | 1
10 | Brest Pump | 6
11 | Laryngoscope set, neonate | 90 |  |  |  | 6 |  |  |  | 2
12 | Centrifuge, hematocrit, bench top, up to 4000 RPM, including rotor | 5
13 | Pump, suction, portable, 220V, w/access. | 46 |  |  | 1 | 2 |  |  |  | 1
14 | Stadio Meter | 29 |  |  |  | 2
15 | ABG Analysis Machine | 1
16 | Portable Ultra sound | 1
17 | Portable X - Ray machine | 1
18 | Flux meter | 1
19 | Nebulization Machine | 39 |  |  |  | 2
20 | CPAP | 5
21 | Fumigation Machine | 3
| Tender wise ( LOT No) Soaln District | Qty
Solan District
|  |  | PHC, Pattamehlog | ESIC, Baddi |  | CHC, Dharampur | CH, Kandaghat | RH, Solan | FRU, Solan
|  |  | NBCC | NBCC | NBCC - OT | NBCC | NBCC | SNCU | SNCU
1 | Resuscitator, hand-operated, neonate, 250 ml | 12
2 | Resuscitator, hand-operated, neonate, 500ml | 63 |  |  | 1
3 | Oxygen hood S and M set of 3 each, including connecting tubes | 17
4 | Moniter, Vital sign, NIBP, HR, SpO2, ECG, RR and Temp. | 11
5 | Pulse oximeter, bedside, neonatal | 8
6 | Syringe pump, 10,20,50 ml, single phase | 23
7 | ECG unit, 3 channal, portable/SET | 6
8 | Oxygen concentrator | 1
9 | Pump, suction, Foot operated | 40 | 1 | 1 | 1 | 1 | 1
10 | Brest Pump | 6
11 | Laryngoscope set, neonate | 90 | [5 empty] | 2 | 2
12 | Centrifuge, hematocrit, bench top, up to 4000 RPM, including rotor | 5
13 | Pump, suction, portable, 220V, w/access. | 46 |  |  | 1
14 | Stadio Meter | 29 | [5 empty] | 2 | 1
15 | ABG Analysis Machine | 1
16 | Portable Ultra sound | 1
17 | Portable X - Ray machine | 1
18 | Flux meter | 1
19 | Nebulization Machine | 39 | [5 empty] | 2 | 2
20 | CPAP | 5
21 | Fumigation Machine | 3
| Tender wise ( LOT No) Kangra District | Qty
Kangra District
|  |  | PHC, Haripur | CHC, Indora | CHC, Rehan | CHC, Jawali | ZH, Dharmasala |  |  | CHC, Chandihar |  | CHC, Jaisingpur
|  |  | NBCC | NBCC | NBCC | NBCC | NBCC | NBCC - OT | SNCU | NBCC | NBSU | NBCC | NBSU
1 | Resuscitator, hand-operated, neonate, 250 ml | 12 | [6 empty] | 1
2 | Resuscitator, hand-operated, neonate, 500ml | 63 |  | 1 |  |  |  | 1 | 1 |  | 2 | 1 | 2
3 | Oxygen hood S and M set of 3 each, including connecting tubes | 17
4 | Moniter, Vital sign, NIBP, HR, SpO2, ECG, RR and Temp. | 11
5 | Pulse oximeter, bedside, neonatal | 8
6 | Syringe pump, 10,20,50 ml, single phase | 23 | [6 empty] | 1
7 | ECG unit, 3 channal, portable/SET | 6
8 | Oxygen concentrator | 1
9 | Pump, suction, Foot operated | 40 | 1 |  | 1 | 1 | 1 | 1 |  | 1 |  | 1
10 | Brest Pump | 6
11 | Laryngoscope set, neonate | 90 | [6 empty] | 4 |  | 2 |  | 2
12 | Centrifuge, hematocrit, bench top, up to 4000 RPM, including rotor | 5 | [6 empty] | 1
13 | Pump, suction, portable, 220V, w/access. | 46 | [5 empty] | 1 | 1 |  | 1 |  | 1
14 | Stadio Meter | 29 | [6 empty] | 1
15 | ABG Analysis Machine | 1
16 | Portable Ultra sound | 1
17 | Portable X - Ray machine | 1
18 | Flux meter | 1
19 | Nebulization Machine | 39 | [6 empty] | 2
20 | CPAP | 5
21 | Fumigation Machine | 3
| Tender wise ( LOT No) Kangra District | Qty
Kangra District
|  |  | CHC, Nagrota Bhagawan | CH, Kangra |  |  | CHC, Shahpur |  | CHC, Gangath |  | CH, Nurpur |  |  | CH, Palampur |  |  | CH, Baijnath
|  |  | NBCC | SNCU | NBCC - OT | NBSU | NBCC | NBSU | NBCC | NBSU | NBCC | NBCC - OT | SNCU | NBCC | NBCC - OT | SNCU | NBCC | NBSU
1 | Resuscitator, hand-operated, neonate, 250 ml | 12 | [10 empty] | 1 |  |  | 1
2 | Resuscitator, hand-operated, neonate, 500ml | 63 | 1 |  | 1 | 2 | 1 | 2 |  | 2 | 1 | 1 | 1 |  |  | 1 |  | 2
3 | Oxygen hood S and M set of 3 each, including connecting tubes | 17 | [13 empty] | 2
4 | Moniter, Vital sign, NIBP, HR, SpO2, ECG, RR and Temp. | 11
5 | Pulse oximeter, bedside, neonatal | 8
6 | Syringe pump, 10,20,50 ml, single phase | 23 | [10 empty] | 1 |  |  | 1
7 | ECG unit, 3 channal, portable/SET | 6
8 | Oxygen concentrator | 1 | [13 empty] | 1
9 | Pump, suction, Foot operated | 40 | [6 empty] | 1 |  | 1 | 1 |  | 1
10 | Brest Pump | 6
11 | Laryngoscope set, neonate | 90 |  | 2 |  | 2 |  | 2 |  | 2 |  |  | 4 |  |  | 2 |  | 2
12 | Centrifuge, hematocrit, bench top, up to 4000 RPM, including rotor | 5
13 | Pump, suction, portable, 220V, w/access. | 46 | 1 |  |  | 1 | 1 | 1 |  | 1 | 1 |  | 1 | 1 |  |  |  | 1
14 | Stadio Meter | 29 |  | 1 | [8 empty] | 1 |  |  | 1
15 | ABG Analysis Machine | 1
16 | Portable Ultra sound | 1
17 | Portable X - Ray machine | 1
18 | Flux meter | 1
19 | Nebulization Machine | 39 |  | 1 | [8 empty] | 2 |  |  | 2
20 | CPAP | 5
21 | Fumigation Machine | 3
| Tender wise ( LOT No) Kangra District | Qty
Kangra District
|  |  | CH, Thurnal |  | CHC, Nagrota Surain | CH, Dehra |  |  | CHC, Jwalamukhi |  | DR.R.P.G.M.C, Tanda
|  |  | NBCC | NBSU | NBCC | NBCC | NBCC - OT | NBSU | NBCC | NBSU | SNCU
1 | Resuscitator, hand-operated, neonate, 250 ml | 12 | [8 empty] | 2
2 | Resuscitator, hand-operated, neonate, 500ml | 63 |  | 2 |  |  |  | 2 | 1 | 2 | 4
3 | Oxygen hood S and M set of 3 each, including connecting tubes | 17
4 | Moniter, Vital sign, NIBP, HR, SpO2, ECG, RR and Temp. | 11 | [8 empty] | 4
5 | Pulse oximeter, bedside, neonatal | 8 | [8 empty] | 2
6 | Syringe pump, 10,20,50 ml, single phase | 23 | [8 empty] | 5
7 | ECG unit, 3 channal, portable/SET | 6 | [8 empty] | 2
8 | Oxygen concentrator | 1
9 | Pump, suction, Foot operated | 40 |  |  | 1 |  | 1
10 | Brest Pump | 6 | [8 empty] | 2
11 | Laryngoscope set, neonate | 90 |  | 2 |  |  |  | 1 |  | 2 | 4
12 | Centrifuge, hematocrit, bench top, up to 4000 RPM, including rotor | 5 | [8 empty] | 1
13 | Pump, suction, portable, 220V, w/access. | 46 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2
14 | Stadio Meter | 29 | [8 empty] | 2
15 | ABG Analysis Machine | 1
16 | Portable Ultra sound | 1
17 | Portable X - Ray machine | 1
18 | Flux meter | 1
19 | Nebulization Machine | 39 | [8 empty] | 2
20 | CPAP | 5 | [8 empty] | 2
21 | Fumigation Machine | 3 | [8 empty] | 1

## Tender 4 (DG)
TENDER - 4 (Diesel Generator)
Kulu District
CHC, Anni
BSC
1 | Generator set 25 KVA | 5
2 | Generator 5 KVA | 25 | 1
Sl.No. | Tender wise ( LOT No) Mandi District | Qty
Mandi District
CH, Karsog
|  |  | BSC | NBSU
2 | Generator 5 KVA | 25 | 1 | 1
Sl.No. | Tender wise ( LOT No) Shimla District | Qty
Shimla District
|  |  | CHC, Nankhari | CHC, Kumarsein |  | KNH, Shimla | IGMC, Shimla
|  |  | BSC | BSC | NBSU | SNCU | SNCU
1 | Generator set 25 KVA | 5 |  |  |  | 1 | 1
2 | Generator 5 KVA | 25 | 1 | 1 | 1
Hamirpur District
|  |  | CHC, Bhoranj | CHC, Barsar
|  |  | NBSU | NBSU
1 | Generator set 25 KVA | 5
2 | Generator 5 KVA | 25 | 1 | 1
Una District
|  |  | RH, Una | CHC, Daulatpur
|  |  | SNCU | NBSU
1 | Generator set 25 KVA | 5 | 1
2 | Generator 5 KVA | 25 |  | 1
| Tender wise ( LOT No) Soaln District | Qty
| Tender wise ( LOT No) Kangra District | Qty
Kangra District
|  |  | ZH, Dharmasala | CHC, Chandihar | CHC, Jaisingpur |  | CHC, Nagrota Bhagawan
|  |  | SNCU | NBSU | BSC | NBSU | BSC
1 | Generator set 25 KVA | 5 | 1
2 | Generator 5 KVA | 25 |  | 1 | 1 | 1 | 1
| Tender wise ( LOT No) Kangra District | Qty
Kangra District
|  |  | CH, Kangra |  | CHC, Shahpur | CHC, Gangath | CH, Nurpur |  | CH, Palampur | CH, Baijnath
|  |  | BSC | NBSU | NBSU | NBSU | BSC | SNCU | SNCU | BSC | NBSU
1 | Generator set 25 KVA | 5 | [5 empty] | 1
2 | Generator 5 KVA | 25 | 1 | 1 | 1 | 1 |  |  |  | 1 | 1
| Tender wise ( LOT No) Kangra District | Qty
Kangra District
|  |  | CH, Thurnal | CHC, Nagrota Surain | CH, Dehra |  | CHC, Jwalamukhi
|  |  | NBSU | BSC | BSC | NBSU | BSC | NBSU
1 | Generator set 25 KVA | 5
2 | Generator 5 KVA | 25 | 1 | 1 | 1 | 1 | 1 | 1

## Tender 3 (BSU)
TENDER - 3 (BLOOD BANK EQUIPMENTS)
Sl.No. | Tender wise ( LOT No) Kulu District | Qty
Kulu District
|  |  | CHC, Anni | CHC, Manali
|  |  | BSC | BSC
1 | Blood Bank Refrigerator (2 o C - 8 o C) | 9 | 1
2 | Water Bath | 13 | 1 | 1
3 | Precision Incubator | 13 | 1 | 1
4 | Binocular Microscope | 11 | 1 | 1
5 | Table Top Centrifuge | 10 | 1 | 1
Sl.No. | Tender wise ( LOT No) Mandi District | Qty
Mandi District
CH, Karsog
BSC
1 | Blood Bank Refrigerator (2 o C - 8 o C) | 9
2 | Water Bath | 13 | 1
3 | Precision Incubator | 13 | 1
4 | Binocular Microscope | 11
5 | Table Top Centrifuge | 10
Sl.No. | Tender wise ( LOT No) Shimla District | Qty
Shimla District
|  |  | CHC, Nankhari | CHC, Kumarsein
|  |  | BSC | BSC
1 | Blood Bank Refrigerator (2 o C - 8 o C) | 9 | 1 | 1
2 | Water Bath | 13 | 1 | 1
3 | Precision Incubator | 13 | 1 | 1
4 | Binocular Microscope | 11 | 1 | 1
5 | Table Top Centrifuge | 10 | 1 | 1
Sl.No. | Tender wise ( LOT No) Bilaspur District | Qty
Kangra District
|  |  | CHC, Jaisingpur | CHC, Nagrota Bhagawan | CH, Kangra | CH, Nurpur | CH, Baijnath
|  |  | BSC | BSC | BSC | BSC | BSC
1 | Blood Bank Refrigerator (2 o C - 8 o C) | 9 | 1 | 1 | 1 |  | 1
2 | Water Bath | 13 | 1 | 1 | 1 | 1 | 1
3 | Precision Incubator | 13 | 1 | 1 | 1 | 1 | 1
4 | Binocular Microscope | 11 | 1 | 1 | 1 |  | 1
5 | Table Top Centrifuge | 10 | 1 | 1 | 1 |  | 1
| Tender wise ( LOT No) Kangra District | Qty
Kangra District
|  |  | CHC, Nagrota Surain | CH, Dehra | CHC, Jwalamukhi
|  |  | BSC | BSC | BSC
1 | Blood Bank Refrigerator (2 o C - 8 o C) | 9 | 1 |  | 1
2 | Water Bath | 13 | 1 | 1 | 1
3 | Precision Incubator | 13 | 1 | 1 | 1
4 | Binocular Microscope | 11 | 1 | 1 | 1
5 | Table Top Centrifuge | 10 | 1 |  | 1

## Tender 5
TENDER - 5 (GENERAL EQUIPMENTS - NEONATE & BLOOD BANK)
Sl.No. | Tender wise ( LOT No) Kulu District | Qty
Kulu District
|  |  | CH, Banjar | DH, Kullu |  |  | CHC, Manali |  | CHC, Jari | CHC, Nirmand | CHC, Sainj
|  |  | NBCC | NBCC | NBCC - OT | SNCU | NBCC | NBCC - OT | NBCC | NBCC | NBCC
1 | Infant meter, plexus, 3½ft/105cm | 4
2 | Light, examination, mobile,220-12V | 2
3 | Spot Lamps | 9
4 | Crash Cart | 9 |  |  |  | 1
5 | Medicine Trolly | 10 |  |  |  | 1
6 | Basin, kidney, stainless steel, 825ml | 24 |  |  |  | 4
7 | Tray,dressing,ss,300x200x30mm | 23 |  |  |  | 4
8 | Glucometer with Dextrostix | 18 |  |  |  | 2
9 | X-Ray Viewing Box | 60 |  |  |  | 3
10 | Hub Cutter, syringe | 40 |  |  |  | 2
11 | E.Weighing Scale Digital - 100 Kg. | 29 |  |  |  | 2
12 | Scale, Baby, Electronic, 10 kg <5kg> | 67 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1
13 | Weighing Scale Digital - 10Kg (Resolution up to 2 grams) | 2
Sl.No. | Tender wise ( LOT No) Mandi District | Qty
Mandi District
|  |  | PHC, Nangwain | CHC, Rohanda | CHC,Dehar | CHC, Kottli | CH, Karsog |  | CH, Joginder nagar | CH, Sarkagat | CH,Sundernagar | ZH, Mandi
|  |  | NBCC | NBCC | NBCC | NBCC | NBCC - OT | NBSU | SNCU | SNCU | SNCU | SNCU
1 | Infant meter, plexus, 3½ft/105cm | 4
2 | Light, examination, mobile,220-12V | 2
3 | Spot Lamps | 9
4 | Crash Cart | 9
5 | Medicine Trolly | 10
6 | Basin, kidney, stainless steel, 825ml | 24
7 | Tray,dressing,ss,300x200x30mm | 23
8 | Glucometer with Dextrostix | 18
9 | X-Ray Viewing Box | 60 | [6 empty] | 3 | 3 | 3 | 3
10 | Hub Cutter, syringe | 40 | [5 empty] | 2
11 | E.Weighing Scale Digital - 100 Kg. | 29 | [6 empty] | 1 | 1 | 1 | 2
12 | Scale, Baby, Electronic, 10 kg <5kg> | 67 | 1 | 1 | 1 | 1 | 1 | 1
13 | Weighing Scale Digital - 10Kg (Resolution up to 2 grams) | 2
Sl.No. | Tender wise ( LOT No) Shimla District | Qty
Shimla District
|  |  | CHC, Nankhari | CHC, Kumarsein |  | KNH, Shimla | IGMC, Shimla | DDU, Simla | MGMSC, Khaneri
|  |  | NBCC | NBCC | NBSU | SNCU | SNCU | SNCU | SNCU
1 | Infant meter, plexus, 3½ft/105cm | 4 |  |  |  | 2 | 2
2 | Light, examination, mobile,220-12V | 2 |  |  |  | 2
3 | Spot Lamps | 9 |  |  |  | 2 | 5
4 | Crash Cart | 9 |  |  |  | 2 | 1
5 | Medicine Trolly | 10 |  |  |  | 3 | 2
6 | Basin, kidney, stainless steel, 825ml | 24 |  |  |  | 4 | 5
7 | Tray,dressing,ss,300x200x30mm | 23 |  |  |  | 4 | 5
8 | Glucometer with Dextrostix | 18 |  |  |  | 3 | 3
9 | X-Ray Viewing Box | 60 |  |  |  | 3 | 3 | 3 | 3
10 | Hub Cutter, syringe | 40 |  |  | 2 | 2
11 | E.Weighing Scale Digital - 100 Kg. | 29 |  |  |  |  | 2 | 1 | 1
12 | Scale, Baby, Electronic, 10 kg <5kg> | 67 | 1 | 1 | 1 | 2 | 3
13 | Weighing Scale Digital - 10Kg (Resolution up to 2 grams) | 2 |  |  |  | 1
Sl.No. | Tender wise ( LOT No) Bilaspur District | Qty
|  |  | Bilaspur District |  | Sirmour District
|  |  | CHC, Harlog | RH, Bilaspur | CH, Ponda | RH, Nahan
|  |  | NBCC | SNCU | SNCU | SNCU
1 | Infant meter, plexus, 3½ft/105cm | 4
2 | Light, examination, mobile,220-12V | 2
3 | Spot Lamps | 9
4 | Crash Cart | 9
5 | Medicine Trolly | 10
6 | Basin, kidney, stainless steel, 825ml | 24
7 | Tray,dressing,ss,300x200x30mm | 23
8 | Glucometer with Dextrostix | 18
9 | X-Ray Viewing Box | 60 |  | 3 | 3 | 3
10 | Hub Cutter, syringe | 40
11 | E.Weighing Scale Digital - 100 Kg. | 29 |  | 2 | 1 | 2
12 | Scale, Baby, Electronic, 10 kg <5kg> | 67 | 1
13 | Weighing Scale Digital - 10Kg (Resolution up to 2 grams) | 2
Sl.No. | Tender wise ( LOT No) Hamirpur District | Qty
Hamirpur District
|  |  | PHC, Bhota | CHC, Bhoranj | CHC, Galhora | CHC, Barsar | RH, Hamirpur
|  |  | NBCC | NBSU | NBCC | NBSU | SNCU
1 | Infant meter, plexus, 3½ft/105cm | 4
2 | Light, examination, mobile,220-12V | 2
3 | Spot Lamps | 9
4 | Crash Cart | 9
5 | Medicine Trolly | 10
6 | Basin, kidney, stainless steel, 825ml | 24
7 | Tray,dressing,ss,300x200x30mm | 23
8 | Glucometer with Dextrostix | 18
9 | X-Ray Viewing Box | 60 |  |  |  |  | 3
10 | Hub Cutter, syringe | 40 |  | 2 |  | 2
11 | E.Weighing Scale Digital - 100 Kg. | 29 |  |  |  |  | 2
12 | Scale, Baby, Electronic, 10 kg <5kg> | 67 | 1 | 1 | 1 | 1
13 | Weighing Scale Digital - 10Kg (Resolution up to 2 grams) | 2
Sl.No. | Tender wise ( LOT No) Una District | Qty
Una District
|  |  | CHC, Bongara | RH, Una |  |  | CH, Haroli | CHC, Daulatpur |  | CHC, DMB
|  |  | NBCC | NBCC | NBCC-OT | SNCU | NBCC | NBCC | NBSU | NBCC
1 | Infant meter, plexus, 3½ft/105cm | 4
2 | Light, examination, mobile,220-12V | 2
3 | Spot Lamps | 9
4 | Crash Cart | 9 |  |  |  | 1
5 | Medicine Trolly | 10 |  |  |  | 1
6 | Basin, kidney, stainless steel, 825ml | 24 |  |  |  | 4
7 | Tray,dressing,ss,300x200x30mm | 23 |  |  |  | 4
8 | Glucometer with Dextrostix | 18 |  |  |  | 2
9 | X-Ray Viewing Box | 60 |  |  |  | 3
10 | Hub Cutter, syringe | 40 |  |  |  | 2 |  |  | 2
11 | E.Weighing Scale Digital - 100 Kg. | 29 |  |  |  | 2
12 | Scale, Baby, Electronic, 10 kg <5kg> | 67 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1
13 | Weighing Scale Digital - 10Kg (Resolution up to 2 grams) | 2
| Tender wise ( LOT No) Soaln District | Qty
Solan District
|  |  | PHC, Pattamehlog | ESIC, Baddi | CHC, Dharampur | CH, Kandaghat | FRU, Nalgarh | RH, Solan
|  |  | NBCC | NBCC - OT | NBCC | NBCC | SNCU | SNCU
1 | Infant meter, plexus, 3½ft/105cm | 4
2 | Light, examination, mobile,220-12V | 2
3 | Spot Lamps | 9
4 | Crash Cart | 9
5 | Medicine Trolly | 10
6 | Basin, kidney, stainless steel, 825ml | 24
7 | Tray,dressing,ss,300x200x30mm | 23
8 | Glucometer with Dextrostix | 18
9 | X-Ray Viewing Box | 60 |  |  |  |  | 3 | 3
10 | Hub Cutter, syringe | 40
11 | E.Weighing Scale Digital - 100 Kg. | 29 |  |  |  |  | 1 | 2
12 | Scale, Baby, Electronic, 10 kg <5kg> | 67 | 1 | 1 | 1 | 1
13 | Weighing Scale Digital - 10Kg (Resolution up to 2 grams) | 2
| Tender wise ( LOT No) Kangra District | Qty
Kangra District
|  |  | PHC, Haripur | CHC, Indora | CHC, Rehan | ZH, Dharmasala | CHCentre, Chandihar |  | CHC, Jaisingpur
|  |  | NBCC | NBCC | NBCC | SNCU | NBCC | NBSU | NBCC | NBSU
1 | Infant meter, plexus, 3½ft/105cm | 4
2 | Light, examination, mobile,220-12V | 2
3 | Spot Lamps | 9
4 | Crash Cart | 9 |  |  |  | 1
5 | Medicine Trolly | 10 |  |  |  | 1
6 | Basin, kidney, stainless steel, 825ml | 24 |  |  |  | 2
7 | Tray,dressing,ss,300x200x30mm | 23 |  |  |  | 2
8 | Glucometer with Dextrostix | 18 |  |  |  | 2
9 | X-Ray Viewing Box | 60 |  |  |  | 3
10 | Hub Cutter, syringe | 40 |  |  |  | 2 |  | 2 |  | 2
11 | E.Weighing Scale Digital - 100 Kg. | 29 |  |  |  | 1
12 | Scale, Baby, Electronic, 10 kg <5kg> | 67 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1
13 | Weighing Scale Digital - 10Kg (Resolution up to 2 grams) | 2
| Tender wise ( LOT No) Kangra District | Qty
Kangra District
|  |  | CHC, Nagrota Bhagawan | CH, Kangra |  |  | CHC, Shahpur |  |  | CHC, Gangath |  | CH, Nurpur |  |  | CH, Palampur |  |  | CH, Baijnath
|  |  | NBCC | NBCC | NBCC - OT | NBSU | NBCC | NBSU |  | NBCC | NBSU | NBCC | NBCC - OT | SNCU | NBCC | NBCC - OT | SNCU | NBCC | NBSU
1 | Infant meter, plexus, 3½ft/105cm | 4
2 | Light, examination, mobile,220-12V | 2
3 | Spot Lamps | 9
4 | Crash Cart | 9 | [11 empty] | 1 |  |  | 1
5 | Medicine Trolly | 10 | [14 empty] | 1
6 | Basin, kidney, stainless steel, 825ml | 24 | [14 empty] | 1
7 | Tray,dressing,ss,300x200x30mm | 23 | [11 empty] | 2 |  |  | 2
8 | Glucometer with Dextrostix | 18 | [11 empty] | 2 |  |  | 2
9 | X-Ray Viewing Box | 60 | [11 empty] | 3 |  |  | 3
10 | Hub Cutter, syringe | 40 |  |  |  | 2 |  | 2 |  |  | 2 |  |  | 2 |  |  |  |  | 2
11 | E.Weighing Scale Digital - 100 Kg. | 29 |  |  |  | 1 | [7 empty] | 1 |  |  | 1
12 | Scale, Baby, Electronic, 10 kg <5kg> | 67 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 |  | 1 | 1 |  | 1 | 1
13 | Weighing Scale Digital - 10Kg (Resolution up to 2 grams) | 2
| Tender wise ( LOT No) Kangra District | Qty
Kangra District
|  |  | CH, Thurnal |  | CHC, Nagrota Surain | CH, Dehra |  |  | CHC, Jwalamukhi |  | Dr.RPGMC, Thanda
|  |  | NBCC | NBSU | NBCC | NBCC | NBCC - OT | NBSU | NBCC | NBSU | SNCU
1 | Infant meter, plexus, 3½ft/105cm | 4
2 | Light, examination, mobile,220-12V | 2
3 | Spot Lamps | 9 | [8 empty] | 2
4 | Crash Cart | 9 | [8 empty] | 1
5 | Medicine Trolly | 10 | [8 empty] | 1
6 | Basin, kidney, stainless steel, 825ml | 24 | [8 empty] | 2
7 | Tray,dressing,ss,300x200x30mm | 23
8 | Glucometer with Dextrostix | 18 | [8 empty] | 2
9 | X-Ray Viewing Box | 60 | [8 empty] | 3
10 | Hub Cutter, syringe | 40 |  | 2 |  |  |  | 2 |  | 2 | 2
11 | E.Weighing Scale Digital - 100 Kg. | 29 | [8 empty] | 2
12 | Scale, Baby, Electronic, 10 kg <5kg> | 67 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
13 | Weighing Scale Digital - 10Kg (Resolution up to 2 grams) | 2 | [8 empty] | 1

## TEnder 6
TENDER - 6 (GENERAL EQUIPMENTS)
Sl.No. | Tender wise ( LOT No) Kulu District | Qty
Kulu District
|  |  | CHC, Anni |  | CH, Banjar | DH, Kullu |  |  | CHC, Manali |  |  | CHC, Jari | CHC, Nirmand | CHC, Sainj
|  |  | NBCC | BSC | NBCC | NBCC | NBCC - OT | SNCU | NBCC | NBCC - OT | BSC | NBCC | NBCC | NBCC
1 | Table | 71 | 1 |  | 1 | 1 | 1 |  | 1 | 1 |  | 1 | 1 | 1
2 | Table & Chair | 3
3 | Refrigerator, hot zone, 210L | 6 | [5 empty] | 1
4 | Wall Clock with second hand | 16 | [5 empty] | 2
5 | Single Door Refrigerator (Domestic with Temp. Display) | 11 |  | 1
6 | Freezer | 12 |  | 1 | [6 empty] | 1
7 | Ice Box | 12 |  | 1 | [6 empty] | 1
8 | AC (1.5 Tonne) | 13 |  | 1
Sl.No. | Tender wise ( LOT No) Mandi District | Qty
Mandi District
|  |  | PHC, Nangwain | CHC, Rohanda | CHC,Dehar | CHC, Kottli | CH, Karsog
|  |  | NBCC | NBCC | NBCC | NBCC | NBCC | NBCC - OT | NBSU | BSC
1 | Table | 71 | 1 | 1 | 1 | 1 | 1 | 1 | 1
2 | Table & Chair | 3
3 | Refrigerator, hot zone, 210L | 6
4 | Wall Clock with second hand | 16
5 | Single Door Refrigerator (Domestic with Temp. Display) | 11 | [7 empty] | 1
6 | Freezer | 12 | [7 empty] | 1
7 | Ice Box | 12 | [7 empty] | 1
8 | AC (1.5 Tonne) | 13 | [7 empty] | 1
Sl.No. | Tender wise ( LOT No) Shimla District | Qty
Shimla District
|  |  | CH, Sunni | CHC, Nankhari |  | CHC, Kumarsein |  |  | KNH, Shimla | IGMC, Shimla
|  |  | NBCC | NBCC | BSC | NBCC | NBSU | BSC | SNCU | SNCU
1 | Table | 71 | 1 | 1 |  | 1 | 1
2 | Table & Chair | 3 | [6 empty] | 1 | 1
3 | Refrigerator, hot zone, 210L | 6 | [6 empty] | 1
4 | Wall Clock with second hand | 16 | [6 empty] | 2 | 2
5 | Single Door Refrigerator (Domestic with Temp. Display) | 11 |  |  | 1 |  |  | 1
6 | Freezer | 12 |  |  | 1 |  |  | 1
7 | Ice Box | 12 |  |  | 1 |  |  | 1
8 | AC (1.5 Tonne) | 13 |  |  | 1 |  |  | 1
Sl.No. | Tender wise ( LOT No) Bilaspur District | Qty
Bilaspur District
CHC, Harlog
NBCC
1 | Table | 71 | 1
2 | Table & Chair | 3
3 | Refrigerator, hot zone, 210L | 6
4 | Wall Clock with second hand | 16
5 | Single Door Refrigerator (Domestic with Temp. Display) | 11
6 | Freezer | 12
7 | Ice Box | 12
8 | AC (1.5 Tonne) | 13
Sl.No. | Tender wise ( LOT No) Hamirpur District | Qty
Hamirpur District
|  |  | PHC, Bhota | CHC, Bhoranj | CHC, Galhora | CHC, Barsar
|  |  | NBCC | NBSU | NBCC | NBSU
1 | Table | 71 | 1 | 1 | 1 | 1
2 | Table & Chair | 3
3 | Refrigerator, hot zone, 210L | 6
4 | Wall Clock with second hand | 16
5 | Single Door Refrigerator (Domestic with Temp. Display) | 11
6 | Freezer | 12
7 | Ice Box | 12
8 | AC (1.5 Tonne) | 13
Sl.No. | Tender wise ( LOT No) Una District | Qty
Una District
|  |  | CHC, Bongara | RH, Una |  |  | CH, Haroli | CHC, Gagrat | CHC, Daulatpur |  | CHC, Chintpurni | CHC, DMB
|  |  | NBCC | NBCC | NBCC-OT | SNCU | NBCC | NBCC | NBCC | NBSU | NBCC | NBCC
1 | Table | 71 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1
2 | Table & Chair | 3
3 | Refrigerator, hot zone, 210L | 6 |  |  |  | 1
4 | Wall Clock with second hand | 16 |  |  |  | 2
5 | Single Door Refrigerator (Domestic with Temp. Display) | 11
6 | Freezer | 12
7 | Ice Box | 12
8 | AC (1.5 Tonne) | 13 |  |  |  | 1
| Tender wise ( LOT No) Soaln District | Qty
Solan District
|  |  | PHC, Pattamehlog | ESIC, Baddi |  | CHC, Dharampur | CH, Kandaghat
|  |  | NBCC | NBCC | NBCC-OT | NBCC | NBCC
1 | Table | 71 | 1 | 1 | 1 | 1 | 1
2 | Table & Chair | 3
3 | Refrigerator, hot zone, 210L | 6
4 | Wall Clock with second hand | 16
5 | Single Door Refrigerator (Domestic with Temp. Display) | 11
6 | Freezer | 12
7 | Ice Box | 12
8 | AC (1.5 Tonne) | 13
| Tender wise ( LOT No) Kangra District | Qty
Kangra District
|  |  | PHC, Haripur | CHC, Indora | CHC, Rehan | CHC, Jawali | ZH, Dharmasala |  |  | CHC, Chandihar |  | CHC, Jaisingpur
|  |  | NBCC | NBCC | NBCC | NBCC | NBCC | NBCC - OT | SNCU | NBCC | NBSU | NBCC | NBSU | BSC
1 | Table | 71 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1
2 | Table & Chair | 3
3 | Refrigerator, hot zone, 210L | 6 | [6 empty] | 1
4 | Wall Clock with second hand | 16 | [6 empty] | 2
5 | Single Door Refrigerator (Domestic with Temp. Display) | 11 | [11 empty] | 1
6 | Freezer | 12 | [11 empty] | 1
7 | Ice Box | 12 | [11 empty] | 1
8 | AC (1.5 Tonne) | 13 | [6 empty] | 1 |  |  |  |  | 1
| Tender wise ( LOT No) Kangra District | Qty
Kangra District
|  |  | CHC, Nagrota Bhagawan |  | CH, Kangra |  |  |  | CH C, Shahpur |  | CHC, Gangath |  | CH, Nurpur |  |  | CH, Palampur |  |  | CH, Baijnath
|  |  | NBCC | BSC | NBCC | NBCC - OT | NBSU | BSC | NBCC | NBSU | NBCC | NBSU | NBCC | NBCC - OT | SNCU | NBCC | NBCC - OT | SNCU | NBCC | NBSU | BSC
1 | Table | 71 | 1 |  | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 |  | 1 | 1
2 | Table & Chair | 3
3 | Refrigerator, hot zone, 210L | 6 | [12 empty] | 1 |  |  | 1
4 | Wall Clock with second hand | 16 | [12 empty] | 2 |  |  | 2
5 | Single Door Refrigerator (Domestic with Temp. Display) | 11 |  | 1 |  |  |  | 1 | [12 empty] | 1
6 | Freezer | 12 |  | 1 |  |  |  | 1 | [12 empty] | 1
7 | Ice Box | 12 |  | 1 |  |  |  | 1 | [12 empty] | 1
8 | AC (1.5 Tonne) | 13 |  | 1 |  |  |  | 1 | [9 empty] | 1 |  |  | 1
| Tender wise ( LOT No) Kangra District | Qty
Kangra District
|  |  | CH, Thurnal |  | CHC, Nagrota Surain |  | CH, Dehra |  |  |  | CHC, Jwalamukhi |  |  | Dr.RPGMC, Thanda
|  |  | NBCC | NBSU | NBCC | BSC | NBCC | NBCC - OT | NBSU | BSC | NBCC | NBSU | BSC | SNCU
1 | Table | 71 | 1 | 1 | 1 |  | 1 | 1 | 1 |  | 1 | 1
2 | Table & Chair | 3 | [11 empty] | 1
3 | Refrigerator, hot zone, 210L | 6
4 | Wall Clock with second hand | 16 | [11 empty] | 2
5 | Single Door Refrigerator (Domestic with Temp. Display) | 11 |  |  |  | 1 |  |  |  | 1 |  |  | 1
6 | Freezer | 12 |  |  |  | 1 |  |  |  | 1 |  |  | 1
7 | Ice Box | 12 |  |  |  | 1 |  |  |  | 1 |  |  | 1
8 | AC (1.5 Tonne) | 13 |  |  |  | 1 | [6 empty] | 1