|  |  |  |
| --- | --- | --- |
| Sl No | Original as per tender | Amended Specification |
| 1 | **Television-**  **Local Purchase** | |  | | --- | | **TELEVISION** | | LCD/LED Colour television of 32 " or more | | Should be reputed make | | Should be supplied with all accessories for wall mounting | |
| 2 | **Torch- Local Purchase** | |  | | --- | | LED type torch | | Should be supplied with rechargeable batteries and charger | | Should be suitable for clinical application | |
| 3 | **Clock- Local Purchase** | |  | | --- | | Analogue clock with suitable size | | Should be reputed make | |
| 4 | **Vacuum Cleaner- Local Purchase** | |  | | --- | | Should have minimum 1200 Watts of Powerful Suction | | Blower efficiency 30-35lt/sec | | Should be suitable for wet and dry application | | Power supply: 230V,50 Hz | |
| 5 | **Phone- Local Purchase** | Should be reputed make |