| Sl No | Original as per tender | Amended Specification |
| --- | --- | --- |
| 1 | Television- Local Purchase | TELEVISION. LCD/LED Colour television of 32 " or more. Should be reputed make. Should be supplied with all accessories for wall mounting. |
| 2 | Torch- Local Purchase | LED type torch. Should be supplied with rechargeable batteries and charger. Should be suitable for clinical application. |
| 3 | Clock- Local Purchase | Analogue clock with suitable size. Should be reputed make. |
| 4 | Vacuum Cleaner- Local Purchase | Should have minimum 1200 Watts of Powerful Suction. Blower efficiency 30-35lt/sec. Should be suitable for wet and dry application. Power supply: 230V,50 Hz. |
| 5 | Phone- Local Purchase | Should be reputed make |