# CONTENTS

PART – 1:              SNAP SHOT OF TENDER DOCUMENT

PART- II                TECHNICAL INFORMATION

2.1 DESCRIPTION / SCOPE OF WORK

2.2 TECHNICAL SPECIFICATIONS

2.3 TENDER ENQUIRY DOCUMENT

2.4 SCHEDULE OF FISCAL ASPECTS

PART-II

TECHNICAL INFORMATION

CHAPTER 2.1

SCOPE OF WORK

- The scope of vendor would be to comply with the enclosed URS Plan, supply, execute commission & validate the system as per URS.

- Quote for the unit against the URS, along with all options.  The price to include all spare parts; documentation; packing; freight charges; start-up & commissioning; complete qualification package (DQ, IQ, OQ and PQ (Wherever applicable) and training and charges whatsoever required completing the task in all respects to ensure the equipment operation is in accordance with the requirements of design documents.

- Involve with the client and the consultants to establish documented evidence that the proposed design of the system is in compliance with the GMP requirements mentioned in the User Requirement Specification, Installation requirement specification and Risk Analysis.

- Installation:  Installation is a set of activities that have to be completed before site acceptance testing can start. Such activities include: equipment transfer to the location (If necessary), leveling, connecting media (including electrical power), turning on media and checking for leakages, fixing any leakages, checking direction of rotation for electrical motors, calibration etc. The installation should be successfully performed by the vendor.

- Pre-Delivery Inspection and Final Inspection: The Final Inspection should be the last quality related activity performed before delivery to the user site and thus need to be performed after Factory Acceptance Testing.

- Project Management: Activities or  the procedures to be followed, and responsibilities related to Project Management are as follows:

- Means of communication: E-mail messages and facsimiles (fax) may be used for communication as alternatives to traditional letters and telephone conversations.

- Sanctity of communication: This also applies to decisions (e.g. approvals, accepted/rejected change requests, etc.), which always shall be communicated in writing. Such as e-mail messages or facsimiles are considered equally binding as signed paper documents provided that the following data is provided:

- The full name of the person making the decision

- The date of the decision

- Documentation Management: Documents need to be trustworthy, reliable, authentic, and available for as long as required by applicable legal, regulatory, or business standards. As a part of the Chemical supply, following documentation should be furnished.

- Installation, operation and maintenance manuals/drawings.

- Spare parts list including part

CHAPTER-2.2

USER REQUIREMENT SPECIFICATIONS

Reference standard/guideline for chemical (Wherever APPLICABLE)

The IQ/OQ/PQ have to be performed and necessary documents submitted.

Note:

- This URS has been prepared based on our in-house knowledge & understanding for this Chemical. It is possible that certain points might have been overlooked. As a vendor we expect you to go through the document in depth and give your suggestions separately as an option. However, the base offer shall be as per the URS. All suggestions and deviations shall be highlighted and summarized separately.

| Sl. No | Requirment | User Required Specifications |
| --- | --- | --- |
| 1 | Silver Nano Powder (Grade SPL-101N) | Typical values for particle size - Average Particle size 100nm, Primary particle size 40nm. Purity ~ 99.9% Ag. |

ABBREVIATION

| Terms | Abbreviation |
| --- | --- |
| CD | Compact Disc |
| CFR | Code of Federal Regulations |
| DQ | Design Qualification |
| FAT | Factory Acceptance Test |
| FDS | Functional design specifications |
| GAMP | Good Automated Manufacturing Practices |
| GMP | Good Manufacturing Practices |
| HMI | Human Machine Interface |
| HLL | Hindustan Latex Limited |
| IQ | Installation Qualification |
| ISO | International Standards Organization |
| MOC | Material Of Construction |
| OQ | Operational Qualification |
| NPI | NNE Pharma plan India |
| PID | Proportional Integral Derivative |
| PLC | Programmable Logic Controller |
| PQ | Performance Qualification |
| QA | Quality Assurance |
| SAT | Site Acceptance Test |
| SOP | Standard Operating Procedures |
| SS | Stainless steel |
| WHO | World Health Organisation |
| AISI | American Iron And Steel Institute |

CHAPTER 2.3

Tender enquiry document INDEX

| Section I | : | Notice inviting Tender |
| --- | --- | --- |
| Section II | : | General Instructions to Tenderers (GIT) |
| Section III | : | Special Instructions to Tenderers (SIT) |
| Section IV | : | General Conditions of Contract (GCC) |
| Section V | : | Special Conditions of Contract (SCC) |
| Section VI | : | List of Requirements |
| Section VII | : | Technical Specifications |
| Section VIII | : | Quality Control Requirements |
| Section IX | : | Qualification Criteria |
| Section X | : | Tender Form |
| Section XI | : | Price Schedules |
| Section XII | : | Questionnaire |
| Section XIII | : | Bank Guarantee Form for EMD |
| Section XIV | : | Manufacturer’s Authorisation Form |
| Section XV | : | Bank Guarantee Form for Performance Security /CMC Security |
| Section XVI | : | Contract Form (A & B) |
| Section XVII | : | Proforma of Consignee Receipt Certificate |
| Section XVIII | : | Proforma of Final Acceptance Certificate by the Consignee |
| Section XIX | : | Instructions from Ministry of Shipping/Surface Transport |
| Section XX | : | Check List for the Tenderers |
| Section XXI | : | Consignee |

Notice Inviting Tender (NIT)

HLL Lifecare Ltd.

INVITES TENDERS

FOR

SUPPLY OF SILVER NANO POWDER TO HLL R&D CENTRE,

HLL LIFECARE LTD, TRIVANDRUM

HLL Lifecare Limited (HLL) commenced its journey to serve the Nation in the area of healthcare, on 1st March 1966, with its incorporation as a corporate entity under the Ministry of Health and Family Welfare, Government of India.

HLL Lifecare Ltd (HLL) is committed to bringing in innovation in its entire range of products. The company will also introduce new products in to the market, thus positioning itself as a global leader in select areas of healthcare business through research and environment. In order to pioneer successful development and commercialization of a wider range of new products, it is essential that for the industry is backed by a strong and efficient research and development wing. Keeping these objectives in view HLL has set up its Corporate Research and Development Division.

Tenders are invited from vendors for supply and installation of following packages:

| S. No | Chemical | Quatity |
| --- | --- | --- |
|  | Silver Nano Powder (Grade SPL-101N) | 500 gm |

Note: The list may vary (increase / decrease) during order finalisation.

Tender No: HLL/CRD/PUR/159/2012-13/3492

Last date of submission: 14th December 2012. 3.00 pm

Technical bid opening   : 14th  December 2012, 3.30 pm

Venue of tender opening:  HLL R&D Centre

HLL LIFECARE LTD

(Formerly Hindustan Latex Ltd)

Akkulam,

Sreekariyam Post,

Thiruvananthapuram – 17

Kerala, India

Interested parties may visit www.lifecarehll.com / to download the Tender. Subsequent amendments/ addendum if any will be published in these websites, The parties are advised to visit the website regularly for updates. Tenders in sealed envelopes super scribing “Tender for supply chemical to R&D Centre, HLL Lifecare Limited, Sreekariyam P.O., Akkulam, Trivandrum

The properly sealed bids for the chemcial should be sent to the following address,

VP(R&D)

HLL LIFECARE LTD

(Formerly Hindustan Latex Ltd)

Akkulam,

Sreekariyam P.O.,

Thiruvananthapuram – 17

Kerala, India

Tel: +91  471   2774700

E-mail:crdc@lifecarehll.com

SECTION - II

GENERAL INSTRUCTIONS TO TENDERERS (GIT)

CONTENTS

| Sl. No. | Topic | Remarks |
| --- | --- | --- |
| A | PREAMBLE |
| 1 | Definitions and Abbreviations |  |
| 2 | Introduction |  |
| 3 | Availability of Funds |  |
| 4 | Language of Tender |  |
| 5 | Eligible Tenderers |  |
| 6 | Eligible Goods and Services |  |
| 7 | Tendering Expense |  |
| B | TENDER ENQUIRY DOCUMENTS |
| 8 | Contents of Tender Enquiry Documents |  |
| 9 | Amendments to Tender Enquiry Documents |  |
| 10 | Clarification of Tender Enquiry Documents |  |
| C | PREPARATION OF TENDERS |
| 11 | Documents Comprising the Tender |  |
| 12 | Tender Currencies |  |
| 13 | Tender Prices |  |
| 14 | Indian Agent |  |
| 15 | Firm Price / Variable Price |  |
| 16 | Alternative Tenders |  |
| 17 | Documents Establishing Tenderer’s Eligibility and Qualifications |  |
| 18 | Documents Establishing Good’s Conformity to Tender Enquiry Document |  |
| 19 | Earnest Money Deposit (EMD) |  |
| 20 | Tender Validity |  |
| 21 | Signing and Sealing of Tender |  |
| D | SUBMISSION OF TENDERS |
| 22 | Submission of Tenders |  |
| 23 | Late Tender |  |
| 24 | Alteration and Withdrawal of Tender |  |
| E | TENDER OPENING |
| 25 | Opening of Tenders |  |
| F | SCRUTINY AND EVALUATION OF TENDERS |
| 26 | Basic Principle |  |
| 27 | Preliminary Scrutiny of Tenders |  |
| 28 | Minor Infirmity/Irregularity/Non-Conformity |  |
| 29 | Discrepancy in Prices |  |
| 30 | Discrepancy between original and copies of Tender |  |
| 31 | Qualification Criteria |  |
| 32 | Conversion of Tender Currencies to Indian Rupees |  |
| 33 | Schedule-wise Evaluation |  |
| 34 | Comparison of Tenders |  |
| 35 | Additional Factors and Parameters for Evaluation and Ranking of Responsive Tenders |  |
| 36 | Tenderer’s capability to perform the contract |  |
| 37 | Contacting the Purchaser |  |
| G | AWARD OF CONTRACT |
| 38 | Purchaser’s Right to Accept any Tender and to Reject any or All Tenders |  |
| 39 | Award Criteria |  |
| 40 | Variation of Quantities at the Time of Award |  |
| 41 | Notification of Award |  |
| 42 | Issue of Contract |  |
| 43 | Non-receipt of Performance Security and Contract by the Purchaser/Consignee |  |
| 44 | Return of EMD |  |
| 45 | Publication of Tender Result |  |
| 46 | Corrupt or Fraudulent Practices |  |

A. PREAMBLE

1.	Definitions and Abbreviations:

1.1 The following definitions and abbreviations, which have been used in these documents shall have the meanings as indicated below:

1.2.	Definitions:

(i)	“Purchaser” means the organization and / or its representatives (consultants) purchasing goods and services as incorporated in the Tender Enquiry document.

(ii)	“Tender” means Bids / Quotation / Tender received from a Firm / Tenderer / Bidder.

(iii)	“Tenderer” means Bidder/ the Individual or Firm submitting Bids / Quotation / Tender

(iii)	“Supplier” means the individual or the firm supplying the goods and services as incorporated in the contract.

(iv)	“Goods” means the articles, material, commodities, livestock, furniture, fixtures, raw material, spares, instruments, machinery, equipment, medical equipment, industrial plant, chemicals etc. which the supplier is required to supply to the purchaser under the contract.

(v)	“Services” means services allied and incidental to the supply of goods, such as transportation, installation, commissioning, provision of technical assistance, training, after sales service, maintenance service and other such obligations of the supplier covered under the contract.

(vi)	“Earnest Money Deposit” (EMD) means Bid Security/ monetary or financial guarantee to be furnished by a tenderer along with its tender.

(vii)	“Contract” means the written agreement entered into between the purchaser and/or consignee and the supplier, together with all the documents mentioned therein and including all attachments, annexure etc. therein.

(viii)	“Performance Security” means monetary or financial guarantee to be furnished by the successful tenderer for due performance of the contract placed on it. Performance Security is also known as Security Deposit.

(ix)	“Consignee” means the organization/person to whom the goods are required to be delivered as specified in the Contract. If the goods are required to be delivered to a person as an interim consignee for the purpose of despatch to another person as provided in the Contract then that “another” person is the consignee, also known as ultimate consignee.

(x)	“Specification” means the document/standard that prescribes the requirement with which goods or service has to conform.

(xi)	“Inspection” means activities such as measuring, examining, testing, gauging one or more characteristics of the product or service and comparing the same with the specified requirement to determine conformity.

(xii)	“Day” means calendar day.

Abbreviations:

(i)	“T E Document” means Tender Enquiry Document

(ii)	“NIT” means Notice Inviting Tenders.

(iii)	“GIT” means General Instructions to Tenderers

(iv)	“SIT” means Special Instructions to Tenderers

(v)	“GCC” means General Conditions of Contract

(vi)	“SCC” means Special Conditions of Contract

(vii)	“DGS&D” means Directorate General of Supplies and Disposals

(viii)	“NSIC” means National Small Industries Corporation

(ix)	“PSU” means Public Sector Undertaking

(x)	“CPSU” means Central Public Sector Undertaking

(xi)	“LSI” means Large Scale Industry

(xii)	“SSI” means Small Scale Industry

(xiii)	“LC” means Letter of Credit

(xiv)	“DP” means Delivery Period

(xv)	“BG” means Bank Guarantee

(xvi)	“ED” means Excise Duty

(xvii)	“CD” means Custom Duty

(xviii)	“VAT” means Value Added Tax

(xix)	“CENVAT” means Central Value Added Tax

(xx)	“CST” means Central Sales Tax

(xxi)	“RR” means Railway Receipt

(xxii)	“BL” means Bill of Lading

(xxiii)	“FOB” means Free on Board

(xxiv)	“FCA” means Free Carrier

(xxv)	 “FOR” means Free On Rail

(xxvi)	 “CIF” means Cost, Insurance and Freight

(xxvii)	 “CIP (Destinations)” means Carriage and Insurance Paid up to named port of destination. Additionally the Insurance (local transportation and storage) would be extended and borne by the Supplier from warehouse to the consignee site for a period including 3 months beyond date of delivery.

(xxviii)	“DDP” means Delivery Duty Paid named place of destination (consignee site)

- “INCOTERMS” means International Commercial Terms as on the date of Tender Opening

- “MOH&FW” means Ministry of Health & Family Welfare, Government of India.

(xxxi)	“CMC” means Comprehensive maintenance Contract (labour, spare and preventive maintenance)

- “RT” means Re-Tender.

Introduction

2.1	The Purchaser has issued these TE documents for purchase of goods and related services as mentioned in subsequent paragraphs which also indicates interalia, the required delivery schedule, terms and place of delivery.

2.2	This section (Section II - “General Instruction Tenderers”) provides the relevant information as well as instructions to assist the prospective tenderers in preparation and submission of tenders. It also includes the mode and procedure to be adopted by the purchaser for receipt and opening as well as scrutiny and evaluation of tenders and subsequent placement of contract.

2.3 	The tenderers shall also read the Special Instructions to Tenderers (SIT) related to this purchase, as contained in Section III of these documents and follow the same accordingly. Whenever there is a conflict between the GIT and the SIT, the provisions contained in the SIT shall prevail over those in the GIT.

2.4	Before formulating the tender and submitting the same to the purchaser, the tenderer should read and examine all the terms, conditions, instructions, checklist etc. contained in the TE documents. Failure to provide and/or comply with the required information, instructions etc. incorporated in these TE documents may result in rejection of its tender.

- Availability of Funds

- 3.1 	Deleted.

Language of Tender

4.1 	The tender submitted by the tenderer and all subsequent correspondence and documents relating to the tender exchanged between the tenderer and the purchaser, shall be written in the English language, unless otherwise specified in the Tender Enquiry. However, the language of any printed literature furnished by the tenderer in connection with its tender may be written in any other language provided the same is accompanied by an English translation and, for purposes of interpretation of the tender, the English translation shall prevail.

4.2	The tender submitted by the tenderer and all subsequent correspondence and documents relating to the tender exchanged between the tenderer and the purchaser, may also be written in the Hindi language, provided that the same are accompanied by English translation, in which case, for purpose of interpretation of the tender etc, the English translations shall prevail.

5.	Eligible Tenderers

5.1 	This invitation for tenders is open to all suppliers who fulfil the eligibility criteria specified against clause 17 of GIT Sec. II in this document.

6.	Eligible Goods and Services

6.1	All goods and related services to be supplied under the contract shall have their origin in India or any other country with which India has not banned trade relations. The term “origin” used in this clause means the place where the goods are mined, grown, produced, or manufactured or from where the related services are arranged and supplied.

7.	Tendering Expense

7.1	The tenderer shall bear all costs and expenditure incurred and/or to be incurred by it in connection with its tender including preparation, mailing and submission of its tender and for subsequent processing the same. The purchaser will, in no case be responsible or liable for any such cost, expenditure etc regardless of the conduct or outcome of the tendering process.

B. TENDER ENQUIRY DOCUMENT

8.	Content of Tender Enquiry Documents

8.1	The TE documents shall include all sections (1-21) as shown in index

8.2 	The relevant details of the required goods and services, the terms, conditions and procedure for tendering, tender evaluation, placement of contract, the applicable contract terms and, also, the standard formats to be used for this purpose are incorporated in the above-mentioned documents. The interested tenderers are expected to examine all such details etc to proceed further.

9.	Amendments to TE documents

9.1 	At any time prior to the deadline for submission of tenders, the purchaser may, for any reason deemed fit by it, modify the TE documents by issuing suitable amendment(s) to it.

9.2 	Such an amendment will be notified in the website of www.lifecarehll.com / The interested parties are advised to regularly visit the website for further updates.

9.3 	In order to provide reasonable time to the prospective tenderers to take necessary action in preparing their tenders as per the amendment, the purchaser may, at its discretion extend the deadline for the submission of tenders and other allied time frames, which are linked with that deadline.

10.	Clarification of TE documents

  - A tenderer requiring any clarification or elucidation on any issue of the TE documents may take up before the last date of submission of tender documents. The purchaser will respond to such request if required, by publishing the response/clarification in the official	 website

C. PREPARATION OF TENDERS

11.	Documents Comprising the Tender

11.1	The Two Bid System, i.e. “Technical Bid” and “Price Bid” prepared by the tenderer shall comprise the following:

A)	Technical bid (Un priced Bid)

i)	Earnest money furnished in accordance with GIT clause 19.1 alternatively, documentary evidence as per GIT clause 19.2 for claiming exemption from payment of earnest money.

ii)	Tender Form as per Section X (Un priced).

- Documentary evidence, as necessary in terms of clauses 5 and 17 establishing that the tenderer is eligible to submit the tender and, also, qualified to perform the contract if its tender is accepted.

iv)	Tenderer/Agent who quotes for goods manufactured by other manufacturer shall furnish Manufacturer’s Authorisation Form.

v)    Power of attorney in favour of the signatory of the tender document.

vi)   Documents and relevant details to establish in accordance with GIT clause 18 that the goods and the allied services to be supplied by the tenderer conform to the requirement of the TE documents.

vii)	Performance Statement as per section IX along with relevant copies of orders and end users’ satisfaction certificate.

viii)	Price Schedule(s) as per Section XII filled up with all the details including Make, Model, etc. of the goods offered with prices blank (without indicating any prices).

ix)	Certificate of country of origin by the bidder from abroad. (Chamber of commerce)

x)	Checklist as per Section XX.

B)	Price Bid:

The information given at clause no. 11.1 A) ii) & viii) above should be reproduced with the prices indicated.

#### N.B.

- All pages of the Tender should be page numbered and indexed.

- It is the responsibility of tenderer to go through the TE document to ensure furnishing all required documents in addition to above, if any.

11.2 	The authorized signatory of the tenderer must sign the tender duly stamped at appropriate places and initial all the remaining pages of the tender.

11.3	A tender, which does not fulfil any of the above requirements and/or gives evasive information/reply against any such requirement, shall be liable to be ignored and rejected.

11.4 	Tender sent by fax/telex/cable/electronically shall be ignored.

12.	Tender currencies

12.1 	The tenderer supplying indigenous goods or already imported goods shall quote only in Indian Rupees.

12.2 	For imported goods if supplied directly from abroad, prices shall be quoted in any freely convertible currencies say US Dollar, Euro, GBP or Yen. As regards price(s) for allied services, if any required with the goods, the same shall be quoted in Indian Rupees only if such services are to be performed /undertaken in India. Commission for Indian Agent, if any and if payable shall be indicated in the space provided for in the price schedule and will be payable in Indian Rupees only. Such conversion of currencies will be done based on rate of exchange declared by the RBI as on the date of ‘Price Bid’ opening as already incorporated against clause 32 here after.

12.3 	Tenders, where prices are quoted in any other way shall be treated as non -responsive and rejected.

13	Tender Prices

13.1 	The Tenderer shall indicate on the Price Schedule provided under Section XI all the specified components of prices shown therein including the unit prices and total tender prices of the goods and services proposes to supply against the requirement. All the columns shown in the price schedule should be filled up as required. If any column does not apply to a tenderer, same should be clarified as “NA” by the tenderer.

13.2 	If the tenderer is eligible to quote for more than one schedule/ packages in the List of Requirements specified, the tenderer may submit the quotation in separate envelope for each package super scribing the package no and description on it.  The price of each package complete in all respect will be evaluated and the L1 party will be identified package wise.

13.3 	The quoted prices for goods offered from within India and that for goods offered from abroad are to be indicated separately in the applicable Price Schedules attached under Section XI.

13.4 	While filling up the columns of the Price Schedule, the following aspects should be noted for compliance:

13.4.1 For domestic goods or goods of foreign origin located within India, the prices in the corresponding price schedule shall be entered separately in the following manner:

a)	The price of the goods, quoted ex-factory/ ex-showroom/ ex-warehouse/ off-the-shelf, as applicable, including all taxes and duties like sales tax, CST VAT, CENVAT, Custom Duty, Excise Duty etc. already paid or payable on the components and raw material used in the manufacture or assembly of the goods quoted ex-factory etc. or on the previously imported goods of foreign origin quoted ex-showroom etc;

b)	Any sales or other taxes and any duties including excise duty, which will be payable on the goods in India if the contract is awarded;

c)	Charges towards Packing & Forwarding, Inland Transportation, Insurance (local transportation and storage) would be borne by the Supplier from ware house to the consignee site for a period including 3 months beyond date of delivery, Loading/Unloading and other local costs incidental to delivery of the goods to their final destination as specified in the List of Requirements and Price Schedule;

d)	The price of Incidental Services, as mentioned in List of Requirements and Price Schedule;

e)	The prices of Turnkey (if any), as mentioned in List of Requirements, Technical Specification and Price Schedule; and

f)	The price of annual CMC, as mentioned in List of Requirements, Technical Specification and Price Schedule.

13.4.2	For goods offered from abroad, the prices in the corresponding price schedule shall be entered separately in the following manner:

a)	The price of goods quoted DDP Destination, as indicated in the List of Requirements and Price Schedule;

b)	Deleted

- The price of goods quoted should be on DDP basis at consignee site in India as indicated in the List of Requirements, Price Schedule and Consignee List;

- Deleted

e)	The charges for Insurance (local transportation and storage) would be extended and borne by the Supplier from warehouse to the consignee site for a period including 3 months beyond date of delivery.

f)  Deleted

g) The prices of Turnkey (if any), as mentioned in List of Requirements, Technical Specification and Price Schedule; and

h)	The price of annual CMC, as mentioned in List of Requirements, Technical Specification and Price Schedule.

13.5

13.5.1 Deleted

13.5.2

a)	Deleted

b)	Deleted

c)	Deleted

13.5.3 Deleted

13.5.4 Deleted

13.5.5 Deleted

13.6	For transportation of imported goods offered from abroad, relevant instructions as incorporated under GCC Clause 10 shall be followed.

13.7	For insurance of goods to be supplied, relevant instructions as provided under GCC Clause 11 shall be followed.

13.8	Unless otherwise specifically indicated in this TE document, the terms FCA, FOB, FAS, CIF, CIP, DDP etc. for imported goods offered from abroad, shall be governed by the rules & regulations prescribed in the current edition of INCOTERMS, published by the International Chamber of Commerce, Paris.

13.9	The need for indication of all such price components by the tenderers, as required in this clause (viz., GIT clause 13) is for the purpose of comparison of the tenders by the purchaser and will no way restrict the purchaser’s right to award the contract on the selected tenderer on any of the terms offered.

14.	Indian Agent

14.1	If a foreign tenderer has engaged an agent in India in connection with its tender, the foreign tenderer, in addition to indicating Indian agent’s commission, if any, in a manner described under GIT sub clause 12.2 above, shall also furnish the following information:

a)	The complete name and address of the Indian Agent and its permanent income tax account number as allotted by the Indian Income Tax authority.

b)	The details of the services to be rendered by the agent for the subject requirement.

c)	Details of Service outlets in India, nearest to the consignee(s), to render services during Warranty and CMC period.

15.	Firm Price

15.1	Unless otherwise specified in the SIT, prices quoted by the tenderer shall remain firm and fixed during the currency of the contract and not subject to variation on any account.

15.2	Deleted

16.	Alternative Tenders

16.1	Alternative Tenders are not permitted.

16.2    -Deleted-

17 	Documents Establishing Tenderer’s Eligibility and Qualifications

17.1	Pursuant to GIT clause 11, the tenderer shall furnish, as part of its tender, relevant details and documents establishing its eligibility to quote and its qualifications to perform the contract if its tender is accepted.

17.2	The documentary evidence needed to establish the tenderer’s qualifications shall fulfil the following requirements:

a)	In case the tenderer offers to supply goods, which are manufactured by some other firm, the tenderer has been duly authorised by the goods manufacturer to quote for and supply the goods to the purchaser. The tenderer shall submit the manufacturer’s authorization letter to this effect as per the standard form provided under Section XIV in this document.

b)	The tenderer has the required financial, technical and production capability necessary to perform the contract and, further, it meets the qualification criteria incorporated in the Section IX in these documents.

c)	In case the tenderer is not doing business in India, it is duly represented by an agent stationed in India fully equipped and able to carry out the required contractual functions and duties of the supplier including after sale service, maintenance & repair etc. of the goods in question, stocking of spare parts and fast moving components and other obligations, if any, specified in the conditions of contract and/or technical specifications.

d)	In case the tenderer is an Indian agent/authorized representative quoting on behalf of a foreign manufacturer for the restricted item, the Indian agent/authorized representative is already enlisted under the Compulsory Enlistment Scheme of Ministry of Finance, Govt. of India operated through Directorate General of Supplies & Disposals (DGS&D), New Delhi.

18.	Documents establishing good’s Conformity to TE document.

18.1 	The tendered shall provide in its tender the required as well as the relevant documents like technical data, literature, drawings etc. to establish that the goods and services offered in the tender fully conform to the goods and services specified by the purchaser in the TE documents. For this purpose the tendered shall also provide a clause-by-clause commentary on the technical specifications and other technical details incorporated by the purchaser in the TE documents to establish technical responsiveness of the goods and services offered in its tender.

18.2 	In case there is any variation and/or deviation between the goods & services prescribed by the purchaser and that offered by the tendered, the tendered shall list out the same in a chart form without ambiguity and provide the same along with its tender.

18.3	If a tenderer furnishes wrong and/or misguiding data, statement(s) etc. about technical acceptability of the goods and services offered by it, its tender will be liable to be ignored and rejected in addition to other remedies available to the purchaser in this regard.

19.	Earnest Money Deposit (EMD)

19.1	Pursuant to GIT clauses 8.1 and 11.1(d) the tenderer shall furnish along with its tender, earnest money for amount as shown under chapter 2.4 (schedule of Fiscal aspects). The earnest money is required to protect the purchaser against the risk of the tenderer’s unwarranted conduct as amplified under sub-clause 19.7 below.

19.2	The tenderers who are currently registered and, also, will continue to remain registered during the tender validity period with National Small Industries Corporation, New Delhi for the specific goods as per tender enquiry specification shall be eligible for exemption from EMD. Vague stipulations in the Registration Certificate such as “to customers’ specification” etc. will not be acceptable for exemption from furnishing of earnest money. In case the tenderer falls in these categories, it should furnish copy of its valid registration details (with NSIC). The EMD should be furnished in the name of “HLL Lifecare Limited, payable at Trivandrum”.

19.3	The earnest money shall be denominated in Indian Rupees or equivalent currencies as per GIT clause 12.2. The earnest money shall be furnished in one of the following forms:

- i) Account Payee Demand Draft

- ii) Banker’s cheque and

- iii) Bank Guarantee &

- iv)  FDR duly pledged in favour of the Purchaser

19.4	The demand draft or banker’s cheque shall be drawn on any commercial bank in India or country of the tenderer, in favour of the “HLL Lifecare Limited” payable at Trivandrum. In case of bank guarantee, the same is to be provided from any scheduled nationalized bank in India or as per the format specified under Section XIII in these documents.

19.5	The earnest money shall be valid for a period of forty-five (45) days beyond the validity period of the tender. As validity period of Tender as per Clause 20 of GIT is 120 days, the EMD shall be valid for 165 days from Technical Bid opening date.

19.6	Unsuccessful tenderers’ earnest money will be returned to them without any interest, after expiry of the tender validity period, but not later than thirty days after conclusion of the resultant contract. Successful tenderer’s earnest money will be returned without any interest, after receipt of performance security from that tenderer.

19.7	Earnest Money is required to protect the purchaser against the risk of the Tenderer’s conduct, which would warrant the forfeiture of the EMD. Earnest money of a tenderer will be forfeited, if the tenderer withdraws or amends its tender or impairs or derogates from the tender in any respect within the period of validity of its tender or if it comes to notice that the information/documents furnished in its tender is incorrect, false, misleading or forged without prejudice to other rights of the purchaser. The successful tenderer’s earnest money will be forfeited without prejudice to other rights of Purchaser if it fails to furnish the required performance security within the specified period.

19.8	In the case of Bank Guarantee furnished from banks outside India (i.e. foreign Banks), it should be authenticated and countersigned by any nationalised bank or scheduled bank, but not cooperative banks  in India by way of back-to-back counter guarantee.

20.	Tender Validity

20.1	If not mentioned otherwise in the SIT, the tenders shall remain valid for acceptance for a period of 120 days (One hundred and twenty days) from the date of tender opening prescribed in the TE document. Any tender valid for a shorter period shall be treated as unresponsive and rejected.

20.2	In exceptional cases, the tenderers may be requested by the purchaser to extend the validity of their tenders up to a specified period. Such request(s) and responses thereto shall be conveyed by surface mail or by fax/ telex/cable followed by surface mail. The tenderers, who agree to extend the tender validity, are to extend the same without any change or modification of their original tender and they are also to extend the validity period of the EMD accordingly. A tenderer, however, may not agree to extend its tender validity without forfeiting its EMD.

20.3	In case the day up to which the tenders are to remain valid falls on/ subsequently declared a holiday or closed day for the purchaser, the tender validity shall automatically be extended up to the next working day.

21.	Signing and Sealing of Tender

21.1 	The tenderers shall submit their tenders as per the instructions contained in GIT Clause 11.

21.2	-Deleted-

21.3	The tender shall either be typed or written in indelible ink and the same shall be signed by the tenderer or by a person(s) who has been duly authorized to bind the tenderer to the contract. The letter of authorization shall be by a written power of attorney, which shall also be furnished along with the tender.

21.4 	The tender shall be duly signed at the appropriate places as indicated in the TE documents and all other pages of the tender including printed literature, if any shall be initialled by the same person(s) signing the tender. The tender shall not contain any erasure or overwriting, except as necessary to correct any error made by the tenderer and, if there is any such correction; the same shall be initialled by the person(s) signing the tender.

21.5	The tenderer should  seal the tender and write  the address of the purchaser and the tender reference number on the envelope. The sentence “NOT TO BE OPENED” before __________ (The tenderer is to put the date & time of tender opening) are to be written on these envelopes. The inner envelopes are then to be put in a bigger outer envelope, which will also be duly sealed, marked etc. as above. If the outer envelope is not sealed and marked properly as above, the purchaser will not assume any responsibility for its misplacement, premature opening, late opening etc.

21.6	TE document seeks quotation following two Tender System, in two parts. First part will be known as ‘Technical Bid’, and the second part ‘Price Bid’ as specified in clause 11 of GIT. Tenderer shall seal ‘Technical Bid’ and ‘Price Bid’ separately and covers will be suitably super scribed. Both these sealed covers shall be put in a bigger cover and super scribed “Tender for the specific chemical name” and sealed properly and procedure prescribed in Paras 21.1 to 21.5 followed.

D. SUBMISSION OF TENDERS

22.	Submission of Tenders

22.1	Unless otherwise specified, the tenders are to be submitted to                                            VP(R&D), HLL R&D, HLL Lifecare Ltd, Akkulam, Sreekariyam P.O.                      Thiruvananthapuram – 17, Kerala, India, Tel: 0471-2774700

22.2	The tenderers must ensure that they submit their tenders not later than the closing time and date specified for submission of tenders. It is the responsibility of the tenderer to ensure that their Tenders whether sent by post or by courier or by person, by the specified clearing date and time. In the event of the specified date for submission of tender falls on / is subsequently declared a holiday or closed day for the purchaser, the tenders will be received up to the appointed time on the next working day.

23.	Late Tender

  - A tender, which is received after the specified date and time for receipt of tenders will be treated as “late” tender and will be ignored and not considered.

24.	Alteration and Withdrawal of Tender

24.1	The tenderer, after submitting its tender, is permitted to alter / modify its tender so long as such alterations / modifications are received duly signed, sealed and marked like the original tender, within the deadline for submission of tenders. Alterations / modifications to tenders received after the prescribed deadline will not be considered.

24.2	No tender should be withdrawn after the deadline for submission of tender and before expiry of the tender validity period. If a tenderer withdraws the tender during this period, it will result in forfeiture of the earnest money furnished by the tenderer in its tender.

- E. TENDER OPENING

25. 	Opening of Tenders

25.1	The purchaser will open the tenders at the specified date and time and at the specified place as indicated in the NIT.

In case the specified date of tender opening falls on / is subsequently declared a holiday or closed day for the purchaser, the tenders will be opened at the appointed time and place on the next working day.

25.2	Authorized representatives of the tenderers, who have submitted tenders on time may attend the tender opening provided they bring with them letters of authority from the corresponding tenderers.

The tender opening official(s) will prepare a list of the representatives attending the tender opening. The list will contain the representatives’ names & signatures and corresponding tenderers’ names and addresses.

25.3	Two - Tender system as mentioned in para 21.6 above will be as follows. The Technical Bid is to be opened in the first instance, at the prescribed time and date as indicated in NIT. These Tenders shall be scrutinized and evaluated by the competent committee/ authority with reference to parameters prescribed in the TE document. During the Technical Bid opening, the tender opening official(s) will read the salient features of the tenders like brief description of the goods offered, delivery period, Earnest Money Deposit and any other special features of the tenders, as deemed fit by the tender opening official(s). Thereafter, in the second stage, the Price Bid of only the Technically qualified offers (as decided in the first stage) shall be opened for further scrutiny and evaluation on a date notified after the evaluation of the Technical Bid. The prices, special discount if any of the goods offered etc., as deemed fit by tender opening official(s) will be read out.

- F. SCRUTINY AND EVALUATION OF TENDERS

26.	Basic Principle

26.1	Tenders will be evaluated on the basis of the terms & conditions already incorporated in the TE document, based on which tenders have been received and the terms, conditions etc. mentioned by the tenderers in their tenders. No new condition will be brought in while scrutinizing and evaluating the tenders.

27.	Preliminary Scrutiny of Tenders

27.1	The Purchaser will examine the Tenders to determine whether they are complete, whether any computational errors have been made, whether required sureties have been furnished, whether the documents have been properly signed stamped and whether the Tenders are generally in order.

27.2	Prior to the detailed evaluation of Price Bid, pursuant to GIT Clause 34, the Purchaser will determine the substantial responsiveness of each Tender to the TE Document. For purposes of these clauses, a substantially responsive Tender is one, which conforms to all the terms and conditions of the TE Documents without material deviations. Deviations from, or objections or reservations to critical provisions such as those concerning Performance Security (GCC Clause 5),Warranty (GCC Clause 15), EMD (GIT Clause 19), Taxes& Duties (GCC Clause 20),Force Majeure (GCC Clause 26) and Applicable law (GCC Clause 31) will be deemed to be a material deviation. The Purchaser’s determination of a Tender’s responsiveness is to be based on the contents of the tender itself without recourse to extrinsic evidence.

27.3	If a Tender is not substantially responsive (Non-Responsive), it will be rejected by the Purchaser and cannot subsequently be made responsive by the Tenderer by correction of the nonconformity.

27.4	The tenders will be scrutinized to determine whether they are complete and meet the essential and important requirements, conditions etc. as prescribed in the TE document. The tenders, which do not meet the basic requirements, are liable to be treated as non – responsive and will be summarily ignored. A non-responsive tender is one which deviates technically or commercially from any specific provision in the tender enquiry.

27.5	The following are some of the important aspects, for which a tender shall be declared non – responsive and will be summarily ignored;

(i)	Tender form as per Section X (signed and stamped) not enclosed

(ii)	Tender is unsigned.

(iii)	Tender validity is shorter than the required period.

(iv)	Required EMD (Amount, validity etc.) / exemption documents have not been provided.

(v)	Tenderer has quoted for goods manufactured by other manufacturer(s) without the required Manufacturer’s Authorisation Form as per Section XIV.

(vi)	Tenderer has not agreed to give the required performance security.

(vii)	Goods offered are not meeting the tender enquiry specification.

(viii)	Tenderer has not agreed to other essential condition(s) specially incorporated in the tender enquiry like terms of payment, liquidated damages clause, warranty clause, dispute resolution mechanism applicable law.

(ix)	Poor/ unsatisfactory past performance.

(x)	Tenderers who stand deregistered/banned/blacklisted by any Govt. Authorities.

(xi)	Tenderer is not eligible as per GIT Clauses 5.1 & 17.1.

(xii)	Tenderer has not quoted for the entire quantity as specified in the List of Requirements in the quoted schedule.

28.	Minor Infirmity /Irregularity/Non-Conformity

28.1	If during the preliminary examination, the purchaser find any minor informality and/or irregularity and/or non-conformity in a tender, the purchaser may waive the same provided it does not constitute any material deviation and financial impact and, also, does not prejudice or affect the ranking order of the tenderers. Wherever necessary, the purchaser will convey its observation on such ‘minor’ issues to the tenderer , asking the tenderer to respond by a specified date. If the tenderer does not reply by the specified date or gives evasive reply without clarifying the point at issue in clear terms, that tender will be liable to be ignored.

29	Discrepancies in Prices

29.1	If, in the price structure quoted by a tenderer, there is discrepancy between the unit price and the total price (which is obtained by multiplying the unit price by the quantity), the unit price shall prevail and the total price corrected accordingly, unless the purchaser feels that the tenderer has made a mistake in placing the decimal point in the unit price, in which case the total price as quoted shall prevail over the unit price and the unit price corrected accordingly.

29.2	If there is an error in a total price, which has been worked out through addition and/or subtraction of subtotals, the subtotals shall prevail and the total corrected; and

29.3	If there is a discrepancy between the amount expressed in words and figures, the amount in words shall prevail, subject to sub clause 29.1 and 29.2 above.

29.4	If, as per the judgement of the purchaser, there is any such arithmetical discrepancy in a tender, the same will be suitably conveyed to the tenderer by registered / speed post. If the tenderer does not agree to the observation of the purchaser, the tender is liable to be ignored.

30.	Discrepancy between original and copies of Tender

30.1	In case any discrepancy is observed between the text etc. of the original copy and that in the other copies of the same tender set, the text etc. of the original copy shall prevail. Here also, the purchaser will convey its observation suitably to the tenderer by register / speed post and, if the tenderer does not accept the purchaser’s observation, that tender will be liable to be ignored.

31.	Qualification Criteria

31.1	Tenders of the tenderers, who do not meet the required Qualification Criteria prescribed in Section IX, will be treated as non - responsive and will not be considered further.

32.	Conversion of tender currencies to Indian Rupees

32.1	In case the TE document permits the tenderers to quote their prices in different currencies, all such quoted prices of the responsive tenderers will be converted to a single currency viz., Indian Rupees for the purpose of equitable comparison and evaluation, as per the exchange rates established by the Reserve Bank of India for similar transactions, as on the date of ‘Price bid’ opening.

33.	Schedule/ Package -wise Evaluation

33.1	In case the List of Requirements contains more than one schedule/ Package, the responsive tenders will be evaluated and compared separately for each schedule. The tender for a schedule/ package will not be considered if the complete requirements prescribed in that schedule/ package are not included in the tender. However, as already mentioned in GIT sub clause 13.2, the tenderers have the option to quote for any one or more schedules/ package.

34.	Comparison of Tenders

  - Unless mentioned otherwise in Section – III – Special Instructions to Tenderers and Section – VI – List of Requirements, the comparison of the responsive tenders shall be carried out on Delivery Duty Paid (DDP) consignee site basis. The quoted turnkey prices and CMC prices will also be added for comparison/ranking purpose for evaluation.

Additional Factors and Parameters for Evaluation and Ranking of Responsive Tenders

35.1	Further to GIT Clause 34 above, the purchaser’s evaluation of a tender will include and take into account the following:

i) Deleted

ii) Deleted

35.2	The purchaser’s evaluation of tender will also take into account the additional factors, if any, incorporated in SIT in the manner and to the extent indicated therein.

35.3	The Purchaser reserves the right to give the price preference to small-scale sectors etc. and purchase preference to central public sector undertakings as per the instruction in vogue while evaluating, comparing and ranking the responsive tenders.

36.	Tenderer’s capability to perform the contract

36.1	The purchaser, through the above process of tender scrutiny and tender evaluation will determine to its satisfaction whether the tenderer, whose tender has been determined as the lowest evaluated responsive tender is eligible, qualified and capable in all respects to perform the contract satisfactorily. If, there is more than one schedule/ package in the List of Requirements, then, such determination will be made separately for each schedule/ package.

36.2	The above-mentioned determination will, interalia, take into account the tenderer’s financial, technical and production capabilities for satisfying all the requirements of the purchaser as incorporated in the TE document. Such determination will be based upon scrutiny and examination of all relevant data and details submitted by the tenderer in its tender as well as such other allied information as deemed appropriate by the purchaser.

37.	Contacting the Purchaser

37.1	From the time of submission of tender to the time of awarding the contract, if a tenderer needs to contact the purchaser for any reason relating to this tender enquiry and / or its tender, it should do so only in writing.

37.2	In case a tenderer attempts to influence the purchaser in the purchaser’s decision on scrutiny, comparison & evaluation of tenders and awarding the contract, the tender of the tenderer shall be liable for rejection in addition to appropriate administrative actions being taken against that tenderer, as deemed fit by the purchaser.

G. AWARD OF CONTRACT

38.	Purchaser’s Right to accept any tender and to reject any or all tenders

38.1	The purchaser reserves the right to accept in part or in full any tender or reject any or more tender(s) without assigning any reason or to cancel the tendering process and reject all tenders at any time prior to award of contract, without incurring any liability, whatsoever to the affected tenderer or tenderers.

39.	Award Criteria

39.1	Subject to GIT clause 38 above, the contract will be awarded to the lowest evaluated responsive tenderer decided by the purchaser in terms of GIT Clause 36.

40.	Variation of Quantities at the Time of Award/ Currency of Contract

40.1	At the time of awarding the contract, the purchaser reserves the right to increase or decrease by up to twenty five (25) per cent, the quantity of goods and services mentioned in the schedule (s) in the “List of Requirements” (rounded ofto next whole number) without any change in the unit price and other terms & conditions quoted by the tenderer.

40.2	If the quantity has not been increased at the time of the awarding the contract, the purchaser reserves the right to increase by up to twenty five (25) per cent, the quantity of goods and services mentioned in the contract (rounded ofto next whole number) without any change in the unit price and other terms & conditions mentioned in the contract, during the currency of the contract after one year from the Date of Notification of Award.

41.	Notification of Award

41.1	Before expiry of the tender validity period, the purchaser will notify the successful tenderer(s) in writing, by registered / speed post/ courier or by fax/ telex/cable (to be confirmed by registered / speed post/courier) that its tender for goods & services, which have been selected by the purchaser, has been accepted, also briefly indicating therein the essential details like description, specification and quantity of the goods & services and corresponding prices accepted. The successful tenderer must furnish to the purchaser the required performance security within thirty days from the date of dispatch of this notification, failing which the EMD will forfeited and the award will be cancelled. Relevant details about the performance security have been provided under GCC Clause 5 under Section IV.

41.2	The Notification of Award shall constitute the conclusion of the Contract.

42.	Issue of Contract

42.1	Promptly after notification of award, the Purchaser/Consignee will mail the contract form (as per Section XVI) duly completed and signed, in duplicate, to the successful tenderer by registered / speed post/courier.

42.2	Within twenty one days from the date of the contract, the successful tenderer shall return the original copy of the contract, duly signed and dated, to the Purchaser/Consignee by registered / speed post/courier.

42.3	The Purchaser/Consignee reserves the right to issue the Notification of Award consignee wise.

43.	Non-receipt of Performance Security and Contract by the Purchaser/Consignee

43.1	Failure of the successful tenderer in providing performance security and / or returning contract copy duly signed in terms of GIT clauses 41 and 42 above shall make the tenderer liable for forfeiture of its EMD and, also, for further actions by the Purchaser/Consignee against it as per the clause 24 of GCC – Termination of default.

44.	Return of E M D

44.1	The earnest money of the successful tenderer and the unsuccessful tenderers will be returned to them without any interest, whatsoever, in terms of GIT Clause 19.6.

45.	Publication of Tender Result

45.1	The name and address of the successful tenderer(s) receiving the contract(s) will be mentioned in the notice board/bulletin/web site of the purchaser.

46.	Corrupt or Fraudulent Practices

46.1	It is required by all concerned namely the Consignee/Tenderers/Suppliers etc to observe the highest standard of ethics during the procurement and execution of such contracts. In pursuance of this policy, the Purchaser: -

- defines, for the purposes of this provision, the terms set forth below

as follows:

- “corrupt practice” means the offering, giving, receiving or soliciting of anything of value to influence the action of a public official in the procurement process or in contract execution; and

- “fraudulent practice” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of the Purchaser, and includes collusive practice among Tenderers (prior to or after Tender submission) designed to establish Tender prices at artificial non-competitive levels and to deprive the Purchaser of the benefits of free and open competition;

- will reject a proposal for award if it determines that the Tenderer recommended for award has engaged in corrupt or fraudulent practices in competing for the contract in question;

- will declare a firm ineligible, either indefinitely or for a stated period of time, to be awarded a contract by the purchaser if it at any time determines that the firm has engaged in corrupt or fraudulent practices in competing for, or in executing the contract.

- Integrity Pact (IP)

The Integrity Pact (IP) will be one of the conditions in this tender enquiry. It will be considered to be a material deviation resulting into ignoring and rejecting the tender if the tenderers do not agree to accept it. The detailed terms of the IP are given below:

The Public Authority commits that:

- no official will demand or accept any illicit gratification to give any   of the parties an advantage at any stage of the project.

- all necessary and appropriate technical, legal and administrative    information related to the contract will be made public

- none of the officials will make available confidential information to a    bidder/contractor to give unfair advantage in the contract

- declaration by all concerned officials any conflict of interest and disclosure of own and family assets

- officials will report to appropriate government authority about any breach/attempt to breach a commitment.

The Bidder commits that:

- they will not offer any illicit gratification to obtain unfair advantage

- they will not collude with other parties to impair transparency and fairness

- they will not accept any advantage in exchange for unprofessional behavior

- will disclose all payments made to agents and intermediaries

- it will demonstrate existence of organization-wide code of conduct    forbidding unethical practices

Penalties:

For failure to implement IP, officials will be subject to penal action and bidders will face cancellation of contract, forfeiture of bond, liquidated damages and blacklisting. Action will not require criminal conviction but be based on “no-contest” after the evidence is made available or there can be no material doubts. Disputes in IP implementation would be resolved by arbitration detailed in IP.

48.	Paying Authority:

48.1	The payment for the supplies of stores / goods / equipments / chemical which including agency commission, turnkey, installation and commissioning and any other payment mentioned in the tender enquiry will be made by “HLL Lifecare Limited”.

SECTION - III

SPECIAL INSTRUCTIONS TO TENDERERS (SIT)

| Sl. No. | GIT Clause No. | Topic | SIT Provision |
| --- | --- | --- | --- |
| A | 1 to 7 | Preamble | No Change |
| B | 8 to 10 | TE documents | No Change |
| C | 11 to 21 | Preparation of Tenders | No Change |
| D | 22 to24 | Submission of Tenders | No Change |
| E | 25 | Tender Opening | No Change |
| F | 26 to 37 | Scrutiny and Evaluation of Tenders | No Change |
| G | 38 to 45 | Award of Contract | No Change |

In case of any conflict between the provision in the GIT and that in the SIT, the provision contained in the SIT shall prevail.

SECTION - IV

GENERAL CONDITIONS OF CONTRACT (GCC)

TABLE OF CLAUSES

| Sl No. | Topic |
| --- | --- |
| 1 | Application |
| 2 | Use of contract documents and information |
| 3 | Patent Rights |
| 4 | Country of Origin |
| 5 | Performance Security |
| 6 | Technical Specifications and Standards |
| 7 | Packing and Marking |
| 8 | Inspection, Testing and Quality Control |
| 9 | Terms of Delivery |
| 10 | Transportation of Goods |
| 11 | Insurance |
| 12 | Spare parts |
| 13 | Incidental services |
| 14 | Distribution of Dispatch Documents for Clearance/Receipt of Goods |
| 15 | Warranty |
| 16 | Assignment |
| 17 | Sub Contracts |
| 18 | Modification of contract |
| 19 | Prices |
| 20 | Taxes and Duties |
| 21 | Terms and mode of Payment |
| 22 | Delay in the supplier’s performance |
| 23 | Liquidated Damages |
| 24 | Termination for default |
| 25 | Termination for insolvency |
| 26 | Force Majeure |
| 27 | Termination for convenience |
| 28 | Governing language |
| 29 | Notices |
| 30 | Resolution of disputes |
| 31 | Applicable Law |
| 32 | General/Miscellaneous Clauses |

SECTION - IV

GENERAL CONDITIONS OF CONTRACT (GCC)

1.	Application

1.1	The General Conditions of Contract incorporated in this section shall be applicable for this purchase to the extent the same are not superseded by the Special Conditions of Contract prescribed under Section V, List of requirements under Section VI and Technical Specification under Section VII of this document.

2.	Use of contract documents and information

2.1	The supplier shall not, without the purchaser’s prior written consent, disclose the contract or any provision thereof including any specification, drawing, sample or any information furnished by or on behalf of the purchaser in connection therewith, to any person other than the person(s) employed by the supplier in the performance of the contract emanating from this TE document. Further, any such disclosure to any such employed person shall be made in confidence and only so far as necessary for the purposes of such performance for this contract.

2.2	Further, the supplier shall not, without the purchaser’s prior written consent, make use of any document or information mentioned in GCC sub-clause 2.1 above except for the sole purpose of performing this contract.

2.3	Except the contract issued to the supplier, each and every other document mentioned in GCC sub-clause 2.1 above shall remain the property of the purchaser and, if advised by the purchaser, all copies of all such documents shall be returned to the purchaser on completion of the supplier’s performance and obligations under this contract.

3.	Patent Rights

3.1	The supplier shall, at all times, indemnify and keep indemnified the purchaser, free of cost, against all claims which may arise in respect of goods & services to be provided by the supplier under the contract for infringement of any intellectual property rights or any other right protected by patent, registration of designs or trademarks. In the event of any such claim in respect of alleged breach of patent, registered designs, trade marks etc. being made against the purchaser, the purchaser shall notify the supplier of the same and the supplier shall, at his own expenses take care of the same for settlement without any liability to the purchaser.

Country of Origin

4.1	All goods and services to be supplied and provided for the contract shall have the origin in India or in the countries with which the Government of India has trade relations.

4.2	The word “origin” incorporated in this clause means the place from where the goods are mined, cultivated, grown, manufactured, produced or processed or from where the services are arranged.

  - The country of origin may be specified in the Price Schedule

5.	Performance Security

5.1	Within thirty (30) days from date of the issue of notification of award by the Purchaser/Consignee, the supplier, shall furnish performance security to the Purchaser/Consignee for an amount equal to ten percent (10%) of the total value of the contract, valid up to sixty (60) days after the date of completion of all contractual obligations by the supplier, including the warranty obligations, initially valid for a period of minimum 18 months from the date of Notification of Award

5.2	The Performance security shall be denominated in Indian Rupees or in the currency of the contract as detailed below:

a)	It shall be in any one of the forms namely Account Payee Demand Draft or Fixed Deposit Receipt drawn from any Scheduled bank in India or Bank Guarantee issued by a Scheduled bank in India, in the prescribed form as provided in section XV of this document in favour of the Purchaser. The validity of the Fixed Deposit receipt or Bank Guarantee will be for a period up to sixty (60) days beyond Warranty Period.

5.3	In the event of any failure /default of the supplier with or without any quantifiable loss to the government including furnishing of consignee wise Bank Guarantee for CMC security as per Proforma in Section XV, the amount of the performance security is liable to be forfeited. The Administration Department may do the needful to cover any failure/default of the supplier with or without any quantifiable loss to the Government.

5.4	In the event of any amendment issued to the contract, the supplier shall, within twenty-one (21) days of issue of the amendment, furnish the corresponding amendment to the Performance Security (as necessary), rendering the same valid in all respects in terms of the contract, as amended.

5.5	The supplier shall enter into Annual Comprehensive Maintenance Contract as per the ‘Contract Form – B’ in Section XVI with respective consignees, 3 (three) months prior to the completion of Warranty Period. The CMC will commence from the date of expiry of the Warranty Period.

5.6	Subject to GCC sub – clause 5.3 above, the Purchaser/Consignee will release the Performance Security without any interest to the supplier on completion of the supplier’s all contractual obligations including the warranty obligations & after receipt of Consignee wise bank guarantee for CMC security in favour of the consignee as per the format in Section XV.

6.	Technical Specifications and Standards

6.1	The Goods & Services to be provided by the supplier under this contract shall conform to the technical specifications and quality control parameters mentioned in ‘Technical Specification’; ‘Quality Control Requirements’ under Sections VII and VIII of this document and URS enclosed as annexure to this document.

7.	Packing and Marking

7.1	The packing for the goods to be provided by the supplier should be strong and durable enough to withstand, without limitation, the entire journey during transit including transhipment (if any), rough handling, open storage etc. without any damage, deterioration etc. As and if necessary, the size, weights and volumes of the packing cases shall also take into consideration, the remoteness of the final destination of the goods and availability or otherwise of transport and handling facilities at all points during transit up to final destination as per the contract.

7.2	The quality of packing, the manner of marking within & outside the packages and provision of accompanying documentation shall strictly comply with the requirements as provided in Technical Specifications and Quality Control Requirements under Sections VII and VIII and in SCC under Section V. In case the packing requirements are amended due to issue of any amendment to the contract, the same shall also be taken care of by the supplier accordingly.

7.3	Packing instructions:

Unless otherwise mentioned in the Technical Specification and Quality Control Requirements under Sections VII and VIII and in SCC under Section V, the supplier shall make separate packages for each consignee (in case there is more than one consignee mentioned in the contract) and mark each package on three sides with the following with indelible paint of proper quality:

- a. contract number and date

- b. brief description of goods including quantity

- c. packing list reference number

- d. country of origin of goods

- e. consignee’s name and full address and

- f. supplier’s name and address

8.	Inspection, Testing and Quality Control

8.1	The purchaser and/or its nominated representative(s) will, without any extra cost to the purchaser, inspect and/or test (FAT) the ordered goods and the related services to confirm their conformity to the contract specifications and other quality control details incorporated in the contract. The purchaser shall inform the supplier in advance, in writing, the purchaser’s programme for such inspection (FAT) and, also the identity of the officials to be deputed for this purpose. The cost towards the transportation, boarding & lodging will be borne by the purchaser and/or its nominated representative(s).

8.2	The Technical Specification and Quality Control Requirements incorporated in the contract / URS shall specify what inspections and tests are to be carried out and, also, where and how they are to be conducted. If such inspections and tests are conducted in the premises of the supplier or its subcontractor(s), all reasonable facilities and assistance, including access to relevant drawings, design details and production data, shall be furnished by the supplier to the purchaser’s inspector at no charge to the purchaser.

  - If during such inspections (FAT) and tests the contracted goods fail to conform to the required specifications and standards, the purchaser’s inspector may reject them and the supplier shall either replace the rejected goods or make all alterations necessary to meet the specifications and standards, as required, free of cost to the purchaser and resubmit the same to the purchaser’s inspector for conducting the inspections and tests again.

8.4	In case the contract stipulates pre-despatch inspection of the ordered goods at supplier’s premises, the supplier shall put up the goods for such inspection to the purchaser’s inspector well ahead of the contractual delivery period, so that the purchaser’s inspector is able to complete the inspection within the contractual delivery period.

8.5	If the supplier tenders the goods to the purchaser’s inspector for inspection at the last moment without providing reasonable time to the inspector for completing the inspection within the contractual delivery period, the inspector may carry out the inspection and complete the formality beyond the contractual delivery period at the risk and expense of the supplier. The fact that the goods have been inspected after the contractual delivery period will not have the effect of keeping the contract alive and this will be without any prejudice to the legal rights and remedies available to the purchaser under the terms & conditions of the contract.

8.6	The purchaser’s/consignee’s contractual right to inspect, test and, if necessary, reject the goods after the goods’ arrival at the final destination shall have no bearing of the fact that the goods have previously been inspected and cleared by purchaser’s inspector during pre-despatch inspection mentioned above.

8.7	Goods accepted by the purchaser/consignee and/or its inspector at initial inspection and in final inspection in terms of the contract shall in no way dilute purchaser’s/consignee’s right to reject the same later, if found deficient in terms of the warranty clause of the contract, as incorporated under GCC Clause 15.

8.8	Principal/ Foreign or Domestic suppliers shall also have the equipment inspected by recognised/ reputed agency like SGS, Lloyd or equivalent (acceptable to the purchaser) prior to despatch at the supplier’s cost and furnish necessary certificate from the said agency in support of their claim.

9.	Terms of Delivery

9.1	Goods shall be delivered by the supplier in accordance with the terms of delivery specified in the contract.

10.	Transportation of Goods

10.1	Instructions for transportation of imported goods offered from abroad:

The supplier shall not make part-shipments and/or transhipment without the express/prior written consent of the purchaser. The supplier is required under the contract to deliver the goods under DDP at consignee site.

10.2	Transportation of domestic goods including goods already imported by the supplier to be done by the supplier himself  and the goods to be delivered at the site of the consignee at his own risk and cost.

11.	Insurance:

11.1	Unless otherwise instructed in the SCC, the supplier shall make arrangements for insuring the goods against loss or damage incidental to manufacture or acquisition, transportation, storage and delivery in the following manner:

i)   In case of supply of domestic goods on consignee site basis, the supplier shall be responsible till the entire stores contracted for arrival in good condition at destination. The transit risk in this respect shall be covered by the Supplier by getting the stores duly insured. The insurance cover shall be obtained by the Supplier and should be valid till 3 months after the receipt of goods by the consignee.

ii)	In case of supply of the imported goods on CIP Named port of Destination Basis, the additional extended Insurance (local transportation and storage) would be borne by the Supplier from the port of entry to the consignee site for a period including 3 months beyond date of delivery.

If the equipment is not commissioned and handed over to the consignee within 3 months, the insurance will get extended by the supplier at their cost till the successful installation, testing, commissioning, qualification and handing over of the goods to the consignee. In case the delay in the installation and commissioning is due to handing over of the site to the supplier by the consignee, such extensions of the insurance will still be done by the supplier, but the insurance extension charges at actuals will be reimbursed.

12.	Spare parts

12.1	If specified in the List of Requirements and in the resultant contract, the supplier shall supply/provide any or all of the following materials, information etc. pertaining to spare parts manufactured and/or supplied by the supplier:

- The spare parts as selected by the Purchaser/Consignee to be purchased from the supplier, subject to the condition that such purchase of the spare parts shall not relieve the supplier of any contractual obligation including warranty obligations; and

b)	In case the production of the spare parts is discontinued:

i)	Sufficient advance notice to the Purchaser/Consignee before such discontinuation to provide adequate time to the purchaser to purchase the required spare parts etc., and

ii)	Immediately following such discontinuation, providing the Purchaser/Consignee, free of cost, the designs, drawings, layouts and specifications of the spare parts, as and if requested by the Purchaser/Consignee.

12.2	Supplier shall carry sufficient inventories to assure ex-stock supply of consumable spares for the goods so that the same are supplied to the Purchaser/Consignee promptly on receipt of order from the Purchaser/Consignee.

13.	Incidental services

13.1	Subject to the stipulation, if any, in the SCC (Section – V), List of Requirements (Section – VI) and the Technical Specification (Section – VII), the supplier shall be required to perform the following services.

i)	Installation & commissioning, Supervision and Demonstration of the goods

ii)	Providing required jigs and tools for assembly, minor civil works required for the completion of the installation.

iii)	Training of Consignee’s Doctors, Staff, operators etc.  for operating and maintaining the goods

iv)	Supplying required number of operation & maintenance manual for the goods

14.	Distribution of Dispatch Documents for Clearance/Receipt of Goods

The supplier shall send all the relevant despatch documents well in time to the Purchaser/Consignee to enable the Purchaser/Consignee clear or receive (as the case may be) the goods in terms of the contract.

Unless otherwise specified in the SCC, the usual documents involved and the drill to be followed in general for this purpose are as follows.

A) 	For Domestic Goods, including goods already imported by the supplier under its own arrangement

Within 24 hours of despatch, the supplier shall notify the purchaser, consignee, and others concerned if mentioned in the contract, the complete details of despatch and also supply the following documents to them by registered post / speed post (or as instructed in the contract):

- Four copies of supplier’s invoice showing contract number, goods description, quantity, unit price and total amount;

- Two copies of packing list identifying contents of each package;

- Inspection certificate issued by the nominated Inspection agency, if any.

- Certificate of origin;

- Insurance Certificate as per GCC Clause 11.

- Manufacturers/Supplier’s warranty certificate & In-house inspection certificate.

B)	For goods imported from abroad

Within 24 hours of despatch, the supplier shall notify the purchaser, consignee, and others concerned if mentioned in the contract, the complete details of despatch and also supply the following documents to them by registered post / speed post (or as instructed in the contract).

- Four copies of supplier’s invoice showing contract number, goods description, quantity, unit price and total amount;

- Original and four copies of the negotiable clean, on-board Bill of Lading/Airway bill, marked freight pre paid and four copies of non-negotiable Bill of Lading/Airway bill;

- Four Copies of packing list identifying contents of each package;

- Insurance Certificate as per GCC Clause 11.

- Manufacturer’s/Supplier’s warranty certificate;

(vi)	Inspection Certificate for the despatched equipments issued by   recognized/ reputed    agency like SGS, Lloyd or equivalent (acceptable to the purchaser) prior to despatch

(vii)	Manufacturer’s own factory inspection report;

- Certificate of origin

- Port of Loading;

- Port of Discharge and

- Expected date of arrival.

15.	Warranty

15.1	The supplier warrants comprehensively that the goods supplied under the contract is new, unused and incorporate all recent improvements in design and materials unless prescribed otherwise by the purchaser in the contract. The supplier further warrants that the goods supplied under the contract shall have no defect arising from design, materials (except when the design adopted and / or the material used are as per the Purchaser’s/Consignee’s specifications) or workmanship or from any act or omission of the supplier, that may develop under normal use of the supplied goods under the conditions prevailing in India.

15.2	This warranty shall remain valid for 2 (two) years after the goods or any portion thereof as the case may be, have been delivered to the final destination and installed and commissioned at the final destination and accepted by the Purchaser/Consignee in terms of the contract, unless specified otherwise in the SCC.

  - No conditional warranty like mishandling, manufacturing defects etc. will be acceptable.

  - Warranty as well as Comprehensive Maintenance contract will be inclusive of all accessories and Turnkey work and it will also cover all wearable & non wearable components.

  - Replacement and repair will be under taken for the defective goods.

  - Proper marking has to be made for all spares for identification like printing of installation and repair dates.

15.3	In case of any claim arising out of this warranty, the Purchaser/Consignee shall promptly notify the same in writing to the supplier. The period of the warranty will be as per G.C.C clause number 15.2 above irrespective of any other period mentioned elsewhere in the bidding documents.

15.4 	Upon receipt of such notice, the supplier shall, within 24 hours on a 24(hrs) X 7 (days) X 365 (days) basis respond to take action and  to repair or replace the defective goods or parts thereof, free of cost, at the ultimate destination within 48 hours. The supplier shall take over the replaced parts/goods after providing their replacements and no claim, whatsoever shall lie on the purchaser for such replaced parts/goods thereafter. The penalty clause for non rectification will be applicable as per tender conditions.

15.5	In the event of any rectification of a defect or replacement of any defective goods during the warranty period, the warranty for the rectified/replaced goods shall be extended to a further period of twenty four (24) months from the date such rectified / replaced goods starts functioning to the satisfaction of the purchaser.

15.6	If the supplier, having been notified, fails to respond to take action to repair or replace the defect(s) within 24 hours on a 24(hrs) X 7 (days) X 365 (days) basis, the purchaser may proceed to take such remedial action(s) as deemed fit by the purchaser, at the risk and expense of the supplier and without prejudice to other contractual rights and remedies, which the purchaser may have against the supplier.

15.7 	During Warranty period, the supplier is required to visit consignee’s site at least once in 3 months commencing from the date of the installation for preventive maintenance of the goods.

15.8	The Purchaser/Consignee reserve the rights to enter into Annual Comprehensive Maintenance Contract between Consignee and the Supplier for the period as mentioned in Section VII, Technical Specifications after the completion of warranty period.

15.9	The supplier along with its Indian Agent and the CMC provider shall ensure continued supply of the spare parts for the machines and equipments supplied by them to the purchaser for 10 years from the date of installation and handing over.

15.10	The Supplier along with its Indian Agent and the CMC Provider shall always accord most favoured client status to the Purchaser vis-à-vis its other Clients/Purchasers of its equipment/machines/goods etc. and shall always give the most competitive price for its machines/equipments supplied to the Purchaser/Consignee.

16.	Assignment

16.1	The Supplier shall not assign, either in whole or in part, its contractual duties, responsibilities and obligations to perform the contract, except with the Purchaser’s prior written permission.

17.	Sub Contracts

17.1	The Supplier shall notify the Purchaser in writing of all sub contracts awarded under the contract if not already specified in its tender. Such notification, in its original tender or later, shall not relieve the Supplier from any of its liability or obligation under the terms and conditions of the contract.

17.2	Sub contract shall be only for bought out items and sub-assemblies.

17.3	Sub contracts shall also comply with the provisions of GCC Clause 4 (“Country of Origin”).

18.	Modification of contract

18.1	If necessary, the purchaser may, by a written order given to the supplier at any time during the currency of the contract, amend the contract by making alterations and modifications within the general scope of contract in any one or more of the following:

a) Specifications, drawings, designs etc. where goods to be supplied under the contract are to be specially manufactured for the purchaser,

b) Mode of packing,

c) Incidental services to be provided by the supplier

d) Mode of despatch,

e) Place of delivery, and

f) Any other area(s) of the contract, as felt necessary by the purchaser depending on the merits of the case.

18.2	In the event of any such modification/alteration causing increase or decrease in the cost of goods and services to be supplied and provided, or in the time required by the supplier to perform any obligation under the contract, an equitable adjustment shall be made in the contract price and/or contract delivery schedule, as the case may be, and the contract amended accordingly. If the supplier doesn’t agree to the adjustment made by the Purchaser/Consignee, the supplier shall convey its views to the Purchaser/Consignee within twenty-one days from the date of the supplier’s receipt of the Purchaser’s/Consignee’s amendment / modification of the contract.

19.	Prices

19.1	Prices to be charged by the supplier for supply of goods and provision of services in terms of the contract shall not vary from the corresponding prices quoted by the supplier in its tender.

20.	Taxes and Duties

20.1	Supplier shall be entirely responsible for all taxes, duties, fees, levies etc. incurred until delivery of the contracted goods to the purchaser.

  - Further instruction, if any, shall be as provided in the SCC.

  - No exemption certificate will be provided by the consignees for custom duty, central Excise duty etc.

  - No form ‘D’ to be issued for concessional CST as the same is no longer applicable.

  - The entry tax, if applicable, the exemption certificate will be issued.

21.	Terms and Mode of Payment

## 21.1	Payment Terms

Payment shall be made subject to recoveries, if any, by way of liquidated damages or any other charges as per terms & conditions of contract in the following manner.

A)	Payment for Domestic Goods Or Foreign Origin Located Within India.

Payment shall be made in Indian Rupees as specified in the contract in the following manner:

on delivery and installation

100 % of the contract price shall be paid on receipt of goods in good condition as well as proper installtion and upon the submission of the following documents within 30 days.

- Four copies of supplier’s invoice showing contract number, goods description, quantity, unit price and total amount.

- Consignee Receipt Certificate as per Section XVII in original issued by the authorized representative of the consignee.

- Two copies of packing list identifying contents of each package;

- Inspection certificate issued by the nominated Inspection agency, if any.

- Insurance Certificate as per GCC Clause 11

- Certificate of origin.

- Installation certificate

- A PBG of 10% of the contract value

B)	Payment for Imported Goods:

Payment  against Imported goods  shall be made in the currency as specified in the contract in the following manner:

100% of the payment through irrevocable letter of credit of which 90% of CIP value aginst submission of shipping documents and delivery of the equipment at the port. A PBG of 10% of the contract value should be submitted by the supplier before opening the LC.Remaining 10% of the net CIP price (CIP price less Indian Agency commission) of the goods delivered shall be paid after the successful installation of the equipment upon submission of documents specified hereunder:

- Four copies of supplier’s invoice showing contract number, goods description, quantity, unit price and total amount;

- Original and four copies of the negotiable clean, on-board Bill of Lading/ Airway bill , marked freight pre paid and four copies of non-negotiable Bill of Lading/Airway bill;

- Four Copies of packing list identifying contents of each package;

- Insurance Certificate as per GCC Clause 11 and documents also to be submitted for payment of LC confirming that dispatch documents has already been sent to all concerned as per the contract within 24 hours;

- Manufacturer’s/Supplier’s warranty certificate;

- Manufacturer’s own factory inspection report and

- Certificate of origin by the chamber of commerce of the concerned country;

- Inspection Certificate for the despatched equipments issued by   recognized/ reputed agency like SGS, Lloyd or equivalent (acceptable to the purchaser) prior to despatch.

- Goods receipt certificate by the ultimate consignee on receipt of goods at this site/warehouse as per section XVII.

- Installation certificate

c)	Deleted

d)	Payment of Indian Agency Commission:

Indian Agency commission will be paid to the manufacturer’s agent in the local currency for an amount in Indian rupees indicated in the relevant Price Schedule (as per prevailing rate of exchange ruling on the date of Contract) and shall not be subject to further escalation / exchange variation. Payment shall be paid in Indian Rupees to the Indian Agent on successful  commissioning  of the equipment

C)	Payment of Turnkey, if any:

Turnkey payment will be made to the manufacturer’s agent in Indian rupees indicated in the relevant Price Schedule.

D)	Payment for Annual Comprehensive Maintenance Contract Charges:

The consignee will enter into CMC with the supplier at the rates as stipulated in the contract. The payment of CMC will be made on half yearly basis after satisfactory completion of said period, duly certified by the consignee.

21.2	The supplier shall not claim any interest on payments under the contract.

21.3	Where there is a statutory requirement for tax deduction at source, such deduction towards income tax and other tax as applicable will be made from the bills payable to the Supplier at rates as notified from time to time.

21.4	Irrevocable & non – transferable LC shall be opened by the Purchaser. However, if the supplier requests specifically to open confirmed LC, the extra charges would be borne by the supplier. If LC is required to be extended and/or amended for reasons not attributable to the purchaser/consignee, the charges thereof shall be borne by the supplier.

21.5	The payment shall be made in the currency / currencies authorised in the contract.

21.6	The supplier shall send its claim for payment in writing, when contractually due, along with relevant documents etc., duly signed with date, to the purchaser.

21.7	While claiming payment, the supplier has also to certify in the bill that the payment being claimed is strictly in terms of the contract and all the obligations on the part of the supplier for claiming that payment has been fulfilled as required under the contract.

21.8	Deleted

21.9	In case where the supplier is not in a position to submit its bill for the balance payment for want of receipted copies of Inspection Note from the consignee and the consignee has not complained about the non-receipt, shortage, or defects in the supplies made, balance amount will be paid by the paying authority without consignee’s receipt certificate after three months from the date of the preceding part payment for the goods in question, subject to the following conditions:

(a)	The supplier will make good any defect or deficiency that the consignee (s) may report within six months from the date of despatch of goods.

(b)	Delay in supplies, if any, has been regularized.

(c)	The contract price where it is subject to variation has been finalized.

(d)	The supplier furnishes the following undertakings:

“I/We, __________ certify that I/We have not received back the Inspection Note duly receipted by the consignee or any communication from the purchaser or the consignee about non-receipt, shortage or defects in the goods supplied. I/We ______ agree to make good any defect or deficiency that the consignee may report within three months from the date of receipt of this balance payment.

22.	Delay in the supplier’s performance

22.1	The supplier shall deliver of the goods and perform the services under the contract within the time schedule specified by the Purchaser/Consignee in the List of Requirements and as incorporated in the contract.

22.2	Subject to the provision under GCC clause 26, any unexcused delay by the supplier in maintaining its contractual obligations towards delivery of goods and performance of services shall render the supplier liable to any or all of the following sanctions:

(i) Imposition of liquidated damages,

(ii) Forfeiture of its performance security and

(iii) Termination of the contract for default.

22.3	If at any time during the currency of the contract, the supplier encounters conditions hindering timely delivery of the goods and performance of services, the supplier shall promptly inform the Purchaser/Consignee in writing about the same and its likely duration and make a request to the Purchaser/Consignee for extension of the delivery schedule accordingly. On receiving the supplier’s communication, the Purchaser/Consignee shall examine the situation as soon as possible and, at its discretion, may agree to extend the delivery schedule, with or without liquidated damages for completion of supplier’s contractual obligations by issuing an amendment to the contract.

22.4	When the period of delivery is extended due to unexcused delay by the supplier, the amendment letter extending the delivery period shall, interalia contain the following conditions:

  - The Purchaser/Consignee shall recover from the supplier, under the provisions of the clause 23 of the General Conditions of Contract, liquidated damages on the goods and services, which the Supplier has failed to deliver within the delivery period stipulated in the contract.

  - That no increase in price on account of any ground, whatsoever, including any stipulation in the contract for increase in price on any other ground and, also including statutory increase in or fresh imposition of customs duty, excise duty, sales tax/ VAT, Service Tax and Works Contract Tax or on account of any other tax or duty which may be levied in respect of the goods and services specified in the contract, which takes place after the date of delivery stipulated in the contract shall be admissible on such of the said goods and services as are delivered and performed after the date of the delivery stipulated in the contract.

  - But nevertheless, the Purchaser/Consignee shall be entitled to the benefit of any decrease in price on account of reduction in or remission of customs duty, excise duty, sales tax/ VAT, Service Tax and Works Contract Tax or any other duty or tax or levy or on account of any other grounds, which takes place after the expiry of the date of delivery stipulated in the contract.

  - The supplier shall not dispatch the goods after expiry of the delivery period. The supplier is required to apply to the Purchaser/Consignee for extension of delivery period and obtain the same before despatch. In case the supplier dispatches the goods without obtaining an extension, it would be doing so at its own risk and no claim for payment for such supply and / or any other expense related to such supply shall lie against the purchaser.

23.	Liquidated damages

23.1	Subject to GCC clause 26, if the supplier fails to deliver any or all of the goods or fails to perform the services within the time frame(s) incorporated in the contract, the Purchaser/Consignee  shall, without prejudice to other rights and remedies available to the Purchaser/Consignee  under the contract, deduct from the contract price, as liquidated damages, a sum equivalent to 1% per week of delay or part thereof on delayed supply of goods and/or services until actual delivery or performance subject to a maximum of 5% of the contract price. Once the maximum is reached Purchaser/Consignee may consider termination of the contract as per GCC 24.

During the above-mentioned delayed period of supply and / or performance, the conditions incorporated under GCC sub-clause 22.4 above shall also apply.

24.	Termination for default

24.1	The Purchaser/Consignee , without prejudice to any other contractual rights and remedies available to it (the Purchaser/Consignee ), may, by written notice of default sent to the supplier, terminate the contract in whole or in part, if the supplier fails to deliver any or all of the goods or fails to perform any other contractual obligation(s) within the time period specified in the contract, or within any extension thereof granted by the Purchaser/Consignee  pursuant to GCC sub-clauses 22.3 and 22.4.

24.2	In the event of the Purchaser/Consignee terminates the contract in whole or in part, pursuant to GCC sub-clause 24.1 above, the Purchaser/Consignee may procure goods and/or services similar to those cancelled, with such terms and conditions and in such manner as it deems fit and the supplier shall be liable to the Purchaser/Consignee for the extra expenditure, if any, incurred by the Purchaser/Consignee for arranging such procurement.

24.3	Unless otherwise instructed by the Purchaser/Consignee, the supplier shall continue to perform the contract to the extent not terminated.

25.	Termination for insolvency

25.1	If the supplier becomes bankrupt or otherwise insolvent, the purchaser reserves the right to terminate the contract at any time, by serving written notice to the supplier without any compensation, whatsoever, to the supplier, subject to further condition that such termination will not prejudice or affect the rights and remedies which have accrued and / or will accrue thereafter to the Purchaser/Consignee.

26.	Force Majeure

26.1	Notwithstanding the provisions contained in GCC clauses 22, 23 and 24, the supplier shall not be liable for imposition of any such sanction so long the delay and/or failure of the supplier in fulfilling its obligations under the contract is the result of an event of Force Majeure.

26.2	For purposes of this clause, Force Majeure means an event beyond the control of the supplier and not involving the supplier’s fault or negligence and which is not foreseeable and not brought about at the instance of , the party claiming to be affected by such event and which has caused the non – performance or delay in performance. Such events may include, but are not restricted to, acts of the Purchaser/Consignee  either in its sovereign or contractual capacity, wars or revolutions, hostility, acts of public enemy, civil commotion, sabotage, fires, floods, explosions, epidemics, quarantine restrictions, strikes excluding by its employees , lockouts excluding  by its management, and freight embargoes.

26.3	If a Force Majeure situation arises, the supplier shall promptly notify the Purchaser/Consignee in writing of such conditions and the cause thereof within twenty one days of occurrence of such event. Unless otherwise directed by the Purchaser/Consignee in writing, the supplier shall continue to perform its obligations under the contract as far as reasonably practical, and shall seek all reasonable alternative means for performance not prevented by the Force Majeure event.

26.4	If the performance in whole or in part or any obligation under this contract is prevented or delayed by any reason of Force Majeure for a period exceeding sixty days, either party may at its option terminate the contract without any financial repercussion on either side.

26.5	In case due to a Force Majeure event the Purchaser/Consignee is unable to fulfil its contractual commitment and responsibility, the Purchaser/Consignee will notify the supplier accordingly and subsequent actions taken on similar lines described in above sub-paragraphs.

27.	Termination for convenience

27.1	The Purchaser/Consignee reserves the right to terminate the contract, in whole or in part for its (Purchaser’s/Consignee ’s) convenience, by serving written notice on the supplier at any time during the currency of the contract. The notice shall specify that the termination is for the convenience of the Purchaser/Consignee. The notice shall also indicate interalia, the extent to which the supplier’s performance under the contract is terminated, and the date with effect from which such termination will become effective.

27.2	The goods and services that are complete and ready in terms of the contract for delivery and performance within thirty days after the supplier’s receipt of the notice of termination shall be accepted by the Purchaser/Consignee following the contract terms, conditions and prices. For the remaining goods and services, the Purchaser/Consignee may decide:

a)	To get any portion of the balance completed and delivered at the contract terms, conditions and prices; and / or

b)	To cancel the remaining portion of the goods and services and compensate the supplier by paying an agreed amount for the cost incurred by the supplier towards the remaining portion of the goods and services.

28.	Governing language

28.1	The contract shall be written in English language following the provision as contained in GIT clause 4. All correspondence and other documents pertaining to the contract, which the parties exchange, shall also be written accordingly in that language.

29.	Notices

29.1	Notice, if any, relating to the contract given by one party to the other, shall be sent in writing or by cable or telex or facsimile and confirmed in writing. The procedure will also provide the sender of the notice, the proof of receipt of the notice by the receiver. The addresses of the parties for exchanging such notices will be the addresses as incorporated in the contract.

29.2	The effective date of a notice shall be either the date when delivered to the recipient or the effective date specifically mentioned in the notice, whichever is later.

30.	Resolution of disputes

30.1	If dispute or difference of any kind shall arise between the Purchaser/Consignee and the supplier in connection with or relating to the contract, the parties shall make every effort to resolve the same amicably by mutual consultations.

30.2	If the parties fail to resolve their dispute or difference by such mutual consultation within twenty-one days of its occurrence, then, unless otherwise provided in the SCC, either the Purchaser/Consignee or the supplier may give notice to the other party of its intention to commence arbitration, as hereinafter provided the applicable arbitration procedure will be as per the Arbitration and Conciliation Act, 1996 of India. In the case of a dispute or difference arising between the Purchaser/Consignee and a domestic Supplier relating to any matter arising out of or connected with the contract, such dispute or difference shall be referred to the sole arbitration of an officer in the Ministry of Law and Justice, appointed to be the arbitrator by the Secretary, Ministry of Health and Family Welfare. The award of the arbitrator shall be final and binding on the parties to the contract subject to the provision that the Arbitrator shall give reasoned award in case the value of claim in reference exceeds Rupees One lakhs (Rs. 1,00,000/)

30.3	Venue of Arbitration: The venue of arbitration shall be the place from where the contract has been issued.

31.	Applicable Law

The contract shall be governed by and interpreted in accordance with the laws of India for the time being in force.

32.	General/ Miscellaneous Clauses

  - Nothing contained in this Contract shall be constructed as establishing or creating between the parties, i.e. the Supplier/its Indian Agent/CMC Provider on the one side and the Purchaser on the other side, a relationship of master and servant or principal and agent.

  - Any failure on the part of any Party to exercise right or power under this Contract shall not operate as waiver thereof.

  - The Supplier shall notify the Purchaser/Consignee /the Government of India of any material change would impact on performance of its obligations under this Contract.

  - Each member/constituent of the Supplier/its Indian Agent/CMC Provider, in case of consortium shall be jointly and severally liable to and responsible for all obligations towards the Purchaser/Consignee/Government for performance of contract/services including that of its Associates/Sub Contractors under the Contract.

  - The Supplier/its Indian Agent/CMC Provider shall at all times, indemnify and keep indemnified the Purchaser/Government of India against all claims/damages etc. for any infringement of any Intellectual Property Rights (IPR) while providing its services under CMC or the Contract.

  - The Supplier/its Agent/CMC Provider shall, at all times, indemnify and keep indemnified the Purchaser/Consignee/Government of India against any claims in respect of any damages or compensation payable in consequences of any accident or injury sustained or suffered by its employees or agents or by any other third party resulting from or by any action, omission or operation conducted by or on behalf of the supplier/its associate/affiliate etc.

  - All claims regarding indemnity shall survive the termination or expiry of the contract

SECTION – V

SPECIAL CONDITIONS OF CONTRACT (SCC)

The following Special Conditions of Contract (SCC) will apply for this purchase. The corresponding clauses of General Conditions of Contract (GCC) relating to the SCC stipulations have also been incorporated below.

These Special Conditions will modify/substitute/supplement the corresponding (GCC) clauses.

Whenever there is any conflict between the provision in the GCC and that in the SCC, the provision contained in the SCC shall prevail.

SECTION - VI

LIST OF REQUIREMENTS

Part I

Supply and installation of following packages,

| S. No | CHEMICAL | QTY |
| --- | --- | --- |
|  | Silver Nano Powder (Grade SPL-101N) | 500 gm |

Part II: Required Delivery Schedule:

a) For Indigenous goods or for imported goods if supplied from India:

As mentioned in URS. The day starts from date of Notification of Award to delivery at consignee site. The date of delivery will be the date of delivery at consignee site (Tenderers may quote earliest delivery period which will however not attract any preference for earlier delivery).

b) For Imported goods directly from foreign:

As mentioned in URS. The day starts from the date of opening of L/C at consignee site. The date of delivery will be the date of delivery at consignee site (Tenderers may quote earliest delivery period).

Part III: Scope of Incidental Services:

Installation & Commissioning, Supervision, Demonstration, Trial run and Training etc. as specified in GCC Clause 13

Part IV: Turnkey (if any) as per details in Technical Specification.

Part V: Comprehensive Maintenance Contract (CMC) as per details in Technical Specification.

Part VI: Required Terms of Delivery and Destination.

a) For Indigenous goods or for imported goods if supplied from India:

At Consignee Site

Insurance (local transportation and storage) would be borne by the Supplier from warehouse to the consignee site for a period including 3 months beyond date of delivery.

b) For Imported goods directly from abroad:

The foreign tenderers are required to quote their rates on DDP at consignee’s site basis giving break up of the price as per the Proforma prescribed in the Price Schedule.

The shipping arrangements shall be made in accordance with the instruction of Ministry of Shipping & Transport, New Delhi, India as detailed in Annexure 1 at Section XIX.

Insurance (local transportation and storage) would be extended and borne by the Supplier from ware house to the consignee site for a period including 3 months beyond date of delivery.

Destination/Consignee details are given in Section XXI

Section – VII

Technical Specifications

Note 1:	Tenderer’s attention is drawn to GIT clause 18 and GIT sub-clause 11.1 under heading (c) preparation of tenders. The tenderer is to provide the required details, information, confirmations, etc. accordingly failing that it’s tender is liable to be ignored.

Note 2:	General: Bidders are requested to make sure that they should attach the list of equipments for carrying out routine and preventive maintenance wherever asked for and should make sure that Electrical Safety Analyzer / Tester for Medical equipments to periodically check the electrical safety aspects as per BIS Safety Standards IS-13540 which is also equivalent to IEC electrical safety standard IEC-60601 is a part of the equipments. If the Electrical Safety Analyzer/Tester is not available they should provide a commitment to get the equipments checked for electrical safety compliance with Electronic Regional Test Labs / Electronics Test and Development Centres across the country on every preventive maintenance call.

Note 3:	OPTIONAL ITEMS: Bidders are requested to quote for all the available options as asked in the bidding document with reasonable pricing. However the pricing for optional items will not be considered for price comparison for ranking purpose. If the firm has not quoted for any optional item (except the items of turnkey) their offer will be treated as TECHNICALLY RESPONSIVE if otherwise meeting the specification.

SECTION-VII

TECHNICAL SPECIFICATIONS

GENERAL TECHNICAL SPECIFICATIONS

GENERAL POINTS:

1.	Warranty:

- One year Comprehensive Warranty as per Conditions of Contract of the TE document for complete equipment and Turnkey Work from the date of satisfactory installation, commissioning, trial run & handing over of equipment to CONSIGNEE.

- 98% up time Warranty of complete equipment with extension of Warranty period by double the downtime period on 24 (hrs) X 7 (days) X 365 (days) basis.

- All software updates should be provided free of cost during Warranty period.

- After Sales Service:

After sales service centre should be available at the city of CONSIGNEE on 24 (hrs) X 7 (days) X 365 (days) basis. Complaints should be attended properly, maximum within 48 hrs. The service should be provided by Tenderer/Indian Agent.  Undertaking by the Principals that the spares for the equipment shall be available for at least 10 years from the date of supply. However if the manufacturer/agent does not have the service centres in India will have to set up the same within 45 days after award of the contract.

- Training:

On Site training to operators/ Technicians/ staff is to be provided by Principal/ Indian Agents (if they have the requisite know-how) for operation and maintenance of the equipment to the satisfaction of the consignee.

4.	Annual Comprehensive Maintenance Contract (CMC) of subject equipment with Turnkey:

a)	The cost of Comprehensive Maintenance Contract (CMC) which includes preventive maintenance including testing & calibration as per technical/ service / operational manual of the manufacturer, labour and spares, after satisfactory completion of Warranty period may be quoted for next 5 years on yearly basis for complete equipment  and Turnkey (if any).The supplier shall visit each consignee site as recommended in the manufacturer’s technical/ service / operational manual, but at least once in six months during the CMC period.

b)	The cost of CMC may be quoted along with taxes applicable on the date of Tender Opening. The taxes to be paid extra, to be specifically stated. In the absence of any such stipulation the price will be taken inclusive of such taxes and no claim for the same will be entertained later.

c)	Cost of CMC will be added for Ranking/Evaluation purpose.

d)	The payment of CMC will be made on six monthly basis, after satisfactory completion of said period, duly certified by end user .

e)	There will be 98% uptime warranty during CMC period on 24 (hrs) X 7 (days) X 365 (days) basis, with penalty, to extend CMC period by double the downtime period.

f)	During CMC period, the supplier is required to visit at each consignee’s site at least once in 6 months commencing from the date of the successful completion of warranty period for preventive maintenance of the goods.

g)	All software updates should be provided free of cost during CMC.

h)	Failure of the above [4. e) to 4. g)] by the supplier, may lead to the forfeiture of the Bank Guarantee for Annual CMC.

i)	The payment of CMC will be made as stipulated in GCC Clause 21.

##### Turnkey:

Turnkey is indicated in the technical specification of the respective items, wherever required. The Tendered shall examine the existing site where the equipment is to be installed. Turnkey details are given at the end of Technical Specification. The Tenderers to quote prices indicating break-up of prices of the Machine and Turnkey Job for each site. The Turnkey costs may be quoted (Inclusive of all taxes /duties) in Indian Rupee will be added for Ranking Purpose.

Section – VIII

Quality Control Requirements

(Proforma for chemcial and quality control employed by the manufacturer(s)

Tender Reference No.

Date of opening

Time

Name and address of the Tenderer:

Note:  All the following details shall relate to the manufacturer(s) for the goods quoted for.

01 Name of the manufacturer

a.	full postal address

b.	full address of the premises

c.	Email ID

d.	telephone number

f.	fax number

02 Plant and machinery details

03 Manufacturing process details

04 Monthly (single shift) production   capacity of goods quoted for

a.	normal

b.	maximum

05 Total annual turn-over (value in Rupees) for the last three calendar years excluding the year of tender opening:

06 Quality control arrangement details

a.	For incoming materials and bought-out components

b.	For process control

c.	For final product evaluation

07 Test certificate held

a	. Type test

b	. BIS/ISO certification

c	. Any other

08 Details of staff

a.	Technical

b	Skilled

c	Unskilled

09  Please furnish documentation details with clarifications etc as asked for at the

end of the chemical specification.

Signature and seal of the Tender

Section – IX

Qualification Criteria (For every schedule Quoted)

- Their Client’s list must include atleast three approved facilities from national regulatory bodies (Schedule M) / international regulatory bodies (Like USFDA, UK MHRA, TGA, etc.). List-out the experience under section C, if required.

- Turnover of the company must be minimum as mentioned under section 2.4 schedule of fiscal aspects during any one of the last three financial year. Furnish the information under section B.

- Net worth of the company should be positive during the last three financial years.

Note:

In support of abovethe Tenderer shall furnish the details in the below tables.

- The manufacturer as well as the Tenderer/ Indian Agent shall furnish Satisfactory Performance cum Installation Certificate in respect of above, duly translated in English and duly notarized in the country of origin, along with the tender.

- The Tenderer shall furnish a brief write-up, packed with adequate data explaining and establishing his available capacity/capability (both technical and financial) to perform the Contract (if awarded) within the stipulated time period, after meeting all its current/present commitments. The Tenderer shall also furnish details of Equip

- ment and Quality Control in the enclosed Section below.

Notwithstanding anything stated above, the Purchaser reserves the right to assess the Tenderer’s capability and capacity to perform the contract  satisfactorily before deciding on award of Contract, should circumstances warrant such an assessment in the overall interest of the Purchaser. The Purchaser reserves the right to ask for a free demonstration of the quoted equipment to similar/identical specification at a pre determined place acceptable to the purchaser for determining technical responsiveness, before the opening of the Price Bid.

- PROFORMA:

| A. | General information: |
| --- | --- |
| 1 | Name of Company |  |
| 2 | Registration No. |  |
| 3 | Number of Years in Operation |  |
| 4 | Registered Address |  |
| 5 | Operating Address |  |
| 6 | Telephone No |  |
| 7 | Telefax |  |
| 8 | Email Address |  |
| 9 | SERVICE TAX No. |  |
| 10 | PAN No. |  |
| 11 | TIN No. |  |
| B. | FINANCE |
| 1 | Name & Address of Banks and Branches used : |
| 1.1 |  |
| 1.2 |  |
| 1.3 | Documentary evidence (duly signed & stamped) must be enclosed. | ( Yes ( no |
| 3 | What is your average annual invoiced sales value (based on past previous 5 year’s records) for each of the type of equipments under consideration. |
|  | Equipment Name: ----------- (If more then one equipment, enclose the same separately) |
| 3.1 | Year 1 | __________ (Value in Lakhs) |
|  | Year 2 | __________ (Value in Lakhs) |
|  | Year 3 | __________ (Value in Lakhs) |
|  | Year 4 | __________ (Value in Lakhs) |
|  | Year 5 | __________ (Value in Lakhs) |
| 3.2 | Documentary evidence (duly signed & stamped) must be enclosed. | ( Yes ( no |
| 4 | Annual Turnover of the Firm/ company: Must be minimum 10 times that of the equipment cost under consideration. |
| 4.1 | 2011 – 2012: | __________ (Value in Lakhs) |
|  | 2010 – 2011: | __________ (Value in Lakhs) |
|  | 2009 – 2010: | __________ (Value in Lakhs) |
| 4.2 | Documentary evidence (duly signed & stamped) must be enclosed. | ( Yes ( no |
| 5 | Bidders are to submit copy of valid current Income Tax Return submitted, Sales Tax Registration failing which their offer may be liable to be rejected. | ( Yes ( no |
| C. | EXPERIENCE: |
| 1 | Past Project Experience: Firm must have executed under their Company/ firm’s name at least 5 (Five) similar type of order during the last three calendar years. Client’s list must include atleast five approved biopharma/vaccine manufacturing facilities from international regulatory bodies (Like WHO, USFDA, UK MHRA, TGA, etc.,) |
| Sr. No. | Year awarded | Project Name | Equipments Supplied | CONTRACT VALUE (INR) | CLIENT NAME & REFERENCE (Contact details) | Facility Approved by: (Name of approving agency) |
| 1.1 |  |  |  |  |  |  |
| 1.2 |  |  |  |  |  |  |
| 1.3 |  |  |  |  |  |  |
| 1.4 |  |  |  |  |  |  |
| 1.5 |  |  |  |  |  |  |
| 1.6 |  |  |  |  |  |  |
| 1.7 |  |  |  |  |  |  |
| 1.8 |  |  |  |  |  |  |
| 1.9 |  |  |  |  |  |  |
| 1.10 |  |  |  |  |  |  |
|  | Documentary evidence of work completion certificate duly signed & stamped must be enclosed including the evidence of the facility having approved by regulatory agencies. | ( Yes ( no (NA |
| 2 | Details of Ongoing project: |
| S. No. | Year awarded | Project Name | Equipments Supplied | CONTRACT VALUE (INR) | CLIENT NAME & REFERENCE (Contact details) | Remarks |
| 2.1 |  |  |  |  |  |  |
| 2.2 |  |  |  |  |  |  |
| 2.3 |  |  |  |  |  |  |
| 2.4 |  |  |  |  |  |  |
| 2.5 |  |  |  |  |  |  |
|  | Documentary evidence of the same to be enclosed | ( Yes ( no (NA |

| D. | QUALITY |
| --- | --- |
| 1 | ISO CERTIFICATION |
|  | Is your company ISO certified, if so mention the certification number and enclose the photocopy of the certificate: ISO_______ ISO_______ ISO_______ | ( Yes ( no (NA |
| 2 | Enclose the company Quality policy | ( Yes ( no (NA |
| 3 | The equipment supplied should comply with the following guidelines / standards. Note: Subject to the kind of equipment supplied. | ( Yes ( no (NA |
| 3.1 | GMP-Regulations | ( Yes ( no (NA |
| 3.1.1 | EU-GMP-Guideline Part 1, Annexes 1, 11& 15 | ( Yes ( no (NA |
| 3.1.2 | Code of Federal Regulations (CFR) 21, Part 210: cGMP in Manufacturing, Processing, Packing and Holding of Drugs: General. | ( Yes ( no (NA |
| 3.1.3 | 21 CFR Part 211: Current Good Manufacturing Practice for finished Pharmaceuticals. | ( Yes ( no (NA |
| 3.1.4 | Schedule “M” of Drugs & Cosmetics Act, 1940. | ( Yes ( no (NA |
| 3.1.5 | 21 CFR Part 11: Electronic Records; Electronic Signatures | ( Yes ( no (NA |
| 3.2 | FDA Guidance for Industry | ( Yes ( no (NA |
| 3.2.1 | Sterile Drug Products Produced by Aseptic Processing | ( Yes ( no (NA |
| 3.2.2 | Documentation for Sterilisation Process Validation | ( Yes ( no (NA |
| 3.3 | GAMP | ( Yes ( no (NA |
| 3.3.1 | The Good Automated Manufacturing Practice (GAMP) Guide for Validation of Automated Systems in Pharmaceutical Manufacture, Vol. 5. | ( Yes ( no (NA |

| E. ATTACHMENTS |
| --- |
| S. No. | Please provide the following documents in your submissions: | Enclosed |
| 1 | Company Brochure / Literature | ( Yes ( no |
| 2 | Product profile | ( Yes ( no |
| 3 | Technical Details of equipments | ( Yes ( no |
| 4 | Name & Address of Banks and Branches used : (duly signed & stamped) | ( Yes ( no |
| 5 | Annual turnover for the following years |  |
|  | 2009 – 2010: Balance sheet (duly signed & stamped) | ( Yes ( no |
|  | 2008 – 2009: Balance sheet (duly signed & stamped) | ( Yes ( no |
|  | 2007 – 2008: Balance sheet (duly signed & stamped) | ( Yes ( no |
| 6 | current Income Tax Return | ( Yes ( no |
|  | Sales Tax Registration | ( Yes ( no |
| 7 | Past project experience: Completion certificate: | ( Yes ( no |
| 8 | Ongoing project details. | ( Yes ( no |
| 9 | ISO Certificates | ( Yes ( no |
| 10 | Company policies | ( Yes ( no |
| 11 | Equipment list / scope of supply | ( Yes ( no |

Signature and seal of the Tenderer

** The documentary proof will be a certificate (enclosed) from the consignee/end user with cross-reference of order no. and date in the certificate duly notarised certification authenticating the correctness of the information furnished. If at any time, information furnished is proved to be false or incorrect, the earnest money and or performance security furnished will be forfeited .such certificates from a third party or middleman other than actual end user will not be accepted .

### FORMAT OF PERFORMANCE CERTIFICATE

To whom it may concern

Date. _________________

Certified that M/s ___________________ (name & address of the manufacturer) supplied us ____________ Nos (indicate quantity) of equipment, ___________ (indicate name of the equipment) against our order no ________ dated _________ (please indicate order no & date as figuring in the performance statement). The equipment was installed, commissioned & handed over to us on __________ (indicate date) & since then the equipment has been working to our entire satisfaction.

### Section – X

TENDER FORM

Date__________

To

HLL Lifecare Limited, Trivandrum

Ref. Your TE document No. _________dated ___________

We, the undersigned have examined the above mentioned TE document, including amendment/corrigendum no. __________, dated ________ (if any), the receipt of which is hereby confirmed. We now offer to supply and deliver___________ (Description of goods and services) in conformity with your above referred document for the sum of _____________ (total tender amount in figures and words), as shown in the price schedule(s), attached herewith and made part of this tender.

If our tender is accepted, we undertake to supply the goods and perform the services as mentioned above, in accordance with the delivery schedule specified in the List of Requirements.

We further confirm that, if our tender is accepted, we shall provide you with a performance security of required amount in an acceptable form in terms of GCC clause 5, read with modification, if any, in Section - V – “Special Conditions of Contract”, for due performance of the contract.

We agree to keep our tender valid for acceptance as required in the GIT clause 20, read with modification, if any in Section - III – “Special Instructions to Tenderers” or for subsequently extended period, if any, agreed to by us. We also accordingly confirm to abide by this tender up to the aforesaid period and this tender may be accepted any time before the expiry of the aforesaid period. We further confirm that, until a formal contract is executed, this tender read with your written acceptance thereof within the aforesaid period shall constitute a binding contract between us.

We further understand that you are not bound to accept the lowest or any tender you may receive against your above-referred tender enquiry.

We confirm that we do not stand deregistered/banned/blacklisted by any Govt. Authorities.

We confirm that we fully agree to the terms and conditions specified in above mentioned TE document, including amendment/ corrigendum if any

(Signature with date)

(Name and designation) Duly authorised to sign tender for and on behalf of

SECTION – XI PRICE SCHEDULE

    - i) PRICE SCHEDULE FOR DOMESTIC GOODS OR GOODS OF FOREIGN ORIGIN LOCATED WITHIN INDIA

| 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- |
| Schedule | Brief Description of Goods | Country of Origin | Quantity (Nos.) | Price per unit (Rs.) | Total Price (at Consignee Site) basis (Rs.) 4 x 5(g) |
|  |  |  |  | Ex - factory/ Ex -warehouse /Ex-showroom /Off - the shelf (a) | Excise Duty (if any) [%age & value] (b) | Sales Tax/ VAT(if any) [%age & value] © | Packing and Forwarding charges (d) | Incidental Services (including Installation & Commissioning, Supervision, Demonstration ,Training, Documentation and Qualification) at the Consignee’s site e) | Unit Price (at Consignee Site) basis (g) =a+b+c+d+e |  |

NB: Unit price shall be written in figures and words

Total Tender price in Rupees: ________________________________________________________

In words: ________________________________________________________________________________________________

Note: -

- If there is a discrepancy between the unit price and total price THE UNIT PRICE shall prevail.

- The charges for Annual CMC after warranty shall be quoted separately as per Section – XI – Price Schedule C

Name________________________

Business Address________________________

Place: _________________________           Signature of Tenderer ________

Date: ____________________                       Seal of the Tenderer________

SECTION – XI PRICE SCHEDULE

B)	i) PRICE SCHEDULE FOR GOODS TO BE IMPORTED FROM ABROAD

| 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- |
| Schedule | Brief Description of Goods | Country of Origin | Quantity (Nos.) | Price per unit (Currency) | Total price on DDP basis at consignee’s site 4X 5 (j) |
|  |  |  |  | Gross FOB price at sea / air port of Lading (inclusive of Agency Commission) | Amount and percentage of Agency Commission ** | Net FOB (excluding Agency Commission) (a-b) | Insurance & Freight | Net CIP Port of destination by Air/sea (c+d) | Custom Duty amount as % of Net CIP (as applicable) | Custom Clearance & Handling Charges ** | Loading / unloading / inland transportation / insurance & incidental cost till consignee’s site ** | Installation, commissioning, supervision, Demonstration,training Documentaion and Qualification at the consignee’s site ** | Unit price on DDP basis at consignee’s site (a+d+f+g+h+i) |  |
|  |  |  |  | (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) |

** To be paid in Indian Currency (Rs.)

Total Tender price in foreign currency (Net CIP) in figures: _______________________________________________________________________

And in words: _______________________________________________________________________

Note: -

- If there is a discrepancy between the unit price and total price THE UNIT PRICE shall prevail.

- The charges for Annual CMC after warranty shall be quoted separately as per Section – XI – Price Schedule C

- The Tenderer will be fully responsible for the safe arrival of the goods at the consignee site in good condition as per terms of DDP at consignee site as per INCOTERMS.

- the bidders break up of prices under various columns are for comparison of prises up to delivery of goods at consignee’s site for tender evaluation and will be  allowed on actual basis subject to bidders quoted prices as ceiling under various heads which will be adjusted later against balance payment.

- The quoted price should be bidder’s best lowest rate supported with original proforma invoice from the foreign manufacturers Indian Agent to be paid in Indian Currency.

Signature of Tenderer_____________________                                                                                                                                                                           Name________________________

Business Address________________________

Place: ___________________________                                                                                                        Signature of Tenderer________________

Date: _________________________                                                                                                                    Seal of the Tender__________________

###### SECTION – XI PRICE SCHEDULE

    - PRICE SCHEDULE FOR ANNUAL COMPREHENSIVE MAINTENANCE CONTRACT AFTER WARRANTY PERIOD

| 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- |
| Schedule No. | BRIEF DESCRIPTION OF GOODS | QUANTITY. (Nos.) | Annual Comprehensive Maintenance Contract Cost for Each Unit year wise*. | Total Annual Comprehensive Maintenance Contract Cost for 5 Years [5 x (4a+4b+4c+4d+4e)] |
|  |  |  | 1st | 2nd | 3rd | 4th | 5th |  |
|  |  |  | a | B | c | d | e |  |

* After completion of Warranty period

NOTE:-

- In case of discrepancy between unit price and total prices, THE UNIT PRICE shall prevail.

- The cost of Comprehensive Maintenance Contract (CMC) which includes preventive maintenance including testing & calibration as per technical/ service /operational manual, labour and spares, after satisfactory completion of Warranty period may be quoted for next 5 years on yearly basis for complete equipment and Turnkey (if any).

- The cost of CMC may be quoted along with taxes applicable on the date of Tender Opening. The taxes to be paid extra, to be specifically stated. In the absence of any such stipulation the price will be taken inclusive of such taxes and no claim for the same will be entertained later.

- Cost of CMC will be added for Ranking/Evaluation purpose.

- The payment of CMC will be made as per clause GCC clause 21.1 (D).

- The uptime warranty will be 98 % on 24 (hrs) X 7 (days) X 365 (days) basis or as stated in Technical Specification of the TE document.

- All software updates should be provided free of cost during CMC period.

- The stipulations in Technical Specification will supersede above provisions

- The supplier shall keep sufficient stock of spares required during Annual Comprehensive Maintenance Contract period. In case the spares are required to be imported, it would be the responsibility of the supplier to import and get them custom cleared and pay all necessary duties.

- Agency commission may be shown in separate column in price schedule.

Name________________________

Business Address________________________

Place: ______________Signature of Tenderer_______________

Date:___________________ Seal of the Tenderer_____________

###### SECTION – XI PRICE SCHEDULE

    - PRICE SCHEDULE FOR TURNKEY

| Schedule No. | BRIEF TURNKEY DESCRIPTION OF GOODS | CONSIGNEE CODE | Turnkey price |
| --- | --- | --- | --- |

Note: -

- The cost of Turnkey as per Technical Specification (Section VII) may be quoted on lump sum inclusive of all taxes & duties. Cost of Turnkey will be added for Ranking/Evaluation purpose.

- The payment of Turnkey will be made as per clause GCC clause 21.1 (c).

- The stipulations in Technical Specification will supersede above provisions

Name________________________

Business Address________________________

Place:_________________ Signature of Tenderer _____________

Date:____________ Seal of the Tenderer___________________

SECTION – XII

QUESTIONNAIRE

Fill up the Section XX – Check List for Tenderers and enclose with the Tender

- The tenderer should furnish specific answers to all the questions/issues mentioned in the Checklist. In case a question/issue does not apply to a tenderer, the same should be answered with the remark “not applicable”

- Wherever necessary and applicable, the tenderer shall enclose certified copy as documentary proof/ evidence to substantiate the corresponding statement.

In case a tenderer furnishes a wrong or evasive answer against any of the question/issues mentioned in the Checklist, its tender will be liable to be ignored

SECTION – XIII

BANK GUARANTEE FORM FOR EMD

Whereas ______________________________ (hereinafter called the “Tenderer”) has submitted its quotation dated ___________________ for the supply of _____________________________ (hereinafter called the “tender”) against the purchaser’s tender enquiry no. __________________________________ Know all persons by these presents that we ______________________________ of _______________________________ (Hereinafter called the “Bank”) having our registered office at ________________________________ are bound unto ____________________________ (hereinafter called the “Purchaser) in the sum of _________________________ for which payment will and truly to be made to the said Purchaser, the Bank binds itself, its successors and assigns by these presents. Sealed with the Common Seal of the said Bank this _____________________ day of _______ 20____. The conditions of this obligation are:

- (1) If the Tenderer withdraws or amends, impairs or derogates from the tender in any respect within the period of validity of this tender.

- (2) If the Tenderer having been notified of the acceptance of his tender by the Purchaser during the period of its validity:-

a) Fails or refuses to furnish the performance security for the due performance of the contract.

- or

b) fails or refuses to accept/execute the contract.

- or

c) if it comes to notice that the information/documents furnished in its tender is incorrect, false, misleading or forged

We undertake to pay the Purchaser up to the above amount upon receipt of its first written demand, without the Purchaser having to substantiate its demand, provided that in its demand the Purchaser will note that the amount claimed by it is due to it owing to the occurrence of one or both the two conditions, specifying the occurred condition(s).

This guarantee will remain in force for a period of forty-five days after the period of tender validity and any demand in respect thereof should reach the Bank not later than the above date.

(Signature of the authorised officer of the Bank)

Name and designation of the officer

Seal, name & address of the Bank and address of the Branch

SECTION – XIV

MANUFACTURER’S AUTHORISATION FORM

To

HL Lifecare Limited, Trivandrum

Dear Sirs,

Ref. Your TE document No ____________, dated _____________

We, ___________________________________ who are proven and reputable manufacturers of___________________________(name and description of the goods offered in the tender) having factories at_______________________________, hereby authorise Messrs______________________________(name and address of the agent) to submit a tender, process the same further and enter into a contract with you against your requirement as contained in the above referred TE documents for the above goods manufactured by us.

We further confirm that no supplier or firm or individual other than Messrs. __________________________ (name and address of the above agent) is authorised to submit a tender, process the same further and enter into a contract with you against your requirement as contained in the above referred TE documents for the above goods manufactured by us.

We also hereby extend our full warranty, CMC as applicable as per clause 15 of the General Conditions of Contract, read with modification, if any, in the Special Conditions of Contract for the goods and services offered for supply by the above firm against this TE document.

Yours faithfully,

[Signature with date, name and designation]

For and on behalf of Messrs___________________________

[Name & address of the manufacturers]

Note: 1.	This letter of authorisation should be on the letter head of the manufacturing firm and should be signed by a person competent and having the power of attorney to legally bind the manufacturer.

Original letter may be sent.

SECTION – XV

BANK GUARANTEE FORM FOR PERFORMANCE SECURITY/ CMC SECURITY

To

HLL Lifecare Limited

WHEREAS _____________________________ (Name and address of the supplier) (Hereinafter called “the supplier”) has undertaken, in pursuance of contract no________________________ dated _____________ to supply (description of goods and services) (herein after called “the contract”).

AND WHEREAS it has been stipulated by you in the said contract that the supplier shall furnish you with a bank guarantee by a scheduled commercial bank recognised by you for the sum specified therein as security for compliance with its obligations in accordance with the contract;

AND WHEREAS we have agreed to give the supplier such a bank guarantee;

NOW THEREFORE we hereby affirm that we are guarantors and responsible to you, on behalf of the supplier, up to a total of. ________________________ (Amount of the guarantee in words and figures), and we undertake to pay you, upon your first written demand declaring the supplier to be in default under the contract and without cavil or argument, any sum or sums within the limits of (amount of guarantee) as aforesaid, without your needing to prove or to show grounds or reasons for your demand or the sum specified therein.

We hereby waive the necessity of your demanding the said debt from the supplier before presenting us with the demand.

We further agree that no change or addition to or other modification of the terms of the contract to be performed there under or of any of the contract documents which may be made between you and the supplier shall in any way release us from any liability under this guarantee and we hereby waive notice of any such change, addition or modification.

This guarantee shall be valid up to 30 (thirty) months from the date of Notification of Award i.e up to ----------- (indicate date)

…………………………….

(Signature with date of the authorised officer of the Bank)

………………………………………………………….

Name and designation of the officer

………………………………………………………….

………………………………………………………….

Seal, name & address of the Bank and address of the Branch

SECTION – XVI

CONTRACT FORM - A

CONTRACT FORM FOR SUPPLY, INSTALLATION, COMMISSIONING, HANDING OVER, TRIAL RUN, TRAINING OF OPERATORS & WARRANTY OF GOODS

HLL Lifecare Limited

Contract No___________ dated______________

This is in continuation to this office’s Notification of Award No_______ dated ______

1. Name & address of the Supplier: ______________________________

2. Purchaser’s TE document No________ dated____________ and subsequent Amendment No____________, dated_________ (if any), issued by the purchaser

3. Supplier’s Tender No_________ dated__________ and subsequent communication(s) No____________ dated _________ (if any), exchanged between the supplier and the purchaser in connection with this tender.

4. In addition to this Contract Form, the following documents etc, which are included in the documents mentioned under paragraphs 2 and 3 above, shall also be deemed to form and be read and construed as integral part of this contract:

  - (i) General Conditions of Contract;

  - (ii) Special Conditions of Contract;

- (iii) List of Requirements;

- (iv) Technical Specifications;

- (v) Quality Control Requirements;

- (vi) Tender Form furnished by the supplier;

- (vii) Price Schedule(s) furnished by the supplier in its tender;

- (viii) Manufacturers’ Authorisation Form (if applicable for this tender);

- (ix) Purchaser’s Notification of Award

Note: The words and expressions used in this contract shall have the same meanings as are respectively assigned to them in the conditions of contract referred to above. Further, the definitions and abbreviations incorporated under clause 1 of Section II – ‘General Instructions to Tenderers’ of the Purchaser’s TE document shall also apply to this contract.

5. Some terms, conditions, stipulations etc. out of the above-referred documents are reproduced below for ready reference:

Brief particulars of the goods and services which shall be supplied/ provided by the supplier are as under:

| Schedule No. | Brief description of goods/services | Accounting unit | Quantity to be supplied | Unit Price | Total price | Terms of delivery |
| --- | --- | --- | --- | --- | --- | --- |

Any other additional services (if applicable) and cost thereof: _____________________

Total value (in figure) ____________ (In words) ___________________________

- Delivery schedule

(iii) Details of Performance Security

(iv) Quality Control

(a) Mode(s), stage(s) and place(s) of conducting inspections and tests.

(b) Designation and address of purchaser’s inspecting officer

(v) Destination and despatch instructions

- Consignee, including port consignee, if any

- Warranty clause

- Payment terms

- Paying authority

____________________________

(Signature, name and address of CONSIGNEE)

For and on behalf of__________________

Received and accepted this contract

(Signature, name and address of the supplier’s executive duly authorised to sign on behalf of the supplier)

For and on behalf of _________________________

(Name and address of the supplier)

(Seal of the supplier)

Date: _________________________

Place: _________________________

SECTION – XVI

CONTRACT FORM – B

CONTRACT FORM FOR ANNUAL COMPREHENSIVE MAINTENANCE CONTRACT

Annual CM Contract No._______________________	dated_________________

Between

CONSIGNEE

And

(Name & Address of the Supplier)

Ref:	Contract No___________ dated______________ (Contract No. & date of Contract for supply, installation, commissioning, handing over, Trial run, Training of operators & warranty of goods)

In continuation to the above referred contract

The Contract of Annual Comprehensive Maintenance is hereby concluded as under: -

| 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- |
| Schedule No. | BRIEF DESCRIPTION OF GOODS | QUANTITY. (Nos.) | Annual Comprehensive Maintenance Contract Cost for Each Unit year wise*. | Total Annual Comprehensive Maintenance Contract Cost for 5 Years [5 x (4a+4b+4c+4d+4e)] |
|  |  |  | 1st | 2nd | 3rd | 4th | 5th |  |
|  |  |  | a | b | C | d | e |  |

(Name & Address of the Supplier)

Ref:	Contract No___________ dated______________ (Contract No. & date of Contract for supply, installation, commissioning, handing over, Trial run, Training of operators & warranty of goods)

In continuation to the above referred contract

- The Contract of Annual Comprehensive Maintenance is hereby concluded as under: -

Total value (in figure) ____________ (In words) ___________________________

b)	The CMC commence from the date of expiry of all obligations under Warranty i.e. from______________ (date of expiry of Warranty) and will expire on ______________ (date of expiry of CMC)

c)	The cost of Annual Comprehensive Maintenance Contract (CMC) which includes preventive maintenance, labour and spares, after satisfactory completion of Warranty period may be quoted for next 5 years as contained in the above referred contract on yearly basis for complete equipment and Turnkey (if any).

d)	There will be 98% uptime warranty during CMC period on 24 (hrs) X 7 (days) X 365 (days) basis, with penalty, to extend CMC period by double the downtime period.

e)	During CMC period, the supplier shall visit at each consignee’s site for preventive maintenance including testing and calibration as per the manufacturer’s service/ technical/ operational manual. The supplier shall visit each consignee site as recommended in the manufacturer’s manual, but at least once in 6 months commencing from the date of the successful completion of warranty period for preventive maintenance of the goods.

f)	All software updates should be provided free of cost during CMC.

g)	Payment terms:	The payment of Annual CMC will be made against the bills raised to the consignee by the supplier on six monthly basis after satisfactory completion of said period, duly certified by the HOD concerned. The payment will be made in Indian Rupees.

______________________ (name of the consignee)

____________________________

(Signature, name and address of Consignee)

For and on behalf of__________________

Received and accepted this contract

(Signature, name and address of the supplier’s executive

duly authorised to sign on behalf of the supplier)

For and on behalf of _________________________

(Name and address of the supplier)

(Seal of the supplier)

Date: _________________________

Place: _________________________

SECTION – XVII

CONSIGNEE RECEIPT CERTIFICATE

(To be given by consignee’s authorized representative)

The following store (s) has/have been received in good condition:

- Contract No. & date	:______________________________

- Supplier’s Name	:______________________________

- Consignee’s Name & Address with telephone No. & Fax No. 	: ______________________________

- Name of the item supplied	:______________________________

- Quantity Supplied	:______________________________

- Date of Receipt by the Consignee	:______________________________

- Name and designation of Authorized Representative of Consignee	:______________________________

- Signature of Authorized Representative of Consignee with date	:______________________________

Seal of the Consignee	:______________________________

SECTION – XVIII

Proforma of Final Acceptance Certificate by the Consignee

## No_______________

## Date_______________

#### To

M/s	_______________________

_______________________

_______________________

Subject:	Certificate of commissioning of equipment/plant.

This is to certify that the equipment(s)/plant(s) as detailed below has/have been received in good conditions along with all the standard and special accessories and a set of spares (subject to remarks in Para no.02) in accordance with the contract/technical specifications.  The same has been installed and commissioned.

(a)	Contract No______________________________________ dated__________________

(b)	Description of the equipment(s)/plants:_____________________________________

(c)	Equipment(s)/ plant(s) nos.:_______________________________________________

(d)Quantity:___________________________________________________________

(e)	Bill of Loading/Air Way Bill/Railway

Receipt/ Goods Consignment Note no_______________ dated _________________

(f)	Name of the vessel/Transporter:___________________________________________

(g)	Name of the Consignee:___________________________________________________

(h)	Date of commissioning and proving test:____________________________________

Details of accessories/spares not yet supplied and recoveries to be made on that account.

S. No	             Description of Item		Quantity		Amount to be recovered

The proving test has been done to our entire satisfaction and operators have been trained to operate the equipment(s)/plant(s).

The supplier has fulfilled its contractual obligations satisfactorily   ## or

The supplier has failed to fulfil its contractual obligations with regard to the following:

- He has not adhered to the time schedule specified in the contract in dispatching the documents/drawings pursuant to ‘Technical Specifications’.

- He has not supervised the commissioning of the equipment(s)/plant(s)in time, i.e. within the period specified in the contract from date of intimation by the Purchaser/Consignee in respect of the installation of the equipment(s)/plant(s).

- The supplier as specified in the contract has not done training of personnel.

The extent of delay for each of the activities to be performed by the supplier in terms of the contract is:

The amount of recovery on account of non-supply of accessories and spares is given under Para no.02.

The amount of recovery on account of failure of the supplier to meet his contractual obligations is__________________ (here indicate the amount).

Signature

Name

Designation with stamp

## Explanatory notes for filling up the certificate:

He has adhered to the time schedule specified in the contract in dispatching the documents/drawings pursuant to ‘Technical Specification’.

He has supervised the commissioning of the equipment(s)/plant(s) in time, i.e. within the time specified in the contract from date of intimation by the Purchaser/Consignee in respect of the installation of the equipment(s)/plant(s).

#### Training of personnel has been done by the supplier as specified in the contract

In the event of documents/drawings having not been supplied or installation and commissioning of the equipment(s)/plant(s) having been delayed on account of the supplier, the extent of delay should always be mentioned in clear terms

SECTION – XIX

Deleted

SECTION – XX

CHECKLIST

### Name of Tenderer:

Name of Manufacturer:

| Sl No. | Activity | Yes/ No/ NA | Page No. in the TENDER document | Remarks |
| --- | --- | --- | --- | --- |
| 1. a. | Have you enclosed EMD of required amount for the quoted schedules? |  |  |  |
| 1. b. | In case EMD is furnished in the form of Bank Guarantee, has it been furnished as per Section XIII? |  |  |  |
| 1. c. | In case Bank Guarantee is furnished, have you kept its validity of 165 days from Technical Bid Opening date as per clause 19 of GIT? |  |  |  |
| 2. a. | Have you enclosed duly filled Tender Form as per format in Section X? |  |  |  |
| 2. b. | Have you enclosed Power of Attorney in favour of the signatory? |  |  |  |
| 3. | Are you a SSI unit, if yes have you enclosed certificate of registration issued by Directorate of Industries/NSIC |  |  |  |
| 4. a. | Have you enclosed clause-by-clause technical compliance statement for the quoted goods vis-à-vis the Technical specifications? |  |  |  |
| 4. b. | In case of Technical deviations in the compliance statement, have you identified and marked the deviations? |  |  |  |
| 5. a. | Have you submitted satisfactory performance certificate as per the Proforma for performance statement in Sec. IX of TE document in respect of all orders? |  |  |  |
| 5. b. | Have you submitted copy of the order(s) and end user certificate? |  |  |  |
| 6. | Have you submitted manufacturer’s authorization as per Section XIV? |  |  |  |
| 7. | Have you submitted prices of goods, turnkey (if any), CMC etc. in the Price Schedule as per Section XI? |  |  |  |
| 8. | Have you kept validity of 120 days from the Technical bid Opening date as per the TE document? |  |  |  |
| 9. a. | In case of Indian Tenderer, have you furnished Income Tax Account No. as allotted by the Income Tax Department of Government of India? |  |  |  |
| 9. b. | In case of Foreign Tenderer, have you furnished Income Tax Account No. of your Indian Agent as allotted by the Income Tax Department of Government of India? |  |  |  |
| 10. | Have you intimated the name and full address of your Banker (s) along with your Account Number |  |  |  |
| 11. | Have you fully accepted payment terms as per TE document? |  |  |  |
| 12. | Have you fully accepted delivery period as per TE document? |  |  |  |
| 13. | Have you submitted the certificate of origin |  |  |  |
| 14. | Have you accepted the warranty as per TE document? |  |  |  |
| 15. | Have you accepted terms and conditions of TE document? |  |  |  |
| 16. | Have you furnished documents establishing your eligibility & qualification criteria as per TE documents? |  |  |  |
| 17 | Have you furnished Annual Report (Balance Sheet and Profit & Loss Account) for last three years prior to the date of Tender opening? |  |  |  |

N. B.

      - All pages of the Tender should be page numbered and indexed.

      - The Tenderer may go through the checklist and ensure that all the documents / confirmations listed above are enclosed in the tender and no column is left blank. If any column is not applicable, it may be filled up as NA.

- It is the responsibility of tendered to go through the TE document to ensure furnishing all required documents in addition to above, if any.

(Signature with date)

(Full name, designation & address of the person duly authorised sign on behalf of the Tenderer)

For and on behalf of

(Name, address and stamp of the tendering firm)

# Section – XXI

# Consignee

All goods shall be delivered at HLL R&D Centre, HLL Lifecare Limited.,(Formerly Hindustan Latex Limited) Akkulam, Sreekaryam P O, Thiruvananthapuram Kerala, India,           E-mail:crdc@lifecarehll.com

CHAPTER 2.4

SCHEDULE OF FISCAL ASPECTS

Tender NO:

|  | Submission of completed Tender | On or before 14th December 2012, 3:00 pm |
| --- | --- | --- |
|  | Opening of Technical Bid | 14th December 2012, 3:30 pm |
|  | Delivery | Maximum 08 weeks |
|  | Advance payment | Nil |
|  | Payment terms | For Import purchase 100% of the payment through irrevocable letter of credit of which 90% of CIP value against submission of shipping documents and delivery of the equipment / chemical at the port. Remaining 10% of the net CIP price of the goods shall be paid after the successful installation of the equipment / chemical. A PBG of 10% of the contract value should be submitted before 90% of the payment. Domestic supply 100% on delivery and successful installation. A PBG of 10% of the contract value should be submitted before the payment. |
|  | Validity of the tender price | 120 days from the date of tender opening |
|  | Liquidated damages/per week | 1% per week inclusive of Sundays & Holidays upto a maximum of 5% of Contract Value |
|  | Maximum period for Payment | Within 30 working days from the date of submission of bills |

|  | Defects liability period | 12 (Twelve) months from the date of Completion |
| --- | --- | --- |
|  | Earnest Money Deposit | As per table described elsewhere |
|  | Performance security | 10% of the contract value |
|  | Performance bank guarrantee | 10% of the contract value ( This should be submitted before the payment) |
|  | Refund of Earnest Money Deposit to unsuccessful bidders | With in 30 days on award of contract to successful bidder |
|  | Transportation& Insurance | On account of Contractor |
|  | DD to be in favor of | HLL Lifecare Ltd., Trivandrum |
|  | All queries / communication to be addressed to | Vice President (R&D) i/c, HLL R&D Centre, Akkulam, Sreekariyam post, Trivandrum- 695017. Email: crdc@lifecarehll.com |

DETAILS

| SN | CHEMICAL | Qty (Numbers) | EMD (IN INR) |
| --- | --- | --- | --- |
|  | Silver Nano Powder (Grade SPL-101N) | 500 gm | Rs.2500.00 |