## NIT
Schedule. No | Equipment | Capacity / specification | Quantity | EMD (in Rs.) | Tender Fees(in Rs.) | Pre-bid Meeting |  | Bid Submission & Opening
[6 empty] | Date | Session | Date | Submission Time & Opening Time
1 | Incubator | Ambient +5°C to 60°C (240-300L) | 9 | 225000 | Rs. 3,150/- (Inclusive of Sales Tax) | 04.04.2016 | FN | 03.05.2016 | 10.30 Hrs & 11.00 Hrs
|  | Ambient +5°C to 60°C ( 400-500L) | 1
| BOD Incubator | +15°C to 60°C (200-260L) | 1
2 | Deep Freezer- Low Temperature (cGMP) Vertical | 300L or the near standard | 6 | 52000 |  | 04.04.2016 | FN | 03.05.2016 | 10.30 Hrs & 11.00 Hrs
|  | 100L or the near standard | 1
3 | Deep Freezer- Low Temperature (cGMP) Horizontal | 500L or the near standard | 1 | 8000 |  | 04.04.2016 | FN | 03.05.2016 | 10.30 Hrs & 11.00 Hrs
4 | Standard Water Bath | To accommodate 2nos of 10L glass bottles | 1 | 15000 |  | 04.04.2016 | FN | 03.05.2016 | 10.30 Hrs & 11.00 Hrs
|  | 5 to 15L | 1
|  | 15 to 20L | 4
| Flocculation Water Bath | 6 to 8 L | 1
5 | Elisa Reader | 200nm to 900nm | 2 | 54000 |  | 04.04.2016 | AN | 03.05.2016 | 10.30 Hrs & 11.00 Hrs
| Elisa Plate Washer | Volume range 50 to 300 per well | 2
6 | Weighing Balance | 0.01mg-220 g, | 1 | 130000 |  | 04.04.2016 | AN | 03.05.2016 | 10.30 Hrs & 11.00 Hrs
|  | 1mg-220 g | 4
|  | 0.5g - 1500 g, | 1
|  | 0.2g-3000g | 2
|  | 0.1g-6000g | 6
|  | 0.5g - 15kg | 2
|  | 0.5g to 35kg | 1
|  | 1g - 40kg | 1
|  | 5g - 100 Kg, | 2
|  | 20g-150kg | 1
|  | 0.5g-6000g | 2
|  | 50g-500 kg | 1
|  | 50g-600 kg | 1
7 | Micro Weighing Balance | 0.001mg-5g | 1 | 21000 |  | 04.04.2016 | AN | 03.05.2016 | 10.30 Hrs & 11.00 Hrs
8 | UV- Spectrophotometer | 190-1100nm | 1 | 21000 |  | 04.04.2016 | AN | 03.05.2016 | 10.30 Hrs & 11.00 Hrs
9 | Magnetic Stirrer with Heating | ambient to 200deg C with heat control accuracy of ± 5 ̊C | 3 | 37000 |  | 05.04.2016 | FN | 04.05.2016 | 10.30 Hrs & 11.00 Hrs
| Magnetic Stirrer without Heating | 4 ̊C to 37 ̊C | 11
10 | pH & Conductivity meter | pH range: 0.00 -14.00 | 4 | 14000 |  | 05.04.2016 | FN | 04.05.2016 | 10.30 Hrs & 11.00 Hrs
|  | Conductivity range: 0.001 to 999999µS / cm | 3 |  |  | 05.04.2016 | FN | 04.05.2016 | 10.30 Hrs & 11.00 Hrs
11 | Vortex Mixer | 4 to 65 ̊ C | 11 | 14500 |  | 05.04.2016 | FN | 04.05.2016 | 10.30 Hrs & 11.00 Hrs
12 | Colony Counter Automatic | Plates upto 50-90mm | 1 | 24000 |  | 05.04.2016 | FN | 04.05.2016 | 10.30 Hrs & 11.00 Hrs
13 | Ultrasonic Bath | ambient to 65̊ C (10L) | 1 | 4000 |  | 05.04.2016 | AN | 04.05.2016 | 10.30 Hrs & 11.00 Hrs
14 | Air Sampler | 100-300litres/minute | 9 | 81000 |  | 05.04.2016 | AN | 04.05.2016 | 10.30 Hrs & 11.00 Hrs
15 | Laboratory Animal Anesthesia System | Minimum 10 mouse at a time | 2 | 24000 |  | 05.04.2016 | AN | 04.05.2016 | 10.30 Hrs & 11.00 Hrs
16 | Automatic media preparator | 55 and 90mm plates not less that 600 plates/hr | 1 | 100000 |  | 05.04.2016 | AN | 04.05.2016 | 10.30 Hrs & 11.00 Hrs
17 | Bag Sealing machine | Sealing seam width:12 and 15mm speed range 10m/min | 8 | 39000 |  | 06.04.2016 | FN | 05.05.2016 | 10.30 Hrs & 11.00 Hrs
18 | Automatic / Manual Cell Factory/Cell Stack Manipulator | CF40 hand manupulator | 2 | 42000 |  | 06.04.2016 | FN | 05.05.2016 | 10.30 Hrs & 11.00 Hrs
19 | Data logger | Number of analog units 100 channels | 1 | 8000 |  | 06.04.2016 | FN | 05.05.2016 | 10.30 Hrs & 11.00 Hrs
20 | Digital Thermo hygrometer | RH:1 to 99% Temp -20°C to 60°C | 120 | 10000 |  | 06.04.2016 | FN | 05.05.2016 | 10.30 Hrs & 11.00 Hrs
21 | Geldoc system/ densitometer |  | 1 | 16000 |  | 06.04.2016 | AN | 05.05.2016 | 10.30 Hrs & 11.00 Hrs
22 | Karl fisher autotitrator | Burette resolution 1/10000 of burette cyclinder volume | 1 | 34000 |  | 06.04.2016 | AN | 05.05.2016 | 10.30 Hrs & 11.00 Hrs
23 | KTA ELISA Reader | standard 96 well plate | 1 | 28000 |  | 06.04.2016 | AN | 05.05.2016 | 10.30 Hrs & 11.00 Hrs
24 | Laser Particle counter | 1.5-100 microns,8 or more channels,10ml/min | 1 | 34000 |  | 07.04.2016 | FN | 06.05.2016 | 10.30 Hrs & 11.00 Hrs
25 | Cryo can storage container( LN2) | Storage -Minimum 2000 vials of 5ml | 10 | 96000 |  | 07.04.2016 | FN | 06.05.2016 | 10.30 Hrs & 11.00 Hrs
26 | Cryo can storage container and pressurized LN2 refill cyclinder | Storage -Minimum 2000 vials of 5ml | 1 | 26000 |  | 07.04.2016 | FN | 06.05.2016 | 10.30 Hrs & 11.00 Hrs
27 | Type I Water sys | up to 2.0L/min | 1 | 10000 |  | 07.04.2016 | FN | 06.05.2016 | 10.30 Hrs & 11.00 Hrs
28 | Rapid transfer port | For liquid transfer through wall | 1 | 34000 |  | 07.04.2016 | AN | 06.05.2016 | 10.30 Hrs & 11.00 Hrs
29 | Sterility test apparatus | Fully automated | 1 | 24000 |  | 07.04.2016 | AN | 06.05.2016 | 10.30 Hrs & 11.00 Hrs
30 | FTIR spectrophotometer |  | 1 | 30000 |  | 07.04.2016 | AN | 06.05.2016 | 10.30 Hrs & 11.00 Hrs
31 | Euthanasia chamber with CO2 regulator | 2 Chamber System | 2 | 14200 |  |  |  | 06.05.2016 | 10.30 Hrs & 11.00 Hrs
|  | 4 Chamber System | 1 | [5 empty] | 10.30 Hrs & 11.00 Hrs

## Price Schedule - Domestic
Schedule. No | Equipment | Capacity / specification | Quantity | Supply |  | Installation
|  |  |  | Unit Price(in Rs.) | Total Price(in Rs.) | Unit Price(in Rs.) | Total Price(in Rs.)
1 | Incubator | Ambient +5°C to 60°C (240-300L) | 9
|  | Ambient +5°C to 60°C ( 400-500L) | 1
| BOD Incubator | +15°C to 60°C (200-260L) | 1
2 | Deep Freezer- Low Temperature (cGMP) Vertical | 300L or the near standard | 6
|  | 100L or the near standard | 1
3 | Deep Freezer- Low Temperature (cGMP) Horizontal | 500L or the near standard | 1
4 | Standard Water Bath | To accommodate 2nos of 10L glass bottles | 1
|  | 5 to 15L | 1
|  | 15 to 20L | 4
| Flocculation Water Bath | 6 to 8 L | 1
5 | Elisa Reader | 200nm to 900nm | 2
| Elisa Plate Washer | Volume range 50 to 300 per well | 2
6 | Weighing Balance | 0.01mg-220 g, | 1
|  | 1mg-220 g | 4
|  | 0.5g - 1500 g, | 1
|  | 0.2g-3000g | 2
|  | 0.1g-6000g | 6
|  | 0.5g - 15kg | 2
|  | 0.5g to 35kg | 1
|  | 1g - 40kg | 1
|  | 5g - 100 Kg, | 2
|  | 20g-150kg | 1
|  | 0.5g-6000g | 2
|  | 50g-500 kg | 1
|  | 50g-600 kg | 1
7 | Micro Weighing Balance | 0.001mg-5g | 1
8 | UV- Spectrophotometer | 190-1100nm | 1
9 | Magnetic Stirrer with Heating | ambient to 200deg C with heat control accuracy of ± 5 ̊C | 3
| Magnetic Stirrer without Heating | 4 ̊C to 37 ̊C | 11
10 | pH & Conductivity meter | pH range: 0.00 -14.00 | 4
|  | Conductivity range: 0.001 to 999999µS / cm | 3
11 | Vortex Mixer | 4 to 65 ̊ C | 11
12 | Colony Counter Automatic | Plates upto 50-90mm | 1
13 | Ultrasonic Bath | ambient to 65̊ C (10L) | 1
14 | Air Sampler | 100-300litres/minute | 9
15 | Laboratory Animal Anesthesia System | Minimum 10 mouse at a time | 2
16 | Automatic media preparator | 55 and 90mm plates not less that 600 plates/hr | 1
17 | Bag Sealing machine | Sealing seam width:12 and 15mm speed range 10m/min | 8
18 | Automatic / Manual Cell Factory/Cell Stack Manipulator | CF40 hand manupulator | 2
19 | Data logger | Number of analog units 100 channels | 1
20 | Digital Thermo hygrometer | RH:1 to 99% Temp -20°C to 60°C | 120
21 | Geldoc system/ densitometer |  | 1
22 | Karl fisher autotitrator | Burette resolution 1/10000 of burette cyclinder volume | 1
23 | KTA ELISA Reader | standard 96 well plate | 1
24 | Laser Particle counter | 1.5-100 microns,8 or more channels,10ml/min | 1
25 | Cryo can storage container( LN2) | Storage -Minimum 2000 vials of 5ml | 10
26 | Cryo can storage container and pressurized LN2 refill cyclinder | Storage -Minimum 2000 vials of 5ml | 1
27 | Type I Water sys | up to 2.0L/min | 1
28 | Rapid transfer port | For liquid transfer through wall | 1
29 | Sterility test apparatus | Fully automated | 1
30 | FTIR spectrophotometer |  | 1
31 | Euthanasia chamber with CO2 regulator | 2 Chamber System | 2
|  | 4 Chamber System | 1
Total Basic Price
Excise duty @ …………………..
CST/VAT @.........................
Service Tax @.........................
P&F
Insurance
Freight
Total Price in Rs.
Grand Total (Supply & Installation) in Rs.

## Price Schedule - Imported
Schedule. No | Equipment | Capacity / specification | Quantity | Supply |  | Installation
|  |  |  | Currency___ | Currency___ | Currency___ | Currency___
|  |  |  | Unit Price | Total Price | Unit Price | Total Price
1 | Incubator | Ambient +5°C to 60°C (240-300L) | 9
|  | Ambient +5°C to 60°C ( 400-500L) | 1
| BOD Incubator | +15°C to 60°C (200-260L) | 1
2 | Deep Freezer- Low Temperature (cGMP) Vertical | 300L or the near standard | 6
|  | 100L or the near standard | 1
3 | Deep Freezer- Low Temperature (cGMP) Horizontal | 500L or the near standard | 1
4 | Standard Water Bath | To accommodate 2nos of 10L glass bottles | 1
|  | 5 to 15L | 1
|  | 15 to 20L | 4
| Flocculation Water Bath | 6 to 8 L | 1
5 | Elisa Reader | 200nm to 900nm | 2
| Elisa Plate Washer | Volume range 50 to 300 per well | 2
6 | Weighing Balance | 0.01mg-220 g, | 1
|  | 1mg-220 g | 4
|  | 0.5g - 1500 g, | 1
|  | 0.2g-3000g | 2
|  | 0.1g-6000g | 6
|  | 0.5g - 15kg | 2
|  | 0.5g to 35kg | 1
|  | 1g - 40kg | 1
|  | 5g - 100 Kg, | 2
|  | 20g-150kg | 1
|  | 0.5g-6000g | 2
|  | 50g-500 kg | 1
|  | 50g-600 kg | 1
7 | Micro Weighing Balance | 0.001mg-5g | 1
8 | UV- Spectrophotometer | 190-1100nm | 1
9 | Magnetic Stirrer with Heating | ambient to 200deg C with heat control accuracy of ± 5 ̊C | 3
| Magnetic Stirrer without Heating | 4 ̊C to 37 ̊C | 11
10 | pH & Conductivity meter | pH range: 0.00 -14.00 | 4
|  | Conductivity range: 0.001 to 999999µS / cm | 3
11 | Vortex Mixer | 4 to 65 ̊ C | 11
12 | Colony Counter Automatic | Plates upto 50-90mm | 1
13 | Ultrasonic Bath | ambient to 65̊ C (10L) | 1
14 | Air Sampler | 100-300litres/minute | 9
15 | Laboratory Animal Anesthesia System | Minimum 10 mouse at a time | 2
16 | Automatic media preparator | 55 and 90mm plates not less that 600 plates/hr | 1
17 | Bag Sealing machine | Sealing seam width:12 and 15mm speed range 10m/min | 8
18 | Automatic / Manual Cell Factory/Cell Stack Manipulator | CF40 hand manupulator | 2
19 | Data logger | Number of analog units 100 channels | 1
20 | Digital Thermo hygrometer | RH:1 to 99% Temp -20°C to 60°C | 120
21 | Geldoc system/ densitometer |  | 1
22 | Karl fisher autotitrator | Burette resolution 1/10000 of burette cyclinder volume | 1
23 | KTA ELISA Reader | standard 96 well plate | 1
24 | Laser Particle counter | 1.5-100 microns,8 or more channels,10ml/min | 1
25 | Cryo can storage container( LN2) | Storage -Minimum 2000 vials of 5ml | 10
26 | Cryo can storage container and pressurized LN2 refill cyclinder | Storage -Minimum 2000 vials of 5ml | 1
27 | Type I Water sys | up to 2.0L/min | 1
28 | Rapid transfer port | For liquid transfer through wall | 1
29 | Sterility test apparatus | Fully automated | 1
30 | FTIR spectrophotometer |  | 1
31 | Euthanasia chamber with CO2 regulator | 2 Chamber System | 2
|  | 4 Chamber System | 1
Gross FOB Price at sea / airport of Lading (inclusive of Agency commission)
Amount and Percentage of Agency Commission**
Net FOB (excluding Agency Commission) (A-B)
Insurance & Freight
Net CIP Port of destination by Air/Sea (C+D)
Customs duty % & HS Code
Customs Clearance & Handling Charges **
Loading / Unloading / Inland Transportation & Incidental cost till Consignee’s site**
Installation, Commissioning, Supervision, Demonstration, Training Documentation and Qualification at the consignee’s site**
Total DAP Price
Grand Total (Supply & Installation)
** price to be quoted in INR

## Price Schedule - AMC
Schedule. No | Equipment | Capacity / specification | Quantity | Ist Year |  | IInd Year
|  |  |  | Unit Price Rs | Total Price Rs A | Unit Price Rs | Total Price Rs B
1 | Incubator | Ambient +5°C to 60°C (240-300L) | 9
|  | Ambient +5°C to 60°C ( 400-500L) | 1
| BOD Incubator | +15°C to 60°C (200-260L) | 1
2 | Deep Freezer- Low Temperature (cGMP) Vertical | 300L or the near standard | 6
|  | 100L or the near standard | 1
3 | Deep Freezer- Low Temperature (cGMP) Horizontal | 500L or the near standard | 1
4 | Standard Water Bath | To accommodate 2nos of 10L glass bottles | 1
|  | 5 to 15L | 1
|  | 15 to 20L | 4
| Flocculation Water Bath | 6 to 8 L | 1
5 | Elisa Reader | 200nm to 900nm | 2
| Elisa Plate Washer | Volume range 50 to 300 per well | 2
6 | Weighing Balance | 0.01mg-220 g, | 1
|  | 1mg-220 g | 4
|  | 0.5g - 1500 g, | 1
|  | 0.2g-3000g | 2
|  | 0.1g-6000g | 6
|  | 0.5g - 15kg | 2
|  | 0.5g to 35kg | 1
|  | 1g - 40kg | 1
|  | 5g - 100 Kg, | 2
|  | 20g-150kg | 1
|  | 0.5g-6000g | 2
|  | 50g-500 kg | 1
|  | 50g-600 kg | 1
7 | Micro Weighing Balance | 0.001mg-5g | 1
8 | UV- Spectrophotometer | 190-1100nm | 1
9 | Magnetic Stirrer with Heating | ambient to 200deg C with heat control accuracy of ± 5 ̊C | 3
| Magnetic Stirrer without Heating | 4 ̊C to 37 ̊C | 11
10 | pH & Conductivity meter | pH range: 0.00 -14.00 | 4
|  | Conductivity range: 0.001 to 999999µS / cm | 3
11 | Vortex Mixer | 4 to 65 ̊ C | 11
12 | Colony Counter Automatic | Plates upto 50-90mm | 1
13 | Ultrasonic Bath | ambient to 65̊ C (10L) | 1
14 | Air Sampler | 100-300litres/minute | 9
15 | Laboratory Animal Anesthesia System | Minimum 10 mouse at a time | 2
16 | Automatic media preparator | 55 and 90mm plates not less that 600 plates/hr | 1
17 | Bag Sealing machine | Sealing seam width:12 and 15mm speed range 10m/min | 8
18 | Automatic / Manual Cell Factory/Cell Stack Manipulator | CF40 hand manupulator | 2
19 | Data logger | Number of analog units 100 channels | 1
20 | Digital Thermo hygrometer | RH:1 to 99% Temp -20°C to 60°C | 120
21 | Geldoc system/ densitometer |  | 1
22 | Karl fisher autotitrator | Burette resolution 1/10000 of burette cyclinder volume | 1
23 | KTA ELISA Reader | standard 96 well plate | 1
24 | Laser Particle counter | 1.5-100 microns,8 or more channels,10ml/min | 1
25 | Cryo can storage container( LN2) | Storage -Minimum 2000 vials of 5ml | 10
26 | Cryo can storage container and pressurized LN2 refill cyclinder | Storage -Minimum 2000 vials of 5ml | 1
27 | Type I Water sys | up to 2.0L/min | 1
28 | Rapid transfer port | For liquid transfer through wall | 1
29 | Sterility test apparatus | Fully automated | 1
30 | FTIR spectrophotometer |  | 1
31 | Euthanasia chamber with CO2 regulator | 2 Chamber System | 2
|  | 4 Chamber System | 1
Total Basic Price
Service Tax @ _____
Total AMC Cost ( A + B)

## List of Requirements
Schedule. No | Equipment | Capacity / specification | Quantity
1 | Incubator | Ambient +5°C to 60°C (240-300L) | 9
|  | Ambient +5°C to 60°C ( 400-500L) | 1
| BOD Incubator | +15°C to 60°C (200-260L) | 1
2 | Deep Freezer- Low Temperature (cGMP) Vertical | 300L or the near standard | 6
|  | 100L or the near standard | 1
3 | Deep Freezer- Low Temperature (cGMP) Horizontal | 500L or the near standard | 1
4 | Standard Water Bath | To accommodate 2nos of 10L glass bottles | 1
|  | 5 to 15L | 1
|  | 15 to 20L | 4
| Flocculation Water Bath | 6 to 8 L | 1
5 | Elisa Reader | 200nm to 900nm | 2
| Elisa Plate Washer | Volume range 50 to 300 per well | 2
6 | Weighing Balance | 0.01mg-220 g, | 1
|  | 1mg-220 g | 4
|  | 0.5g - 1500 g, | 1
|  | 0.2g-3000g | 2
|  | 0.1g-6000g | 6
|  | 0.5g - 15kg | 2
|  | 0.5g to 35kg | 1
|  | 1g - 40kg | 1
|  | 5g - 100 Kg, | 2
|  | 20g-150kg | 1
|  | 0.5g-6000g | 2
|  | 50g-500 kg | 1
|  | 50g-600 kg | 1
7 | Micro Weighing Balance | 0.001mg-5g | 1
8 | UV- Spectrophotometer | 190-1100nm | 1
9 | Magnetic Stirrer with Heating | ambient to 200deg C with heat control accuracy of ± 5 ̊C | 3
| Magnetic Stirrer without Heating | 4 ̊C to 37 ̊C | 11
10 | pH & Conductivity meter | pH range: 0.00 -14.00 | 4
|  | Conductivity range: 0.001 to 999999µS / cm | 3
11 | Vortex Mixer | 4 to 65 ̊ C | 11
12 | Colony Counter Automatic | Plates upto 50-90mm | 1
13 | Ultrasonic Bath | ambient to 65̊ C (10L) | 1
14 | Air Sampler | 100-300litres/minute | 9
15 | Laboratory Animal Anesthesia System | Minimum 10 mouse at a time | 2
16 | Automatic media preparator | 55 and 90mm plates not less that 600 plates/hr | 1
17 | Bag Sealing machine | Sealing seam width:12 and 15mm speed range 10m/min | 8
18 | Automatic / Manual Cell Factory/Cell Stack Manipulator | CF40 hand manupulator | 2
19 | Data logger | Number of analog units 100 channels | 1
20 | Digital Thermo hygrometer | RH:1 to 99% Temp -20°C to 60°C | 120
21 | Geldoc system/ densitometer |  | 1
22 | Karl fisher autotitrator | Burette resolution 1/10000 of burette cyclinder volume | 1
23 | KTA ELISA Reader | standard 96 well plate | 1
24 | Laser Particle counter | 1.5-100 microns,8 or more channels,10ml/min | 1
25 | Cryo can storage container( LN2) | Storage -Minimum 2000 vials of 5ml | 10
26 | Cryo can storage container and pressurized LN2 refill cyclinder | Storage -Minimum 2000 vials of 5ml | 1
27 | Type I Water sys | up to 2.0L/min | 1
28 | Rapid transfer port | For liquid transfer through wall | 1
29 | Sterility test apparatus | Fully automated | 1
30 | FTIR spectrophotometer |  | 1
31 | Euthanasia chamber with CO2 regulator | 2 Chamber System | 2
|  | 4 Chamber System | 1