AMENDMENT-1

Tender No: HLL/ID/14/65 dated 30.12.2014

Name of Work: Construction of Microbiology Lab (Phase I) with BSL II facility at CDIO, Palode -   Purchase of equipments, Autoclave & Lab Furniture –               PART C

Ref:  Prebid meeting dated 05.01.2015

As a result of the prebid meeting, it has been decided to amend the BOQ and date of submission & opening of tender as follows:

| SL.NO | DESCRIPTION |
| --- | --- |
| 1 | SECTION X-(i) PRICE SCHEDULE – FURNITURE In the specifications for the Lab furniture, ‘TRESPA’ should be read as ‘TRESPA or EQUIVALENT’. Item no. (3): ‘Supply and installing the 18mm thick mirror polished granite worktop 3000 mm length’ shall be read as ‘Supply and installing the 18mm thick mirror polished granite worktop 1120 mm length’ Item no. (18): Quantity for ‘providing epoxy powder coated laboratory stool of 300 mm seat diameter’ is amended as 18 Nos. instead of 1 No’ Item no. (19): Quantity for ‘Supply and fixing wall cabinet with panel doors of 900 mm wide’’ is amended as 3 Nos. instead of 1 No’ Item no. (20): Quantity for ‘Supply and fixing wall cabinet with panel doors of 450 mm wide’’ is amended as 2 Nos. instead of 1 No’ The estimate amount put to tender for LAB FURNITURE is amended as Rs. 22,45,188/- |
| 2 | Date of Sale, Submission & Opening of tender (AMENDED) Last date for sale of document: 19.01.2015 Last date of submission of tender: 19.01.2015@ 11.00 Hrs Date of opening of tender : 19.01.2015@ 11.30 Hrs |

This amendment will modify the tender and tenderer’s shall sign and submit a copy of the amendment along with the bid.

Deputy Vice President (Technical)

HLL Lifecare Limited