ADDENDUM

Name of work: Interior works for the Senate hall in the Administrative block at Kerala University of Health Sciences, Thrissur

Tender no. : HLL/ID/16/30 dated 27.03.2017

The list of approved makes for electrical items is as follows:

| LIST OF APPROVED MAKES (ELECTRICAL) |  |  |
| --- | --- | --- |
| Sl No | Description | Make |
| 1 | MCCB | Schneider Electric, ABB, LEGRAND |
| 2 | Distribution Boards | Schneider Electric, ABB, LEGRAND |
| 3 | ELCB , MCB | Schneider Electric, LEGRAND,ABB |
| 4 | Wiring Accessories | Legrand Myrius, MK BLENZ, Panasonic Vision |
| 5 | PVC insulated stranded copper cable (FRLS ) | Finolex, RR Kabel, Polycab |
| 6 | LT UG Cable | Finolex , Nicco, Universal, Polycab |
| 7 | PVC Conduit | Avon plast, Balco , Circle arc Precision (Medium grade) |
| 8 | Crimping Sockets | Dowells , Balco , Jaison |
| 9 | Light fixture | Philips, Spoon, Flos |

Associate Vice President (IDD)