Minutes of the Pre Bid meeting held at  HLL Conference hall, Golden jubilee block CHO, Poojapura on 29.09.2016 at 11.00 am for the Supply Installation Testing and Commissioning of 1 No: of Elevator  at Tertiary Cancer Centre, Kozhikode.

Participants

HLL

- Shri. A. Ranjith  Kumar.A, DVP(Technical)

- Shri B Sasikumar,  CE(Electrical)

- Shri Pradeep .M ,M(Mechanical)

- Shri. Deepak Narayan, M(F&A)

- Smt Preetha Shobinathan APE(E)

Contractor

1.M/s Kone Elevators

Shri Satheesh Ganesan

2. M/s Johnson Lifts P Ltd

Shri Chenthil V

The representative of M/s Johnson lifts P Ltd asked the reason for the selection of Machine room less elevator. HLL replied that the selection was done by considering both civil and electrical aspects, in case of civil for future expansion to one or two floors and for electrical, saving consumption of energy.

The bidders has requested for the extension of the date of submission and opening of the tender in view of pooja holidays. The date of the Submission & Opening of the tender is extended to 12.10.2016 at 2.00pm and 3.30 pm respectively.

The minutes of prebid meeting forms part of the tender document and the vendors are requested to seal and sign the minutes and submit it along with the tender documents.

…………………….