## schedule-elec
SCHEDULE FOR CIVIL & ELECTRICAL WORKS FOR TRAINING CENTER OF HLL ACADEMY, TRIVANDRUM
PART-B-ELECTRICAL WORKS
Sl.No | DSR Code | DESCRIPTION | Qty | unit | rate | Amount | DSR | LMR
PART-B-ELECTRICAL WORKS
1 | LMR | Supply of Fluroscent tube fitting Industrial batten suitable for TL5 lamp 28W,TMS122 M 1xTL5-28W EBE of Philips or Equivalent of Wipro and all other accessaries, with Fluroscent tube 1x28 watts | Each | 21 |  |  | LMR
2 | LMR | MODULAR DOWNLITE WITH DIFFUSER Recessed downlighter with matt finish reflector & fitted with electronic ballast Philips Model no.FBS100/118 1x 18W PL-C ,.including the cost for CFL lamps,or equivalent of Wipro | Each | 12 |  |  | LMR
3 | LMR | MODULAR DOWNLITE WITH DIFFUSER Recessed modular downlighter with diffuser. Philips Model no.FBS085/218 RG FR 2x18 W PL-C with general diffuse optics.including the cost for electronic DL tray for CFL lamps,or equivalent of Wipro. | Each | 10 |  |  | LMR
4 | LMR | MODULAR DOWNLITE WITH DIFFUSER Recessed mounted direct - indirect softlite luminaire downlighter with diffuser. Philips FBS430 M 2xPL-L36W IC with 2xPL-L36W,including the cost for electronic DL tray for CFL lamps,or equivalent of Wipro. | Each | 14 |  |  | LMR
5 | LMR | MODULAR DOWNLITE WITH DIFFUSER downlighter with recess mounting luminaire with mirror optics diffuser.Philips TBS088 2xTL-D36W EBE M2 with 2xTL-D36W with 2xTL-L36W,including the cost for electronic DL tray for CFL lamps,or equivalent of Wipro. | Each | 20 |  |  | LMR
6 | LMR | Supply & fixingof flurescent street light luminaire with sheet aluminium housing and UV stabilized acrylic cover of PHILIPS make FGS 120 I xPL-L36W HF with PL -L 36W lamp or equivalent of Wipro | Each | 1 |  |  | LMR
7 | LMR | Supply of ceiling fan 900/1050 mm sweep, double ball bearing, approved colour and quality with original down rod,suspension shackle,canopy etc with out regulator complete with all accessories as required. (Usha Technix Decorative (5 star rating) / Crompton High Breeze plus (5 star) / Orient Energy star) | Each | 6 |  |  | LMR
8 | LMR | Supply of ceiling fan 1200 mm sweep, double ball bearing, approved colour and quality with original down rod,suspension shackle,canopy etc with out regulator complete with all accessories as required. (Usha Technix Decorative (5 star rating) / Crompton High Breeze plus (5 star) / Orient Energy star) | Each | 40 |  |  | LMR
9 | LMR | Supply of exhaust fan 230 mm sweep, Metal bladesliht duty fresh air of approved colour and quality ( Govt: approved brands like Crompton, Bajaj, Havells, Almonard ) | Each | 6 |  |  | LMR
10 | LMR | Supply of 3 Wings , 400mm Sweep, Decorative Wall Mounted fan with cords for Control with all accessories similar to Usha Helix Hi speed or Equi. | Each | 4 |  |  | LMR
11 | LMR | S/F Angle batten holder with CFL: Supplying and fixing batten/ angle holder including connection etc with 11W CFL Lamp. as required. | Each | 15 |  |  | LMR
12 | LMR | Supplying and fixing 20 amps, 240 volts, Power unit 20A socket, two module, with 20A DP 1 way switch with indicator, 2 module outlet, with 2 pole and earth,suitable size GI box with modular plate and cover in front on surface or in recess, complete with connections, testing and commissioning etc. as required. | Each | 11 |  |  | LMR
13 | LMR | Supply & fixing INFORMATION OUTLET WITH FACE PLATE (concealed in modular work station raceways /gypboard partitions/ walls-with modular back box), TERMINATION AND TESTING CAT6 (AMP/KRONE/NET FOX or approved equivalent) | Each | 27 |  |  | LMR
14 | LMR | Supply of Alluminium cable. Supply of the following sizes of Alluminium armoured PVC insulated, XLPE Power cable of 1.1kV grade to site including transporting and stacking charges at work site.. |  |  |  |  | LMR
a | LMR | 3.5 x 25 Sq mm | Metre | 25 |  |  | LMR
b | LMR | 3.5 x 35 Sq mm | Metre | 10 |  |  | LMR
Total Amont LMR Items
15 | 1.10 | Point wiring in PVC conduit, with Modular type switch: Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required.
a | 1.10.2 | Group B | Point | 20 |  |  | SR-2014
b | 1.10.3 | Group C | Point | 110 |  |  | SR-2014
16 | 1.11 | Twin control point wiring in PVC conduit, with modular type switch: Wiring for twin control light point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, 2 way modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. | Point | 3 |  |  | SR-2014
17 | 1.12 | Power plug wiring in PVC conduit ( 2x4 sq mm ): Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit alongwith 1 No 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | Metre | 280 |  |  | SR-2014
18 | 1.14 | Circuit Sub main wiring in PVC Conduit: Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required
a | 1.14.1 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | Metre | 300 |  |  | SR-2014
b | 1.14.2 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | Metre | 125 |  |  | SR-2014
c | 1.14.8 | 4 X 4 sq. mm + 2 X 4 sq. mm earth wire | Metre | 40 |  |  | SR-2014
d | 1.14.9 | 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | Metre | 20 |  |  | SR-2014
RE- WIRING IN PVC CONDUIT
19 | 1.18 | Telephone wiring in existing conduit: Supplying and drawing following pair 0.5 sq mm FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required.
| 1.18.2 | 2 Pair | Metre | 50 |  |  | SR-2014
PVC CONDUIT, METAL BOXES
20 | 1.21 | S/F PVC conduit: Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
a | 1.21.1 | 20 mm | Metre | 250 |  |  | SR-2014
b | 1.21.2 | 25 mm | Metre | 50 |  |  | SR-2014
21 | 1.22 | S/F Metal boxes: Supplying and fixing metal box of following sizes (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in front including painting etc as required.
a | 1.22.6 | 200 mm X 125 mm X 60 mm deep | Each | 1 |  |  | SR-2014
b | 1.22.7 | 200 mm X 150 mm X 60 mm deep | Each | 1 |  |  | SR-2014
22 | 1.24 | S/F Modular type switch/ socket: Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
a | 1.24.6 | Telephone socket outlet | Each | 2 |  |  | SR-2014
b | 1.24.8 | Bell push | Each | 2 |  |  | SR-2014
23 | 1.25 | Supplying and fixing electronic fan regulator: Supplying and fixing stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | Each | 46 |  |  | SR-2014
24 | 1.26 | S/F Modular type blanking plates: Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | Each | 20 |  |  | SR-2014
25 | 1.27 | S/F Modular boxes, base & cover plate: Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required.
| 1.27.1 | 1 or 2 Module (75mmX75mm) | Each | 46 |  |  | SR-2014
26 | 1.31 | S/F light plug point modular type accessaries: Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. (For light plugs to be used in non residential buildings). | Each | 84 |  |  | SR-2014
27 | 1.32 | S/F Power plug point with modular type switch: Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | Each | 17 |  |  | SR-2014
28 | 1.33 | S/F Ceiling rose: Supplying and fixing 3 pin, 5 amp ceiling rose on the existing junction box/ wooden block including connection etc as required. | Each | 30 |  |  | SR-2014
29 | 1.38 | S/F call bell/buzzer: Supplying and fixing call bell/ buzzer suitable for single phase, 230 volts, complete as required. | Each | 2 |  |  | SR-2014
30 | 1.41 | ITC Fluroscent fitting directly on surface: Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FR PVC insulated, copper conductor, single core cable and earthing etc. as required. | Each | 70 |  |  | SR-2014
31 | 1.42 | ITC Fluroscent fitting with down rod: Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube etc., including supplying and fixing ball and socket arrangement, 2 no. down rods of 20 mm dia X 1.6 mm thick steel conduit upto 30 cm length, painting and wiring the down rods and connection with 1.5 sq. mm FR PVC insulated, copper conductor, single core cable and earthing etc. as required. | Each | 7 |  |  | SR-2014
32 | 1.43 | S/F extra down rod: Providing and fixing extra conduit down rod of 20 mm dia, 2 X 10 cm length wiring with 2 X 1.5 sq. mm FR PVC insulated, copper conductor, single core cable including painting etc. as required. (Note : More than 5 cm length shall be rounded to the nearest 10 cm and 5 cm or less shall be ignored) | Each | 14 |  |  | SR-2014
33 | 1.44 | ITC Ceiling fan: Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FR PVC insulated, copper conductor, single core cable etc. as required. | Each | 46 |  |  | SR-2014
34 | 1.47 | Extra down rod 15 mm dia 10 CM Length: Supplying and fixing extra down rod of 10 cm length G.I. pipe ,15 mm dia, heavy gauge including painting etc. as required. (Note : More than 5 cm length shall be rounded to the nearest 10 cm and 5 cm or less shall be ignored) | Each | 46 |  |  | SR-2014
35 | 1.48 | Extra down rod 15 mm dia 20 CM Length: Supplying and fixing extra conduit down rod of 20 cm length G.I. pipe 15 mm dia, heavy gauge including painting etc. as required. (Note : More than 5 cm length shall be rounded to the nearest 10 cm and 5 cm or less shall be ignored) | Each | 46 |  |  | SR-2014
36 | 1.50 | ITC Exhaust fan: Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required.
| 1.50.1 | Upto 450 mm sweep | Each | 6 |  |  | SR-2014
37 | 1.53 | Supplying and drawing of UTP 4 pair CAT 6 LAN Cable in the existing surface/ recessed steel/ PVC conduit as required. | Metre | 450 |  |  | SR-2014
38 | 2.2 | S&F MCCB in cubicle Pannel: Providing and fixing following rating and breaking capacity MCCB in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required.
| 2.2.1 | 100 Amp, 16 KA TP MCCB | Each | 1 |  |  | SR-2014
39 | 2.3 | S/F SP MCB DB: Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
| 2.3.6 | 2 + 6/8 way, Double door | Each | 1 |  |  | SR-2014
40 | 2.4 | S/F TP MCB DB: Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
| 2.4.4 | 4 way (4 + 12), Double door | Each | 3 |  |  | SR-2014
41 | 2.6 | S/F Vertical Type TP MCB DB: Supplying and fixing following ways surface/ recess mounting, vertical type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB's, with provision of 100 amps TP 16 KA MCCB as incomer, interconnection between incomer MCCB and bus bars (but without MCB's/ MCCB) as required .(Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.)
| 2.6.3 | 8 way (4 + 24), Double door | Each | 1 |  |  | SR-2013
42 | 2.10 | S/F 'C' series, MCB: Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
a | 2.10.1 | Single pole | Each | 36 |  |  | SR-2014
b | 2.10.4 | Triple pole | Each | 3 |  |  | SR-2014
43 | 2.11 | S/F S P MCB blanking plate: Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | Each | 35 |  |  | SR-2014
44 | 2.12 | S/F DP MCB isolator: Supplying and fixing following rating, double pole, 240 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required.
| 2.12.1 | 40 amps | Each | 1 |  |  | SR-2014
45 | 2.13 | S/F FP MCB Isolator: Supplying and fixing following rating, four pole, 415 volts, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required.
| 2.13.1 | 40 amps | Each | 3 |  |  | SR-2014
46 | 2.14 | S/F SPN RCCB: Supplying and fixing following rating, double pole, (single phase and neutral), 240 volts, residual current circuit breaker (RCCB), having a sensitivity current upto 300 milliamperes in the existing MCB DB complete with connections, testing and commissioning etc. as required.
| 2.14.1 | 25 amps | Each | 1 |  |  | SR-2014
47 | 2.15 | S/F TPN RCCB: Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current upto 300 milliamperes in the existing MCB DB complete with connections, testing and commissioning etc. as required.
a | 2.15.1 | 25 amps | Each | 2 |  |  | SR-2014
b | 2.15.2 | 40 amps | Each | 1 |  |  | SR-2014
48 | 2.21 | Providing and fixing M.V. danger notice plate of 200 mm X 150 mm, made of mild steel, at least 2 mm thick, and vitreous enameled white on both sides, and with inscription in single red colour on front side as required. | Each | 1 |  |  | SR-2014
49 | 5.2 | G.I Earth Pipe Electrode With Salt & Charcoal: Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | Each | 2 |  |  | SR-2014
50 | 5.16 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess: Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | Metre | 60 |  |  | SR-2014
51 | 7.1 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required.
| 7.1.1 | Upto 35 sq. mm | Metre | 35 |  |  | SR-2014
52 | 9.1 | Supplying and making end termination with brass compression gland and aluminium lugs: Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
a | 9.1.20 | 3½ X 25 sq. mm (28mm) | Each | 2 |  |  | SR-2014
b | 9.1.21 | 3½ X 35 sq. mm (32mm) | Each | 2 |  |  | SR-2014
Total DSR
Total LMR
Total for Electrical works(Part-B)

## Civil- detail (hidden)
PROPOSED BUILDING FOR HLL ACADEMY, TRIVANDRUM
Civil works
Sl.No | DESCRIPTION |  | No | L | B | H | Qty | Unit
1 | Providing and fixing partition upto ceiling height consisting of G.I. frame and required board, including providing and fixing of frame work made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/sqm(both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 2.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of boards to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to
centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5 mm each) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), joint finisher and two coats of primer suitable for board as per manufacture’s specification and direction of engineer in charge all complete.
Ground floor
| Btn lobby & store area |  | 1 | 5.8 |  | 3.2 | 18.56
| Btn class room & store area |  | 1 | 4.66 |  | 3.2 | 14.912
| Btn Reception & counselling room |  | 1 | 3 |  | 3.2 | 9.6
| Btn counselling room & Passage |  | 1 | 2 |  | 3.2 | 6.4
| Btn counselling room & computer lab |  | 1 | 5.18 |  | 3.2 | 16.576
| Btn Class room & computer lab |  | 1 | 11.23 |  | 3.2 | 35.936
First Floor
| Btn entrance & class room |  | 1 | 5.3 |  | 3.2 | 16.96
| Btn Lab & class room |  | 1 | 11.23 |  | 3.2 | 35.936
| Btn dialysis room & ICU |  | 1 | 5.22 |  | 3.2 | 16.704
| Btn toilet & dialysis room |  | 1 | 4.8 |  | 3.2 | 15.36
| Btn ICCU & X Ray |  | 1 | 4.22 |  | 3.2 | 13.504
| Total | [5 empty] | 200.448
deductions
ground floor
| D1 |  | 4 | 1 |  | 2 | 8
First Floor
| D1 |  | 3 | 1 |  | 2 | 6
| total deduction | [5 empty] | 14
| Net Qty | [5 empty] | 186.448
| Say | [5 empty] | 187 | sqm
2 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with apered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to all/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ | [9 empty] | 3808/m2
230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recomme-nded jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer’s specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting
12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- Part I
Ground floor
| entrance lobby, reception & counselling room |  | 1 | 5.18 | 6.34 |  | 32.8412
| Computer lab |  | 1 | 7.43 | 5.18 |  | 38.4874
| Class room |  | 1 | 11.25 | 5.02 |  | 56.475
First Floor
| Class room |  | 1 | 11.95 | 5.3 |  | 63.335
| ICU & X ray |  | 1 | 11.95 | 5.22 |  | 62.379
| Dialysis room |  | 1 | 4.8 | 2.32 |  | 11.136
| Total | [5 empty] | 264.6536
| Say | [5 empty] | 270 | sqm
3 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete.
Ground floor
| Reception & lobby |  | 1 | 3.12 |  | 2.6 | 8.112
|  |  | 1 | 4.24 |  | 2.6 | 11.024
|  |  | 1 | 3.8 |  | 2.6 | 9.88
|  |  | 1 | 2.06 |  | 2.6 | 5.356
| conselling room |  | 2 | 2 |  | 2.6 | 10.4
|  |  | 2 | 3 |  | 2.6 | 15.6
| Computer lab |  | 2 | 5.18 |  | 2.6 | 26.936
|  |  | 2 | 7.43 |  | 2.6 | 38.636
| class room |  | 2 | 11.23 |  | 2.6 | 58.396
|  |  | 2 | 5.34 |  | 2.6 | 27.768
| storage area/ staff room |  | 2 | 4.78 |  | 2.6 | 24.856
|  |  | 2 | 2.32 |  | 2.6 | 12.064
| Lobby area near toilet |  | 1 | 3.2 |  | 2.6 | 8.32
|  |  | 2 | 2.55 |  | 2.6 | 13.26
| toilet 1 |  | 2 | 1.3 |  | 2.6 | 6.76
|  |  | 2 | 2 |  | 2.6 | 10.4
| toilet 2 |  | 2 | 1.5 |  | 2.6 | 7.8
|  |  | 2 | 2 |  | 2.6 | 10.4
| stair room |  | 2 | 5.05 |  | 2.6 | 26.26
|  |  | 2 | 1.98 |  | 2.6 | 10.296
Ground floor
| Computer lab and counselling room |  | 2 | 5.05 |  | 2.6 | 26.26
| Class room and computer lab |  | 2 | 11.22 |  | 2.6 | 58.344
| Class room and passage |  | 2 | 5.02 |  | 2.6 | 26.104
| Ladies toilet and passage |  | 2 | 3.53 |  | 2.6 | 18.356
| toilet and storage |  | 2 | 2 |  | 2.6 | 10.4
| staircase and passage |  | 2 | 5.05 |  | 2.6 | 26.26
| Inside walls |  | 2 | 10.3 |  | 2.6 | 53.56
|  |  | 2 | 16.23 |  | 2.6 | 84.396
deductions
| Windows |  | 18 | 1 |  | -1.5 | -27
| Ventilaters |  | 3 | 0.9 |  | -0.6 | -1.62
| doors |  | 2 | 1 |  | -2.1 | -4.2
| Toilet doors |  | 2 | 0.8 |  | -2.1 | -3.36
First Floor
| Class room and ICU |  | 2 | 11.95 |  | 2.6 | 62.14
| stircase side |  | 2 | 4.05 |  | 2.6 | 21.06
| toilet and stair side |  | 2 | 3.3 |  | 2.6 | 17.16
|  |  | 2 | 2 |  | 2.6 | 10.4
|  |  | 2 | 2 |  | 2.6 | 10.4
| Inside walls |  | 2 | 10.3 |  | 2.6 | 53.56
|  |  | 2 | 16.23 |  | 2.6 | 84.396
| Windows |  | 18 | 1 |  | -1.5 | -27
| Doors |  | 2 | 0.8 |  | -2.1 | -3.36
0
| columns |  | 5 | 0.69 |  | 2.6 | 8.97
| Net qty | [5 empty] | 505.226
First Floor
| entance lobby |  | 1 | 1.9 |  | 2.6 | 4.94
|  |  | 2 | 5.53 |  | 2.6 | 28.756
| Class room |  | 2 | 11.95 |  | 2.6 | 62.14
|  |  | 2 | 5.3 |  | 2.6 | 27.56
| Lab |  | 2 | 11.23 |  | 2.6 | 58.396
|  |  | 2 | 5.22 |  | 2.6 | 27.144
| storage area/ staff room |  | 2 | 4.78 |  | 2.6 | 24.856
|  |  | 2 | 2.32 |  | 2.6 | 12.064
| toilet 1 |  | 2 | 1.3 |  | 2.6 | 6.76
|  |  | 2 | 2 |  | 2.6 | 10.4
| toilet 2 |  | 2 | 1.5 |  | 2.6 | 7.8
|  |  | 2 | 2 |  | 2.6 | 10.4
| stair room |  | 2 | 5.05 |  | 2.6 | 26.26
|  |  | 2 | 1.98 |  | 2.6 | 10.296
Second floor
| dining area |  | 1 | 13.97 |  | 1.2 | 16.764
|  |  | 1 | 11.23 |  | 1.2 | 13.476
|  |  | 2 | 10.75 |  | 1.2 | 25.8
| Wash area |  | 2 | 4.77 |  | 1.2 | 11.448
|  |  | 2 | 2.85 |  | 1.2 | 6.84
| Pantry |  | 2 | 2.5 |  | 1.2 | 6
|  |  | 2 | 2.55 |  | 1.2 | 6.12
| stair room |  | 2 | 1.98 |  | 1.2 | 4.752
|  |  | 2 | 5.05 |  | 1.2 | 12.12
| Total | [5 empty] | 1774.068 |  | 2.6
deductions
Ground Floor
Inner
| D1 |  | 4 | 1 |  | 2 | 8
| D2 |  | 2 | 0.8 |  | 2 | 3.2
Inner
| D1 |  | 3 | 1 |  | 2 | 6
| D2 |  | 2 | 0.8 |  | 2 | 3.2
Second floor
| D2 |  | 5 | 0.8 |  | 2 | 8
deduction for existing wall
Ground floor & First Floor
|  | 2 | 2 | 16.7 |  | 3.2 | 213.76
|  | 2 | 2 | 11.51 |  | 3.2 | 147.328
| W1 | 2 | 4 | 1.05 | 0.5 | 1.35 | -5.67
| W2 | 2 | 11 | 1.2 | 0.5 | 1.35 | -17.82
| V | 2 | 2 | 0.9 | 0.5 | 0.6 | -1.08
| total | [5 empty] | 364.918
| Net Quantity | [5 empty] | 1409.15
| Say | [5 empty] | 400 | sqm
4 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade –Two or more coats on new work.-internal walls
| qty same as above | [5 empty] | 400 | sqm
5 | Wall painting with plastic emulsion paint of approved brand and manufacture to give an even shade :One or more coats on old work
Ground floor & First Floor
|  | 2 | 2 | 16.7 |  | 3.2 | 213.76
|  | 2 | 2 | 11.51 |  | 3.2 | 147.328
| Total | [5 empty] | 361.088
deduction
| W1 | 2 | 4 | 1.05 | 0.5 | 1.35 | 5.67
| W2 | 2 | 11 | 1.2 | 0.5 | 1.35 | 17.82
| V | 2 | 2 | 0.9 | 0.5 | 0.6 | 1.08
| Total | [5 empty] | 24.57
| Net Qty | [5 empty] | 336.518
| Say | [5 empty] | 340 | sqm
6 | Finishing walls with Acrylic Smooth exterior paint of required shade :Old work (Two or more coat applied @ 1.67 ltr/ 10 sqm) on existing cement paint surface
| All floors |  | 2 | 16.73 |  | 7.8 | 260.988 |  | 7.8
|  |  | 2 | 11.51 |  | 7.8 | 179.556
| Total | [5 empty] | 440.544 |  | 2.6
deductions
Ground floor
| D0 |  | 1 | 1.35 |  | 2 | 2.7
| W1 |  | 4 | 1.05 | 0.5 | 1.35 | 2.835
| W2 |  | 11 | 1.2 | 0.5 | 1.35 | 8.91
| V |  | 2 | 0.9 | 0.5 | 0.6 | 0.54
First Floor
| W1 |  | 4 | 1.05 | 0.5 | 1.35 | 2.835
| W2 |  | 11 | 1.2 | 0.5 | 1.35 | 8.91
| V |  | 2 | 0.9 | 0.5 | 0.6 | 0.54
| Total | [5 empty] | 27.27
| Net quantity | [5 empty] | 413.274
| Say | [5 empty] | 415 | sqm
7 | Painting Steel work with Delux Multi surface paint to give an even shade.Two or more coat applied @ 0.90 ltr/10sqm over an over an under coat of primer applied @ 0.80ltr/10aqm of approved brand or manufacture.
Ground floor
| W1 |  | 4 | 1.05 |  | 1.35 | 5.67
| W2 |  | 11 | 1.2 |  | 1.35 | 17.82
| V |  | 2 | 0.9 |  | 0.6 | 1.08
First floor
| W1 |  | 4 | 1.05 |  | 1.35 | 5.67
| W2 |  | 11 | 1.2 |  | 1.35 | 17.82
| V |  | 2 | 0.9 |  | 0.6 | 1.08
Second floor
| V |  | 2 | 0.9 |  | 0.6 | 1.08
| Net quantity | [5 empty] | 50.22
| Say | [5 empty] | 55 | sqm
8 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion: Powder coated aluminium (minimum thickness of powder coating 50 micron)
Ground Floor
| D1 |  | 5 | 1 |  | 2 | 10
First Floor
| D1 |  | 4 | 1 |  | 2 | 8
| Total | [5 empty] | 18
| Provide 15kg/m2 |  |  | 18 | 15 |  | 270
| Total for fixed portion | [5 empty] | 270
| Say | [5 empty] | 212 | kg
9 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). Powder coated aluminium (minimum thickness of powder coating 50 micron)
Ground Floor
| D1 |  | 4 | 1 |  | 2 | 8
First Floor
| D1 |  | 3 | 1 |  | 2 | 6
| Total | [5 empty] | 14
| Provide 10kg/m2 |  |  | 14 | 10 |  | 140
| Say | [5 empty] | 142 | kg
10 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 8 mm thickness
Ground Floor
| D1 | 0.5 | 5 | 1 |  | 2 | 5
| First Floor | [5 empty] | 0
| D1 | 0.5 | 4 | 1 |  | 2 | 4
| Total | [5 empty] | 9
| Say | [5 empty] | 10 | m2
11 | Providing and fixing 12mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge: Pre-laminated particle board with decorative lamination on both sides
Ground Floor
| D1 | 0.5 | 5 | 1 |  | 2 | 5
First Floor
| D1 | 0.5 | 4 | 1 |  | 2 | 4
| Total | [5 empty] | 9
| Say | [5 empty] | 10 | m2
12 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. Upto 5mm depth and 5 mm width
Ground Floor
| D1 |  | 5 | 5 |  |  | 25 |  | 1 | 2 | 5
First Floor
| D1 |  | 4 | 5 |  |  | 20 |  | 1 | 2 | 5
| Total | [5 empty] | 45
| Say | [5 empty] | 45 | m
13 | Providing and fixing 100mm brass locks (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete.
Ground Floor
| D1 |  | 5 |  |  |  | 5
First Floor
| D1 |  | 4 |  |  |  | 4
| Total | [5 empty] | 9
| Say | [5 empty] | 9 | Nos
14 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm) with double speed adjustment with necessary accessories and screws etc. complete.
Ground Floor
| D1 |  | 5 |  |  |  | 5
First Floor
| D1 |  | 3 |  |  |  | 3
| Total | [5 empty] | 8
| Say | [5 empty] | 8 | Nos
15 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :
Ground Floor
| D1 |  | 4 |  |  |  | 4
First Floor
| D1 |  | 3 |  |  |  | 3
| Total | [5 empty] | 7
| Say | [5 empty] | 7 | Nos
16 | Providing and fixing cupboard including top with 12 mm thick PVC Board fixed on suitable framework including auto close hinges, handle ,lock etc ..complete as per the drawing (measurenent shall be taken on face area).
| Lab Counter top |  | 1 | 11.23 | 0.65 |  | 7.2995
| shelf inside counter |  | 1 | 11 | 0.6 |  | 6.6
| Shutter For lab counter |  | 1 | 11.23 | 0.9 |  | 10.107
| Total | [5 empty] | 24.0065
| Say | [5 empty] | 25 | sqm
17 | Providing and laying curtain clothes of size 2.8X1.2 m including all material such as hook,hanger etc and for fixing charges,transporting as per the direction of engineer in charge. |  | 1 | 3.7 | 1.2 |  | 4.44
|  |  | 1 | 7.15 | 1.2 |  | 8.58
| total | [5 empty] | 13.02 | sqm
18 | #REF! |  | 3 | 3 | 1.5 |  | 13.5 | sqm
| Total | [5 empty] | 13.5 | sqm
19 | #REF!
|  |  | 1 | 1.5 | 2.1 |  | 3.15 | sqm
20 | Cleaning the existing window glasses with suitable cleaning agent including labour and material charges etc complete |  | 30 | 1 | 1.5 |  | 45 | sqm