## LAM
LIST OF APPROVED MAKES FOR KERALA PROJECTS
SL NO | ITEM | MAKES
A. ELECTRICAL
1 | MOULDED CASE CIRCUIT BREAKER | Legrand, Siemens, L&T, Schneider, ABB, GE
2 | CONTACTORS, SWITCH DISCONNECTOR UNIT, CHANGE OVER SWITCH | Siemens, L&T, Schneider, ABB, GE
3 | INDICATION LAMP, SELECTOR SWITCH, PUSH BUTTON | Salzer, Kaycee, Technic, Vaishno, L&T
4 | XLPE/PVC LT CABLES | Universal, Gloster, Torrent, RPG, Havells
5 | CABLE GLANDS & LUGS | Comet, Dowells, Multi-pressing, Hex, Jainson
6 | PVC CONDUITS AND ACCESSORIES | Avon Plast, Balco, Koseal, VIP
7 | PVC WIRES - (COPPER) | Finolex, Panasonic, Lapp Kable, Havells
8 | MODULAR SWITCHES & SOCKETS | Legrand (Arteor), MK (Blenze), Anchor (Woods), Havells (Oro)
9 | INDUSTRIAL PLUG & SOCKET | Legrand, Indoasian, Havells
10 | MCB DISTRIBUTION BOARDS | Legrand, Havells, Indoasian (Gold plus)
11 | MCB's, RCCB, ISOLATORS | Legrand, Indoasian, Havells
12 | TELEPHONE, TV CABLES & WIRES | Delton, Finolex, Lapp Kable, Havells
13 | LIGHT FIXTURES | Wipro, Philips, Bajaj
14 | CEILING, EXHAUST, WALL FAN | Crompton, Usha, Bajaj, Kaithan, Almonard
15 | NETWORK CABLE | Belkin, Amp, Legrand