HLL LIFECARE LTD

A GOVT OF INDIA ENTERPRISE

KANGALA-591225

HL/BG/HR/KITCHEN/2013                                                        Date:28.03.2013

TENDER NOTIFICATION

Sealed tenders are invited from experienced and registered Contractors for the revamping work(Supply & installation) of our Canteen Kitchen as per the work profile mentioned vide enclosed Annexure-A in our Factory at Kanagala-591225 on daily contract basis for a period of two years from date of work order.  The general terms and conditions will be applicable as per the Annexure-B enclosed herewith.

Rate:  Should be quoted item wise and erection charges separately as per Annexure-A. The quoted rate should be valid for one year. The taxes as applicable should be clearly mentioned in the quotation.

The contractors may visit our canteen kitchen for site inspection before quoting.

The completed tenders should reach the undersigned along with E.M.D of Rs.5000/-by D.D/Multicity Cheque drawn in favour of HLL Life care Limited, payable at Nipani on or before-27.04.2013 by 02.00PM which will be opened on the same day at 2.30 PM/Convenient day.

Tenders submitted after the due date will not be considered. Tenders without EMD will be rejected. The Management reserves the right to accept or reject any tender without assigning any reason and also to negotiate with the lowest quoted party. The Management reserves the right to cancel the tender at any stage without assigning any reason and the same will be binding on all the tenderers. If the tenderer backs out from the commitment their EMD will be forfeited followed by blacklisting. Party should be ready to attend negotiation at Kanagala-591225/Trivandrum (Kerala state) or at any place fixed by the Company at their own cost.

Tender details are also available on our website.www.lifecarehll.com.

M.V.Udupa

Sr.Manager (Purchase)

Annexure-A

Kitchen Revamping Work Profile

Installation and supply of

1. COOKING RANGE

48” x 24” x 30” made out of 18 SWG 304 SS fitted with two high-pressure burners, control valve, copper pigtail, square grid, dip tray etc.

Qty	        : 2 Nos.

2. CHAPATI PLATFORM

48" x 24"x 30" Angular frame made out of MS 25mm x 25mm x 3mm body made out   of 18 SWG 304 SS, fitted with MS plate, 2 V 1200 burners, control valve, copper  pigtail, and having splash back, oil drain etc. mounted on stainless steel legs.

Qty          : 1 No.

3. BAIN MARIE COUNTER

54” x 28” x 34” + 20” made out of 18 SWG 304 SS, having one underneath shelf & one overhead shelf three sides body covered and tray slider of 12”. Top provided with 7 pots. Electrically operated. Pot capacity 12.5 ltrs

Qty          : 1 No

4. SINGLE SINK UNIT

22” x 22” x 34” made out of 18 SWG 304 SS. Sink size: 18” x 18” x 10”

Qty      : 1 No.

5. WORK TABLE

44” x 22” x 34” made out of 18 SWG 304 SS, having two underneath   shelves.

Qty          : 3 Nos.

6. KITCHEN RACK

60” x 24” x 60” made out of 18 SWG 304 SS, having four shelves.

Qty          : 1 No.

7. POT RACK

72” x 24” x 60” made out of 16 SWG 304 SS tubes, having four shelves.

Qty          : 1 No.

8. VEGETABLE RACK

60” x 24” x 66” made out of 16 SWG 304 SS tubes & angle support with 12

baskets.

Qty          : 1 No.

00 2 00

00 2 00

9. EXHAUST SYSTEM

| SL. | DESCRIPTION |  | QTY |
| --- | --- | --- | --- |
| 1 | BLOWER |  | 1 No. |
|  | Centrifugal type blower 3 HP motor. |
| 2 | HOOD |  |  |
|  | Made out of complete 20 SWG SS. |  |  |
|  | 48” |  | 3 Nos. |
| 3 | GREASE FILTERS |  | 6 Nos. |
|  | Made out of 22 SWG SS. |  |  |
| 4 | DUCTING |  |  |
|  | Made out of 22 SWG G.I. |  | 250 sft |
|  | (As per requirement of the system) |  | (approx) |
| 5 | Erection charges. |  |  |

Note : [a] Scaffolding  for erection of chimney will arranged by HLL/On HLL

Account

[b] All civil & electrical works of any nature like foundations, starter, cabling,

terminations etc will be HLL Account.

Annexure-B

General Terms & Conditions

- The contractor should have a valid license issued by the Authorities (ALC, Hubli) under the Contract labour (Regulation & Abolition) Act 1970 and also hold due Registration as an Establishment under the Shops & Commercial Establishment Act wherever required.

- On award of contract, the contract can be terminated by HLLLife Care Limited at any time during the contract period without paying any compensation & the decision of the HLL Life Care limited with regard to termination of contractual provision will be final and the matter cannot be referred to the court.

- Every contract workman deployed by you for the said work shall be allowed by the contractor in each week a holiday with wages for one whole day for every 6 days of continuous work

- Statutory deductions as applicable will be on contractor account only.

- Work is to be carried out strictly as per the schedule and any change in the mode of work if desired by us is to be implemented and the contractor shall supervise the work.

- Workers engaged by contractors for aforesaid work shall be Contractors employee only and not of HLL Life Care Limited, Kanagala

- Contractor is responsible for all the statutory payments and applicable wages to his employees deployed for the said work.

- It will be contractor’s responsibility to maintain proper discipline and control among the person deployed by him within the premises of the Company.

- There will not be any Employee Employer relationship between HLL Life care Limited Life care limited and the persons employed by contractor for aforesaid work.

- Labour / Worker list should be furnished well in advance at the Security personnel of HLL Life care limited at Main gate.

- The Bonus if any should be paid by contractor only for the workers deputed for work at our plant.

- HLLLife care Limited has no obligation with regard to statutory and other welfare measures for the workmen employed by the contractor for the said work.

- Transport / conveyance of workers engaged by the contractor is to be          arranged by the contractor at his cost only wherever and whenever required         or insisted.

- HLL Life care Limited will not be liable for any accident happened to contractors’   workmen while on work during the contract period. The contractor has to buy at his cost personal accident insurance policy in respect of the employees deployed by him as per the Payment of Workmen compensation Act.

- The contractor and his workmen will not have any lien or right of  employment as regular employees of HLL Life Care Limited.

- In case of any damages caused to our property by contractor / his men   while executing the job, the cost of the same shall be recovered from the contractor.

- Wage Slip indicating the PF deductions should be compulsorily given to the concerned employees each month along with the salary and the same is Mandatory.

- The contractors with separate PF code account should compulsorily furnish the employees individual PF account number and the same should be invariably reflected in the wage slips.

- Contractor will comply with all the statutory norms including hours of work and Holidays / Rest.

- Contractor shall disburse the wages to his employees deployed by him for the concerned contract work on or before 7th day of subsequent month following, irrespective of whether HLL Life care Limited has settled any of contractors bills or not before that date. Contractor shall disburse the payment to his deployed employees in the presence of personnel of HLL Life care Limited.

- Contractor should have valid PAN registration and service tax registration

wherever required

- It is the contractors responsibility to ensure that all employees engaged by

him will follow the safety requirements.

- it is the responsibility of contractor that none of employee/supervisor

engaged by him should work more than 8 hours

- Contractor is responsible for any major damage to the machinery due to

mishandling or improper operation of machinery. This loss will be recovered

from the contractor only.

- Contractor/ contract supervisor has to ensure that all safety equipments like   safety goggles, safety shoes (always), hand gloves (always while operation) and clean room dresses are used by the employees wherever and whenever required while operation.

- Medical examination report of all employees attending work shall be submitted for fitness HR before starting the operation and at the end of the year / Completion of the order / as directed by the officer in charge.

- It is the duty of the contractor to see that his workers payment is released on or before 7th of following month and no complaints for nonpayment is to be received.

- Contractor has to ensure compliance of Safety & Quality Policy of Company

29.Sub contract is not allowed