**Minutes of the pre bid meeting held at Bio Medical office,Thycaud on 25.11.2013 at 11.00 am for the Supply, Installation, Testing and Commissioning of Medical Gas pipe line system for setting up of emergency and critical care department at Trissur Medical College, Alappuzha Medical College and Kottayam Medical College.**

**Participants**

**HLL**

1. Shri. A. Ranjith Kumar, DVP (Tech)
2. Shri Mahadeb Mandal, SM(F)
3. Shri Aneesh V R, DM(Biomedical)
4. Shri Sunil Nair, DM(Biomedical)
5. Shri Gireesh Baby P.M, AM(Biomedical)
6. Smt.Preetha .Shobinathan SE(C&M)

**Contractor**

**M/s MDD Medical systems India Pvt Ltd**

The party requested to extend the tender opening date to 05.12.2013. It was decided to extend the tender forAlappuzha Medical College, Trissur Medical College, and Kottayam Medical College upto 05.12.2013. at 3.15Pm, 3.30 pm and 3.45 pm respectively.

M/s Medical Products Service has sent a query whether AMC rates will be considered for price comparison purpose. HLL replied that the rates for AMC will not be considered for price comparison purpose. However it is mandatory that the bidders should enclose the rates of AMC along with their price bid.

The specification of “Horizontal Bed Head Panel “in the tender for Supply, Installation, Testing and Commissioning of Medical Gas pipe line system for setting up of emergency and critical care department at Kottayam is amended as follows.

|  |  |
| --- | --- |
| **XI** 3 | The panel should be designed to have provision to accommodate the following: |
| a | **Gas Outlets -**  Provision for Two Oxygen ,Two Vacuum and One air |
| b | **Electrical Sockets / Switches**-at least 6 nos. (combined 5A/15 A socket) |
| c | **Data Socket**-RJ 45-01 no |
| d | Should be supplied with monitor mounting solution |
| e | Holder for vacuum collection jar –1 |
| f | Nurse call switch – 1 |
| g | Light Weight Gooseneck lamp with flexible LED lighting – 1  |

**HLL informed that the following additional conditions are included in the eligibility criteria.**

1. Bidder should submit clause by clause technical compliance with supporting technical catalogues. Deviations should be clearly mentioned.
2. Bidder should enclose three copies of recent purchase orders of similar value from reputed institution for supply, installation ,testing and commissioning of medical gas pipelines (including unit cost of components) to confirm that rates are reasonable.
3. Supply and installation, testing and commissioning of medical gas system has to be done by the Principal Company who quote for the project. The vendor if given franchise, the franchise should have worked with the vendor for three years. Also the Principal Company /the vendor should have minimum 5 years experience in Supply, installation, testing and commissioning of medical gas system in Kerala for past five years.
4. The CV of the supervisor as well as the installers who undertake the installation should be submitted along with the offer. The installation group should have the necessary qualification/license/experience as required by HTM /NFPA.
5. Bidder should enclose manufacture’s authorization certificate for the quoted item.
6. The eligibility criteria (g) is modified as follows:

The acceptance of bid of any firm will be subject to direction from Govt of India, CVC and other statutory bodies.

The minutes of the pre bid meeting shall form part of the tender document and all the bidders should seal and sign the pre bid meeting minutes and should be enclosed along with the tender document.