TENDER ENQUIRY NOTICE

HLL/BME/ICCONS-01 LTD/2015-16					   	 21.02.2015

Name of Work : Supply of 2 no:s of BERA/ASSR/OAE/VEMP System for the setting up of Audiology Department at ICCONS Hospital, Shoranur & Trivandrum.

Limited tenders are invited on behalf of Director, Institute of Communicative & Cognitive Neurosciences (ICCONS), An Autonomous Institute under Govt. of Kerala for the Supply of 2 no:s of BERA/ASSR/OAE/VEMP System for the setting up of Audiology Department at ICCONS Hospital, Shoranur & Trivandrum.

The specification for the BERA/ASSR/OAE/VEMP System is enclosed herewith.

Address to which the offers are to be submitted:

Chief Biomedical Consultant

HLL Lifecare Limited

Office Annexe

TC 24/606, TENRA-22

Palathinkara, Thycaud

Trivandrum 695014

Ph :  0471 – 2330447

Email: ctcbme@lifecarehll.com

Submission of Offer

The offer shall be submitted in single bid system. The offer should be submitted in a sealed envelope superscribing “2 no:s of BERA/ASSR/OAE/VEMP System for the setting up of Audiology Department at ICCONS Hospital, Shoranur & Trivandrum”

Last date and time of Receipt of offers	 : 02.03.2015	02.00 pm

Date and time of Opening of Offers	 : 02.03.2015	02.30 pm

Payment terms

Payment shall be made in Indian Rupees as specified in the contract in the following manner:

- On delivery:

75 % payment of the contract price shall be paid on receipt of goods in good condition and upon the submission of the following documents:

- Four copies of supplier’s invoice showing contract number, goods description, quantity, unit price and total amount;

- Consignee Receipt Certificate as per in original issued by the authorized representative of the consignee;

- Two copies of packing list identifying contents of each package;

- Inspection certificate issued by HLL.

- Certificate of origin.

- On Acceptance:

Balance 25 % payment would be made after satisfactory completion against ‘Final Acceptance Certificate’ of goods/equipments to be issued by the consignees and endorsed by HLL subject to recoveries, if any, either on account of non-rectification of defects/deficiencies not attended by the Supplier or otherwise.

The address to which the BERA/ASSR/OAE/VEMP System to be supplied is as follows:

Location 1:

Director

Institute of Communicative & Cognitive Neurosciences (ICCONS)

Kavalappara, Shoranur 
Palakkad

Kerala  679523

Phone: 0466 – 2224869, 0466-2223038

Location 1:

Director,

Institute of Communicative & Cognitive Neurosciences (ICCONS),

Near Chest Diseases Hospital

Pulayanarkotta

Thuruvikkal (PO)

Trivandrum, Kerala 695031

Phone: 0471 – 2467729

Delivery period

# The BERA/ASSR/OAE/VEMP System shall be supplied within 1 month from the date of supply order.

The supplier should give CMC for the quoted item for 5 years after 2 years warranty period.  Cost of CMC will not be considered for price comparison purpose.

| 1 | 2 | 3 | 4 |  |  |  |  | 5 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Schedule No. | BRIEF DESCRIPTION OF GOODS | QUANTITY. (Nos.) | CMC Cost for Each Unit year wise*. |  |  |  |  | Total CMC Contract Cost for 5 Years |  |
|  |  |  | 1st | 2nd | 3rd | 4th | 5th |  |
|  |  |  | a | b | c | d | e |  |
| 1 |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |

Other Conditions

- Warranty should be for minimum 2 years from the date of acceptance of BERA/ASSR/OAE/VEMP System and the Warranty has to be given in the name of client (ICCONS).

Performance Security

- Within Fifteen (15) days from date of the issue of purchase order the successful bidder, shall furnish performance security for an amount equal to ten percent (10%) of the total value of the contract, valid up to sixty (60) days after the date of completion of all contractual obligations by the supplier, including the warranty obligations.

- Demo of  equipments and sample of instruments should be arranged when asked for

- Earnest Money of Rs. 72,000/- has to be submitted  along with the tender in the form of a Demand Draft/ Fixed Deposit Receipt (FDR) of a scheduled bank issued in favour of HLL Lifecare Limited, Thiruvananthapuram which should be placed in a separate sealed cover marked “Earnest Money” shall be submitted along with the tender.

- The rate quoted should be inclusive of all taxes, duties, transport, loading and unloading up to consignee site.

- The tenderer shall submit the compliance for technical specifications. The Make, Model & Country of origin should also be attached along with the bid.

- The original Literature or the relevant part of the user/service manual should be attached as proof.

- The offer shall be valid for 3 months.

- The invoice/ bills shall be raised in the name of “Director-ICCONS a/c  HLL Lifecare Ltd “ and the same shall be submitted to the HLL Engineer in charge.

- TIN no. of HLL should not be mentioned in any of the documents as HLL is acting on behalf of the client in the capacity of consultant alone.

- The system shall be handed over to the client after due verification by HLL Engineer in Charge.

- The bidders should seal and sign the Tender Enquiry Notice  and should be submitted along with the tender

For CEO HITES

Chief Biomedical Consultant

HLL Lifecare Limited

TECHNICAL SPECIFICATION

| S.N | BERA/ASSR/OAE/VEMP System |
| --- | --- |
| 1 | Operational Requirements |
| 1.1 | The system should be able to perform the BERA,ASSR,OAE and VEMP. |
| 2 | Technical Specification for BERA |
| 2.1 | It should be 2 channels |
| 2.2 | Should have ability to record under physiological and electromagnetic noises |
| 2.3 | Impedance measurement should be built in and displayed on screen. |
| 2.4 | Signal presentation : right, left and both |
| 2.5 | Should have pre-programmed auto tests |
| 2.6 | Stimulus types: Click, Pure Tone, Tone Burst, Speech and User Defined Stimuli |
| 2.7 | Intensity: 0-100dB nHL |
| 2.8 | Tone Burst 10 to 120 dB on 250 to 8000 Hz |
| 2.9 | Analysis time should be short |
| 2.10 | Masking : White noise or notched |
| 3 | Technical Specification for ASSR |
| 3.1 | Stimulus ‐ Modulated Tone, Clicks |
| 3.2 | Intensity : upto 125 dB SPL |
| 3.3 | Frequency response upto 5000Hz or better |
| 3.4 | Should be able to test multiple frequencies simultaneously for both ears |
| 3.5 | Automatic Generation of Audiogram in SPL/ HL |
| 3.6 | Phasor diagram should be generated automatically. |
| 3.7 | Frequency and intensity based phasor diagram. |
| 3.8 | FFT Values should be displayed |
| 3.9 | Should have spectrum graph |
| 4 | Technical Specification for OAE |
| 4.1 | Should do DPOAE having following specifications. |
|  | a DPOAE |
|  | Stimulus: |
|  | Intensity range : 0 to 75 dB SPL |
|  | Lvel step : 1dB SPL |
|  | Frequency range : 500 to 8000 Hz |
|  | Frequency step: 50 Hz |
|  | Recording: |
|  | Analysis time : min 2 sec to unlimited test time |
| 5 | Techincal Specification for VEMP |
| 5.1 | It should be 2 channels |
| 5.2 | Transducer type: Ear-Tone ABR insert phone |
| 5.3 | Stimuli: Click and Tone Bursts. |
| 5.4 | Should have automatic test protocols for Click and Tone burst. |
| 5.5 | Patient communication: Talk forward. |
| 6 | System Configuration Accessories, spares and consumables |
| 6.1 | Should include all the necessary software, hardware and accessories for BERA, ASSR, OAE, & VEMP without any additional cost. |
| 7 | Power Supply |
| 7.1 | Power input to be 220-240VAC, 50Hz fitted with Indian plug |
| 7.2 | Suitable UPS with maintenance free batteries. |
| 8 | Standards, Safety and Training |
| 8.1 | Manufacturer should have ISO certification and the copy of the same should be enclosed along with the technical bid. |
| 8.2 | The quoted model should have European CE/US FDA certification and copy of the certificate should be submitted along with the technical bid. |
| 8.3 | Comprehensive training should be given for staffs and engineers till familiar with the system. |
| 8.4 | Should have local service facility .The service provider should have the necessary equipments recommended by the manufacturer to carry out preventive maintenance test as per guidelines provided in the service/maintenance manual. |
| 8.5 | Must submit atleast 2 nos of latest purchase order of the quoted model dated within 3 years along with the price bid. |
| 8.6 | Must submit atleast 2 nos of unpriced PO copies and performance satisfactory report within last 5 years from reputed clients along with technical bid. |
| 9 | Documentation |
| 9.1 | Complete User/Technical/Maintenance manual to be supplied in English (Soft copy & Hard copy). |
| 9.2 | Certificate of calibration and inspection from factory. |
| 9.3 | Warranty & CMC as per tender terms. |