Amendment / Corrigendum to TENDER

## Sub:TENDER FOR SUPPLY, INSTALLATION & COMMISSIONING OF :

## OTO ACOUSTIC EMISSION MACHINE TO SNCUs AT HIMACHAL PRADESH.

Ref: **IFB NO: HLL/AFT-CMO/HP/SNCU-EQP(OAE)/2017-18 DATED 26.12.2017**

|  |  |  |
| --- | --- | --- |
| **Sl No** | **Original Tender Details** | **Amended Tender Details** |
| 1. | **Bid Submission Closing Date**  10/01/2018 at 14.00 hrs  **Bid Opening Date**  10/01/2018 at 15.00 hrs | **Bid Submission Closing Date**  17/01/2018 at 14.00 hrs  **Bid Opening Date**  17/01/2018 at 15.00 hrs |
| **CORRIGENDUM / AMENDMENT TO SECTION VI-Technical Specification (Page – 39)** | | |
| REVISED SPECIFICATIONS FOR OAE SYSTEM FOR NEWBORN SCREENING   * Portable standalone unit weighing less than 500g. * Unit should have facility to measure DPOAE and TEOAE both. * The results should be displayed on LCD touch screen along with graph and response spectrum. * Unit should run on inbuilt re-chargeable batteries. * Unit should be CE approved with safety of BF type * Should be possible to enter a check-up type, enter a patient’s data, and keep a record of checkups database. * Unit should have facility of storing at least 10000 tests in memory. * DPOAE should test from 500 to 12000 Hz, with at least 2 points per octave. * Equipment should have option put memory card of upto 64 GB * TEOAE should have analysis epoch of 20 ms& frequency bands for analysis should be from 1 to 5 kHz. * Stimulation level range to be 50 to 80 dB SPL. * Should be possible to process and archive the check up results on the external computer. * Should have inbuilt wireless Bluetooth connectivity to enable the unit to connect wirelessly to printer and external computer. * Accessories to include set of ear tips for newborn ear tips, OAE probe, Set of OAE probe tips, test cavity and power supply unit. * It should have Bluetooth printer * Equipment should have facility to customize the protocol * Equipment should have facility to change the pass/ refer criteria | | |

All other terms and conditions in the original tender remain unchanged.

**10.01.2018                                                            Joint General Manager (Materials)**