Scope of Work

Biocompatibility tests for natural rubber based products (2 Nos.) as per ISO 4074 2015. The following tests are required.

- In vitro cytotoxicity test

- Acute systemic toxicity test

- Skin sensitization test

- Penile irritation test

- Vaginal irritation test

Specification:

- All the biocompatibility tests (In vitro cytotoxicity test, Acute systemic toxicity test, Skin sensitization test, Penile irritation test and Vaginal irritation test) should be performed as per ISO 4074 2015.

- Should provide a detailed report to every tests along with the clear color photographs (includes the test materials, negative and positive controls on the animals/cells).

- Histopathology examinations (microscopic examination of tissue) & Western-blot analyses need to be carried out and the evidences (microscopic pictures) along with positive and negative controls should be provided.

- Risk Analysis Certificate of the test item should be delivered.