**Amendment 2**

06.10.2015

Name of work: Renovation of Operation Theatre and Labour room in Ayurveda college Hospital for Women & Children, Poojappura

Tender No. HLL/ID/15/30 dated 22.09.2015

1. **The item No:61 of Bill of Quantities of Civil Works may please be read as follows**

|  |  |
| --- | --- |
| As in Tender Document | Amended as |
| Item No:61  Providing, Fixing, Supply, Installation, and Commissioning of Manually Operated hermetically sealed Sliding Doors -Double Leaf Stainless Steel Door Size-1800mm(W) x 2400mm (H) 45mm (THK) PUF Infill Door Leaf - 0.8mm Thk Stainless steel sheet Door Profile - 1.0 mm Thk Stainless steel sheet Double Glazed Vision Panel with 5mm clear glass (200 x 300mm) With one Door Closure and standard Hardware. Manfr. Metaflex | Item No: 61  Supply, Installation, Testing and Commissioning of manually operated hermetically sealed sliding door (Metaflex or equivalent) of 1800mmx2100mm size with 0.80mm thick Aluminium sheet door profile on both sides having Aluminium door panel 3mm thick & 45mm PUF infill, Glazed vision panel with 5mm clear glass 200x300mm or nearest size with necessary accessories and fittings as directed by the Engineer-in-charge. etc complete |

For the above, quantity and all other conditions in the tender document will remains the same.

i**i) NOTE**

**The last page of GCC specifying the price and service tax details should be enclosed in the price bid envelope only.**

Deputy Vice President (Technical)