/+

ANNUAL COMPREHENSIVE MAINTENANCE CONTRACT

Bid Document

For

ALL INCLUSIVE COMPREHENSIVE OPERATION AND MAINTENANCE OF FIRE FIGHTING AND PROTECTION & DETECTION SYSTEM AT THE OFFICE OF HLL LIFECARE LIMITED , PLOT NO. B-14A, SECTOR-62, NOIDA-201301 (U.P)

TENDER No-HLL/FFS/O&M/2014-15/

HLL Lifecare Limited

B-14A, Sector – 62,

Noida, (U.P)

Phone :  0120-4071500

Fax : 0120-4071513

www.lifecarehll.com

2014-15

NAME OF THE WORKS:  ALL INCLUSIVE COMPREHENSIVE OPERATION AND MAINTENANCE OF FIRE FIGHTING AND PROTECTION & DETECTION SYSTEM AT THE OFFICE OF HLL LIFECARE LIMITED, PLOT NO.B-14A, SECTOR-62, NOIDA -201301 (U.P)

HLL Lifecare Limited invites sealed and superscripted limited Bids in two Bid systems from experienced and reputed fire fighting  Licensed contractors / registered contractors with. CPWD, Railways, MES, P&T, state PWD, semi Govt. organizations or  worked with MNC’s multi-storied office complex/well known organization  for Annual Maintenance Contract for Operation and all inclusive comprehensive maintenance of fire fighting systems.

## IMPORTANT INFORMATION

| Name of the Work | ALL INCLUSIVE COMPREHENSIVE OPERATION AND MAINTENANCE OF FIRE FIGHTING AND PROTECTION & DETECTION SYSTEM AT THE OFFICE OF HLL LIFECARE LIMITED, PLOT NO.B-14A, SECTOR-62, NOIDA -201301 (U.P) |
| --- | --- |
| Bid security / Earnest Money (EMD) | Rs.20,000.00 (EMD in a separate envelop, shall be part of the Technical Bid) by a Demand Draft in favour of “HLL Lifecare Limited” payable at New Delhi |
| Cost of Bid Document | NIL |
| Issue of BID documents | From 15 .11.2014 on working days from 10:00 hrs to 17:00 hrs. |
| Last date & time of Submission of completed Bids | 29 .11.2014 by 15:00 hrs. |
| Date & time of opening of Technical Bids | 29 .11.2014 at 16:00 hrs |
| Date & time of opening of Financial bid | To be intimated separately to technically successful bidders only. |
| Period for submission of Performance Security | 15 days from issue of Letter of Acceptance |
| Period for signing of Contract Agreement | 15 days from issue of Letter of Acceptance |
| Address for communication in connection with this BID | DVP (Maint.), HLL Lifecare Limited B-14A, Sector 62, NOIDA-201 301 Dist: Gautam Buddh Nagar (UP) Tel:0120-4071500,Fax-0120-4071513/627 |

Note: All the interested parties are requested to visit the site before bidding for proper assessment of the subject work. The installations shall be taken over as in where basis.

ELIGIBILITY CRITERIA:

i).      Prospective vendors shall have well experienced in similar type of works and registered with Central/State/PSU/Govt. Societies or worked with MNC’s multi-storied office complex/well known organization

ii).     Average Annual financial turnover during the last three years, ending 31st March of the previous financial year, should benot less than Rs. 5,00,000/- .

iii).     Experience of having successfully completed similar works for operation and maintenance   during last 7 years ending last day of month previous to the one which application are   invited should be either of the following:-

- Three similar completed  works costing not less than Rs.3,90,000/-

- Two similar completed  works costing not less than Rs. 5,00,000/-

- One  similar completed  works costing not less than Rs. 7,75,000/- only

BID SUBMISSION

The sealed and superscribed Bid must reach The Deputy Vice Preceddent (Maint.), HLL Lifecare Limited, B-14A, Sector-62, Noida-201301 (U.P.) completed in all respects, latest by 15:00 hrs on   29  .11.2014 and technical bids will be opened at 16:00 Hrs on the same day.

Bids received after the above-mentioned time and date shall not be accepted.  Any Bid document submitted through post/courier is at the risk of the bidders and HLL is not responsible for any delay/loss.

The Bids should be submitted in two parts in separate sealed envelopes.  Part I should comprise acceptance of our terms & conditions of contract, form of particulars duly filled in, copy of IT PAN Card, Service Tax/WCT Registration No. allotted by the concerned authorities, Details of Manpower available, Details of Tools and Tackles available for executing similar jobs, Earnest Money Deposit of Rs.20,000/- (Rupees Twenty  Thousand Only) and other supporting documents indicating the proof of having provided similar services to Govt. Departments / Public sectors Undertakings/ Reputed Organizations / well known Companies .  The contract agency should submit audited balance sheet and profit and Loss statements for the previous three years i.e. FY:  2011-12,2012-13,2013-14.

Documents indicated in check list of Part I of Bid must be submitted. Bidders who are found competent on the basis of information submitted in Part –I will only be considered for opening of financial bid. The envelopes must be superscribed with the following information:

Both the envelopes should be securely sealed and stamped separately and clearly marked as "Envelope No.1 – Technical Bid (EMD & Eligibility Criteria) and "Envelope No.2- Financial Bid" respectively. Both the sealed envelopes should be placed in a third larger envelope clearly mentioning Bid for All inclusive comprehensive Operation and Maintenance of Fire Fighting and Protection & Detection System along with Bid reference no, Due Date, Name of Bidder etc.

It may please be noted that incomplete Bids shall be treated as non-responsive and shall be summarily rejected. In this regard no correspondence will be done with the contractor

TECHNICAL BID

GENERAL TERMS AND CONDITIONS (GTC)

1. 	Sealed Bids in two bid system i.e. Technical Bid along with EMD, & Financial Bid separately, are hereby invited for the work of “All inclusive comprehensive Operation and Maintenance of Fire Fighting and Protection & Detection System” at the Office of HLL Lifecare Limited at Plot No.B-14A, Sector-62, Noida -201301 (U.P) from the experienced and reputed Contractors/ other reputed organizations in the field of Fire Fighting Maintenance. The Bidders are required to produce proof of fulfilling these conditions.

2. 	The contract shall be in force for initial period of one year and may be extendable further  for two years  based on performance on annual increase of 5% of the previous year contract value keeping other terms and conditions same.  The contract can be terminated by either party by issuing one months advance notice in writing.

3. 	Bids must be received by HLL at the address given not later than the time and date specified on the cover page. In the event of the specified date for the submission of bids being declared a holiday for HLL/Govt, the bids will be received up to the appointed time on the next working day.

4. 	Bidders may inspect the site in advance before quoting the rates, since, they will be responsible for break down free services of All inclusive comprehensive Operation and Maintenance of Fire Fighting System and Protection & Detection System at the Office of HLL Lifecare Limited  at Plot No.B-14A, Sector-62, Noida -201301 (U.P).

5. 	Earnest money is liable to be forfeited, if the contractor selected for the work fails to sign the formal agreement within 15 days from the date of issue of Letter of Award.

6. 	Bids which do not fulfil all or any of the conditions or are incomplete in any respect are liable to summarily rejected.

7. 	Duly filled Bid along with earnest money/drafts by Subscribing “Bid for All inclusive comprehensive Operation and Maintenance of Fire Fighting System and Protection & Detection System at the Office of HLL Lifecare Limited  at Plot No.B-14A, Sector-62, Noida -201301 (U.P)” on the envelope duly sealed should be sent to:

The Deputy Vice President (Maint.),

HLL Lifecare Limited,

B-14 A, Sector-62,

NOIDA – 201301  (U.P.)

8.	Bid Validity: The Bids shall be valid for 90 days from the last date of submission of Bids

9. 	Earnest Money Deposit (EMD)

  - The Earnest Money amounting to Rs.20,000 /- (Rupees twenty  Thousand Only) by way of DD of a Schedule Bank, drawn in favour of  HLL Lifecare Limited, payable at New Delhi should accompany the Bid in separate envelope along with Technical Bid. The Bids received without EMD will be treated as invalid and rejected.

9.2 	The EMD will be returned to the bidder(s) whose offer is not accepted by HLL from the date of the placing of the work order on the selected bidder. However if the return of EMD is delayed for any reason, no interest / penalty shall be payable to the bidder.  The EMD of the successful Bidder shall be released after receipt of required security deposit from the successful bidder.

9.3 	The successful bidder, on award of contract/order must sign the copy of contract/order, acceptance in writing, within 15 days of award of contract / order failing which the EMD will be forfeited .

9.4 	The EMD shall be forfeited:

a). If the bidder, withdraws the bid during the period of bid validity specified in the Bid.

b). In case a successful bidder fails to furnish the Security Deposite

10. 	Security Deposit :

Within fifteen (15) days of the award of contract, the vendor shall furnish a Security Deposit amounting to 10 % of the work order annual value by way of DD/bank guarantee (in attached format) from nationalized bank in favour of HLL Lifecare Limited, payable at New Delhi.  The Security Deposit will be forfeited, in case the vendor fails to execute the order to the satisfaction of HLL. The Security Deposit will remain with HLL till the satisfactory completion of contract duly certified by employer and will not bear any interest whatsoever and will be liable for forfeiture in case of the breach of any terms and conditions of the Contract. Incase of the bank guarantee for security deposit, the validity will be fourteen month (12 +2 months) from the date of letter of award/commencement of work which ever is later. The BG will be executed for extended period

11. 	HLL Lifecare Limited does not bind itself to accept the lowest or any Bid and reserves the right of accepting the whole or any part of the Bid and the Bidder shall be bound to perform the same at the rates quoted.

12. 	Canvassing in connection with the Bids is prohibited and the Bids submitted by the contractor who resort to canvassing are liable for rejection.

13. 	The Bidder shall quote rates both in figures and words. He shall also workout the amount for each item of work and writes in both figures and words. On check if there are differences between the rates quoted by the Bidder in words and in figures or in the amount worked out by him, the following procedure shall be followed –

13.1 	When there is a difference between the rates in figures and in words, the rates which correspond to the amounts worked out by the Bidder shall be taken as correct.

13.2 	When the amount of an item is not worked out by the Bidder or it does not correspond with the rate written either in figures or in words, the rate quoted by the Bidder in words shall be taken as correct.

13.3 	When the rate quoted by the Bidder in figures and in words tallies but the amount is not worked out correctly the rate quoted by the Bidder shall be taken as correct and not the amount.

14. 	Before biding, the bidder shall inspect the site to fully acquaint himself about the condition in regard to accessibility of site, nature and extent of ground, working

condition of site and locality including stacking of materials, installations of tools, tackles & Plant etc., conditions affecting accommodation and movement of labour etc. required for the satisfactory execution of the subject work . No claim whatsoever on such account shall be entertained by the employer under any circumstances.

15. 	The rates quoted in the Bid should be inclusive of all taxes, inclusive of service tax, duties & levies applicable on the last date of receipt of the Bids. In case any additional tax / duties are levied subsequently or if the percentage of tax / duty is increased/decreased, then HLL will reimburse/deduct the component of the new taxes / duties to the Contractor on submitting satisfactory documentary evidence to prove that the tax is actually paid by the Contractor to the respective Govt. agencies.

The necessary deductions on account of income tax, service tax etc. will be deducted at source, as applicable, as per Government Rules from the bills submitted by the Contractor and necessary TDS certificate will be issued.

16. 	Bidder should not write any conditions or make any changes, additions, alterations and modifications in the printed form of Bids. Bidders who are desirous to offer rebate the same should be brought out separately in the covering letter and submitted along with the Bid except wherever needed after referring the details of the Bid and if asked for. Correction / overwriting should be countersigned by the Bidder.

17. 	The contractor will have to enter into agreement with HLL within 15  days  of letter of award. The agreement is to be executed on adequate stamp paper. Cost of stamp paper will be borne by the contractor.

18. 	HLL Lifecare Limited reserves the right to accept or reject any Bid in full or in part without assigning any reason.

19. 	The conditions beyond contractors control such as, but not limited to, war, strikes, fires, flood, governmental restrictions or power failures, damages etc, shall not be deemed a breach of the contract.

20. 	Except where otherwise provided in the contract, all questions and disputes relating to the meaning of the specification, and instruction herein before mentioned and as to the quality of the materials, as to any question, claim, right, matter or thing whatsoever, in any way arising out of or relating to the contract, specifications, estimates, instructions, orders or these conditions or otherwise concerning the works, or the execution of the same whether arising during the process of the work or after the completion or abandonment thereof shall be referred to the sole arbitration of a person nominated by the Chairman & Managing Director of HLL Lifecare Limited and if he is unable or unwilling to act to as the Sole Arbitrator or some other person appointed by him willing to act as such arbitrator. The submission shall be deemed to be submission to Arbitration under the meaning of the Arbitration Act, 1996 or any subsequent amendments of enactment thereof for the time being in force, conclusive and binding on all parties of the contract.

21. 	Responsibility of contractor:

The contractor shall comply with all the provisions of the Minimum Wages Act, 1948, Contract Labour (Regulation and abolition) Act, 1970 and rules framed there under, other labour laws affecting contract labour that may be brought into force time to time and all other rules and regulations regarding to  fire fighting and detection & protection systems that may be brought in force time to time

22. 	The contractor shall make good all the damages caused to the machinery due to negligent operation and at the end of contract period he shall hand over plant and all equipment in the contract scope in good working condition

23. 	All necessary tools tackles should be provided by the contractor to his staff at his own cost. The Contractor/ bidder shall either have in possession or shall arrange the required necessary sets of spanners, testing equipment etc. with the technicians.

24. 	The pump room and surrounding areas with machinery will be kept neat & clean. Cleaning agents such as soap, detergent, cotton waste etc. will be provided by the contractor

.

25.	The rate & amount shall be fixed for entire duration of the contract.

26. 	LEGAL JURISDICTION – Incase of any dispute the Delhi Courts alone shall have the territorial jurisdiction to adjudicate upon the matter arising out of this contract.

DESCRIPTION OF COMPLETE SYSTEMS FOR OPERATION & MAINTEMNANCE

2.0 	Broad description of complete systems installed at HLL under the contract

Fire Fighting and Protection & Detection System  are given at ANNEXURE-I

Note: Bidders are advised to visit the site for verification of complete system. Variations in quantities of equipment w.r.t as given above are likely to occur as per HLL requirement and during the period of Contract.

3.0	SCOPE OF WORK:

  - The scope of work as mentioned below are the minimum expected from the firm / agency / contractor apart from break down maintenance and any other work required for operation and maintenance in proper way as per the operation and maintenance manuals of respective equipment and as per good engineering practices will be required to be done under this scope of work. Successful bidder will make Proforma for recording the following minimum work schedule/parameters and show to the employer to ensure proper accomplishment of these tasks.

  - Fire Cylinders: The fire cylinders installed at the HLL office premises to be refilled from the Original manufacturers or their authorized dealers/reputed approved agency before their expiry date and also the proof of refilling of cylinders should be furnished from the same.

WORK TO BE DONE ON EVERY DAY BASIS.

SCOPE OF WORK FOR OPERATION & MAINTENANCE  OF FIRE FIGHTING SYSTEM  AND PROTECTION & DETECTION SYSTEM

The scope of work shall cover manning of Fire Pump House round the clock, operation and all routine, preventive and major /special maintenance works as required from time to time for complete Fire Fighting System  and Protection & Fire Detection systems/ installations comprising Pump House equipments, Wet Riser & Sprinkler System, Ring Main Piping, Yard & Floor Hydrants and Portable Fire Extinguishers, Fire Detection, Panel Detectors and other related equipments, as and when required etc  for Operation & Maintenance of Installations as per details in Annexure -I.

All the equipment/installation shall always be kept in good and trouble free operating conditions.

All the required record for break-downs/repairs and maintenance etc. shall be maintained in the form of history books and logbooks etc. as per directions.

All the maintenance works shall be carried out in accordance with the manufacturer’s specifications/ UP Noida Fire bylaws and instructions of the DVP ( Maintenance) .

The agency will liaise with UP Noida Fire Services and other statutory authorities required from time to time in connection with Fire Fighting installations and would be  responsible for obtaining of Renewal of Fire License from the Fire Authority of NOIDA..

TOOLS & PLANTS

All the general & special tools, tackles i/c chain pulley blocks etc., required for proper maintenance and repairs/break down etc, shall be arranged by the contractor at his own cost and issue to the staff deployed by him for this work.

CONSUMABLES

The rates shall be all inclusive of establishment as well as spares and consumables as per 	schedule of work. The contractor is required to assess the probable quantity of all types 	of spares and consumables likely to be required for replacement for keeping all the 	installations in good working conditions and include the lump sum cost of these spares & 	consumables. Nothing extra on any account shall be payable over and above the 	approved all-inclusive comprehensive rates of the contract.

The consumables and spares shall be of best standard quality purchased from the 	original manufactures or authorized dealers only and shall be approved by  the Engineer 	in-charge of HLLL before use. The Engineer in charge may direct the contractor to use 	consumables of his choice from the listed/approved vendors .

All spares and consumables shall be arranged by the contractor for which nothing extra 	shall be payable.

A list shall be prepared by the Contractor for major & minor spares consumables and the 	decision of HLL Engineer in charge regarding the major /minor consumables shall be 	final .

Replaced parts/ spares, used brunt oil etc will be property of vendor. It is his 	responsibility to disposed of immediately

Log book and complaint books, all stationery like registers, sheets, markers, pens and 	pencils etc. will be supplied by the contractor and no extra payment for these shall be 	made. Log book proforma must be approved by HLL Engineer- in- charge.

MAN POWER & QUALIFICATION (Minimum man power to be deployed)

1.	REFER ANNEXURE –II & ANNEXURE-III

2.	The Contractor shall comply with all provision of minimum wages act, 1948, Contract labour (Regulation and Abolition) Act 1970 and rules framed there under other labour laws affecting contract labour that may be brought in to time to time.

4.0 	PENALTY CLAUSE:

4.1 	If work is not done as per above schedule or any system is not functioning then a penalty @ rate of Rs.1, 000/- per day shall be imposed on contractor for each location separately and will be deducted from the Contract amount due to the contractor and if unsatisfactory performance is continued for more than two days as felt by Engineer- in-charge and Contract is liable to be terminated and final decision for this shall rest with the Deputy Vice President (Maint.), HLL.

4.2 	If the contractor is NOT able to locate and rectify the fault and the reasons attributable to non performance of contractor as assessed by officials nominated by HLL, the penalty clause is applicable as System remained non-functional for 2 hrs or more.

4.3 	If contractor is not able to rectify the fault then the same may be got done through some other agency at the risk and cost of contractor failing which the same amount will be deducted from Running Bill and penalty as stipulated above will also be imposed. However, the decision of the DVP (Maintenance)   in this regard shall be final and binding.

5.0 	Deployment of Fitter cum Pump Operator to ensure smooth functioning of Fire Fighting System and Protection &  Detection System at the Office of HLL Lifecare Limited  at Plot No.B-14A, Sector-62, Noida -201301 (U.P)

5.1. 	For organizing and implementing the maintenance detailed schedule may be seen at clause no.11.6 of the special conditions of contract of this tender.

5.2. 	Mere deployment of MAN POWER does not amount to fulfillment of obligation of the contractor.  Contractor will be responsible for satisfactory maintenance of all the systems under the scope of contract and smooth functioning of all services in the HLL

5.3. 	During break down, if required more skilled/un-skilled workers may be deployed by the contractor to complete the work without much interruption of systems. No additional cost will be paid by HLL for this.

5.4 	In case of break down immediate action must be taken to rectify the fault and restore the functioning of systems within reasonable time as considered by HLL failing which penalty clause will be invoked.

6.0 	Detailed Terms and Conditions for providing All inclusive comprehensive Operation and Maintenance of Fire Fighting and Protection & Detection System at the Office of HLL Lifecare Limited  at Plot No.B-14A, Sector-62, Noida -201301 (U.P)

6.1 	Contractors should provide preferably 2 sets of uniforms of approved colour for the employees deputed in HLL at their own cost and also safety shoes one pair should be provided to each employee.

6.2 	In order to ensure the fulfillment of statutory obligations, contractors shall ensure that the payment of wages of the workmen of the contractor is made and the Contractor has to inform HLL for the payment of wages to the workmen every month in writing.

6.3 	The contractor shall issue the identity cards to his workmen on his own cost and shall duly be intimate in writing the DVP (Maintenance) as and when there is any change.

6.4 	The contractor shall ensure to provide an alternate qualified manpower or replace with a stand by in case any of the regular staff deployed is absent or on leave.

6.5 	The contractors shall be responsible for the safety of all the items of furniture, plants, office equipment and other fittings provided in the premises and shall be liable to make good any loss to the same if damaged during the execution of their duties which shall be recoverable from their monthly bill or other dues payable to the contractors by the company.

6.6       The monthly bills for the service shall be submitted by the contractor at the end of every      	month and same will be settled by HLL within 10 days after submitting the bill with 	relevant documents

6.7	The contractors should deploy the personnel after screening/approval from HLL, Noida

6.8 	The contractor shall be responsible for the good conduct and behavior of his employees. If any employee of the contractor is found misbehaving with the supervisory staff or any other staff member, the contractor shall terminate the services of such employees at their own risk and responsibility on the recommendation of the Maintenance/Engineer- in-charge or any other officer designated by the DeputyVice Presidentr (Maint), HLL, Noida (U.P). The contractor shall issue necessary instruction to his/its employees to act upon the instructions given by the supervisory staff of office building.

7. 	GENERAL PRECAUTIONS FOR DAILY MAINTENANCE TO BE OBSERVED AT EACH LOCATION:

a)  The Contractor is to ensure that all the installations and accessories provided for different installations are in their positions, levels, directions etc,

b)  The contractors should have their maintenance personnel accessible either by person or by phone during or after office hours and if called for  to attend to work for repairing, rectification or servicing or as required for the smooth functioning of Operation & All Inclusive Comprehensive Maintenance of Fire Fighting System and Protection &  Detection System at the Office of HLL office complex

8. 	SPECIAL TERMS AND CONDITIONS (STC) :

8.1 	The responsibility of staff deployed for Comprehensive Maintenance work for receiving instructions from the HLL. He shall also attend all site meetings & co-ordination meetings & arrange to carry out work smoothly as per the agreed time schedule. Any instruction given to the site supervisor shall be construed as if the same is given to the contractor. The contractor shall provide the operator / mechanic, who have undergone the basic training of all the tools / equipment to handle any emergencies with regard to operation and maintenance of Fire Fighting System and Protection &  Detection System at the Office of HLL Lifecare Limited  at Plot No.B-14A, Sector-62, Noida -201301 (U.P)

8.2 	Corrupt or Fraudulent Practices:

8.3. 	Bidders & Suppliers shall observe the highest standard of ethics during the procurement and execution of the contract.

8.4 	Any material required for making good the damages will be brought by the contractor at his own cost and risk, and such material should be of proper brand and of good quality.

8.5.	The contractor will be responsible for the security/insurance of their staff working at site and HLL will not be responsible in any manner incase of any accident / miss-happenings.

8.6 	Technical evaluation committee during technical evaluation will also review the past performance of the contractor before making them technically qualified etc.

9. 	Additional Terms and Conditions :

9.1 	The contractors should visit the site and acquaint themselves of the conditions existing, restrictions in movements / working hour’s security aspects, Condition of the plant equipment to be maintained / operated, before quoting for the job. No complaint of loss of labour, items of work not included, scope of work variation etc. will be entertained in handling similar works and should attach copies of cases handled by them along with performance certificate.

9.2 	The contractor should submit detailed general and shift duty chart of proposed staff to be deployed one week in advance before start of every month and schedule of detailed works to be carried out

9.3 	The contractor should submit schedule of maintenance works well in advance to HLL.

9.4 	 Contractor shall be responsible for any periodic statutory inspection to be carried out on the equipments, necessary test reports and certificates, rectification of defects pointed during such inspection etc.

9.5 	Contractors should follow all safety norms and provide necessary safety equipment at their own cost. In case of any accident during the operation / maintenance of the equipment leading to injuries / damages to human beings equipment and / or loss of life, the contractor shall be fully responsible for setting all claims and indemnify HLL against any claims arising out of such accidents. Consequent damages to other systems will however also be recoverable from the contractor.

9.6 	This contract can be terminated by the HLL Lifecare Limited without assigning any reasons by giving a notice period of 30 days at any time during the period of contract. No claim for any compensation will however be entertained due to such termination prior to the expiry of stipulated period of contract.

9.7       The employees of the contractor will have no right whatsoever for employment in HLL

10. Submission of Bill:

The bill for payment shall be submitted at the end of every month .

If performance is not found satisfactory, payment for that month will be forfeited and if un-satisfactory performance is continued then contract is liable to be terminated.

11. Special conditions of contract are:

11.1 	PLACE OF INSTALLATION OF EQUIPMENT UNDER OPERATION & 	MAINTENANCE Hll OFFICE COMPLEX AT B-14-A, Sector 62, Noida

11.2	PAYMENT TERMS

a)	Payment shall be made on monthly basis within 15 days after submission of bills in the succeeding months.

b)       The payment shall only be released on confirmation of disbursement of salaries and other allowances to the labours deployed at site by the agency.

11.3	PAYING AUTHORITY

SVP (GB)

HLL Lifecare Limited

B-14A,Sector-62, Noida, U.P.201301

11.4	PERIOD OF CONTRACT : The contract shall be in force for initial period of one year and 	may be extendable further  for two years on performance on annual increase of 5% of 	the previous year contract value keeping other terms and conditions same.  The contract 	can be terminated by either party by issuing one months advance notice in

11.5	VALIDITY OF PERFORMANCE SECURITY

Till Expiry of the Contract with sixty days as claim period.

11.6	SCOPE OF WORK

11.6.1.	The scope of work shall cover operation and all in comprehensive, routine, preventive and major/special maintenance works as required from time to time for Operation & All Inclusive Comprehensive Maintenance of Fire Fighting System , Fire Detection System and Fire Hydrants at the Office of HLL Lifecare Limited  at Plot No.B-14A, Sector-62, Noida -201301 (U.P) 	 as per enclosed list of installations in Annexure -I.

11.6.2	All the equipments/installations shall always be kept in good and trouble free operating conditions.

11.6.3	All the required record for break-downs/repairs and maintenance etc. shall be maintained in the form of history books and logbooks etc. as per directions.

11.6.4	All the maintenance works shall be carried out in accordance with the direction/instruction of the engineer in charge. The brief of main activities to be carried out for operation, routine/special & preventive and comprehensive maintenance is enclosed as per Annexure -IV.

11.6.5	If for any reason any equipment is required to be repaired from any outside agency or in any workshop, the same shall be arranged by the agency at his own cost with in the quoted prices.

11.7	TOOLS & PLANTS

All the general & special tools, tackles required for proper operation and control shall be arranged by the contractor at his own cost and issue to the staff deployed by him for this work.

11.8	WATCH & WARD

Watch and Ward of  material, machineries and system etc. till end of the contract shall be the sole responsibility of the contractor and pilferage etc. shall be entirely to his account.

11.9	PERIOD OF OPERATION

Fire Fighting System and Protection & Detection System at the Office of HLL Lifecare Limited  at Plot No.B-14A, Sector-62, Noida -201301 (U.P) shall be kept under supervision round the clock i.e. 24 hours and 365 days.

11.10	DEPLOYMENT OF STAFF

11.10.1 The agency shall deploy skilled fitter cum pump operator and helper for satisfactory operation, routine, special and all in comprehensive maintenance of Fire Fighting System and Protection & Detection System.

11.10.2 Any extra labour of any nature if required at any time for attending any repair/break down shall be deployed by the agency at his own cost for which nothing extra shall be payable.

The deployed labour shall be sufficient, experienced and qualified/trained in operation &maintenance of Fire Fighting System and Protection & Detection System so that all the break downs/repairs are attended immediately with minimum possible down time. Any unjustified delay in repairing of equipments shall be treated as breach of contract and suitable penalty shall be imposed and recovered from the monthly bill/security deposited. The minimum expected labour to be at site shall be as per Annex-II having qualified experience as per Annexure-III.

11.10.4 Break Down period shall not be more than two hours beyond that the penalty clause shall be applicable.

11.11	WAGES

11.11.1 The agency shall pay the salary to his employees deployed at site, not less than the minimum wages as declared from time to time by the statutory authorities without any liabilities of increase to HLL during the tenure of the agreement.

11.11.2 The prices quoted by the bidder shall deem to be inclusive of all the contractor’s liabilities as per labour laws such as minimum wages, D.A., Bonus, P.F., E.S.I., Uniforms, Tools, Conveyance, Leave/Holidays workmen compensation etc. and nothing extra over and above the quoted rates shall be payable during currency of the contract.

11.12	LABOUR LAWS :

11.12.1 The contractor will abide by all the rules and regulations related to labour laws, accident, workmen compensation act, workmen insurance, ESI, PF & Bonus etc. This will be the sole responsibility of the contractor. HLL will not be a party at any stage in any of the disputes relating to the above. In case, any liability arises due to non-conformance by the contractor, under no circumstances HLL will be liable for the same.

11.12.2 After award of work, the contractor shall submit an undertaking to HLL that the staff deployed by him for the work shall have no claim for any kind of employment in HLL and the contractor shall be responsible for any dispute of any wages or any service conditions. The contractor shall be fully responsible for any compensation or any claim of the labour deployed by him for the work.

11.13   DAMAGE CAUSED TO INSTALLATION

In case of any damage caused to the installation due to negligence, carelessness or inefficiency of staff of the firm the contractor shall be responsible to make good the loss. Decision of the Engineer –in –charge shall be final & binding on the contractor.

FORMS

VARIOUS FORMS TO BE FILLED BY THE BIDDER

FORM 1

GENERAL INFORMATION ABOUT THE BIDDER

| 1 | Name of the Company |  |
| --- | --- | --- |
| 1a | Postal Address |  |
| 1b | Telephone / FAX No. |  |
| 1c | E-mail address & Website |  |
| 2 | Name and designation of the representative of the Bidder to whom all reference shall be made to expedite technical co-ordination. |  |
| 3 | Has the company / firm to pay arrear of any tax? if yes, up to what amount |  |
| 4 | Has any Govt. Dept / Undertaking ever debarred the company / firm from executing any work? |  |
| 5 | Reference of any other information attached by the company (give details of attachment) |  |

Date								Sign and Seal of Contractor

DECLARATION OF THE BIDDER

I / We, hereby declare that I/We have made myself / ourselves thoroughly conversant with the site conditions, local conditions regarding all materials and Labour of which I/We have based my/our rates of this work. The specification, conditions, results and lead of manpower on this work have been carefully studied and understood by me/us before submitting this Bid.

In case, if I/We fail to complete the work in stipulated time schedule, the penalty shall be levied as per contract condition.

I / We declare on solemn affirmation that whatever information submitted in this Bid is true and correct to the best of my knowledge and belief.

I / We hereby certify that my / our firm has not been disqualified by any office / Department / undertaking of the state / central Govt. of India at any time for providing manpower services or services of any description.

I hereby certify that I/we shall provide any related documents/certificate  for  which asked for

Place:

Date:

(Signature of the partner / manager /

Managing partner / with

Rubber stamp of the firm)

Sign and Seal of Contractor

FORM 2

Detail of the similar  works In Hand

(To be submitted in Envelop No. 1)

| Sl.No. | Name of Customer | Description of Work | Date of |  | Remarks |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Start | completion |  |

Sign and Seal of Contractor

FORM 3

List of work related Equipment, Machinery and tools tackles etc

immediately available with the Bidder for use on this work.

(To be submitted in Envelop No. 1)

| Sl.No. | Description | Make | Date/ Cost of Purchase | Function / Purpose | Remarks |
| --- | --- | --- | --- | --- | --- |

Sign and Seal of Contractor

FORM 4

Details of works of similar type executed by the bidder

(To be submitted in Envelop No. 1)

| Sl.No. | Name of the Company with full address, phone, fax and name of contact person | Work Description | Ref. & Date of the order | Work Order Value | Details of Order & its Configuration | Dates of |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Start | Completion |

Sign and Seal of Contractor

1. 	Copies of work orders should be attached with this information.

2. 	If necessary, separate sheet may be used to submit the information

FORM 5

Details of technical personnel with the bidder who will be deployed for this work

| Sl.No. | Name of the person | Qualification | Whether working in Field or in Office | Mode of employment & Experience | Period for which the person is working with the Bidder | Remarks |
| --- | --- | --- | --- | --- | --- | --- |

Sign and Seal of Contractor

CHECKLIST OF ESSENTIAL DOCUMENTS TO BE

SUBMITTED IN PART – I  OF BID

PART - I

Essential Documents:-

| Sl. No. | Name of Document |
| --- | --- |
| 1 | Earnest Money Deposit of Rs.20,000/- in the form of Demand Draft payable in favour of HLL Lifecare Limited, payable at New Delhi |
| 2 | Form of particulars duly filled & Signed (1 to 5) |
| 3 | Declaration Form : Acceptance of general Terms and Conditions of the Contract duly signed in by the tenderer /bidder |
| 4 | Copy of Income-tax PAN Card, PF & ESI registration certificate |
| 5 | Copies of Work Orders & Certificate Indicating proof of having requisite Experience of Operation and All inclusive comprehensive Operation and Maintenance of Fire Fighting and Protection & Detection System in Govt. Firms/Public Sector undertakings /reputed organizations during last two years. |
| 6 | Copy of Service Tax Registration/WCT Certificate No. and Date of Issue |
| 7 | Copy of IT Returns and audited balance sheet and profit and Loss statements for the previous three years i.e. FY: 2011-12,2012-13,2013-14. |
| 8 | List of personnel available on hand & proposed to be engaged for the subject work. |
| 9 | Bid documents in original duly filled in and signed by Bidder/Tenderer or his authorized Representative along with seal on each page. |

Price quotations will be opened only of those parties who submit all essential documents indicated in the checklist of Part-I

FINANCIAL BID

Sub :- All inclusive comprehensive Operation and Maintenance of Fire Fighting and Protection & Detection System  installed at HLL Lifecare Office Building at B-14A, Sector-62, Noida, U.P.

| S.No. | Description of work | Qty | Unit | Rate Per month Rs. | Amt. Per annum Rs. |
| --- | --- | --- | --- | --- | --- |
| 1. | All inclusive comprehensive Operation and Maintenance of Fire Fighting and Protection & Detection System at the Office of HLL Lifecare Limited at Plot No.B-14A, Sector-62, Noida -201301 (U.P) (The Rates shall be all inclusive i.e. man power, Spares, materials and refilling of fire cylinders , all applicable taxes including Service taxe etc.) | 1 | Job |  |  |

Amt. in words (…………………………………………..                       .)

(Signature of the bidder)

Name  : ______________________________

Place: 	 ______________________________					Seal

Date :   ______________________________

PART-II

PRICE BID

Sub :- All inclusive comprehensive Operation and Maintenance of Fire Fighting and Protection & Detection System  installed at HLL Lifecare Office Building at B-14A, Sector-62, Noida, U.P.

We have studied the Bid document No. HLL/FFS/O&M/2011-12  dated  ______for the subject mentioned work and we accept all terms & conditions specified under the heading" General Terms & Conditions of Bid and Contract".

We hereby confirm that we will provide services as per the orders placed on us from time to time promptly. We also understand that in case of our failure to execute the order, HLL will be free to make alternate arrangements at our risk and cost. We also confirm that in case of unsatisfactory services, HLL has the right to take any legal course of action against us.

We agree to provide the services with minimum manpower and qualifications enumerated in ANNEXURE- II and ANNEXURE – III for the subject work for all necessary operation and all inclusive comprehensive maintenance services as per the rates quoted by us.

We confirm that our quotations will be valid for 90 days from the date of submission of Bid.

Signature (Name of Bidder along

With Rubber Stamp of the firm)

Place:

Date:

Annexure 1 to 4 are attached as a separate documents.

Annexure- V

# FORM OF PERFORMANCE SECURITY BANK GUARANTEE

M/s HLL Lifecare Limited

B-14A,Sector-62, Noida,

U.P.-201301 (INDIA)

(With due stamp duty if applicable)

OUR LETTER OF GUARANTEE No. : ______________

The deed of irrevocable guarantee made this day of   between bank of      ( hereinafter called the bank)of the one part and   HLL Lifecare Limited, having its office at B-14A, Sector-62, Noida, U.P.-201301 (INDIA) (hereinafter referred to as “HLL” which expression shall unless repugnant to the content or meaning thereof include all its successors, administrators and executors)  of the other part.

Whereas HLL Lifecare Limited  awarded the contract for All inclusive comprehensive Operation and Maintenance of Fire Fighting and Protection & Detection System  installed at HLL Lifecare Office Building at B-14A, Sector-62, Noida, U.P.  to M/s _______________________________ (hereinafter referred to as “The Service provider” which expression unless repugnant to the content or meaning thereof, shall include all the successors, administrators, and executors).

And WHEREAS the  service provider having unequivocally accepted to provide the services as per terms and conditions given in the Agreement / letter of award No. __________________________ dated ___________ and HLL having agreed that the Service provider shall furnish to HLL a Performance Guarantee for the faithful performance of the entire contract, to the extent of 10% (ten percent) of the value of the service contract i.e. for ____________________.

We, ______________________ (“The Bank”) which shall include OUR successors, administrators and executors herewith establish an irrevocable Letter of Guarantee No. ____________ in your favour for account of ___________________ (The Service provider) in cover of performance guarantee in accordance with the terms and conditions of the Agreement/ Service Contract.

Hereby, we undertake to pay upto but not exceeding ___________ (say  _____________ only) upon receipt by us of your first written demand accompanied by your declaration stating that the amount claimed is due by reason of the Service provider having failed to perform the Agreement and despite any contestation on the part of above named Service provider.

This Letter of Guarantee will expire on ___________ including 60 days of claim period and any claims made hereunder must be received by us on or before expiry date after which date this Letter of Guarantee will become of no effect whatsoever whether returned to us or not.

Authorized Signature

Manager

Seal of Bank

Annexure -VI

AGREEMENT

This agreement made on ………………….. between HLL Lifecare Limited B-14A,       Sector-62, Noida, U.P.-201301(hereinafter called the employer) of the one part and ……………………………………here in after called “ The Service provider ” of the other part.

Whereas the employer is desirous that certain works should be executed All inclusive comprehensive Operation and Maintenance of Fire Fighting and Protection & Detection System  installed at the Office of HLL Lifecare Limited  at Plot No.B-14A, Sector-62, Noida -201301 (U.P) and has accepted a tender of the service provider ……………………………………………..………

NOW THIS AGREEMENT WITNESSETH AS FOLLOWS :

- In this Agreement words and expressions have the same meanings as are respectively assigned to them in the conditions of contract there after referred to.

- The following documents shall be deemed to form and be read and construed as part of this agreement viz.

- The Tender No.	HLL/FFS/O&M/2014-15

- The award letter No.

- References as mentioned in the award letter

- All  the correspondences till award of contract

- In consideration of the payments to be made by the employer to the contractor, the contractor hereby covenants upon to execute and maintain the works in conformity in all respects with the provisions of the contract.

HLL hereby covenants to pay the consideration of, complete contract for providing All inclusive comprehensive Operation and Maintenance of Fire Fighting and Protection & Detection System  at the Office of HLL Lifecare Limited  at Plot No.B-14A, Sector-62, Noida -201301 (U.P) at the contract price at the times and in the manner prescribed by contract.

In witness whereof the parties have hereunto set their respective hands and seals the day         and year first above written.

For & on behalf of                                                                 For & on behalf of

Service   Provider                                                             	HLL Lifecare Limited

DVP(Maint.)

HLL Lifecare Limited ,

B-14A, sector-62,

Noida, U.P.-201301

Witness (i)							(i)

Witness (ii)							(ii)

Date :

Place: Noida(U.P)

Vii). Check the operation of sprinklers & Sprinkler pumps by breaking few sprinkler heads

All the Fire Fighting System  and Protection & Detection systems/ installations have to be kept in good healthy working conditions and any repair/ replacement required for any equipment shall be done immediately.  Mock drill should be arranged monthly or as required with the prior approval of Engineer-in-Charge