| Page No. | Clause | Sub clause | Tender Clause as in the tender document | Request for clarification / modification | Clarification/ Modified Clause |
| --- | --- | --- | --- | --- | --- |
| 44 | Section – VII | Technical Specifications Schedule No:1 Essential Items to be included with the Unit | PRESSURE INJECTOR latest model single head with remote control, standard make with 50 compatible disposable syringes. | Considering the decisions taken in the Second Pre bid meeting held on 17.04.2017. | Deleted |

AMENDMENT NO: 7