AMENDMENT I

Sub : Construction of Regional office building of HLL Lifecare Ltd at Pallikaranai, Chennai

Tender no. HLL/ID /15/23 dtd 18.08.2015

| Item no. | Item description as per the tender document | Amended description |
| --- | --- | --- |
| Item no. 39 in Electrical works | HT BREAKER Supply, receiving, storing, erection, testing & commissioning of outdoor HT panel comprising of 11 KV electrically operated, draw out Type vacuum circuit breaker with 1- Manually charged spring closing mechanism. 1-Set of mechanical close/trip knobs 1 set - mechanical on/off indicator 1-mechanical spring charged/ free indicator. 2- O/C & 1 E/F micro processer based self powered relay with suitable ring type CT 1 set. of N/O & N/C contactors shall be provided for BMS monitoring of the breaker status (on, off, trip). Provision for mounting 1 no.I/ D type terminating kit suitable for 3 corex185 Sq mm, XLPE 11kv cable. | HT BREAKER Supply, receiving, storing, erection, testing & commissioning of outdoor HT panel comprising of 11 KV electrically operated, draw out Type vacuum circuit breaker with 1 No - 11KV 630 A VCB Manually charged spring closing mechanism. 1-Set of mechanical close/trip knobs 1 set - mechanical on/off indicator 1-mechanical spring charged/ free indicator. 2- O/C & 1 E/F micro processer based self powered relay with suitable ring type CT 1 set. of N/O & N/C contactors shall be provided for BMS monitoring of the breaker status (on, off, trip). Provision for mounting 1 no.I/ D type terminating kit suitable for 3 corex185 Sq mm, XLPE 11kv cable. |

Deputy Vice President (Technical)