Date: 29/01/2015

Amendment No: 1

Ref: Tender Enquiry No: HLL/BME/Calibration-05/14-15 Dated 15.01.2015

Pre-Bid meeting against the referred tender was held on 23/01/2015 at HLL Lifecare Ltd., Thycaud, Trivandrum- 695 014

The following amendments are issued with respect to the above Tender Enquiry Document.

Technical Specification

Item No 18

Temperature Bath

Existing Specification:

Para 2.2: Temperature range: -40°C to 125°C

Amended as:

Para 2.2: Temperature range: -30°C to 125°C

Existing Specification:

Para 2.3: Accuracy: 0.2%

Amended as:

Para 2.3: Accuracy 0.25°C

Following lines are added to the existing specification:

Para 2.6: Working area diameter should not be less than 40mm dia.

Para 2.7: Should be supplied with R type Thermocouple.

All other contents, terms & conditions of the tender enquiry remain unchanged.