## NIT
Schedule. No | Last Date of Bid Submission and Opening | Equipment | Capacity / specification | Quantity | EMD Fees in Rs. | Tender Fees in Rs.
I | 15.10.2015 @ 10.30 AM Bid Opening @11.00 AM | Upright Microscope | Trinocular compound microscope with camera provision | 2 | 110000 | Rs. 3,150/- (Inclusive of Sales Tax)
|  | Inverted Microscope | Trinocular microscope | 4
|  | Fluorescence microscope | Binocular microscope | 1
II |  | Incubator | 240-300L | 9 | 225000
|  |  | 400-500L | 1
|  | BOD Incubator | 200-260L | 1
II(a) |  | CO2 Incubator | 200-250L | 2 | 26000
III |  | Deep Freezer- Low Temperature (cGMP) Vertical | 300L or the near standard | 6 | 50000
|  |  | 100L or the near standard | 1
III(a) |  | Deep Freezer- Low Temperature (cGMP) Horizontal | 500L or the near standard | 1 | 12000
IV |  | Deep Freezer- Ultra Low Temperature (CGMP) | 500L or the near standard | 2 | 170000
|  |  | 300L or the near standard | 1
|  |  | 300L or the near standard | 10
V |  | Refrigerator (cGMP) | 500L | 9 | 140000
|  |  | 300L | 6
VI |  | Refrigerator (regular) | 500L | 1 | 17000
|  |  | 300L | 1
VII |  | Standard Water Bath | To accommodate 2nos of 10L glass bottles | 1 | 15000
|  |  | 5 to 15L | 1
|  |  | 15 to 20L | 4
|  | Flocculation Water Bath | 6 to 8 L | 1
VIII |  | Elisa Reader | Ambient 4 ̊C to 45 ̊C | 2 | 40000
|  | Elisa Plate Washer | Volume range 50 to 300 per well | 2
IX | 16.10.2015 @ 10.30 AM Bid Opening @11.00 AM | Peristaltic Pump | 100 ml/min to 3000 ml/min | 4 | 40000
|  |  | 1000ml/min to 10000ml/min | 1
|  |  | 10ml/min to 3000ml/min | 5
|  |  | 10ml/min to 18000ml/min | 1
X |  | Weighing Balance | 0.5g to 35kg | 1 | 135000
|  |  | 0.5g - 1500 g, | 1
|  |  | 1mg - 220 g, | 1
|  |  | 1g - 40kg | 1
|  |  | 0.5g - 15kg table top | 1
|  |  | 0.1g-6000g | 1
|  |  | 0.5g - 15kg table top | 1
|  |  | 1mg-220 g | 1
|  |  | 0.1g-6000g | 3
|  |  | 50g-500 kg | 1
|  |  | 0.1g-6000g | 1
|  |  | 0.01mg-220 g, | 1
|  |  | 50g - 600 Kg, | 1
|  |  | 5g - 100 Kg, | 1
|  |  | 5g - 100 Kg | 1
|  |  | 1mg-220 g | 1
|  |  | 1mg-220g | 1
|  |  | 0.1g-6000g | 1
|  |  | 0.2g-3000g | 1
|  |  | 0.5g-6000g | 1
|  |  | 0.2g-3000g | 1
|  |  | 0.5g-6000g | 1
|  |  | 20g-150kg | 1
Xa |  | Micro Weighing Balance | 0.001mg-5g | 1 | 6000
XI |  | TOC Analyser | 10 to 40 ̊ C | 2 | 64000
XII |  | High precision Syringe Dispenser | 100µl to 1ml | 1 | 4000
|  |  | 500 µl to 5ml | 1
|  |  | 5 µl to 50 µl | 1
XIII |  | Euthanasia Chamber | 2 Chamber System | 2 | 3000
|  |  | 4 Chamber System | 1
XIV |  | Hot Air Oven | 400L | 1 | 15000
|  |  | 200L | 1
XV |  | UV- Spectrophotometer | 190-1100nm | 1 | 21000
XVI |  | Polarimeter | 20 to 45 ̊ C | 1 | 28000
XVII |  | Refractometer | 15 to 85 ̊ C | 1 | 18000
XVIII | 17.10.2015 @ 10.30 AM Bid Opening @11.00 AM | Kjeldhal apparatus | ambient to 40̊ C or more | 1 | 30000
XIX |  | Table Top Cooling Centrifuge | minus 10 to 40̊ C | 1 | 11000
XX |  | Magnetic Stirrer with Heating | ambient to 200deg C with heat control accuracy of ± 5 ̊C | 3 | 37000
|  | Magnetic stirrer without Heating | 4 ̊C to 37 ̊C | 11
XXI |  | RT-PCR | ambient to 99 ̊C | 1 | 44000
XXII |  | pH & Conductivity meter | pH range: 0.00 -14.00 Conductivity range: 0.001 to 999999µS / cm | 4 | 8000
XXIII |  | Vortex Mixer | 4 to 65 ̊ C | 11 | 15000
XXIV |  | Colony Counter Manual |  | 1 | 8000
XXIV(a) |  | Colony Counter Automatic |  | 1 | 24000
XXV |  | Anaerobic Jar | 2-3 ltrs | 2 | 3000
XXVI |  | Ultrasonic Bath | ambient to 65̊ C | 1 | 4000

## Price Schedule - Domestic
S.No | Schedule. No | Equipment | Capacity / specification | Quantity | Supply |  | Installation
[5 empty] | Unit Price Rs | Total Price Rs | Unit Price Rs | Total Price Rs
1 | I | Upright Microscope | Trinocular compound microscope with camera provision | 2
2 |  | Inverted Microscope | Trinocular microscope | 4
3 |  | Fluorescence Microscope | Binocular microscope | 1
4 | II | Incubator | 240-300L | 9
5 |  |  | 400-500L | 1
6 |  | BOD Incubator | 200-260L | 1
7 | II(a) | CO2 Incubator | 200-250L | 2
8 | III | Deep Freezer- Low Temperature (cGMP) Vertical | 300L or the near standard | 6
9 |  |  | 100L or the near standard | 1
10 | III(a) | Deep Freezer- Low Temperature (cGMP) Horizontal | 500L or the near standard | 1
11 | IV | Deep Freezer- Ultra Low Temperature (CGMP) | 500L or the near standard | 2
12 |  |  | 300L or the near standard | 1
13 |  |  | 300L or the near standard | 10
14 | V | Refrigerator (cGMP) | 500L | 9
15 |  |  | 300L | 6
16 | VI | Refrigerator (regular) | 500L | 1
17 |  |  | 300L | 1
18 | VII | Standard Water Bath | To accommodate 2nos of 10L glass bottles | 1
19 |  |  | 5 to 15L | 1
20 |  |  | 15 to 20L | 4
21 |  | Flocculation Water Bath | 6 to 8 L | 1
22 | VIII | Elisa Reader | Ambient 4 ̊C to 45 ̊C | 2
23 |  | Elisa Plate Washer | Volume range 50 to 300 per well | 2
24 | IX | Peristaltic Pump | 100 ml/min to 3000 ml/min | 4
25 |  |  | 1000ml/min to 10000ml/min | 1
26 |  |  | 10ml/min to 3000ml/min | 5
27 |  |  | 10ml/min to 18000ml/min | 1
28 | X | Weighing Balance | 0.5g to 35kg | 1
29 |  |  | 0.5g - 1500 g, | 1
30 |  |  | 1mg - 220 g, | 1
31 |  |  | 1g - 40kg | 1
32 |  |  | 0.5g - 15kg table top | 1
33 |  |  | 0.1g-6000g | 1
34 |  |  | 0.5g - 15kg table top | 1
35 |  |  | 1mg-220 g | 1
36 |  |  | 0.1g-6000g | 3
37 |  |  | 50g-500 kg | 1
38 |  |  | 0.1g-6000g | 1
39 |  |  | 0.01mg-220 g, | 1
40 |  |  | 50g - 600 Kg, | 1
41 |  |  | 5g - 100 Kg, | 1
42 |  |  | 5g - 100 Kg | 1
43 |  |  | 1mg-220 g | 1
44 |  |  | 1mg-220g | 1
45 |  |  | 0.1g-6000g | 1
46 |  |  | 0.2g-3000g | 1
47 |  |  | 0.5g-6000g | 1
48 |  |  | 0.2g-3000g | 1
49 |  |  | 0.5g-6000g | 1
50 |  |  | 20g-150kg | 1
51 | Xa | Micro Weighing Balance | 0.001mg-5g | 1
52 | XI | TOC Analyser | 10 to 40 ̊ C | 2
53 | XII | High precision Syringe Dispenser | 100µl to 1ml | 1
54 |  |  | 500 µl to 5ml | 1
55 |  |  | 5 µl to 50 µl | 1
56 | XIII | Euthanasia Chamber | 2 Chamber System | 2
57 |  |  | 4 Chamber System | 1
58 | XIV | Hot Air Oven | 400L | 1
59 |  |  | 200L | 1
60 | XV | UV- Spectrophotometer | 190-1100nm | 1
61 | XVI | Polarimeter | 20 to 45 ̊ C | 1
62 | XVII | Refractometer | 15 to 85 ̊ C | 1
63 | XVIII | Kjeldhal apparatus | ambient to 40̊ C or more | 1
64 | XIX | Table Top Cooling Centrifuge | minus 10 to 40̊ C | 1
65 | XX | Magnetic Stirrer with Heating | ambient to 200deg C with heat control accuracy of ± 5 ̊C | 3
66 |  | Magnetic stirrer without Heating | 4 ̊C to 37 ̊C | 11
67 | XXI | RT-PCR | ambient to 99 ̊C | 1
68 | XXII | pH & Conductivity meter | pH range: 0.00 -14.00 Conductivity range: 0.001 to 999999µS / cm | 4
69 | XXIII | Vortex Mixer | 4 to 65 ̊ C | 11
70 | XXIV | Colony Counter Manual |  | 1
71 | XXIV(a) | Colony Counter Automatic |  | 1
72 | XXV | Anaerobic Jar | 2-3 ltrs | 2
73 | XXVI | Ultrasonic Bath | ambient to 65̊ C | 1
Total Basic Price
Excise duty @ …………………..
CST/VAT @.........................
Service Tax @.........................
P&F
Insurance
Freight
Total Price in Rs.
Grand Total (Supply & Installation) in Rs.

## Price Schedule - Import
S.No | Schedule. No | Equipment | Capacity / specification | Quantity | Supply |  | Installation
[5 empty] | (Currency…..) |  | (Currency…..)
[5 empty] | Unit Price | Total Price | Unit Price | Total Price
1 | I | Upright Microscope | Trinocular compound microscope with camera provision | 2
2 |  | Inverted Microscope | Trinocular microscope | 4
3 |  | Fluorescence Microscope | Binocular microscope | 1
4 | II | Incubator | 240-300L | 9
5 |  |  | 400-500L | 1
6 |  | BOD Incubator | 200-260L | 1
7 | II(a) | CO2 Incubator | 200-250L | 2
8 | III | Deep Freezer- Low Temperature (cGMP) Vertical | 300L or the near standard | 6
9 |  |  | 100L or the near standard | 1
10 | III(a) | Deep Freezer- Low Temperature (cGMP) Horizontal | 500L or the near standard | 1
11 | IV | Deep Freezer- Ultra Low Temperature (CGMP) | 500L or the near standard | 2
12 |  |  | 300L or the near standard | 1
13 |  |  | 300L or the near standard | 10
14 | V | Refrigerator (cGMP) | 500L | 9
15 |  |  | 300L | 6
16 | VI | Refrigerator (regular) | 500L | 1
17 |  |  | 300L | 1
18 | VII | Standard Water Bath | To accommodate 2nos of 10L glass bottles | 1
19 |  |  | 5 to 15L | 1
20 |  |  | 15 to 20L | 4
21 |  | Flocculation Water Bath | 6 to 8 L | 1
22 | VIII | Elisa Reader | Ambient 4 ̊C to 45 ̊C | 2
23 |  | Elisa Plate Washer | Volume range 50 to 300 per well | 2
24 | IX | Peristaltic Pump | 100 ml/min to 3000 ml/min | 4
25 |  |  | 1000ml/min to 10000ml/min | 1
26 |  |  | 10ml/min to 3000ml/min | 5
27 |  |  | 10ml/min to 18000ml/min | 1
28 | X | Weighing Balance | 0.5g to 35kg | 1
29 |  |  | 0.5g - 1500 g, | 1
30 |  |  | 1mg - 220 g, | 1
31 |  |  | 1g - 40kg | 1
32 |  |  | 0.5g - 15kg table top | 1
33 |  |  | 0.1g-6000g | 1
34 |  |  | 0.5g - 15kg table top | 1
35 |  |  | 1mg-220 g | 1
36 |  |  | 0.1g-6000g | 3
37 |  |  | 50g-500 kg | 1
38 |  |  | 0.1g-6000g | 1
39 |  |  | 0.01mg-220 g, | 1
40 |  |  | 50g - 600 Kg, | 1
41 |  |  | 5g - 100 Kg, | 1
42 |  |  | 5g - 100 Kg | 1
43 |  |  | 1mg-220 g | 1
44 |  |  | 1mg-220g | 1
45 |  |  | 0.1g-6000g | 1
46 |  |  | 0.2g-3000g | 1
47 |  |  | 0.5g-6000g | 1
48 |  |  | 0.2g-3000g | 1
49 |  |  | 0.5g-6000g | 1
50 |  |  | 20g-150kg | 1
51 | Xa | Micro Weighing Balance | 0.001mg-5g | 1
52 | XI | TOC Analyser | 10 to 40 ̊ C | 2
53 | XII | High precision Syringe Dispenser | 100µl to 1ml | 1
54 |  |  | 500 µl to 5ml | 1
55 |  |  | 5 µl to 50 µl | 1
56 | XIII | Euthanasia Chamber | 2 Chamber System | 2
57 |  |  | 4 Chamber System | 1
58 | XIV | Hot Air Oven | 400L | 1
59 |  |  | 200L | 1
60 | XV | UV- Spectrophotometer | 190-1100nm | 1
61 | XVI | Polarimeter | 20 to 45 ̊ C | 1
62 | XVII | Refractometer | 15 to 85 ̊ C | 1
63 | XVIII | Kjeldhal apparatus | ambient to 40̊ C or more | 1
64 | XIX | Table Top Cooling Centrifuge | minus 10 to 40̊ C | 1
65 | XX | Magnetic Stirrer with Heating | ambient to 200deg C with heat control accuracy of ± 5 ̊C | 3
66 |  | Magnetic stirrer without Heating | 4 ̊C to 37 ̊C | 11
67 | XXI | RT-PCR | ambient to 99 ̊C | 1
68 | XXII | pH & Conductivity meter | pH range: 0.00 -14.00 Conductivity range: 0.001 to 999999µS / cm | 4
69 | XXIII | Vortex Mixer | 4 to 65 ̊ C | 11
70 | XXIV | Colony Counter Manual |  | 1
71 | XXIV(a) | Colony Counter Automatic |  | 1
72 | XXV | Anaerobic Jar | 2-3 ltrs | 2
73 | XXVI | Ultrasonic Bath | ambient to 65̊ C | 1
Gross FOB price at sea / airport of Lading (inclusive of Agency commission) |  |  |  | A
Amount and Percentage of Agency Commission** |  |  |  | B
Net FOB (excluding Agency Commission) (A-B) |  |  |  | C
Insurance & Freight |  |  |  | D
Net CIP Port of destination by Air/Sea (C+D) |  |  |  | E
Customs duty % & HS Code |  |  |  | F
Customs Clearance & Handling Charges ** |  |  |  | G
Loading / Unloading / Inland Transportation & Incidental cost till Consignee’s site** |  |  |  | H
Installation, Commissioning, Supervision, Demonstration, Training Documentation and Qualification at the consignee’s site** |  |  |  | I
Total DAP Price |  |  |  | J
Grand Total (Supply & Installation)

## Price Schedule - AMC
|  |  |  | 1 | 2 |  | 3
S.No | Schedule. No | Equipment | Capacity / specification | Quantity | ANNUAL MAINTENANCE CONTRACT COST FOR EACH UNIT YEAR WISE* in Rs. |  | TOTAL ANNUAL MAINTENANCE CONTRACT COST FOR 2 YEARS [1 X (2A+2B)] in Rs.
[5 empty] | 1st | 2nd
[5 empty] | A | B
1 | I | Upright Microscope | Trinocular compound microscope with camera provision | 2
2 |  | Inverted Microscope | Trinocular microscope | 4
3 |  | Fluorescence Microscope | Binocular microscope | 1
4 | II | Incubator | 240-300L | 9
5 |  |  | 400-500L | 1
6 |  | BOD Incubator | 200-260L | 1
7 | II(a) | CO2 Incubator | 200-250L | 2
8 | III | Deep Freezer- Low Temperature (cGMP) Vertical | 300L or the near standard | 6
9 |  |  | 100L or the near standard | 1
10 | III(a) | Deep Freezer- Low Temperature (cGMP) Horizontal | 500L or the near standard | 1
11 | IV | Deep Freezer- Ultra Low Temperature (CGMP) | 500L or the near standard | 2
12 |  |  | 300L or the near standard | 1
13 |  |  | 300L or the near standard | 10
14 | V | Refrigerator (cGMP) | 500L | 9
15 |  |  | 300L | 6
16 | VI | Refrigerator (regular) | 500L | 1
17 |  |  | 300L | 1
18 | VII | Standard Water Bath | To accommodate 2nos of 10L glass bottles | 1
19 |  |  | 5 to 15L | 1
20 |  |  | 15 to 20L | 4
21 |  | Flocculation Water Bath | 6 to 8 L | 1
22 | VIII | Elisa Reader | Ambient 4 ̊C to 45 ̊C | 2
23 |  | Elisa Plate Washer | Volume range 50 to 300 per well | 2
24 | IX | Peristaltic Pump | 100 ml/min to 3000 ml/min | 4
25 |  |  | 1000ml/min to 10000ml/min | 1
26 |  |  | 10ml/min to 3000ml/min | 5
27 |  |  | 10ml/min to 18000ml/min | 1
28 | X | Weighing Balance | 0.5g to 35kg | 1
29 |  |  | 0.5g - 1500 g, | 1
30 |  |  | 1mg - 220 g, | 1
31 |  |  | 1g - 40kg | 1
32 |  |  | 0.5g - 15kg table top | 1
33 |  |  | 0.1g-6000g | 1
34 |  |  | 0.5g - 15kg table top | 1
35 |  |  | 1mg-220 g | 1
36 |  |  | 0.1g-6000g | 3
37 |  |  | 50g-500 kg | 1
38 |  |  | 0.1g-6000g | 1
39 |  |  | 0.01mg-220 g, | 1
40 |  |  | 50g - 600 Kg, | 1
41 |  |  | 5g - 100 Kg, | 1
42 |  |  | 5g - 100 Kg | 1
43 |  |  | 1mg-220 g | 1
44 |  |  | 1mg-220g | 1
45 |  |  | 0.1g-6000g | 1
46 |  |  | 0.2g-3000g | 1
47 |  |  | 0.5g-6000g | 1
48 |  |  | 0.2g-3000g | 1
49 |  |  | 0.5g-6000g | 1
50 |  |  | 20g-150kg | 1
51 | Xa | Micro Weighing Balance | 0.001mg-5g | 1
52 | XI | TOC Analyser | 10 to 40 ̊ C | 2
53 | XII | High precision Syringe Dispenser | 100µl to 1ml | 1
54 |  |  | 500 µl to 5ml | 1
55 |  |  | 5 µl to 50 µl | 1
56 | XIII | Euthanasia Chamber | 2 Chamber System | 2
57 |  |  | 4 Chamber System | 1
58 | XIV | Hot Air Oven | 400L | 1
59 |  |  | 200L | 1
60 | XV | UV- Spectrophotometer | 190-1100nm | 1
61 | XVI | Polarimeter | 20 to 45 ̊ C | 1
62 | XVII | Refractometer | 15 to 85 ̊ C | 1
63 | XVIII | Kjeldhal apparatus | ambient to 40̊ C or more | 1
64 | XIX | Table Top Cooling Centrifuge | minus 10 to 40̊ C | 1
65 | XX | Magnetic Stirrer with Heating | ambient to 200deg C with heat control accuracy of ± 5 ̊C | 3
66 |  | Magnetic stirrer without Heating | 4 ̊C to 37 ̊C | 11
67 | XXI | RT-PCR | ambient to 99 ̊C | 1
68 | XXII | pH & Conductivity meter | pH range: 0.00 -14.00 Conductivity range: 0.001 to 999999µS / cm | 4
69 | XXIII | Vortex Mixer | 4 to 65 ̊ C | 11
70 | XXIV | Colony Counter Manual |  | 1
71 | XXIV(a) | Colony Counter Automatic |  | 1
72 | XXV | Anaerobic Jar | 2-3 ltrs | 2
73 | XXVI | Ultrasonic Bath | ambient to 65̊ C | 1
Grand Total