TENDER FOR THE CONVERSION OF (INJECTION MOULDEDCOMPONENT)

CONNECTOR-NHF

### TENDER NO.HLL/AFT/PUR/BB/Components-Connector/2013-16

INVITATION FOR BIDS

TECHNICAL BID

##### HLL Lifecare Limited

(A Govt. of India Enterprise)

Akkulam Factory,

Sreekariam P.O.

Thiruvananthapuram – 17

Phone: +91 471 244 5930,

Fax    :   +91 471 244 5935

Email: materialsafthll@gmail.com

Web: www.lifecarehll.com

## HLL LIFECARE LIMITED

(A Government of India Enterprise)

THIRUVANANTHAPURAM-695 017

### TENDER NO.HLL/AFT/PUR/BB/Components-Connector/2013-16

### Contents of Bidding Documents

| Sl No. | Schedules | Contents | Page No |
| --- | --- | --- | --- |
| TECHNICAL BID |  |  |  |
| 1. | - | Instruction to Tenderers | 3-5 |
| 2. | Schedule - A | Terms & Conditions | 6-14 |
| 3. | Schedule - B | Drawing & Technical Specification | 15-18 |
| 4. | Schedule - C | Quantity | 19 |
| 5. | Schedule - D | Pre qualification conditions | 20 |
| 6. | Schedule - E | Quality testing information of the supplier | 21 |
| 7. | Schedule - F | Questionnaire: General information of the supplier | 22-23 |
| 8. | Schedule - G | Questionnaire for Supplier development | 24-25 |
| 9. | Schedule - H | Indeminity Clause | 26 |
| 10. | Schedule - I | Declaration | 27 |
| PRICE BID |  |  |  |
| 11. | Schedule - J | Price Bid | 28 |

Page 1of 3

## HLL LIFECARE LIMITED

AKKULAM FACTORY

THIRUVANANTHAPURAM-695017

### TENDER NO.HLL/AFT/PUR/BB/Components-Connector/2013-16

I -  INSTRUCTIONS TO TENDERERS

1. The Bid is intended to procure material as per specification in Schedule B.

2.	This is a two Bid system comprising of:

- Technical Bid

b) Price Bid

3. A complete set of bid documents can be had from the office of the JOINT GENERAL MANAGER (MATERIALS). HLL LIFECARE LTD, AKKULAM, THIRUVANANTHAPURAM-695 017 KERALA STATE, INDIA during office hours on any working day on submission written application and remitting a non-refundable fee of Rs. 520/- (including taxes) by cash or in the form of DD drawn In favour of HLL Lifecare Limited, Akkulam, Thiruvananthapuram.

The Tender Documents can also be down loaded from our Website www.lifecarehll.com. and cost of the Tender Documents as mentioned above should be furnished along with Technical Bid.

4. The technical bid should accompany an EMD the details are shown in clause 3 of schedule A.

5. Both the Bids shall be submitted in sealed covers separately.  Tender Nos. of the Technical Bid and Price Bids shall be super scribed on the respective covers in order to clearly identify between the 2 Bids.  The two separately marked Bids enclosed in a single sealed cover with the respective Tender No. mentioned thereon, complete in all respect, addressed to the JOINT GENERAL MANAGER (MATERIALS). HLL Lifecare Limited, Akkulam Factory, Trivandrum – 695017, Kerala, India should reach us on or before the due date and time mentioned in the tender Notification.  HLL shall not be responsible for any delay.

Page 2of 3

## HLL LIFECARE LIMITED

AKKULAM FACTORY

THIRUVANANTHAPURAM-695017

I -  INSTRUCTIONS TO TENDERERS

### TENDER NO.HLL/AFT/PUR/BB/Components-Connector/2013-16

6. Tenders should be submitted in sealed cover properly sealed on sealing wax/packing PVC tape.  Covers, which are closed by gum or staples only, will not be considered.

## 7. Late tenders: - Tender brought to the office after prescribed time will not be   accepted. HLL will not be responsible for any delay in transit of tenders sent by post.

8.a) Date of receipt of Technical Bid is: 15/07/2013 at 2.00 PM (Local Time)

b) Date of Opening of Technical Bid is: 15/07/2013 at 4.00 PM (Local Time)

9. In the event of the date mentioned above being declared subsequently as holiday for the purchaser’s office, the due date for submission and opening of bids will be the next working day at the same venue and time.

10. The Purchaser may, at its discretion, extend the date & time for the submission of bids by amending the bid documents in which case, all rights & obligations of the Purchaser & tenderers shall the subject to the extended date & time.

11. Bids received after the deadline for submission shall not be considered.

12. The tenderer is expected to examine all specifications, Instructions, Forms, terms and conditions given in the Bidding documents.  Failure to furnish all information required in the Bidding documents or submission of a Bid not substantially responsive to the bidding

documents in every respect will be at the tenderers risk and may result in rejection of the Bid. Any clarification required will have to be obtained with in 5 days prior to the Date of opening of the Technical Bid.

## Page 3 of 3

## HLL LIFECARE LIMITED

AKKULAM FACTORY

THIRUVANANTHAPURAM-695017

#### I - INSTRUCTIONS TO TENDERERS

TENDER NO.HLL/AFT/PUR/BB/Components-Connector/2013-16

13. A Declaration as given in Schedule I stating that ALL TERMS AND CONDITIONS of this Tender is acceptable should accompany the tender failing which the tender is likely to be summarily rejected.

14. Bid Validity

- Technical Bid shall be valid for a period of three years.

- Price Bid shall be valid for a period of three years.

15. The Price Bid of those Tenderers who qualify in the Technical Bid only will be opened.  Those tenderers who qualified in the bid but not an approved vendor in Akkulam Factory (AFT) their price bid will be opened only when they become an approved vendor after successful completion of vendor development protocol. The Price Bids of Tenderers who do not qualify will be returned unopened. The date and time of opening of price bid will be intimated separately.

16. Those tenderers who download the tender documents from our website should furnish the Name and address of the vendor, name of contact person, telephone & Fax numbers and Email details immediately by fax/Email.

17. Any changes pertains to this tender shall be communicated only through our website www.lifecarehll.com

……………

#### Schedule - A

## Page 1 of 9

#### HLL LIFECARE LIMITED

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-17

TERMS & CONDITIONS

TENDER NO. HLL/AFT/PUR/BB/Components-Connector/2013-16

1. Submission of tenders: Tenders in prescribed form should be submitted in sealed covers and super scribed “Tender for supply of Connector-NHF”.

2. Late tenders: No tender brought to the office after prescribed time will be accepted.  The HLL will not be responsible for any delay in transit of tenders sent by post.

3. Technical Bid should accompany tender fee and EMD by DD separately drawn in favour of M/s. HLL LIFECARE LIMITED, and payable at Thiruvananthapuram for a sum of Rs. 50,000/- towards Earnest Money Deposit and Rs. 520/- towards tender fee,  failing which the Tender is   likely to be summarily rejected.

- However, SSI units who wish to avail exemption against payment of EMD should produce an exemption certificate issued by the concerned DIC or NSIC stating that the bidder who participates in this tender No: HLL/AFT/PUR/BB/Components-Connector/2013-16 floated by HLL is exempted from   payment of EMD.

5. 	Release of EMD: The EMD of unsuccessful tenderers will be refunded soon after finalisation of tender, or after two months from the date of opening of tender whichever is earlier. The EMD will not bear any interest.

6. 	Forfeiture of EMD: The EMD will be forfeited to the HLL in case, after submitting the tender, the tenderer withdraws his offer or fails to execute the agreement when called for to do so.

7. Security Deposit: The successful tenderer will have to remit the security deposit @5% of the order value.

#### Schedule - A

## Page 2 of 9

#### HLL LIFECARE LIMITED

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-17

TERMS & CONDITIONS

TENDER NO.HLL/AFT/PUR/BB/Components-Connector/2013-16

8. Agreement: The successful tenderer will have to execute an agreement after remitting the Security Deposit in Stamp Paper for Rs.100/. at his expenses within 21 days of issue of the letter.

9. Supply Orders: After execution of the Agreement, Supply Orders will be placed with the firm for the quantity as and when required by the HLL.

10. Supply: The successful tenderer will have to supply the item above within 20 days from the date of issue of supply order or the date specifically mentioned in the Supply Order to the consignee (which will be mentioned in the Supply Order). The HLL shall accept the supply with a variation of (+) or (-) 20% in the quantity mentioned in the Supply Order.

11. Period of validity of tender: The tender will remain open for acceptance for 90 days from the date of opening of the tender and the rate quoted shall be firm and valid for a period of three year from the date of opening of price bid.

- (i): Termination of Contracts: In case, after issue of a firm order, the successful tenderer fails to supply the item as per the specified quality and the required quantity according to the Delivery Schedule as given in the Supply Order, and even fails to complete the supply within the extended period if any given in writing by HLL, HLL Lifecare Ltd, Thiruvananthapuram, will be within its full rights to terminate the contract by giving a notice of 21 days in writing sent by Registered courier to the address given in the tender submitted or to any other address which may be recorded in the office at the request of the tenderer. The period of 21 days will be counted from the date of issue of the notice.

#### Schedule - A

## Page 3 of 9

#### HLL LIFECARE LIMITED

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-17

TERMS & CONDITIONS

TENDER NO.HLL/AFT/PUR/BB/Components-Connector/2013-16

(ii). HLL, Thiruvananthapuram reserves the right to terminate the contract without assigning any reason by giving a notice of 21 days to the successful tenderer by Registered Post to the address given in the tender submitted, or to any other address which may be recorded in the office at the request of the tenderer. The period of 21 days will be counted from the date of dispatch of the notice. In such cases, the Security Deposit of the successful tenderer will be refunded soon on getting demand from the tenderer. The HLL will not be liable for payment of any compensation for any loss that the contractor may be put to or alleged to have been put to on account of such termination.

13. In case of notice sent by registered post/ courier to the address recorded in the office is returned undelivered with the remark addressee not found or addressee refused to accept, the notice shall be deemed to have been served and the termination will automatically take effect from the 22nd day of dispatch of the notice.

14. The HLL will have the full right to reject any or all the tenders without assigning any reason whatsoever and is not bound to accept the lowest tender. The HLL also reserves the right to award the contract with more than one contractor.

15. Any tender which does not satisfy the terms and conditions set out in the tender notice is liable to be rejected.

16.  	a) Rates: The tenderer has to quote the Conversion charge per 1000 pieces as given in the tender form for transportation charges for delivery at the Store Dept of HLL AFT .  Statutory levies if any such as Sales Tax, VAT etc. should be shown separately.

#### Schedule - A

## Page 4 of 9

#### HLL LIFECARE LIMITED

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-17

TERMS & CONDITIONS

TENDER NO.HLL/AFT/PUR/BB/Components-Connector/2013-16

b) Price variation: Rate quoted shall be firm and valid for a period of three year from the date of opening of the price bid.  The benefit of reduction of statutory levies should be passed on to the purchaser.

17. If the last date fixed for receipt of technical Bid for opening, ie 15/07/2013 is declared a closed holiday, the tenders will be received on the next working day up to 14.00 Hrs and technical bid will be opened at 15.00 Hrs on the same day.

18. The Purchaser may, as its discretion, extend the date & time for the submission of bids by amending the bid documents in which case all rights & obligations of the Purchaser & bidders shall be subject to he extended date & time.

19. HLL shall not be responsible if the bids are delivered elsewhere.

20. Bid Opening:

a) The Technical bid shall be opened on date and time as specified, in the presence of such bidder(s) or their representatives who may be present.  The bidder(s) or the authorized representative(s) who are present shall sign an attendance register.  The authorized representative(s) of the bidder(s) shall submit letter(s) of authority before they are allowed to sign the attendance register and participate in the bid opening.

b) The Price Bid of those Tenderers who qualify in the Technical Bid only will be opened.  Those bidders whose qualified in the bid but not an approved vendor in Akkulam Factory (AFT) their price bid will be opened only when they become an approved vendor after successful completion of vendor development protocol. The Price Bids of Tenderers who do not qualify will be returned unopened. The date and time of opening of price bid will be intimated separately.

#### Schedule - A

## Page 5 of 9

#### HLL LIFECARE LIMITED

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-17

TERMS & CONDITIONS

TENDER NO.HLL/AFT/PUR/BB/Components-Connector/2013-16

21. Award of Contract & Issue of Work order / Purchase Order:

- The purchaser may consider placement of a Work order / Purchase Order for commercial supplies on those bidder(s), whose offers have been found technically, commercially and financially acceptable and whose product(s) have been found proven.

- During the period of contract, if so desired by the purchaser, the contractor(s) premises shall be visited by the purchaser for discussions on design(s) and progress of the work etc.

22. Payment:

a) Payment will be made with in 30 days after receipt and acceptance.

b) No payment shall be made for rejected consignment on inspection.

23. Amendments:

Within the scope of the contract the purchaser may, at any time, by a written order to the contractor, amend one or more of the following:

- Drawings, designs &specifications.

- The method of packing & shipment.

- The consignee and /or the place of delivery.

- The service to be provided by the contractor.

24. Sub-Contracts:

- The contractor shall not assign/transfer & sub-contract its interests/obligations under the contract without the prior written permission of the purchaser.

- The contractor shall notify the purchaser in writing of all sub-contracts awarded under this contract if not already specified in the bid.  Such notification, in the original bid or later shall not relieve the contractor from any liability or obligation under the contract.

#### Schedule - A

## Page 6 of 9

#### HLL LIFECARE LIMITED

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-17

TERMS & CONDITIONS

TENDER NO.HLL/AFT/PUR/BB/Components-Connector/2013-16

25. Despatch documents like delivery note, packing list and invoice should contain the following details, and the same to be intimated    immediately with the LR No.

i. Supply Order No. & date

ii Description of items as contained in the supply order

iii Quantity despatched

iv Batch/lot no.

v Total number of Drums/Packages

vi Test Certificate

- The following information shall be stenciled or labeled on the exterior of the     packing in bold letters, clearly visible, with waterproof ink.

  - Name of Product (as given in Supply Order)

  - Batch No.

  - Date of manufacture (Monthly/yearly)

  - Quantity

  - Instruction for storage and handling

  - Name & address of manufacturer

  - Companies address in full

  - All packages should be separately numbered and it should appear on top of the packages.

27. The following documents should accompany the consignment

a.  Material Safety data (MSD)

b.  Environment Clearance Certificate

c.  Transport Emergency Card (TREM Card)  (if applicable)

d.  Transporter’s copy of CENVAT invoice, if any, to avail MODVAT credit.

#### Schedule - A

## Page 7 of 9

#### HLL LIFECARE LIMITED

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-17

TERMS & CONDITIONS

TENDER NO.HLL/AFT/PUR/BB/Components-Connector/2013-16

- Mode of Transport shall be by road, unless otherwise specified.

29.The jurisdiction of any disputes, suits and proceedings arising out of this Tender shall be only in the courts of Thiruvananthapuram.

30.The decision of HLL will be final and no correspondence on this shall be      entertained.

31. The Price bid must be submitted strictly as per format given by HLL.

- IN THE EVENT OF PLACING ORDERS:-

  - Sample should be submitted and got approved before effecting bulk supply.

  - Bulk supply will be accepted if it conforms to the sample originally approved by us on testing the pellets again at our end.

33. If the Supplies are rejected due to the quanlity problem the cost of such materials will be deducted from the supplier bill. (if the material is supplied by HLL)

34. The actual yield percentage will be determined by HLL.

35. The tender should be submitted in Counter Envelope SEALED AND SUPER SCRIBED.   “DO NOT OPEN BEFORE 16.00 HRS ON 15/07/2013” addressed to this office containing the following TWO INNER SEALED ENVELOPES.

#### Schedule - A

## Page 8 of 9

#### HLL LIFECARE LIMITED

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-17

TERMS & CONDITIONS

TENDER NO.HLL/AFT/PUR/BB/Components-Connector/2013-16

36. a) Cover contains Acceptance of Terms & Conditions, and EMD. (Should be super scribed) & Technical Bid.

b) Cover contains Price Bid (should be super scribed)

36. Mould  has  to  be  fabricated & maintained   by the  supplier ;  HLL  lifecare  will  not  bear  the  mould  cost and mould maintenance cost for the contract period . The  mould  has  to  be  returned  to  HLL  Lifecare  Ltd.,  after  completion  of  the contract  period. Mould fabrication to be initiated only after detailed discussion with HLL  Lifecare  Ltd . Component’s yield will be discussed and mutually finalized with HLL Lifecare Ltd. Ltd.

37. Contract period is    3 years.  The  contractor  is  bound  to  execute  all  the  supply  orders  placed  during  the  contract  period.

38.  Should  have  facility  for  Injection  moulding of medical grade components in controlled  clean  room  environment . (Minimum requirement: Class 100000 / ISO class 8 clean room).

39. P.V.C  material  will be  supplied  by  HLL  Life care  Ltd  and  supplier  has  to  take  the material  from  Akkulam  factory  Trivandrum .

40. In  case  of  any  rejection  in  supplied  components , the  cost  of  input  raw materials ( PVC Pellets )  will  be  deducted  from   the  running  bills  of  the  supplier .

41. Raw material reconciliation statement for every month as per the format specified by HLL, has to be submitted within the first week of the next month.

#### Schedule - A

## Page 9 of 9

#### HLL LIFECARE LIMITED

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-17

TERMS & CONDITIONS

TENDER NO.HLL/AFT/PUR/BB/Components-Connector/2013-16

42. The supplier should ensure the quality and delivery of the components. If it fails, the contract shall be terminated.

44. Components supply should commence within 3 (three) months from the date of issue of confirmed Purchase Order / Letter of Intent.

For and on behalf of the HLL

Joint General Manager (Materials),

HLL Lifecare Limited

Akkulam Factory,

Thiruvananthapuram - 695 017.

We have read and understood the above conditions and agree to abide by the same.

PLACE    :                     NAME AND SIGNATURE OF THE APPLICANT

Date         :   		                          (WITH OFFICE SEAL)

### …………..

#### Schedule - B

## Page 1 of 4

#### HLL LIFECARE LIMITED

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-17

TENDER NO.HLL/AFT/PUR/BB/Components-Connector/2013-16

DRAWING FOR CONNECTOR  –NHF (MEMBRANEUBE)

#### Schedule - B

## Page 2 of 4

#### HLL LIFECARE LIMITED

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-17

### SPECIFICATIONS

TENDER NO.HLL/AFT/PUR/BB/Components-Connector/2013-16

1. Item Name			       : CONNECTOR - NHF

2. Component drawing No.	       : HLL / AFT / CR-NHF / 06 / 2009, Rev. No.: 01

3. Material of the component	       : Medical grade soft PVC, Moulding  grade, Shore A- Hardness  72 to 78

(Material will be supplied by HLL Lifecare Ltd.)

4. Major Dimensions            	       : Length 22.9  0.2 mm, ID - 4.4  0.02    mm, OD -  6.2  0.05 mm

All other dimensions  as per Drawing No. HLL/AFT/CR-NHF/06/2009.

5.  Allowable parting line limit	       : 30 micron

6. Allowable gate projection	       : 50 micron

7. Allowable Ovality		       : 30 micron , Concentricity  with in  20  micron

8. In-process Inspection		: Component must be free from flash, bend, embedded      dust, black spot, colour change, silver streaks, ovality,  deformation at gate point, cracks , etc.

The components must also comply with the dimensional requirements as per the approved drawing.

Frequency of inspection: Every one hour on 3 consecutive shots.

9. Autoclaving requirement         : Components must be free from crack, bend, puncturing at gate point and excess shrinkage after Autoclaving (118oC, 30 minutes / cooker test for 45 minutes).

#### Schedule - B

## Page 2 of 4

#### HLL LIFECARE LIMITED

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-17

### SPECIFICATIONS

Frequency of inspection: Every 2 hours                                                         on 3 consecutive shots. Allowable shrinkage after autoclaving is less than 5 %.

10. Final Visual Inspection       : 100 % visual inspection – all the components must be inspected against visual defects and it must be ensured that, the component are free from flash, bend, embedded   dust, black spot, colour change, silver streaks, ovality,  deformation at gate point, cracks, wall thickness variation, etc.

11. Finished product acceptance criteria: Sampling plan as per ISO 2859-1,

Inspection level: General inspection level -1

AQL:  0.4 for visual and dimensional inspection,

AQL: 0.1 for critical parameters (crack on component, deformation and puncturing of gate point after autoclaving).

Example:

(125 nos. of components will be tested from each lot (lot size: 10,001 to 35,000 nos.). If one component fails for visual and dimensional inspection, the lot will be accepted. If 2 components fail, the lot will be   rejected.

If any one of the component fails for critical parameters, the lot will be rejected).

12. Packaging			       : 2000 components in one LD PE Cover of 70 -micron thickness and such 10 packets in a 5 / 7 ply master carton having burst strength of 18                                                                      Kg/cm2

#### Schedule - B

## Page 2 of 4

#### HLL LIFECARE LIMITED

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-17

### SPECIFICATIONS

13. Pre shipment Inspection    	: Each batch of finished components must be    inspected and ensure that, the lot is fully complies with the quality and quantity requirements.

14. Documents                    	: Components  must  be  supplied  along  with the    necessary  production & QC documents  contain  the  following  details as per the format required by HLL.

a) Production document: Comprising date of production, Name of the operator, Product batch No, Total Qty. produced, Accepted Qty., Rejected Qty., Type of rejection,                                                                    Process parameters (Temperature, Pressure, Speed, Injection Time, Hold on time, Cooling time, etc.)

b) QC  Document: Contains  the details  of  in-process inspection,  finished  product  and  Pre shipment inspection  details (Batch No, Date, Time, Sample size,   Product quality status , Instruments / gauges  used, etc.)

c) Packaging Details: Date, Batch No, Quantity, QC Passed sticker, Mould No., etc.

d) In process inspection samples with proper identification (batch No., Date & time, etc.) must be sent along with each consignment.

……….

#### Schedule - C

## Page 1 of 1

#### HLL LIFECARE LIMITED

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-17

QUANTITY

TENDER NO.HLL/AFT/PUR/BB/Components-Connector/2013-16

1. The quantity mentioned below is only approximate annual requirement and HLL reserves the right to modify it at any time during the contract period. The contractor is bound to execute all the supply orders placed during the contract period.

| SL.No | Item Name | Item Code | QTY (No) /Annum |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | 1st year | 2nd year | 3rd year |
| 1. | Connector – NHF | 1410126012 | 90 Lakh | 90 lakh | 90 lakh |

Note: Minimum assured quantity for the qualified competitive bidder is 45 lakh components / year for a period of 3 years. These quantities shall be taken into account for the calculation of mould amortization cost.

……….

#### Schedule - D

## Page 1 of 1

#### HLL LIFECARE LIMITED

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-17

TENDER NO.HLL/AFT/PUR/BB/Components-Connector/2013-16

### PRE-QUALIFICATION CONDITIONS

(MINIMUM ELIGIBILITY CRITERIA)

1.  Name of the Product:

2. What is your annual production/ process capacity?     :

Out of the above how much can you supply to HLL

Per month ? (For all the three items initiate the quantity separately)

3. Do you have in house testing facility to check HLL    :	 Yes/ No

Parameters?

If Yes, will you be issuing test certificates for each         :

Sample/ batch/lot?

4. Do you have a minimum 1 year experience in             :  Yes/No

Supplying Medical grade moulded component?

5.Are you an existing supplier to HLL ? And if Yes

Since when?

6. Have you submitted EMD & Tender fee?                    :  Yes/No

All the information provided herein are true and correct.

PLACE:                                                           Name and Signature of the Applicant

DATE  :                                                                             (With Office Seal)

#### Schedule - E

## Page 1 of 1

#### HLL LIFECARE LIMITED

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-17

TENDER NO.HLL/AFT/PUR/BB/Components-Connector/2013-16

### QUESTIONNAIRE

(Quality testing information of the supplier)

1.	 Do you have a Quality Control set up?	     :	YES/NO

(If yes)

a) Specify the quality tests you undertake	     :

b) Specify the quality tests carried out		     :

during final inspection (reference

standard followed for the test)

- Specify the quality test carried out during     :

Final inspection ( Reference Standard

For the test)

2.  Do you have an accreditation ? viz.,	     :

a) ISO 9001: 2000					     :

b) Any National/International			     :

Laboratory / authority accreditation.

If yes, give details along with a copy of

Certificate issued by them.

3. Furnish the details of Testing facility with	     :

list of testing equipments

All the information provided herein is true and correct.

Place:                                                                     NAME & SIGNATURE OF THE APPLICANT

Date:                                                                         (WITH OFFICE SEAL)

……….

#### Schedule - F

## Page 1 of 2

#### HLL LIFECARE LIMITED

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-17

TENDER NO.HLL/AFT/PUR/BB/Components-Connector/2013-16

### QUESTIONNAIRE

(General information of the supplier)

1.	Name & Address of the supplier with		          :

(a) Telephone No.

(b) Fax No.

(c) E – mail Address

(d) Name of the contact person

(e) Whether proprietory / partnership /

Limited company.

(f) Mobile No:

2.	How many years have you been in the 	          :

Medical grade moulding.

4.         Is your products approved by HLL                         :

5.	What would be the minimum period		          :

required to deliver the ordered qty.

from the date of confirmed Purchase

order?

6.	Have you been a supplier to any reputed		:

manufacturer, if so give

details of the name, address,

quantity and values of orders

received and executed during

last three years? (attach separate sheet)

#### Schedule - F

## Page 2 of 2

#### HLL LIFECARE LIMITED

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-17

TENDER NO.HLL/AFT/PUR/BB/Components-Connector/2013-16

### QUESTIONNAIRE

(General information of the supplier)

7.	What is your maximum storage capacity?	                     :

8.	What is your Annual Turn Over during the 	                     :

last 3 years?

9.	What is your :-					                     :

a) CST No.

b) VAT  No.

c) Central Excise Registration No:			           :

10.	Name & Address of your Banker(s)		                     :

11.	Any other details					                     :

All the information provided herein is true & correct.

PLACE:                                             NAME & SIGNATURE OF THE APPLICANT

DATE:	                                                           (WITH OFFICE SEAL)

#### Schedule - G

## Page 1 of 2

#### HLL LIFECARE LIMITED

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-17

TENDER NO.HLL/AFT/PUR/BB/Components-Connector/2013-16

QUESTIONNAIRE FOR SUPPLIER DEVELOPMENT

Nature of Product

1.  Furnish briefly the particulars & Name of your organizational status

- No. of employees							   :

- Annual turnover	                                                                 :

2.   Do you  have a Quality Control Department, if Yes,  give	   : YES/NO

the details of the facilities

3.   a.  Do you have inspection for incoming materials		   : YES/NO

b.  Do you have in process inspection facilities		             : YES/NO

c.   Do you have in final inspection of the product		   : YES/NO

4.   a.  Would you issue conformance certificates,  if so,  please    : YES/NO

furnish a copy of the same

b.    If yes, please specify (ISI/ISO/Any other)

5. Have you been assessed previously				             : YES/NO

6.    List of customers							  : YES/NO

- Governmental

- Non Governmental

#### Schedule - G

## Page 2 of 2

#### HLL LIFECARE LIMITED

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-17

TENDER NO.HLL/AFT/PUR/BB/Components-Connector/2013-16

QUESTIONNAIRE FOR SUPPLIER DEVELOPMENT

7.  Sample furnished along with this or not			     : YES/No

PLACE:                                                   NAME AND SIGNATURE OF THE VENDOR

DATE:                                                                            (OFFICIAL SEAL)

To be filled up HLL LIFECARE LIMITED.

Recommendation/Remarks of the Committee Members

Committee Members

- Head of QA Department

- Head of Production Department

- Head of purchase Department

……………..

#### Schedule - H

## Page 1 of 1

#### HLL LIFECARE LIMITED

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-17

TENDER NO.HLL/AFT/PUR/BB/Components-Connector/2013-16

INDEMINITY CLAUSE:

If the supplier fails to execute the order within the time prescribed for the delivery of goods ordered or violates or infringes the existing rates as agreed to as mentioned in the supply order, the supplier shall and will indemnify the company against all loses or damages whatsoever to be incurred or sustained including the legal cost or expenses incurred by the company by reason of non-delivery of goods at agreed quantity and rate with in the time specified in the supply order.  The company will initiate legal action if the supplier fails to execute the supply order as per the schedule in the supply order for the actual loss suffered. No quantity tolerance will be permitted in this regard unless otherwise prior approval is taken by the company before dispatching any excess quantity supplied which shall be returned back on freight to pay basis at the risk of the supplier.   Responsiveness of the Bid shall be at the discretion of HLL.

The supplier shall have no right to change the quantity stipulated in the supply order.

Bid pronounced Non Responsive by HLL shall be summarily rejected.

The decision of HLL will be final and no correspondence of this shall be entertained.

We have read and understood the above conditions and agree to abide by the same.

PLACE:               NAME AND SIGNATURE OF THE APPLICANT

DATE:                                                          (WITH OFFICE SEAL)

……….

Schedule - I

## Page 1 of 1

#### HLL LIFECARE LIMITED

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-17

TENDER NO.HLL/AFT/PUR/BB/Components-Connector/2013-16

DECLARATION

We confirm having read and understood all the specifications, instructions, forms, terms and conditions and other requirements of the above tender (both expressed and implied) in full and that we agree to abide by all without any deviation.

Seal of applicant                                            		               Signature

Name and address of applicant

TENDER FOR THE CONVERSION OF (INJECTION MOULDEDCOMPONENT)

TRANSFUSION PORT-NHF

### TENDER NO.HLL/AFT/PUR/BB/Components-Connector/2013-16

INVITATION FOR BIDS

PRICE BID

##### HLL Lifecare Limited

(A Govt. of India Enterprise)

Akkulam Factory,

Sreekariam P.O.

Thiruvananthapuram – 17

Phone: +91 471 244 5930,

Fax    :   +91 471 244 5935

Email: materialsafthll@gmail.com

Web: www.lifecarehll.com

#### Schedule - J

## Page 1 of 1

#### HLL LIFECARE LIMITED

AKKULAM PLANT, SREEKARIYAM P.O.,

# THIRUVANANTHAPURAM-17

TENDER NO. HLL/AFT/PUR/BB/Components-Connector/2013-16

PRICE BID

NAME OF TENDERER:

ITEM NAME: CONVERTION OF INJECTION MOULDED COMPONENT

SOFT PVC CONNECTOR -NFH

| Mould by party and Material By HLL |  |  |  |  |
| --- | --- | --- | --- | --- |
| SL. No. | RATE SPLIT UP DETAILS | AMOUNT IN RS. (PER 1000 PIECES) |  |  |
|  |  | For 1st Year | For 2nd Year | For 3rd Year |
| 1. | Conversion Charges |  |  |  |
| 2. | Tax |  |  |  |
| 3. | Packing & Transportation Charges |  |  |  |
| 4. | Other Charges if any |  |  |  |
| 5. | Total FOR HLL, AFT, Stores |  |  |  |
| 6. | Minimum Delivery Period |  |  |  |
| 7. | Minimum Order quantity |  |  |  |

# Terms and Conditions:

- Price Bid strictly as per this format.

- Yield /kg of pellets to be included -       /Kg

Place: 								Signature of Applicant

Date:                                                                                      (With Office Seal)