TENDER

FOR

# OPERATION & MAINTENANCE OF

# PRELIMINARY EFFLUENT TREATMENT PLANT AT HLL LIFECARE LIMITED, IRAPURAM FACTORY COCHIN (IFC)

TENDER NO. HLL/IFC/PUR/ETP/2026-27 dated 26.03.2026

TABLE OF CONTENTS

Description

SECTION I

Tender Notice

Minimum eligibility criteria

SECTION II

Terms & Conditions

SECTION III

Information & Instructions for Applicants

SECTION IV

Detailed Scope of the Work

SECTION V

General Terms

SECTION VI

Letter of Transmittal

Form A

Form B

Form C

Form D

Form of Performance Security

Price Bid Form (Annexure I)

SECTION-I

TENDER NOTICE

Limited two-bid system is invited for the following work at HLL Irapuram Factory, Cochin. The technical bid documents & price bid documents are to be submitted in separate closed & sealed envelopes, clearly written at the top as “Technical Bid” or “Price Bid” along with the name and tender number over the envelope.

| Description of work | Resources to be provided | Tender fee | Earnest money deposit (EMD) |
| --- | --- | --- | --- |
| The scope of work | - Manpower required for ETP operation – 4/day - Chemicals required for ETP operation |  |  |
| includes: |  |  |  |
| Operation & maintenance including supervision of effluent treatment |  | Rs. 590/- | Rs.25000 (Rs. Twenty FiveThousand Only) |
| plant at Irapuram |  |  |  |
| Factory |  |  |  |

Last date and time for submission of bid :   10/04/2026,   15.00 Hrs

Date and time of Opening of Technical Bid:10/04/2026   15.30 Hrs

Tender Fee (Non-refundable): Rs 500 + GST@18% = Rs 590/-

EMD: Rs 25,000/-

Tender fee & EMD are exempted for MSE bidders upon submission of latest valid Udyam Registration certificate along with the bid

For Non MSE bidders, the tender fee & EMD shall be submitted either by producing a DD for Rs.590/- drawn in favour of HLL Lifecare Limited payable at Ernakulam or e-payment (through any of the UPI payment gateways) to the SBI Valayanchirangara bank account number of HLL Lifecare Irapuram, Account No. 67266462046, IFSC Code: SBIN0070558.

बोलीदाताओं को निर्देश Instruction to Bidders:

- बोली लगाने की कारवाई करने से पहले बोलीदाताओं कृपया सहायता दस्तावेज़ के माध्यम से जायें

Please go through the bidders help document before proceeding for bidding

2. कृपया यह सुनिश्चित करें कि बोली लगाने के लिए शुरू करने से पहले सभी आवश्यक शर्तें मौजूद हैं।

Please ensure that all prerequisites are in place before starting for bidding.

प्रबंधक (क्रय) MANAGER (Purchase)

Minimum Eligibility Criteria for qualifying in the Technical Bid

# WORK DESCRIPTION: operation & maintenance of preliminary effluent treatment plant at HLLLifecare Limited, Irapuram Factory Cochin (IFC)

Bidders shall enclose as part of its offer, relevant details and documents establishing its eligibility and qualification to perform the contract. Necessary documentary evidence needs to be submitted to establish that the bidder has adequate capability under this invitation for Bid (IFB).

The minimum criteria to participate in this IFB are as under:

- The bidder should have a minimum of 5 years’ experience in the ETP operations and maintenance with operational capacity of 150 KL (min) per day.

- Bidder must have minimum group turnover of Rs. 30 Lakhs (cumulative average) during the last Three years. The bidder must submit their balance sheet, profit and loss account for last three years duly certified by chartered accountant.

- Bidder must submit GST/PAN registration certificates along with the bid.

- If the Bidder is MSE, then he shall submit the MSE certificate of Udyam Certificate for relaxation of above.

# SECTION-II

# TERMS & CONDITIONS

- The bidder is expected to examine the Tender documents, including all instructions, forms, General Terms & Conditions, Special Terms & Conditions, Technical Specifications and other documents and to fully familiarize itself with the requirements of the bidding documents. Failure to furnish all the information required by the Bidding Documents or the submission of a bid not substantially responsive to the Bidding Documents in every respect may result in the rejection of the bid.

- Late Bids will not be entertained after the closing date.

- Bid Validity: The offer shall remain valid for a period of 180 days from the date of opening of the Price Bid. If any applicant withdraws his tender before the said period or issue of letter of acceptance/intent, whichever is earlier, or, makes any modifications in the terms and conditions of the tender which are not acceptable to the HLL, then the HLL shall, without prejudice to any other right or remedy, be at liberty to forfeit 75% of the said earnest money as aforesaid.

- Bid Rejection Criteria: A bid may be rejected if

- If the bidder does not submit the supporting documents specified.

- The deviations from the terms mentioned in the document affects in any way the scope, quality and performance.

5. SSI/MSE units shall submit a latest & valid copy of their Udyam registration certificate along with technical bid. However qualified bidder should provide warranty for a period of One year

- 25% of annual procurement value will be sourced from Micro and Small Enterprises (MSE), out of which 4% is earmarked for procurement from MSE’s owned by SC or ST entrepreneurs and 3% is earmarked for procurement from MSE’s owned by Women entrepreneurs.  In the event of failure of SC or ST or Women entrepreneurs to participate in tender or meet tender requirements/conditions regarding price, the same will be sourced from other MSE enterprises.

- A tender fee of Rs.590/- shall be submitted either by producing a DD for Rs.590/- drawn in favour of HLL Lifecare Limited payable at Ernakulam or e-payment (through any of the UPI payment gateways) to the SBI Valayanchirangara bank account number of HLL Lifecare Irapuram, Account No. 67266462046, IFSC Code: SBIN0070558. Failure in remittance of tender fee can lead to rejection of your bid.

- Start-up units interested in availing exemption from payment of tender fee & EMD shall submit a valid copy of Registration Certificate from Department of Industrial Policy & Promotion on or before due date as per tender notice. However, the party has to provide security deposit if tender be awarded to them.

- The bidders who wish to participate in the tender shall also need to pay (other than the tender fee mentioned in Sl no.7 above) an EMD of Rs. 25,000/- in the form of Demand Draft of a scheduled bank issued in favour of HLL Lifecare Limited, Ernakulam or e-payment to the SBI Valayanchirangara bank account number of HLL Lifecare Irapuram, Account No. 67266462046, IFSC Code: SBIN0070558 or may also be furnished in the form of Bank guarantee (including e- Bank guarantee) from a commercial bank. The EMD amount of the unsuccessful bidders will be duly returned after completion of all tender processing formalities & award of the bid to the successful bidder. The successful bidder shall need to remit a security deposit (SD) amount of 3% of the total contract value (incl tax) subjected to a maximum of Rs.200000/-. If the SD amount is higher than the EMD collected initially during the bid submission, this amount of EMD shall be converted to SD so that the successful bidder need to remit only the balance amount towards SD. However, the entire amount of SD of the successful bidder will be released only after the successful completion of the contract period as well as all tender closing formalities of the tenderer.

- For those bidders who are registered as MSE under the category of micro or small-scale enterprises, there is an exemption from EMD & tender fee by also producing proof of the same with a copy of valid and latest Udyam Registration certificate. However, as mentioned in Sl No. 9 above, an amount equivalent to 3% of the total contract value including tax shall be remitted as security deposit (SD) by the successful bidder. However, qualified bidder should provide a written undertaking of warranty for a minimum period of 1 year.

- Clarifications that the Bidder needs to have on the tender specification can be sought from HLL in writing within one week from the date of issue of this enquiry. All clarifications shall be by e-mail (Only email queries shall be replied)

- The bids should be submitted IN HARD COPY in a single sealed cover (with the technical bid & financial bid in separate sealed covers put inside the main cover) with the Tender No & its details mentioned thereon, complete in all respect, addressed to the Senior Manager (Purchase, Sales & Stores), HLL Lifecare Limited, Plot No.1&2, Rubber Park, Valayanchirangara-683556 and should reach the undersigned on or before 3.00 P.M. on 10.04.2026. Bids received after the deadline for submission shall not be considered. The tender will be opened at 3.30 P.M on the same day.

- In case the date mentioned above is declared subsequently as holiday for the Company’s Office, the due date for submission and opening of tender will be the next Office working day at the same venue and time. Tenders received after the deadline for submission shall not be considered.

- HLL reserves the right to accept or reject any tender without assigning any reason.

- The bidder should affix their signature with official seal in all the pages of the tender document and attach all the details called for in the tender documents, failing which the tender is likely to be rejected.

- The tender documents shall be opened at HLL Lifecare Limited Irapuram Factory, Plot no 1&2, Rubber Park, Valayanchirangara P.O. Eranakulam- 683556 on 10/04/2026 at 15:30hrs Tenders or their authorized representatives can attend the tender opening by giving prior information to HLL Lifecare Limited.

- The applicant should have PF, ESI and GST Registrations on its name and shall submit the proof of PF, ESI and GST Registrations along with the Tender document. The Tender without the proof of PF, ESI and GST will be summarily rejected.

- The Applicant shall at his own cost comply with the provision of labour laws, rules, orders and notifications whether central or state or local if applicable to him or to this contract from time to time if applicable. These Acts/Rules include the Minimum Wages Act, 1948, The ESI ACT 1948, the Payment of Gratuity Act, 1972, the Payment of Bonus Act, 1965, the Payment of Wages Act, 1936, the Employees Provident Fund & Miscellaneous Provisions Act, 1952, etc. The tenderer shall be liable to make compensation under Workmen’s Compensation Act whatsoever if applicable to his workers.

- The applicant shall have the responsibility to comply with all statutory requirements with regard to the employment of his/her personnel. The applicant shall pay minimum wages, ESI, PF, Bonus Income tax and Goods & Service Tax etc. as per rules. The applicant shall maintain proper record of the same as required under the law/ acts if applicable. In case of non-payment of wages or any other statutory dues to employees engaged by the contract, the HLL Lifecare Ltd, Irapuram factory reserve the right to make the payment and to recover the amount of such payment from the bill of the party.

- The company shall have the right to inspect/verify the capability of the Applicant and facilities of the Tenderer before finalizing the Tender if required.

- During the period of contract the applicant shall maintain high standard of operation and shall maintain the ETP area neat & clean. In case the applicant fails to execute/ perform the assigned works/service or a part thereof, to the full satisfaction of the company, HLL shall be authorized to deduct an amount as deemed fit by HLL from the bills of the applicant and damages will be charged to the extent of loss. In case of late attendance/ absence during working hours/ loitering during working hours by any of your personnel, HLL reserves the right of deduction of any amount from the bills payable.

- The contract will be for a period of two year from the date of award of contract which may be extended on mutual consent for one more year.

- A letter of acceptance shall be issued first in favour of the successful Applicant. On such communication of acceptance, the successful Applicant shall, within 10 days from such date, formally sign the agreement consisting of:-

  - Tender documents including scope of work, and other documents if any as issued at the time of invitation of tender and acceptance thereof together with any correspondence leading thereto.

  - Agreement signed on a non-judicial stamp paper. The Performa for the same will be given along with the Letter of acceptance.

- Any information furnished by the applicant found to be incorrect either immediately or at a later date, would render him liable to be debarred from tendering/taking up of work in HLL Lifecare Limited/cancellation of the work order and forfeiting of the security deposit/performance guaranty.

- HLL Lifecare Ltd. has the right to reject or cancel the tenders without assigning any reason thereof. In case any doubt or dispute is arising out and in relation to this, the decision of the Unit Chief -IFC will be final and binding on all the Tenders.

- HLL Lifecare Ltd, Irapuram factory, reserve the right to terminate the contract at any time if the performance of the Contractor is not satisfactory/ the contractor is unable to comply/violate any of the terms and conditions in the agreement/ tender.In such cases HLL shall have the right to forfeit the performance guarantee/ security deposit.

- The bidder should have a minimum of 5 years’ experience in the ETP operations and maintenance with operational capacity of 150 KL (min) per day.

- The applicant shall have an annual turnover of Rs 30Lakhs during last three years.

- The applicant shall specify the rate of chemicals used in ETP in the tender document. All the chemicals required for the ETP operation shall be brought by the contractor and the contractor has to keep the stock and consumption record of the same. HLL shall make the payment for the chemicals consumed in the ETP, after verification of the records.

- Tender Form given in Annexure-I which is to be duly filled & submitted along with tender document.

- The applicant should have an office at Ernakulam.

- The payment shall be released on a monthly/pro rate basis after completion of the work of that month, on submission of bill by the applicant. The applicant has to submit in detail the work carried out during the billing period as a supporting document. After evaluation of the details submitted and consolidated track records of ETP operation, payment will be released.

# SECTION -III

INFORMATION & INSTRUCTIONS FOR APPLICANTS

- The scope of work/service is detailed in Section IV

- The applicants should inspect the ETP and make judicious assessment of the extent of services to be provided. Submission of this application implies that the applicant has read this notice and all the documents and has made himself aware of the scope and specifications of the work/service to be done, local conditions and other factors having a bearing on the execution of the work/service.

- The applicant is expected to examine carefully all the contents of the tender documents including instructions, conditions, forms, terms etc. and take them fully into account before submitting the offer. Failure to comply with the requirements as detailed in these documents shall be at the applicant own risk.

- The application should be neatly type-written in English. The applicant should sign each page of the application. Overwriting should be avoided. Correction, if any, should be made by neatly crossing out, initialing, dating and rewriting. Pages of the qualification document are numbered. They should be submitted as a package with signed letter of transmittal. Signed copies of Tender Document shall be submitted to HLL, along with the tender document,

- A Letter of transmittal as given in Section VI .is to be submitted along with the tender document. Failure of which the tender will be rejected

- If the applicant is an individual, the applicant shall affix his Signature above his name type written in full along with his current address.

- If the applicant is a proprietary firm, the application shall be signed by the proprietor above his name type written in full along with the full name of his firm and its current address.

- If the applicant is a firm in partnership, the application shall be signed by all the partners of the firm above their full type-written names and current addresses or alternatively by a partner holding power of attorney for the firm. In the latter case a certified copy of the power of attorney should accompany the application. In both cases a certified copy of the partnership deed and current address of all the partners of the firm should accompany the application.

- If the applicant is a limited company or a corporation, the application shall be signed by a duly authorized person holding power of attorney for signing the application accompanied by a copy of the power of attorney. The applicant should also furnish a copy of the Memorandum of Articles of Association duly attested by a Public Notary.

- The particulars of the work given in Section IV are provisional and must be considered only as advance information to assistant the applicant. There can be minor changes in it and the applicant shall accept the changes suggested / proposed by HLL.

- Attested copy of Power of Attorney (in favour of the authorized signatory of the applicant) to be submitted along with the tender.

- The applicant shall submit

  - Financial Information of the firm for the past two years (in Form “A”).

  - List of all works of similar class successfully completed during the last two years (in Form “B”).

  - Particulars of ongoing work (in Form “C”).

- Organization information

Applicant is required to submit the following information in respect of his organization (in Forms “D”).

  - Name & Postal Address, Telephone & Fax Number etc.

  - Copies of original documents defining the legal status, place or Registration and principal places of business

  - Names & Title of Directors and Officers to be concerned with the work, with designation of individuals authorized to act for the organization.

  - Information on any litigation in which the applicant was involved during the last five years, including any current litigation.

  - No of years of experience in similar type of work (ETP operation in Latex

/Latex based product manufacturing industry)..

- The work awarded shall not be subcontracted to any other person/organization. In case the company finds, at any point of time during the period of contract, that the work undertaken by the contractor has been subcontracted, the same will be treated as violation of the agreement, liable for legal action, termination of contract, forfeiture of Security Deposit/performance guaranty and disqualification from participating in future tenders to HLL Lifecare Limited.

- Award Criteria

HLL will award, the contract to the applicant, whose tender has been determined to be subsequently responsive, complete and in accordance with the tender documents, and whose total evaluated price for undertaking the entire project as per the tender documents is the lowest.

- Any effort on the part of the applicant or his agent to exercise influence or to pressurize the employer would result in rejection of his application. Canvassing of any kind is strictly prohibited.

- Jurisdiction

All disputes arising shall be subject to the jurisdiction of the appropriate court at Ernakulam, India and will be governed by the laws of India.

The Application should be addressed to:

# Manager (Purchase, Sales & Stores)

HLL Lifecare Limited, Plot no 1& 2, Rubber Park Valayanchiranagara P.O Ernakulam -683556

Tel:0484 2597200

SECTION -IV

DETAILED SCOPE OF THE WORK:

WORK DESCRIPTION: OPERATION & MAINTENANCE OF ETP

- The plant shall be operated and maintained by the contractor for two years (which may be extended on mutual consent for one more year) from the date of award of the contract.

- The contractor shall be responsible for maintaining the required process control parameters for the operation of effluent Preliminary treatment system and to follow proper operational control procedures. The contractor shall maintain relevant records.

- The contractor should ensure that the values of the parameters of effluent water transferred to Rubber Park Effluent treatment system should be well within the limit prescribed by Rubber Park. The values of various parameters stipulated by Rubber Park shall be given to the party.

- The maintenance of the pump/motor/filter presses, valve, fittings etc. shall be part of the scope of the contract. Cost of spares shall be borne by HLL.and the party has to submit the original bills.

- The contactor shall engage 3 operators and one helper for operation of the plant throughout the year on three shift basis. This manpower requirement is for full operation of the HLL’s manufacturing plant. If HLL reduces/cut down the operation, the manpower deployment shall be in line with the production and in such cases only proportionate payment/wages shall be paid to the contractor.

- Manpower engaged by contactor shall have sufficient experience in operation & maintenance of similar type of ETP operation .They shall coordinate with Rubber Park’s transportation operation & pump effluent water to tankers provided by Rubber Park.

- The contractor will ensure proper and effective operation of the system to ensure that there no settlement of silica and other powders in the storage tanks. If silica or other materials settle in any of the collection tank the same is to be periodically cleared by the applicant at their own cost.

- Supervisory staff of the contractor will periodically (minimum two times a week and as directed by HLL official) visit the site and supervise the operations.

- Solid waste and waste water disposal will be under the supervision of the contractor.

- Cleaning of the pumping area to be done daily.

- Keeping the surrounding of the effluent treatment plant, neat and tidy.

- Any other cleaning work assigned by the HLL officers in connection with the ETP plant.

- Transfer of precipitated sludge, cake etc. to bags provided and keeping at designated areas marked for disposal.

- Cleaning of the silica pit to be done daily

- Coagulation ad removal of latex from the effluent from the compound area so as to prevent rubber particle gong to the collection tank.

- Store the latex lump at the designated area.

- The disposal of Effluent water to Rubber Park and solid waste to approved agencies like KEIL shall be done by HLL.

# CLEANING OF ETP

Details of Work

- Collection of floating and other waste from all tanks of Effluent treatment plant/drain lane on a daily basis

- Removal of waste from the drains leading to ETP.

- Cleaning of final outlet area of ETP.

- Cleaning of effluent water channels, Collection tank, sludge bed area, latex coagulation tank etc.

- To keep the surrounding of the ETP neat and tidy.

- Any other cleaning work assigned by the officers in connection with ETP.

# OPERATION OF FILTER PRESS

- The filter press shall be operated for sufficient time to remove the cake so that the final collection tank is free of silica and to ensure sufficient vacant space in the first collection tank.

- Transfer the collected cake to the designated area periodically ( after each cycle)

- After each cycle the filter cloth shall be cleaned.

- The filter cloth is to be taken out from the press and thorough brushing and cleaning of the filter cloth is to be carried out on a daily basis.

- The general cleaning of the filter press operational area shall be done as per the instructions and procedures.

- Keep record of the operations carried out in the identified formats.

# SECTION: V GENERAL TERMS

  - Operation is on a daily basis for a period of two years on all days of the year, including public holidays on which production department is working/ as directed by HLL.

  - The contractor shall employ manpower to carry out the above works with adequate quality for 24 hours operation of the plant. At least one manpower shall be deployed per shift to carry out the above scope of work assigned to the contractor.

  - The Contractor shall provide and employ personnel having requisite skills and competences in operating the effluent treatment in latex based industries and should have minimum 2 years’ experience in operating ETP in latex based industries having minimum treatment capacity of 75 kl/day.

  - The Contractor has to ensure that the services are not distributed either due absenteeism or due to wilful act of his staff. Maximum care and precautions shall be taken to avoid any system break down.

  - The contractor shall take all the required safety precautions related to the work and shall provide safety equipment/accessories and PPE to the personnel engaged in the work. Necessary safety permit shall be obtained by the party from the Engineering/Production department of the company before commencing service / repair / cleaning work. The work should be carried out in consultation with the authorized officers assigned.

  - The work should be carried out without causing any inconvenience to the factory work and shall ensure that no damages occur to the machinery.

  - Necessary penalty will be recovered as decided by The HLL Lifecare Ltd, Irapuram Factory for the following.

    - In case of the disturbance of the operation of the ETP due to the non- availability/ absence of the operating staff or supervisor.

    - For the malfunctioning of the plant due to the improper operation of the ETP unreasonably long breakdown of the system.

    - Non-supervision by the supervisors as per requirement.

    - The effluent water characteristics is not meeting the acceptable limits prescribed by Rubber Park.

- The contractor should sign an agreement with HLL before starting the work on the terms and condition applicable to the contract.

- The Contractor shall maintain attendance registers (Daily & Shift wise basis) and should make available at any time for verification by the HLL Lifecare Ltd, IRAPURAM factory.

- The applicant shall properly maintain log sheet of the accessories like pumps, filter press etc. and the same is to be submitted to HLL on daily basis.

- Liquidated Damages for Delays

If the contractor fails to deliver any or all of the services within the time period(s) specified in the contract and to the satisfaction of the company, HLL, without prejudice to its other remedies under the contract either (1) deduct from the contract price, as liquidated damages, a sum equivalent to 0.50% of the total contract value for each week of delay or part thereof until actual delivery or performance, subject to a maximum value of 7.5% of the total contract value or (2) at the risk and cost of the contractor without prejudice to the other remedies / right as per the contract, terminate the contract wholly or partially and complete it themselves or reassign it to other contractors.

# SECTION VI

# LETTER OF TRANSMITTAL

From

To

UNIT CHIEF

HLL Lifecare Limited Irapuram Factory

Plot no1& 2, Rubber Park Valayanchirangara P.O Ernakulam 683556

Subject: Submission of Tender for Operation and Maintenance of Preliminary Effluent Treatment Plant at HLL Lifecare Limited, Irapuram Factory

Sir,

Having examined the details given in the tender documents for the above work, I/we hereby submit the tender document along with price

- I/ we hereby certify that all the statements made and information supplied are true and correct.

- I/ we have furnished all information and details necessary for prequalification and have no further pertinent information supply.

- I/we also authorize HLL Lifecare Limited to approach individuals, employers, firms and corporation to verify our competence and general reputation

- I/ we hereby certify that the price quoted are firm for the contract period of two years and will not vary for the above work.

Name of Work	Certificate From

Enclosures

Seal of Applicant	Signature of Applicant

Date of Submission

# FORM “A”

- Financial analysis details to be furnished duly supported by figures in balance sheet or profit and loss account for the last two years duly certified by the chartered accountant ( Copies to be attached)

| Year | Gross Turnover | Profit/Loss |
| --- | --- | --- |
| 2020-21 |  |  |
| 2021-22 |  |  |

- The following certificates are enclosed

  - Pan Number

  - GST Registration no ( Certificate copies to be attached)

Signature of Chartered Accountant with seal	Signature of Applicant

# FORM “B”

DETAILS OF WORK EXECUTED DURING THE LAST TWO YEARS

| Year | Organization/Company | Project Cost | Performance evaluation of Client (Certificates to be attached) |
| --- | --- | --- | --- |

Date:	Signature of Applicant

# FORM “C”

CONTRACT UNDER EXECUTION OR AWARDED

| Year | Organization/Company | Project Cost | Performance evaluation of Client (Certificates to be attached) |
| --- | --- | --- | --- |

Date:	Signature of Applicant

# FORM “D”

# ORGANIZATION INFORMATION

| 1 | Name & Address of the Applicant |  |
| --- | --- | --- |
| 2 | Mobile no & Email Id of the contact person |  |
| 3 | Legal Status of the applicant ( attach Copies of Original Document the legal status) | - An Individual - A Proprietary firm - A firm in partnership - A limited company or Corporation |
| 4 | Particulars of Registration with Various Govt. bodies ( attach attested photo copy) |  |
| 5 | Names & Title of Directors and Officers to be concerned with the work, with designation of individuals authorized to act for the organization |  |
| 6 | Was the applicant ever required to suspend operation for a period of more than one month continuously after you commenced the operation? If so give the name of the project and reason of suspension of work? |  |
| 7 | Has the applicant or any constituent partner in case of partnership firm, ever been debarred/black listed for tendering in any organization at any time? If so give details |  |
| 8 | Any other information considered necessary by not included above |  |

Date	Signature of Applicant

# FORM OF PERFORMANCE SECURITY BANK GUARANTEE BOND

- In consideration of the HLL Lifecare Limited (hereinafter called “HLL”) having agreed under the terms and conditions of agreement No.…………….. Dated………….    made    between    …………………………    and

……………………….. (Herein after called “the said applicant(s)”) for the

…	Work (herein after called “the said agreement”) for compliance of

his obligation in accordance with the terms and conditions in the said agreement.

- We	(indicate the name of the Bank) (Herein after referred to as

“as Bank) hereby undertake to pay to the HLL and amount not exceeding Rs….. (Rupees	only) on demand by the HLL.

- We …………………………….. (Indicate the name of the Bank) do hereby undertake to pay the amount due and payable under this Guarantee without any demure, merely on a demand from the HLL stating that the amount claimed is required to meet the recoveries due or likely to be due from the said applicant(s). Any such demand made on the Bank shall be conclusive as regards the amount due and payable by the bank under this Guarantee. However, our liability under this guarantee shall be restricted to an amount not exceeding Rs…………… (Rupees	only).

- We undertake to pay to the HLL any money so demanded notwithstanding any dispute or disputes raised by the applicant (s) in any suit or proceeding pending before any court or Tribunal relating thereto our liability under this present being absolute and unequivocal.

- The payment made by us under this bond shall be valid discharge of our liability for payment to there-under and the applicant(s) shall have no claim against us making such payment.

- We	(Indicate the name of Bank) further agree that the guarantee

herein contained shall remain in full force and effect during the period that would be taken for the performance of the said agreement and that it shall continue to be enforceable till all the dues of the HLL under or by virtue of the said agreement have been fully paid and it is claims satisfied or discharged or till Engineer-in-charge on behalf of the HLL. Certified that he terms and conditions of the said Agreement have been fully and properly carried out by the said applicant(s) accordingly discharges this guarantee.

- We	(Indicate the name of Bank) further agree with the HLL that he

HLL shall have the fullest liberty without our consent and without affecting any manner our obligations hereunder to vary any of the terms and conditions of the said agreement or to extend time of performance by the said applicant(s) from time to time or to postpone for any of the powers exercisable by the HLL against the said applicant(s) and to forebear or enforce any of the terms and conditions relating to the said agreement we shall not be relieved from our liability by reasons of any such variation or extension being granted to the said applicant(s) or for any forbearance act or omission on that part of the HLL or any indulgence by HLL to the said contract(s) or by any such matter or thing whatsoever which under the law relating to sureties would, but for this provision, have effected or so relieving us.

- The guarantee will not be discharged due to the change in the constitution of the Bank or the applicant(s).

- We…………………………… (Indicate the name of Bank) lastly undertake not to revoke this guarantee except with the previous consent of the HLL in writing.

- This guarantee shall be valid up to ……….. Unless extended on demand by HLL. Notwithstanding anything mentioned above our liability against this Guarantee is restricted to Rs…………. (Rupees…………………only) and unless a claim in writing is lodged with us within six months of the date of expiry or the extended date of expiry of this guarantee, all our liabilities under the Guarantee shall stand discharged.

Dated the	Day of 20….

For ……………………………… (Indicate the name of Bank)

# ANNEXURE-I

Price Bid Form

| Sl no | Particulars | Unit | Qty | Rate | No of Days | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Labour charges |  |  |  |  |  |
| 1.1 | Operator | no | 3 |  |  |  |
| 1.2 | Helper | no | 1 |  |  |  |
|  | Holiday allowance for Operator ( For 10 days) |  |  |  |  |  |
|  | Sub Total |  |  |  |  |  |
|  | PF 13.5% |  |  |  |  |  |
|  | ESI 3.25% |  |  |  |  |  |
|  | Annual Bonus (8.33%) |  |  |  |  |  |
|  | Total/year |  |  |  |  |  |
| 2. | Supervision charges |  |  |  |  |  |
|  | Total Charges /year |  |  |  |  |  |
|  | Service Charge ( %) |  |  |  |  |  |
|  | TOTAL |  |  |  |  |  |
|  | GST @18% |  |  |  |  |  |
|  | Grand Total (A) |  |  |  |  |  |

PRICE BID - CHEMICALS

| Sl no | Item | Basic Rate /Kg | Taxes & GST | Landed Cost /Kg | Approximate Monthly Requirement |
| --- | --- | --- | --- | --- | --- |
| 1 | HCL 33% |  |  |  |  |
| 2 | Poly Electrolyte |  |  |  |  |
| TOTAL (B) |  |  |  |  |  |
| TOTAL MONTHLY COST (A)+(B) |  |  |  |  |  |

N.B: Average monthly consumption based on the data for the last 2 years (when the plant is fully operational with 4 moulding machines) for: 1) HCl 33% is 100 kg per month and 2) Poly Electrolyte is 1 kg per month

However, the monthly payment will be based on the actual consumptions only.

Date:	Signature of Applicant