## TENDER FOR SUPPLY AND INSTALLATION OF NEW BORN UNIT MEDICAL EQUIPMENTS

## FOR

## HIMACHAL PRADESH PROJECT- III

### IFB NO: HLL/AFT/TDG/HP-III/EQP/2014-15/01

HLL LIFECARE LIMITED

(A GOVT. OF INDIA ENTERPRISE)

AKKULAM  FACTORY, SREEKARIAM  P.O.

THIRUVANANTHAPURAM – 17

Phone +91 471 244 5930, Fax      +91 471 244 5935

Email: tradingpaft@lifecarehll.com

Web: www.lifecarehll.com

SECTION I

IFB NO: HLL/AFT/TDG/HP-III/EQP/2014-15/01                                                 21-02-2015

## TENDER NOTICE

## HLL Lifecare Limited hereby invites sealed bids (under Two Bid system) from eligible bidders for the supply, installation and commissioning of following Medical equipments on turnkey basis at various Hospitals in following  Districts in  Himachal Pradesh.

EMD AMOUNT: Rs. 30, 000/-

| SI. No | Name of the item | Name of the hospital | District | Dept | Qty | Total Qty |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Resuscitator, Hand-Operated, Neonate, 500ml | Primary Health Centre, Spillow | Kinnaur | NBCC | 1 | 18 |
|  |  | District Hospital, Reckong Peo |  | SNCU | 1 |  |
|  |  | Community Health Centre, Pooh |  | NBSU | 1 |  |
|  |  | Community Health Centre, Bhavnagar |  | NBSU | 2 |  |
|  |  | Community Health Centre, Kaza | L&SPITI | NBCC | 1 |  |
|  |  |  |  | NBSU | 1 |  |
|  |  | District Hospital, Keylong |  | NBCC-OT | 1 |  |
|  |  |  |  | NBSU | 1 |  |
|  |  | Community Health Centre, Udaipur |  | NBSU | 1 |  |
|  |  | District Hospital, Chamba | Chamba | SNCU | 3 |  |
|  |  | Sub Centre, Kalsui |  | NBCC | 1 |  |
|  |  | Community Health Centre, Dharampur | Mandi | NBCC | 1 |  |
|  |  |  |  | NBSU | 1 |  |
|  |  | Civil Hospital, Pounta Sahib | Sirmour | SNCU | 2 |  |
| 2 | Resuscitator, Hand-Operated, Neonate, 250 ml | District Hospital, Reckong Peo | Kinnaur | SNCU | 2 | 6 |
|  |  | District Hospital, Chamba | Chamba | SNCU | 3 |  |
|  |  | Civil Hospital, Pounta Sahib | Sirmour | SNCU | 1 |  |
| 3 | Laryngoscope set, neonate | District Hospital, Reckong Peo | Kinnaur | SNCU | 1 | 12 |
|  |  | Community Health Centre, Pooh |  | NBSU | 1 |  |
|  |  | Community Health Centre, Bhavnagar |  | NBSU | 2 |  |
|  |  | Community Health Centre, Kaza | L&SPITI | NBSU | 1 |  |
|  |  | District Hospital, Keylong |  | NBSU | 1 |  |
|  |  | Community Health Centre, Udaipur |  | NBSU | 1 |  |
|  |  | District Hospital, Chamba | Chamba | SNCU | 2 |  |
|  |  | Community Health Centre, Dharampur | Mandi | NBSU | 1 |  |
|  |  | Civil Hospital, Pounta Sahib | Sirmour | SNCU | 2 |  |
| 4 | Pump, suction, portable, 220V, w/access. | Primary Health Centre, Spillow | Kinnaur | NBCC | 1 | 13 |
|  |  | District Hospital, Reckong Peo |  | SNCU | 1 |  |
|  |  | Community Health Centre, Pooh |  | NBCC | 1 |  |
|  |  |  |  | NBSU | 1 |  |
|  |  | Community Health Centre, Bhavnagar |  | NBSU | 1 |  |
|  |  | Community Health Centre, Kaza | L&SPITI | NBCC | 1 |  |
|  |  |  |  | NBSU | 1 |  |
|  |  | Primary Health Centre, Samote | Chamba | NBCC | 1 |  |
|  |  | District Hospital, Chamba |  | SNCU | 1 |  |
|  |  | Sub Centre, Kalsui | Chamba | NBCC | 1 |  |
|  |  | Community Health Centre, Dharampur | Mandi | NBCC | 1 |  |
|  |  | Community Health Centre, Dharampur | Mandi | NBSU | 1 |  |
|  |  | Civil Hospital, Pounta Sahib | Sirmour | SNCU | 1 |  |
| 5 | Pump, suction, Foot operated | Primary Health Centre, Spillow | Kinnaur | NBCC | 1 | 23 |
|  |  | District Hospital, Reckong Peo |  | NBCC | 1 |  |
|  |  | District Hospital, Reckong Peo | Kinnaur | SNCU | 1 |  |
|  |  | Community Health Centre, Pooh |  | NBCC | 1 |  |
|  |  |  |  | NBSU | 1 |  |
|  |  | Community Health Centre, Kaza | L&SPITI | NBCC | 1 |  |
|  |  |  |  | NBSU | 1 |  |
|  |  | District Hospital, Keylong |  | NBCC | 1 |  |
|  |  |  |  | NBCC-OT | 1 |  |
|  |  |  |  | NBSU | 1 |  |
|  |  | Community Health Centre, Udaipur |  | NBCC | 1 |  |
|  |  |  |  | NBSU | 1 |  |
|  |  | District Hospital, Chamba | Chamba | NBCC | 1 |  |
|  |  |  |  | SNCU | 1 |  |
|  |  | Community Health Centre, Sahoo |  | NBCC | 1 |  |
|  |  | Primary Health Centre, Kihar |  | NBCC | 1 |  |
|  |  | Primary Health Centre, Kakir |  | NBCC | 1 |  |
|  |  | Civil Hospital, Dalhousie |  | NBCC | 1 |  |
|  |  | Sub centre, Kalsui |  | NBCC | 1 |  |
|  |  | Community Health Centre, Dharampur | Mandi | NBCC | 1 |  |
|  |  |  |  | NBSU | 1 |  |
|  |  | Civil Hospital, Pounta Sahib | Sirmour | SNCU | 1 |  |
| 6 | Syringe Pump 10,20,50 ml single phase | Community Health Centre, Chirgaon | Kinnaur | SNCU | 3 | 9 |
|  |  | Civil Hospital, Pounta Sahib | Chamba | SNCU | 4 |  |
|  |  | Civil Hospital, Pounta Sahib | Sirmour | SNCU | 2 |  |
| 7 | Oxygen hood S and M set of 3 each, including connecting tubes | District Hospital, Reckong Peo | Kinnaur | SNCU | 2 | 4 |
|  |  | District Hospital, Chamba | Chamba | SNCU | 2 |  |
| 8 | Oxygen concentrator | District Hospital, Chamba | Chamba | SNCU | 1 | 1 |
| 9 | Pulse Oximeter, bedside, neonatal | District Hospital, Reckong Peo | Kinnaur | SNCU | 1 | 4 |
|  |  | District Hospital, Chamba | Chamba | SNCU | 2 |  |
|  |  | Civil Hospital, Pounta Sahib | Sirmour | SNCU | 1 |  |
| 10 | Moniter, Vital sign, NIBP, HR, SpO2, ECG, RR and Temp. | District Hospital, Chamba | Chamba | SNCU | 1 | 2 |
|  |  | HLL Office, Shimla | Shimla | Office | 1 |  |
| 11 | ECG unit, 3 channal, portable/SET | HLL Office, Shimla | Shimla | Office | 1 | 1 |
| 12 | Nebulization Machine | District Hospital, Reckong Peo | Kinnaur |  | 1 | 17 |
|  |  | Community Health Centre, Bhavnagar |  |  | 1 |  |
|  |  | District Hospital, Keylong | L&SPITI |  | 1 |  |
|  |  | Community Health Centre, Kaza |  |  | 1 |  |
|  |  | District Hospital, Chamba | Chamba |  | 2 |  |
|  |  | Civil Hospital, Dalhousie |  |  | 1 |  |
|  |  | District Hospital, Mandi | Mandi |  | 2 |  |
|  |  | Civil Hospital, Sarkaghat |  |  | 1 |  |
|  |  | Civil Hospital, Sundarnaagr |  |  | 1 |  |
|  |  | Civil Hospital, Joginder Nagar |  |  | 1 |  |
|  |  | Civil Hospital, Karsog |  |  | 1 |  |
|  |  | District Hospital, Nahan | Sirmour |  | 1 |  |
|  |  | Civil Hospital, Paonta Sahib |  |  | 1 |  |
|  |  | District Hospital, Solan | Solan |  | 2 |  |
| 13 | Stadio Meter | District Hospital, Reckong Peo | Kinnaur |  | 1 | 13 |
|  |  | Community Health Centre, Bhavnagar |  |  | 1 |  |
|  |  | District Hospital, Keylong | L&SPITI |  | 1 |  |
|  |  | District Hospital, Chamba | Chamba |  | 1 |  |
|  |  | Civil Hospital, Dalhousie |  |  | 1 |  |
|  |  | District Hospital, Mandi | Mandi |  | 1 |  |
|  |  | Civil Hospital, Sarkaghat |  |  | 1 |  |
|  |  | Civil Hospital, Sundarnaagr |  |  | 1 |  |
|  |  | Civil Hospital, Joginder Nagar |  |  | 1 |  |
|  |  | Civil Hospital, Karsog |  |  | 1 |  |
|  |  | District Hospital, Nahan | Sirmour |  | 1 |  |
|  |  | Civil Hospital, Paonta Sahib |  |  | 1 |  |
|  |  | District Hospital, Solan | Solan |  | 1 |  |
| 14 | Defibrillator | IGMC, Shimla | Shimla |  | 1 | 1 |
| 15 | Fumigation Machine | District Hospital, Reckong Peo | Kinnaur |  | 1 | 5 |
|  |  | District Hospital, Keylong | L&SPITI |  | 1 |  |
|  |  | District Hospital, Mandi | Mandi |  | 1 |  |
|  |  | District Hospital, Nahan | Sirmour |  | 1 |  |
|  |  | Civil Hospital, Paonta Sahib |  |  | 1 |  |

A.INTRODUCTION

1. Eligible Bidders

1.1	Only primary manufacturers / authorised dealers are eligible to participate in the tender.

1.2 	Bidders should not be associated with the purchaser for the preparation of the design, specifications, and other documents used for the procurement of the goods under this Invitation of Bids.

1.3 	The bidder should have a minimum 3 years’ experience in the field of manufacture and/or supply of the equipments.

1.4 	Bidder should have good financial background proven by balance sheet of three immediate previous financial years showing profit.

| Sl. No. | Minimum Eligibility criteria | Narrations Other than Tender No. |
| --- | --- | --- |
| 1 | Experience | - Should have a minimum of 3 years’ experience in the field of dealing medical equipments. Should have the experience in supplying, installing and commissioning of high end hospital equipments. |
| 2 | Licenses/Registrations for undertaking, supply and installation contracts | - Primary manufactures who participate in the tender must produce their valid manufacturing license. - Tenderers, other than manufacturers, who participate in this tender must produce the followings: - An authorization letter from Manufacturer’s / authorized distributors to participate in this tender. - Manufacturer’s manufacturing license / Distributor appointment letter to do the business in Himachal Pradesh State. - Item wise Technical compliance sheet to match the technical specification prescribed in this tender. |
| 3 | Quality Certifications | Should have necessary valid Quality/System Certifications like ISO, CE, FDA etc) as applicable – to match technical specifications/ requirements item wise as in the tender. |
| 4 | Good financial capability necessary to perform the Contract | - Annual Turnover Statement preceding last three years (Certified by the Chartered accountant). The turnover should be Rs. 40 Lakhs in any one of the last 3 financial years. - Profit & Loss Account for preceding last three years (Certified by the Chartered accountant) - Balance sheet for the past preceding last three years (Certified by the Chartered accountant) |

2. (a) LAST DATE AND TIME FOR RECEIPT OF BIDS IS 06/03/2015, AT 14.00 HRS

(b) TIME AND DATE OF OPENING OF BIDS IS 	06/03/2015, AT 15.30 HRS

B. THE BIDDING DOCUMENTS

3. Contents of Bidding Documents

3.1 	The goods required, bidding procedures and contract terms are prescribed in the Bidding documents.

3.2 	The Bidder is expected to examine all instructions, forms, terms and specifications in the Bidding Documents. Failure to furnish all information required by the Bidding Documents or submission of a bid not substantially responsive to the Bidding Documents in every respect will be at the Bidder’s risk and may result in rejection of its bid.

4. Clarification of Bidding Documents

4.1  	A prospective Bidder requiring any clarification of the Bidding Documents may notify the Purchaser in writing at the Purchaser’s mailing address indicated in the Invitation for Bids. The Purchaser will respond in writing to any request for clarification of the Bidding Documents which it receives not later than 5 days prior to the deadline for submission of bids prescribed by the Purchaser. Written copies of the Purchaser’s response (including an explanation of the query but without identifying the source of enquiry) will be sent to all prospective Bidders who have received the bidding documents.

5. Amendment of Bidding Documents

5.1  	At any time prior to the deadline for submission of bids, the Purchaser may, for any reason, whether at its own initiative or in response to a clarification requested by a prospective bidder, modify the Bidding Documents by an amendment.

C. PREPARATION OF BIDS

6. Language of Bid

6.1 	The Bid prepared by the bidder and all correspondence and documents relating to the bid exchanged by the Bidder and the Purchaser, shall be written in the English language. Supporting documents and printed literature furnished by the Bidder may be written in another language provided they are accompanied by an accurate translation of the relevant passages in the English language in which case, for purposes of interpretation of the Bid, the English translation shall govern

7. Documents Comprising the Bid

Following documents and forms are to be comprised

- Tender Fee : DD for Rs. 525.00 (inclusive of tax) drawn in favour of HLL Lifecare Limited payable at Thiruvananthapuram is to be attached towards tender fee.

- EMD / Bid Security for Rs. 30,000.00 in form of DD, drawn in favor of HLL Lifecare Limited, payable a Thiruvananthapuram. The EMD / Bid Security shall be refunded to the non-responsive bidders within 60 days from the date of opening of Bid. The Tender received without EMD will be rejected.

- The technical specifications enclosed along with the bid document shall be confirmed by signature of the bidder/authorized signatory of the bidding firm, in all pages and authorized by official seal. The information shall be filled, wherever necessary as per the instructions given.

- Duly attested copies of factory license/Industrial/licenses, sales tax registration, and documents to prove the legal status, place of registration and principal place of business of the undertaking

- Duly attested copies of quality certificates for the products, quality system certifications as specified in technical specification. Item wise Product catalogue/Detailed printed literature to prove the technical specification along with COMPLIANCE SHEET confirming to technical specification should be attached with offer.

- Copy of Balance sheet for the last three financial years, duly certified by a chartered accountant

- Performa for equipment and quality control, duly filled as per section II

- Performance statement in the proforma under section III

- Documentary evidence established in accordance with ITB Clause 1 that the Bidder is eligible to bid and is qualified to perform the contract if its bid is accepted;

j)  	Documentary evidence that the goods and ancillary services to be supplied by the Bidder shall conform to the Bidding Documents.

k)     Duly filled Check list as per section IX

l)      Duly filled Bid Form and price schedule in separate sealed envelop

8. Deleted

9.  Bid Prices

9.1    The Bidder shall indicate in the Price Schedule, the Unit Prices and Total Prices of the equipments it proposes to supply under the Contract.

9.2    Prices indicated on the Price Schedule shall be entered separately in the following manner:

(i)    The price of the goods, quoted ex-factory/ex-show-room/ex-warehouse, or off-the-shelf, or delivered, as applicable, including all duties and sales   tax and other taxes already paid or payable:

(a)     On components and raw material used in the manufacture or assembly of the goods quoted ex-factory; or

(b)  On the previously imported goods of foreign origin quoted ex-showroom, ex-warehouse or off-the-shelf.

- charges for inland transportation, insurance and other local costs incidental to delivery of the goods to the final destination;

9.3      The Bidders separation of the price components in accordance with ITB Clause 9.2 above will be solely for the purpose of facilitating the comparison of bids by the Purchaser and will not in any way limit the Purchaser’s right to contract on any of the terms offered.

9.4     	Fixed price: Prices quoted by the Bidder shall be fixed during the Bidder’s performance of the contract and not subject to variation on any account. A bid submitted with an adjustable price quotation will be treated as non-responsive and rejected.

9.5 	The bidder should quote for all the items of this tender. In case tender is quoted for part items or part quantity in the tender, such bid shall be treated as non-responsive and will not be accepted.

9.6      The Price schedule shall be kept in separate sealed envelopes.

10. Bid Currencies

10.1    Prices shall be quoted in Indian Rupees.

11. Documents establishing bidder’s eligibility and qualifications

11.1 	Pursuant to ITB Clause 7, the bidder shall furnish, as part of its bid, documents establishing the bidder’s eligibility to bid and its qualifications to perform the Contract if its bid is accepted.

12 .Deleted

13. Period of Validity of Bids

13.1   Price Bid shall be valid for 1 year from the date of opening of Price Bid

13.2 	In exceptional circumstances, the Purchaser may solicit the bidders consent to an extension of the period of validity. The request and the responses thereto shall be made in writing.

14. Format and Signing of Bid

14.1 	The bid shall be typed or written in indelible ink and shall be signed by the Bidder or a person(s) duly authorized to bind the Bidder to the Contract. The letter of authorization shall be indicated by written power-of-attorney accompanying the bid. All pages of the bid, except for unamended printed literature, shall be initialed by the person(s) signing the bid.

14.3    Any interlineations, erasures or overwriting shall be valid only if they are initialed by the person or persons signing the bid.

D. SUBMISSION OF BIDS

- 15. Sealing and Marking of bids

Separate bids shall be submitted for price bid and technical bids.

15.1  The bidders shall seal Technical bid   and Price bid duly marking the envelopes as “TECHNICAL BID” - cover “A” and “PRICE BID” - cover “B”.  (Tender wise separate sealed envelopes has to be placed in a single cover – as price bid cover  B ”. The Bidders shall then place both the envelopes (cover “A” & cover “B”) in an outer envelope. The name of the product for which the bid is made must be marked on both the inner envelops and the outer envelope.

15.2   The inner and outer envelopes shall be addressed to the Purchaser at the following address:

The Joint General Manager (Materials)

HLL Lifecare Limited, Akkulam Factory, Sreekaryam  P.O. ,

Thiruvananthapuram -17   Phone 0471 2445930 / 2445935

Email :tradingpaft@lifecarehll.com

- The outer envelope shall bear the Invitation for bids (IFB) number, and a statement:               “SUPPLY AND INSTALALTION OF EQUIPMENTS TO HIMACHAL PRADESH (PHASE-3)  and also “DO NOT OPEN BEFORE” 14.30 Hrs. ON 06/03/2015   ”

- The inner envelope shall also indicate the name and address of the bidder to enable the bid to be returned unopened in case it is declared “late/disqualified”.

- If the inner and outer envelopes are not sealed and marked as required, the Purchaser will assume no responsibility for the bid’s misplacement or premature opening.

- Bids must be received by the Purchaser at the address specified not later than the date and time specified in the Invitation For Bid.  In the event of the specified date for the submission of bids, being declared a holiday for the Purchaser, the bids will be received up to the appointed time on the next working day.

- The Purchaser may, at its discretion, extend this deadline for the submission of bids by amending the bidding documents in which case all rights and obligations of the Purchaser and bidders previously subject to the deadline will thereafter be subject to the deadline as extended.

16. LATE BIDS

16.1    Any bid received by the Purchaser after the deadline for submission of bids prescribed by the Purchaser, will be rejected and returned unopened to the bidder.

17.  MODIFICATION AND WITHDRAWAL OF BIDS

17.1 	The bidder may modify or withdraw its bid after the bid submission, provided that written notice of the modification or withdrawal is received by the Purchaser prior to the deadline prescribed for submission of bids.

17.2   The bidder’s modification or withdrawal notice shall be prepared, sealed, marked and dispatched in accordance with the provisions of ITB Clause 15.  A withdrawal notice may also be sent by telex or cable or fax, but followed by a signed confirmation copy, post-marked not later than the deadline for submission of bids.

17.3   No bid may be modified subsequent to the deadline for submission of bids.

17.4 	No bid may be withdrawn in the interval between the deadline for submission of bids and the expiration of the period of bid validity specified by the bidder in the Bid Document.

E. BID OPENING AND EVALUATION

18. Opening of Bids by Purchaser

18.1  The Purchaser will open all technical bids (Cover A), in the presence of bidder's representatives who choose to attend, at 15.30 Hrs on 06/03/2015  at the following location:

HLL Lifecare Limited,

Akkulam Factory,

Sreekaryam  P.O. ,

Thiruvananthapuram -17

hone 0471 2445930 / 2445935 Email : tradingpaft@lifecarehll.com

18.2 	The bidder’s representatives who are present shall sign a register evidencing their attendance. In the event of the specified date of bid opening being declared a holiday for the Purchaser, the bids shall be opened at the appointed time and location on the next working day.

18.3   The bidder’s names, modifications, bid withdrawals and the presence or absence of the requisite documents and such other details as the Purchaser, at its discretion, may consider appropriate will be announced at the opening. No bid shall be rejected at bid opening, except for late bids, which shall be returned unopened to the bidder pursuant to ITB Clause 16.

18.4    Deleted

18.5  The “Price Bid” (Cover B) will be opened after evaluation of “Technical bids”                 and the date and time will be intimated to bidders whose bids are qualified and responsive.

18.5 	The purchaser will scrutinize the technical bid for compliance to the specifications and documentation requirement as per the bid document. Purchaser may depute its competent officers to the premises of the bidder qualified on the basis of technical scrutiny, for on-site evaluation of the claims made in the technical bid, if deemed appropriate on purchaser’s sole discretion. The bidders will be short-listed on the basis of responsiveness of technical bid as well as report of on-site technical evaluation. The price bid of the bidders who are disqualified at the technical scrutiny and on-site evaluation will be returned un-opened. The on-site evaluation may include the inspection of the specimen sample of the equipment. The short listed bidders will be informed about the time, date and venue of the price bid opening. The successful bidder shall be identified on the basis of lowest evaluated substantially responsive bid.

19.  CLARIFICATION OF BIDS

19.1   During evaluation of bids, the Purchaser may, at its discretion, ask the bidder for a clarification of its bid.  The request for clarification and the response shall be in writing and no change in prices or substance of the bid shall be sought, offered or permitted.

20. PURCHASER’S RIGHT TO ACCEPT ANY BID AND TO REJECT ANY OR ALL BIDS

20.1 	The Purchaser reserves the right to accept or reject any bid, and to annul the bidding process and reject all bids at any time prior to award of Contract, without thereby incurring any liability to the affected bidder or bidders.

- PRELIMINARY EXAMINATION

21.1 The Purchaser will examine the bids to determine whether they are complete, whether any computational errors have been made, whether the documents have been properly signed, and whether the bids are generally in order.

21.2   Arithmetical errors will be rectified on the following basis.  If there is a discrepancy between the unit price and the total price that is obtained by multiplying the unit price and quantity, the unit price shall prevail and the total price shall be corrected. If there is a discrepancy between words and figures, the amount in words will prevail.  If the bidder does not accept the correction of the errors, its bid will be rejected.

21.3 	The Purchaser may waive any minor informality or non-conformity or irregularity in a bid, which does not constitute a material deviation, provided such a waiver does not prejudice or affect the relative ranking of any bidder.

21.4   	Prior to the detailed evaluation, pursuant to Clause ITB 22, the purchaser will determine the substantial responsiveness of each bid to the bidding documents. For purposes of these clauses a substantially responsive bid is one which conforms to all the terms and conditions of the bidding documents without material deviations. Deviations from or objections or reservations to critical provisions such as those concerning Warranty, Force Majeure, Applicable law  and Taxes and Duties  will be deemed to be material deviation. The purchaser’s determination of a bid’s responsiveness is to be based on the contents of the bid itself without recourse to extrinsic evidence.

21.5   If a bid is not substantially responsive, it will be rejected by the Purchaser and may not subsequently be made responsive by the bidder by correction of the non-conformity.

22. EVALUATION AND COMPARISON OF BIDS

22.1  The Purchaser will evaluate and compare bids previously determined to be substantially responsive.

22.2    The purchaser’s evaluation of a bid will take into account the bid price including all costs as well as duties and taxes paid or payable and price of incidental services, if any, in the manner and to the extent and in the technical specifications:

- cost of transportation, insurance and other costs incidental to the delivery of goods; to designated delivery destination and installation and handing over the same to the Purchaser, at designated Hospitals in Himachal Pradesh State.

- Deleted

22.3     The following evaluation methods will be applied:

- transportation, from factory, insurance and   incidentals.

(i) transportation, insurance and other incidentals, for delivery of goods to the required locations mentioned. The above costs will also be considered in the bid price.

(b)  Spare parts and after sales service facilities:

The cost of the Purchaser of establishing the minimum service facilities and parts inventories, as outlined elsewhere in the bid invitation, if quoted separately, shall be added to the bid price.

23. CONTACTING THE PURCHASER

23.1     No bidder shall contact the Purchaser on any matter relating to its bid, from the time of the bid opening to the time the contract is awarded.  If the bidder wishes to bring additional information to the notice of the purchaser it should do so in writing.

23.2     Any effort by a bidder to influence the purchaser in its decisions on bid evaluation, bid comparison, or selection may result in the rejection of the bidders bid.

24. INSPECTION AND TESTS

24.1     The Purchaser or its representative shall have the right to inspect and/or to test the Goods to confirm their conformity to the Contract at no extra cost of the Purchaser. The Technical Specifications shall specify what inspections and tests the Purchaser requires and where they are to be conducted. The Purchaser shall notify the Supplier in writing of the identity of any representatives retained for these purposes.

24.2	The inspections and test may be conducted on the premises of the Supplier or its subcontractor(s), at point of delivery and/or at the Goods final destination. Where conducted on the premises of the Supplier or its subcontractor(s), all reasonable facilities and assistance including access to drawings and production data - shall be furnished to the inspectors at no charge to the Purchaser.

24.3	Should any inspected or tested Goods fail to conform to the specifications, the Purchaser may reject them and the Supplier shall either replace the rejected Goods or make all alternations necessary to meet specification requirements free of cost to the Purchaser.

24.4 	The Purchasers right to inspect, test and, where necessary, reject the Goods’ arrival in at site shall in no way be limited or waived by reason of the Goods having previously been inspected, tested and passed by the Purchaser or its representative prior to the Goods dispatched.

F. AWARD OF CONTRACT

25. AWARD CRITERIA

25.1 	The Purchaser will award the contract to the successful bidder whose bid has been determined to be substantially responsive and has been determined as the lowest evaluated bid, provided further that the bidder is determined to be qualified to perform the contract satisfactorily.

26. PURCHASER’S RIGHT TO VARY QUANTITIES AT TIME OF AWARD

  - The Purchaser reserves the right at the time of award of contract to increase or decrease the quantity of goods and services originally specified in the bid document without any change in unit price or other terms and conditions with in the bid validity period.

  - The quantity mentioned herein are present requirement and in case more or less quantity is required, the suppliers should be prepared to effect supply at short notice on the same terms and conditions.

- PACKING

  - The Supplier shall provide such packing of the Goods as is required to prevent their damage or deterioration during transit to their final destination as indicated in the Contract. The packing shall be sufficient to withstand, without limitation, rough handling during transit and exposure to extreme temperatures, salt and precipitation during transit and open storage. Packing case size and weights shall take into consideration, where appropriate, the remoteness of the Goods final destination and the absence of heavy handling facilities at all points in transit.

  - The packing, marking and documentation within and outside the packages shall comply strictly with such special requirements as shall be provided in the purchase order including additional requirements, if any, specified and in any subsequent instructions ordered by the Purchaser.

- DELIVERY AND DOCUMENTS

  - Delivery destinations  of the Equipments are various hospitals in above Districts in Himachal Pradesh as per quantity specified in the tender. Delivery of the equipment shall be made by the Supplier in accordance with the terms specified in the purchase order by the Purchaser. The documents like warranty certificate, equipment manual, test certificate and also other documents to be furnished by the supplier as specified in the purchase order, shall be accompanied with each dispatch.

27. Deleted

28. Deleted

29. DELAYS IN DELIVERY OF GOODS

  - Delivery of the Goods shall be made by the Supplier within 20 days from the date of placing the Purchase Order. If at any time during performance of the Contract, the Supplier  should encounter conditions impeding timely delivery of the Goods , the Supplier shall promptly notify the Purchaser in writing of the fact of the delay, its likely duration and its cause(s). As soon as practicable after receipt of the Supplier's notice, the Purchaser shall evaluate the situation and may at its discretion extend the Supplier's time for performance, with or without penalty.

29.2 	A delay by the Supplier in the performance of its delivery obligations shall render the Supplier liable to the imposition of penalty pursuant to agreement / purchase order, unless an extension of time is agreed upon pursuant to agreement / purchase order without the application of liquidated damages.

  - If the Supplier fails to deliver any or all of the Goods or perform the Services within the time period(s) specified in the Purchase Order, the purchaser shall, without prejudice to its other remedies under the Contract, deduct from the Contract Price, as penalty, a sum equivalent to the percentage specified in the purchase order.

30. WARRANTY

30.1 	This warranty shall remain valid for One year after goods or any portion thereof as the case may be, have been delivered to and accepted at the final destination indicated in the contract.

30.2  Any major repair pointed out by the Purchaser within the warranty period shall be rectified by the Supplier from the date of intimation within a period of 3 calendar days and commission the equipment to the satisfaction of the Purchaser. Failing which the Purchaser has the right to levy penalty on the Supplier per day or part thereof for each equipment until the equipments are repaired and commissioned to the satisfaction of the Purchaser.

31. Comprehensive Maintenance Contract (CMC)

    - The Purchaser desires to have separately comprehensive maintenance charges for a period of 5 years after the expiry of free maintenance period, clearly indicating year wise comprehensive maintenance charges.

  - The CMC shall be quoted by the bidder as prescribed in the Section VIII. The CMC period shall be for 5 years after completion of 1 year Warranty Period. The applicable taxes shall be indicated separately. The  CMC rates without indication of  taxes will be considered as inclusive  during evaluation.

  - During the CMC period, 2 preventive maintenance has to be carried out by the firm in a year, i.e one preventive maintenance in every 6 months. The minimum gap between any two preventive Maintenance should be atleast 150 to 180 days.

  - The firm should also attend any number of breakdown calls as and when required. All breakdown calls shall be attended to immediately not later than 8 hours of call and all major repairs shall be rectified within 3 calendar days from the date of intimation.

  - For the equipment, periodical preventive maintenance and breakdown calls including replacement of defective spares shall be attended by you at free of cost to maintain the 95% uptime guarantee and the maximum time permitted for restoration, during the warranty period and CMC period.

  - In the event of the downtime exceeding the prescribed maximum period, the warranty period will be accordingly extended and the effective date of commencement CMC will be shifted accordingly.

  - The bidder should ensure availability of spares for the period of atleast 8 years from the date of installation of equipment.

32      PAYMENT TERMS

32.1 	The Price of the Goods quoted shall be inclusive of Cost, insurance, freight unless otherwise specified in the purchase order.

  - 90 % payment shall be made within 30 days from the receipt and acceptance of goods at the warehouse at: at designated delivery designation / at HLL Lifecare Limited, Akkulam, Thiruvananthapuram. The balance 10 % of the invoice value shall be paid against submission of necessary documents from the date of completion of installation/acceptance of equipments as applicable. Total payment (100% payment) will be released only after satisfactory completion of commissioning, Installation and receipt of Final Acceptance Certificate issued by the Hospital Authorities.

  - Test Reports (wherever applicable) are to be forwarded along with the original invoices.

32.4     Payment for Annual Comprehensive Maintenance Contract Charges:

The payment of CMC will be made on six monthly basis after satisfactory completion of said period, duly certified by the respective Hospital authorities.

33. PATENT RIGHTS

33.1	The Supplier shall indemnify the Purchaser against all third-party claims of infringement of patent, trademark or industrial design rights arising from use of the Goods or any part thereof in India.

34.  INCIDENTAL SERVICES

34.1 	The supplier may be required to provide any or all of the following services, including additional services, if any, as specified.

(a) 	Performance or supervision of the on-site assembly and/or start-up of the supplied goods

(b) 	Furnishing of tools required for assembly and/or maintenance of the supplied Goods;

(c) 	Furnishing of detailed operations and maintenance manual for each product

(d) 	performance or supervision or maintenance and/or repair of the supplied Goods, for a period of time agreed by the parties, provided that this service shall not relieve the Supplier of any warranty obligations under this Contract; and

(e) 	Training of the Purchaser’s Personnel, at the Supplier’s plant and/or on-site, in assembly, start-up, operation, maintenance and/or repair of the supplied Goods.

35. CHANGE ORDERS

35.1	The Purchaser may at any time by written order given to the Supplier, make changes within the general scope of the Contract in any one or more of the following:

- drawings, designs or specifications, where Goods to be furnished under the Contract are to be specifically manufactured for the Purchaser;

- the method of shipping or packing

- the place of delivery; or

- the services to be provided by the Supplier.

35.2 	If any such changes cause an increase or decrease in the cost of, or the time required for, the Supplier’s performance of any provisions under the Contract, an equitable adjustment shall be made in the Contract Price or delivery schedule, or both, and the Contract shall accordingly be amended. Any claims by the Supplier for adjustment under this clause must be asserted within thirty (30) days from the date of the Supplier’s receipt of the Purchaser’s change order.

36. CONTRACT AMENDMENTS

36.1 	No variation in or modification of the terms of the Contract shall be made except by written amendment signed by the parties.

37. ASSIGNMENT

37.1 	The Supplier shall not assign, in whole or in part, its obligations to perform under the contract, except with the Purchaser’s prior written consent.

38. LIQUIDATED DAMAGES

38.1	If the Supplier fails to deliver any or all of the Goods or to perform the Services within the period(s) specified in the Contract, the Purchaser shall, without prejudice to its other remedies under the Contract, deduct from the Contract Price, as liquidated damages, a sum equivalent to the percentage specified of the delivered price of the delayed Goods or unperformed Services for each week or part thereof of delay until actual delivery or performance, up to a maximum deduction of the percentage specified if any. Once the maximum is reached, the Purchaser may consider termination of the Contract.

38.2   Penalty : At the rate of 0.5%  rate as per the various terms and conditions of this contract subject    to a maximum of 7.5% of the total contract value, for delay beyond the agreed period.

39. TERMINATION BY DEFAULT

39.1	The Purchaser may, without prejudice to any other remedy for breach of contract, by written notice of default sent to the supplier, terminate the Contract in whole or part;

- if the Supplier fails to deliver any or all of the goods within the time period(s) specified in the Contract, or within any extension thereof granted by the Purchaser, or

(b) if the Supplier fails to perform any other obligation(s) under the contract.

39.2	In the event the Purchaser terminates the Contract in whole or in part,  the Purchaser may procure, upon such terms and in such manner as it deems appropriate, Goods or Services similar to those undelivered, and the Supplier shall be liable to the Purchaser for any excess costs for such similar Goods. However, the Supplier shall continue the performance of the Contract to the extent not terminated.

40    FORCE MAJEURE

40.1    For purposes of this Clause “Force Majeure” means an event beyond the control of the Supplier and not involving the Supplier’s fault or negligence and not foreseeable. Such events may include, but are not limited to, acts of the Purchaser either in its sovereign or contractual capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions and freight embargoes.

40.2	If a Force Majeure situation arises, the Supplier shall promptly notify the Purchaser in writing of such conditions and the cause thereof. Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by the force majeure event.

41. TERMINATION FOR INSOLVENCY

41.1 	The Purchaser may at any time terminate the Contract by giving written notice to the Supplier, if the Supplier becomes bankrupt or otherwise insolvent. In this event, termination will be without compensation to the Supplier, provided that such termination will not prejudice or affect any right of action or remedy, which has accrued or will accrue thereafter to the Purchaser.

42. RESOLUTION OF DISPUTES

42.1 	The Purchaser and the supplier shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute arising between them under or in connection with the Contract.

  - If, after thirty (30) days from the commencement of such informal negotiations, the Purchaser and the Supplier have been unable to resolve amicably a Contract dispute, either party may require that the dispute be referred for resolution to the formal mechanisms. These mechanisms may include, but or not limited to, conciliation mediated by a third Party, adjudication in an agreed national forum, and national arbitration.

  - The jurisdiction of any disputes, suits and proceeding arising out of the tender shall be only in the court of Thiruvananthapuram.

The  Joint General Manager (Materials)

HLL Lifecare Limited,

Akkulam Factory, Sreekaryam  P.O. , Thiruvananthapuram -17

Phone 0471 2445930 / 2445935 Email : tradingpaft@lifecarehll.com

SECTION II

PROFORMA FOR EQUIPMENT AND QUALITY CONTROL EMPLOYED BY THE MANUFACTURER

(Please attach detailed proforma incorporating the information given below)

BID NO……………………….

DATE OF OPENING……..

NAME OF THE BIDDER:……………………………………..

- Name & Full address of the Manufacturer:

(a) PAN No            		  (b). ECC Code                   	 ( c) IEC if applicable

(d) CST No              		  (e) TIN No                           (f)   Any other details

2.	(a) Telephone No.  				Office/Factory/Works

(b) Fax No.					Office/Factory/Works

(c) e-mail address

- Location of the manufacturing factory/show room

- Whether Goods are tested to any standard specification?  If so, copies of specifications & original test certificates should be submitted.

SECTION III

PROFORMA FOR PERFORMANCE STATEMENT

Proforma for Performance Statement (for a period of last 3 years)

Bid No.IFB NO: HLL/AFT/TDG/HP-III/EQUIP/2014-15/01

Name of the firm:

| Order placed by (Full Address of Purchaser) | Order No. and Date | Description Of ordered item | Quantity of ordered item | Value of order | Date of Completion of delivery | Remarks indicating reasons for late delivery, if any | Has the equipment been satisfactorily functioning? (Attach a certificate from the Purchaser/Consignee) |
| --- | --- | --- | --- | --- | --- | --- | --- |

## SECTION IV

TECHNICAL SPECIFICATIONS

1). Resuscitator, hand-operated, neonate, 500ml

- Resuscitator for manual ventilation of neonates

- Ventilation can be done with ambient air or with oxygen

- Resuscitator can be totally disassembled, is easy to clean, disinfect and sterilize

- All parts can be autoclaved at 121°C (except O2 reserve bag)

- Manufactured from durable high-strength synthetic not requiring special maintenance or storage

- Resuscitator is supplied as a complete set in a box

- Compressible self-refilling ventilation bag, capacity, approx.  250 ml

- With non-re breathing patient valve with pressure limitation

- Intake valve with nipple for O2 tubing

- O2 reserve bag complete, capacity approx.: 2000 ml

- 2 No’s of cushioned neonate size masks, translucent (Size “0”, approx: 50 mm)

- Device is produced by ISO 9001 certified manufacturer

- Device is safety certified according CE 93/42, FDA 510k or equivalent

Supplied with:

- User manual with trouble shooting guidance, in English

- Installation and training at end-user site

2). Resuscitator, hand-operated, neonate, 250ml

- Resuscitator for manual ventilation of neonates

- Ventilation can be done with ambient air or with oxygen

- Resuscitator can be totally disassembled, is easy to clean, disinfect and sterilize

- All parts can be autoclaved at 120°C (except O2 reserve bag)

- Manufactured from durable high-strength synthetic not requiring special maintenance or storage

- Resuscitator is supplied as a complete set in a box

- Compressible self-refilling ventilation bag, capacity, approx. 250 ml

- With non-re breathing patient valve with pressure limitation

- Intake valve with nipple for O2 tubing

- O2 reserve bag complete, capacity approx.: 800 ml

- 2 Nos of cushioned neonate size masks, translucent of each (Size “0”, approx: 50 mm)

- Device is produced by ISO 9001 certified manufacturer

- Device is safety certified according CE 93/42, FDA 510k or equivalent.

Supplied with:

- User manual with trouble shooting guidance, in English

3) Laryngoscope set (Neonatal)

- Laryngoscope set with neonate blades

- Constituted of large hollow, cylindrical, slightly ribbed handle and a set of depressors in stainless steel

- Handle is made of either chromium-plated or stainless steel and can be opened at an extremity to insert two alkaline batteries (LR14, size C, 1.5 Volts). The other end has a stud contact which fits the various sizes and types of depressors.

- 2 x curved depressors, Macintosh type No. 1, approx 68 mm length with halogen bulb

- 2 x straight depressors, Miller type No. 0, approx 53 mm length with halogen bulb

- Presented in suitable protective plastic box

- Device is produced by ISO 9001 certified manufacturer

- Device is safety certified according CE 93/42, FDA 510k or equivalent

Supplied with:

- 2 x spare halogen bulbs

- User manual with trouble shooting guidance

- Supplied with packed bag

4) Suction Apparatus Portable, 220V

- The device is for the use of neonates.

- Portable suction pump with 1or 2 liter plastic jar

- Dismantable for easy cleaning, jar autoclavable.

- Shock resistance protects from dropping

- Light, easy to carry and keep clean

- Jar with plastic cover, gasket and overflow valve

- With suction regulator, vacuum gauge

- All parts can be autoclaved at 121°C

- Size, approx: 260 x 180 x 220 (H) mm

- Suction power: 15 L/min

- Vacuum, max: 600 mmHg

- Power requirement: 220 V/50 Hz

- Power consumption: 100 W

- Device is produced by ISO 9001 certified manufacturer

- Device is safety certified according CE 93/42, FDA 510k or equivalent

Supplied with:

- 1x set of silicone rubber suction tubing, approx: diam. 10 mm

- 1 x spare set of fuses

- User manual with trouble shooting guidance, in English

- Installation and training at end-user site

5). Pump Suction Foot operated

- The device is for the use of neonates.

- High performance suction pump for pharyngeal and tracheal suction

- Double acting piston pump provides a combination of large airflow and high vacuum

- See-saw movement of pedal generates suction every time one side of the pedal is depressed

- Pump chassis complete with valve diaphragms, manifold pipe, bottom cover, cylinder with draw link and valve diaphragm, piston O-ring, pedal with retaining springs, aspirating tube with angle connector and combination suction tip

- Pump can be totally disassembled, is easy to clean and disinfect

- All parts can be autoclaved at 121°C

- Vacuum, max: 400 mmHg

- Free airflow at two pumping strokes per second, approx: 30 to 40 L/min

- All parts made of high-strength, long-life materials, not requiring specific maintenance or storage

- Transparent polycarbonate collection container capacity, approx: 1 L

- Bottom cover: thermoplastic rubber

- Manifold pipe: polypropylene

- Gasket, O-rings and valve diaphragm: silicone rubber

- Piston rings: Teflon

- Foot pedal: Aluminum

- Device is produced by ISO 9001 certified manufacturer

- Device is safety certified according CE 93/42, FDA 510k or equivalent

Supplied with:

- 1x set of silicone rubber suction tubing, approx: diam. 10 mm, length 1.5 m

- 1 x angle connector and combination acetal suction tip

- 1 x spare valve diaphragms

- 1 x spare piston O-ring

- 1 x spare retaining springs,

- User manual with trouble shooting guidance, in English

- Assembly, Installation and Training at end-user site

6). Syringe Pump

- The device is for the use of neonates.

- Digital and self regulating volume controlled portable syringe pump

- Can be mounted on bed/wall rail or mobile pole/stand (supplied with fixation)

- Suitable for all intravenous and intra-arterial infusions

- Continuous volumetric delivery with syringes 10, 20 and 50 ml

- Open system, suitable for different brands of syringes

- Programmable, user entry: infusion volume and time or flow rate

- Rate, adjustable: 1 to 999 ml/h, steps of 1 ml/h

- Accuracy: ca 1% of total volume delivered

- With occlusion detection and alarm

- Display reports systems errors, end of infusion and built-in battery status

- Audio visual alarm with silencing feature for audio alarm

- Automatic switch from mains to batteries in case of power failure

- Power requirements: 220 V/50 Hz or internal re-chargeable battery

- Power consumption: 50 W

- Device is produced by ISO 9001 certified manufacturer

- Device is safety certified according CE 93/42, FDA 510k or equivalent.

Supplied with:

- User manual with trouble shooting guidance

- Installation and training at end-user site

7). Oxygen hood, Small and Medium, of each, including connecting tubes

- The device is for the use of neonates.

- Round shape or oval shape

- 3 x Small size, approx: height 22 cm, diam 25 cm

- 3 x Medium size, approx: height 18 cm, diam 20 cm

- Made of autoclavable polycarbonate

- Trauma free silicone neck, with adjustment flap

- With bilateral oxygen nozzle

- Oxygen tube of 2 m length must be provided with

- Device is produced by ISO 9001 certified manufacturer

- Device is safety certified according CE 93/42, FDA 510k or equivalent.

Supplied with:

- 1 x spare set of tubing

- User manual with trouble shooting guidance, in English

8). Oxygen concentrator

- The device is for the use of neonates.

- Oxygen concentrator to provide oxygen from ambient air

- Oxygen concentration measured at the flow meter by oxygen sensing device (OSD)

- Superior grade of molecular sieve

- Maintenance free rotary proppet valve.

- Oxygen purity, approx: 90%

- Oxygen output, approx: 0 - 5 LPM

- Pressure, approx: 8 psi

- Double outlet or flow splitter for oxygen Delivery

- Oxygen tube of 1m length must be provided with

- Facility for nebulization with tube & mask

- With two humidifier bottles and two cabinet filters

- Power requirements: 220 V/50 Hz

- Power consumption: 450 W

- Device is produced by ISO 9001 certified manufacturer

- Supplied with:

- 1 x spare set of tubing

- 1 x spare set of internal and external filters (bacterial)

- 1 x spare set of fuses

- User manual with trouble shooting guidance, in English

- Installation and Training at end-user

9). Pulse Oxi meter, Bedside, Neonatal

- Compact portable bedside pulse oxymeter with LCD display.

- Continuous monitoring of SpO2 (arterial blood oxygen saturation), pulse rate and signal strength

- Measuring range:

- SpO2: 30 to 100 %, minimal graduation 1%.

- Pulse rate: 20 to 250 bpm, minimal graduation 1 bpm.

- Accuracy SpO2: 50 to 69% (± 3%), 70 to 100% (± 2%).

- Display hows SpO2(%), HR(bpm) and signal strength bar

- Large displays readable from distance, display cover durable plastic.

- User preset of high/low alarms on SpO2 and pulse rate monitoring

- Audio visual alarm for SpO2 and pulse rate in case measurements are outside preset range

- Silencing feature for audio alarm

- Display reports system errors, probe failure and built-in battery status

- Automatic switch from mains to batteries in case of power failure

- Power requirements: 220 V/50 Hz and internal re-chargeable battery (autonomy approx 6 hrs, automatic recharge).

- Power consumption: 50 W.

- Device is produced by ISO 9001 certified manufacturer.

- Device is safety certified according CE, FDA or equivalent.

Supplied with:

- 1 x reusable SpO2 sensors neonate, clip-on type (including connection cable).

- 1 x reusable SpO2 sensors neonate, wrap around type (including connection cable).

- 1 x spare set of fuses.

- User manual with trouble shooting guidance, in English.

- Installation and training at end-user site.

10). Monitor, Vital Sign, NIBP, HR, Spo2, ECG, RR, and Temperature.

- Should be reputed brand and make

- Digital Multipara monitor with 6 vital sign suitable for neonate

- It should have simultaneous monitoring of all the vital sign with some data recording

- Should have alphanumeric or feather touch keypad or touch screen

- Should have high resolution LCD screen

- For NIBP Composed of disposable or cloth cuff with inflatable bag quick-connected via tube to main unit

- Disposable or cloth is washable, strong and reinforced at both ends

- Tube length approx 60 cm

- Strip of Velcro fastening; length can be adjusted to fit around neonate upper arm

- Measuring range: up to 300 mmHg

- Minimum graduation: 1 mmHg

- Accuracy: +/- 5%

- Large LCD display readable in low light working situations, display cover durable plastic

- Displays reports: systolic, diastolic and mean pressure and heart rate

- Power consumption: 30 W

- Should have provision for external printer connection

- Should work on power line as well as battery

- Light weight design for portability

- High performance Li-ion rechargeable battery

- Battery capacity: 2 hours of normal use

- It should work on 210/270 volts 50/60Hz, Single phase

- Supplied with Powder card, 3pin molded plug

- Well Packed in Individual

- Device is produced by ISO 9001 certified manufacturer

- Manufacturer should have a CE marked product

Supplied with:

- 20 x Supplied with disposable ECG electrode

- 1 x Supplied with vital sign monitoring cables and probes,

- 1 x reusable SpO2 sensors neonate, clip-on type (including connection cable)

- 1 x reusable SpO2 sensors neonate, wrap around type (including connection cable).

- 1 x set of each vital sign monitor cable and probes extra with the machine

- User manual with trouble shooting guidance, in English

- Installation and Training at end-user site

11) ECG Unit, 3 channels, Portable

- The device is for the use of neonates.

- 3 Channel ECG Machine with Display

- Should be reputed brand and make

- It should have simultaneous 3 Channel ECG recording

- Should have alphanumeric or feather touch keypad

- High resolution LCD screen

- Built-in ECG Parameters measurement and interpretation

- Digital filtering to remove interference from power line, muscle tremor etc., with automatic base line correction

- Multiple print formats from integrated 3 channel thermal printer

- Should have provision for external printer connection

- Should work on power line as well as battery.

- Light weight design for portability.

- High performance Li-ion rechargeable battery.

- Battery capacity: 4 hours of normal use

- It should work on 210/270 volts 50/60Hz, single phase.

- Device is produced by ISO certified manufacturer.

- Manufacturer should have a CE marked product.

Supplied with:

- 1 x one bottle ECG gel.

- 1 x set of bulb.

- 1 x spare set of fuses.

- Supplied with powder card, 3pin moulded plug.

12). Nebulization Machine for Children

- It should be High Precision mechanism

- It should  provide nebulization  from ambient air

- Contemporary design of round or Square

- It should be maintenance free

- Single outlet  for nebulization delivery

- Nebulization  tube of 1m length must be provided with tube &mask

- Well Packed in Individual

- Supplied with Powder card,  molded plug

- Power requirements: 220 V/50 Hz

- Device is produced by ISO 9001 certified manufacturer

Supplied with:

- 1 x spare set of tubing & mask

- 1 x spare set of fuses

- User manual with trouble shooting guidance, in English

- Installation and Training at end-user site.

13). Stadio meter

- High Precision mechanism

- Contemporary stand  or fixed type design

- Should be robust construction

- Anti rust coated parts

- Should provide accurate reading

- Device is produced by ISO 9001 certified manufacturer

Supplied with:

- User manual with trouble shooting guidance, in English

- Installation and training  at end-user site

14). Defibrillator

- Portable, sturdy, operational ease with safety international standards for Class II instruments

- Non - fade display EL/LCD 5" (ECG, Heart Rate, Date, Time & Energy)

- Selection of energy by rotary switch

- Visual indication of power ON, charge remaining in battery.

- Audio indication of alarm systems.

- Accessories including adult & pediatric paddles.

. Technical Specification

- Charging time of condenser < 5 seconds at 200 Joules

- Battery charging time < 18 hours.

- Sweep speed 25mm / sec.

- Lead selector - Paddle leads I, II & III

- Alarm setting in approx. range from 15 to 260 bpm.

- Frequency response - 0.5 to 40 Hz.

- Delivered Energy : Capacity multiple discharges from 1 to 200 joules

- Power requirement - 190 - 260 VAC / 50 Hz / single phase

- Weight < 12 kgs.

- Full charged battery should work for at least 1 hour or with 30 discharge at maximum selection of energy

- Should have event summery facility minimum of 200events & 50 wave forms

- Shall be able to upgrade Non-invasive spo2 Measurement

- Standard accessories should include power cord, grounding wires, surface paddles (adult, pediatric), ECG relay cord, lead cable, dust cover, operation and technical maintenance manuals.

- Heart rate measurement range at least: not less than 20 to 250 bpm or more  with  at least + 3 - 5 % accuracy.

- EKG cable with lead 1 set

- The equipment should be suitable for operation in temperatures from 100 C to 450 C with a relative humidity of 100%

- Equipment should be provided with a line cord (power cord) of acceptable durability, quality, length and current carrying capacity.

- Equipment should include power plugs that are sufficient for maximum voltage and current of the equipment.

- If fuses are used, a spare fuse should be provided Permanent marking near each fuse holder should indicate fuse ratings.

- Equipment sensitive to fluctuations should be provided with stabilizers.

- Equipment performance should not be affected by electromagnetic interference radiated or conducted through power lines from another device.

- Equipment should have no sharp edges, should be securely mounted and should provide adequate protection against moving and electrically energized parts.

- Controls (e.g. switches knobs) should be visible and clearly identified.

- Labels and markings should be clear and visible.

- Equipment should be simple to use, operate and maintain.  It should be designed for easy access to serviceable parts.

15). Fumigation machine for children wards and SCNU

Technical Specifications:

- It should be contemporary design

- It should be maintenance free

- Should  have single outlet delivery system

- must be provided with tube &mask

- Power requirements: 220 V/50 Hz

- Device is produced by ISO 9001 certified manufacturer

- Supplied with:

- Well Packed in Individual

- Supplied with Power card,  molded plug

- User manual with trouble shooting guidance, in English

- Installation and Training at end-user site.

SECTION V

## HLL LIFECARE LIMITED

Akkulam Factory

THIRUVANANTHAPURAM-695017

IFB NO: HLL/AFT/TDG/HP-III/EQP/2013-14/01

INDEMINITY CLAUSE

If the supplier fails to execute the order within the time prescribed for the delivery of goods ordered or violates or infringes the existing rates as agreed to as mentioned in the supply order, the supplier shall and will indemnify the company against all loses or damages whatsoever to be incurred or sustained including the legal cost or expenses incurred by the company by reason of non-delivery of goods at agreed quantity and rate with in the time specified in the supply order.  The company will initiate legal action if the supplier fails to execute the supply order as per the schedule in the supply order for the actual loss suffered. No quantity tolerance will be permitted in this regard unless otherwise prior approval is taken by the company before dispatching any excess quantity supplied which shall be returned back on freight to pay basis at the risk of the supplier.   Responsiveness of the Bid shall be at the discretion of HLL.

The supplier shall have no right to change the quantity stipulated in the supply order.

Bid pronounced Non Responsive by HLL shall be summarily rejected.

The decision of HLL will be final and no correspondence of this shall be entertained.

We have read and understood the above conditions and agree to abide   by the same.

PLACE:                                NAME AND SIGNATURE OF THE  TENDERER

DATE:                                                          (WITH OFFICE SEAL)

## SECTION VI

## HLL LIFECARE LIMITED

Akkulam Factory

THIRUVANANTHAPURAM-695017

IFB NO: HLL/AFT/TDG/HP-III/EQP/2013-14/01

#### DECLARATION

I/WE, The Bidder undertake, we shall execute, with in the purview of the contract, all the activities includes; transportation, loading, unloading and other technical work for the installation of the equipment at the designated site as per the contract / purchase order, at Hospital locations in specified Districts in Himachal Pradesh.

We confirm having read and understood all the specifications, instructions, forms, terms and conditions and other requirements of the above tender (both expressed and implied) in full and that we agree to abide by all without any deviation.

SEAL OF THE TENDER

SIGNATURE

NAME AND ADDRESS OF TENDER

PRICE SCHEDULE (SECTION VII)

| S. No. | Item Description | Qty | Brand/ Model | Manu facturer | Ex-factory price (Basic Unit Price exclusive of all levies & charges) | Excise Duty |  | Sales Tax |  | Freight & Insurance |  | Unit Price inclusive of all levies & charges (ColumnNo. e+g+i+k) in Rs | Total rate (c x m) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | % | Amt. | % | Amt. | FOR Delivery destination Himachal Pradesh |  |  |  |
|  |  |  |  |  |  |  |  |  |  | % | Amt. |  |  |
| a | b | c | d | e | f | g | h | i | j | k | l | m | n |
| 1 | Resuscitator, hand-operated, neonate, 500ml (nbcc) | 18 |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Resuscitator, hand-operated, neonate, 250 ml | 6 |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Laryngoscope set, neonate | 12 |  |  |  |  |  |  |  |  |  |  |  |
| 4 | Pump, suction, portable, 220V, | 13 |  |  |  |  |  |  |  |  |  |  |  |
| 5 | Pump, suction, Foot operated | 23 |  |  |  |  |  |  |  |  |  |  |  |
| 6 | Syringe pump, 10,20,50 ml, single phase | 9 |  |  |  |  |  |  |  |  |  |  |  |
| 7 | Oxygen hood S and M set of 3 each, including connecting tubes | 4 |  |  |  |  |  |  |  |  |  |  |  |
| 8 | Oxygen concentrator | 1 |  |  |  |  |  |  |  |  |  |  |  |
| 9 | Pulse oximeter, | 4 |  |  |  |  |  |  |  |  |  |  |  |
| 10 | Moniter, Vital sign | 2 |  |  |  |  |  |  |  |  |  |  |  |
| 11 | ECG unit, 3 channal | 1 |  |  |  |  |  |  |  |  |  |  |  |
| 12 | Nebulization Machine | 17 |  |  |  |  |  |  |  |  |  |  |  |
| 13 | Stadio Meter | 13 |  |  |  |  |  |  |  |  |  |  |  |
| 14 | Defibrillator | 1 |  |  |  |  |  |  |  |  |  |  |  |
| 15 | Fumigation Machine | 5 |  |  |  |  |  |  |  |  |  |  |  |
|  | Total |  |  |  |  |  |  |  |  |  |  |  |  |

Total amount in words:____________________________________

Delivery schedule : strictly within 20 days from the date of release of LOI/PO

NOTE: 1) The columns may be filled as is applicable in each case.

2) Bidders should bid for the all the items and entire quantity asked by the purchaser in the tender document.

Bidding for part quantity or not quoted for all the equipments, will be  treated as non-responsive.

*** 3) Product catalogue  along WITH COMPLIANCE SHEET confirming to technical specification should be attached with offer.

*** 4) List of optional accessories/ spares with rate, to be attached to price bid as separate sheet

Seal and Signature of the bidder

CMC Price Schedule (SECTION VIII)

| S.No. | Item Description | Qty | 1st year |  | 2nd year |  | 3rd year |  | 4th year |  | 5th year |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Rate/unit | Total rate | Rate/unit | Total rate | Rate/unit | Total rate | Rate/unit | Total rate | Rate/unit | Total rate |
| 1 | Resuscitator, hand-operated, neonate, 500ml (nbcc) | 18 |  |  |  |  |  |  |  |  |  |  |
| 2 | Resuscitator, hand-operated, neonate, 250 ml | 6 |  |  |  |  |  |  |  |  |  |  |
| 3 | Laryngoscope set, neonate | 12 |  |  |  |  |  |  |  |  |  |  |
| 4 | Pump, suction, portable, 220V, | 13 |  |  |  |  |  |  |  |  |  |  |
| 5 | Pump, suction, Foot operated | 23 |  |  |  |  |  |  |  |  |  |  |
| 6 | Syringe pump, 10,20,50 ml, single phase | 9 |  |  |  |  |  |  |  |  |  |  |
| 7 | Oxygen hood S and M set of 3 each, including connecting tubes | 4 |  |  |  |  |  |  |  |  |  |  |
| 8 | Oxygen concentrator | 1 |  |  |  |  |  |  |  |  |  |  |
| 9 | Pulse oximeter, | 4 |  |  |  |  |  |  |  |  |  |  |
| 10 | Moniter, Vital sign | 2 |  |  |  |  |  |  |  |  |  |  |
| 11 | ECG unit, 3 channal | 1 |  |  |  |  |  |  |  |  |  |  |
| 12 | Nebulization Machine | 17 |  |  |  |  |  |  |  |  |  |  |
| 13 | Stadio Meter | 13 |  |  |  |  |  |  |  |  |  |  |
| 14 | Defibrillator | 1 |  |  |  |  |  |  |  |  |  |  |
| 15 | Fumigation Machine | 5 |  |  |  |  |  |  |  |  |  |  |

Taxes:.___________

Scope of Contract:  No of Visit during the CMC period    a) Preventive maintenance visit: 2/year.  b) Break down maintenance  visit: any number as required.         “CMC” Comprehensive  maintenance Contract includes; labors,  spare  and  preventive & break down maintenance.

Note: Bidders should offer CMC for the entire quantity and all the items asked by the purchaser in the tender document.

CMC for part quantity or part equipment will not be considered.

.         The applicable taxes should be indicated separately with percentage and amount.

The bids received without indication of service tax will be treated   as inclusive.

The above rates are applicable for 5 years after successful completion of 1 year warranty period from date of installation.

Seal and Signature of the bidder

SECTION IX

CHECK LIST

| Sl. No. | Documents | Page No. | Remarks |
| --- | --- | --- | --- |
| 1 | Bid Security in the form of DD drawn in favor of HLL Lifecare Limited, Payable at Thiruvananthapuram |  |  |
| 2 | EMD in the form of DD drawn in favor of HLL Lifecare Limited, Payable at Thiruvananthapuram / Bank Guarantee |  |  |
| 3 | Duly attested copy of factory license/ Industrial license |  |  |
| 4 | Duly attested copy of sales tax registration certificate |  |  |
| 5 | Duly attested copy of document to prove the legal status, place of registration and principal place of business of the undertaking |  |  |
| 6 | Duly attested copies of quality certificates for the products and quality system certifications |  |  |
| 7 | Copy of Balance sheet for the Iast 3 financial years, duly certified by a chartered accountant |  |  |
| 8 | Copy of Profit & Loss Account for Iast 3 financial years certified by chartered accountant |  |  |
| 9 | Duly filled proforma showing details of Equipment and Quality Control employed by the manufacturer as per section II |  |  |
| 10 | Proforma for Performance Statement (for a period of last years) as per Section III |  |  |
| 11 | Client's Certificate as per Section III |  |  |
| 12 | Product brochure literature, write up etc. |  |  |
| 13 | Item-by-item compliance statement on the Purchaser’s Technical Specifications WITH statement of deviations and exceptions, if any, to the provisions of the Technical Specifications |  |  |
| 14 | The letter of authorization indicated by written power-of-attorney |  |  |
| 15 | Spare parts and after sales service facilities in India |  |  |
| 16 | Documentary evidence of constitution of firm such as Memorandum of Articles, Partnership Deed, etc., with details of Name, Address, Tel. No., Fax No., E-mail Address of firm and the Managing Director / Partner / Proprietor |  |  |
| 17 | Annual turnover statement for last 3 years certified by the Auditor |  |  |